## dailyOutage_Report
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 01-05-2025
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[8 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Haryana |  | RAJIV GANDHI TPS | 1 | 0 | 600 | 0 | 0 | 23/02/2025 21:06 |  | WATER WALL TUBE LEAKAGE
Haryana |  | MAHATMA GANDHI TPS | 1 | 0 | 0 | 660 | 0 | 28/04/2025 16:30 |  | WATER WALL TUBE LEAKAGE
Rajasthan |  | CHHABRA-II TPP | 6 | 0 | 660 | 0 | 0 | 13/04/2025 00:48 |  | TURBINE BEARING PROBLEM
Rajasthan |  | ADANI POWER LIMITED KAWAI TPP | 1 | 0 | 0 | 660 | 0 | 29/04/2025 11:15 |  | CONDENSER TUBE LEAKAGE/ CLEANING
Uttar Pradesh |  | MEJA STPP | 2 | 660 | 0 | 0 | 0 | 26/02/2025 22:27 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh |  | SINGRAULI STPS | 7 | 0 | 0 | 500 | 0 | 30/04/2025 17:06 |  | STATOR WINDING TEMP. HIGH
Chhatisgarh |  | ADANI POWER LIMITED RAIPUR TPP | 1 | 0 | 0 | 685 | 0 | 29/04/2025 15:28 |  | BOILER MISC. PROBLEM
Chhatisgarh |  | ADANI POWER LIMITED RAIPUR TPP | 2 | 0 | 0 | 685 | 0 | 01/05/2025 16:44 |  | TRANSMISSION CONSTRAINTS
Chhatisgarh |  | TAMNAR TPP | 1 | 0 | 0 | 600 | 0 | 29/04/2025 05:17 |  | TURBINE MISC. PROBLEM
Madhya Pradesh |  | VINDHYACHAL STPS | 11 | 500 | 0 | 0 | 0 | 01/05/2025 00:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh |  | SHREE SINGAJI TPP | 3 | 0 | 0 | 0 | 0 | 21/04/2025 15:32 | 01/05/2025 04:35 | BOILER MISC. PROBLEM
Madhya Pradesh |  | MAHAN TPP | 1 | 0 | 600 | 0 | 0 | 13/04/2025 06:18 |  | GENEARTOR MISC.
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 6 | 0 | 0 | 500 | 0 | 26/04/2025 13:15 |  | WATER WALL TUBE LEAKAGE
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 9 | 0 | 500 | 0 | 0 | 11/01/2025 18:55 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Andhra Pradesh |  | DAMODARAM SANJEEVAIAH TPS | 2 | 0 | 0 | 800 | 0 | 30/04/2025 11:23 |  | BOILER MISC. PROBLEM
Andhra Pradesh |  | VIZAG TPP | 2 | 0 | 520 | 0 | 0 | 01/04/2025 23:12 |  | GEN. TRANSORMER
| Andhra Pradesh |  | VIZAG TPP | 2 | 0 | 520 | 0 | 0 | 01/04/2025 23:12 |  | PROTECTION RELAY OPERATION PROBLEM
| Karnataka |  | YERMARUS TPP | 2 | 0 | 0 | 800 | 0 | 28/04/2025 05:30 |  | ABNORMAL SOUND
| Tamil Nadu |  | NEYVELI NEW TPP | 1 | 0 | 0 | 500 | 0 | 01/05/2025 20:31 |  | BOILER AUX. MISC. PROMLEMS
| Tamil Nadu |  | NORTH CHENNAI TPS | 4 | 0 | 600 | 0 | 0 | 01/03/2025 11:14 |  | TURBINE MISC. PROBLEM
| Tamil Nadu |  | MUTHIARA TPP | 2 | 0 | 600 | 0 | 0 | 13/04/2025 12:15 |  | TURBINE BEARING PROBLEM
| Telangana |  | SINGARENI TPP | 2 | 0 | 0 | 600 | 0 | 30/04/2025 19:34 |  | WATER WALL TUBE LEAKAGE
| Bihar |  | BARH STPS | 5 | 0 | 0 | 660 | 0 | 27/04/2025 23:30 |  | WATER WALL TUBE LEAKAGE
| Jharkhand |  | BOKARO TPS `A` EXP | 1 | 500 | 0 | 0 | 0 | 25/03/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
| West Bengal |  | RAGHUNATHPUR TPP | 1 | 0 | 0 | 0 | 0 | 01/05/2025 07:59 | 01/05/2025 13:37 | F.D. FANS PROBLEM
| Total | 5: 1660; 6: 4080; 7: 7650; DD/MM/YYYY HH24:MM 8: 0
Remarks:-
Report Version :-