## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 01-05-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
GH TPS (LEH.MOH.) | 3 | 250.00 | 01/05/2025 22:31 |  | RSD/LOW SCHEDULE
ROPAR TPS | 4 | 210.00 | 01/05/2025 21:45 |  | RSD/LOW SCHEDULE
ANTA CCPP | 2 | 88.71 | 01/05/2025 00:12 | 01/05/2025 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 3 | 88.71 | 01/05/2025 11:30 | 01/05/2025 | NO/REDUCED IRRIGATION DEMAND
ANTA CCPP | 4 | 153.20 | 01/05/2025 00:43 | 01/05/2025 | CONSERVATION OF MAIN FUEL/RSD
RAMGARH CCPP | 2 | 35.50 | 01/05/2025 17:48 |  | GRID FAILTURE
RAMGARH CCPP | 3 | 37.50 | 01/05/2025 18:13 |  | STATION TRANSFORMER PROBLEM
RAMGARH CCPP | 4 | 37.50 | 01/05/2025 09:12 |  | TURBINE BEARING TEMP. HIGH
RAMGARH CCPP | 4 |  | 01/05/2025 17:48 |  | GRID FAILTURE
JALIPA KAPURDI TPP | 1 | 135.00 | 01/05/2025 15:57 |  | BOILER MISC. PROBLEM
JALIPA KAPURDI TPP | 1 |  | 01/05/2025 04:11 |  | P.A. FANS PROBLEM
DADRI CCPP | 3 | 130.19 | 01/05/2025 00:18 | 01/05/2025 | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 6 | 154.51 | 01/05/2025 00:08 | 01/05/2025 | CONSERVATION OF MAIN FUEL/RSD
ADANI POWER LIMITED RAIPUR TPP | 2 | 685.00 | 01/05/2025 16:44 |  | TRANSMISSION CONSTRAINTS
GANDHAR CCPP | 1 | 144.30 | 01/05/2025 00:16 | 01/05/2025 | CONSERVATION OF MAIN FUEL/RSD
BHAVNAGAR CFBC TPP | 2 | 250.00 | 01/05/2025 19:45 |  | WATER WALL TUBE LEAKAGE
UTRAN CCPP | 5 | 240.00 | 01/05/2025 16:30 |  | RESERVE SHUT DOWN
UTRAN CCPP | 6 | 134.00 | 01/05/2025 16:27 |  | RESERVE SHUT DOWN
VINDHYACHAL STPS | 11 | 500.00 | 01/05/2025 00:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
RATNAGIRI CCPP | 5 | 213.00 | 01/05/2025 12:15 |  | GT-MISCELLANEOUS PROBLEMS
RATNAGIRI CCPP | 6 | 237.54 | 01/05/2025 12:14 |  | GT-MISCELLANEOUS PROBLEMS
RATNAGIRI CCPP | 7 | 213.00 | 01/05/2025 00:41 |  | GT-MISCELLANEOUS PROBLEMS
URAN CCPP | 5 | 108.00 | 01/05/2025 04:28 |  | BOILER AUX. MISC. PROMLEMS
URAN CCPP | 5 |  | 01/05/2025 22:36 | 02/05/2025 | BEARING
URAN CCPP | 6 | 108.00 | 01/05/2025 04:25 |  | BOILER MISC. PROBLEM
URAN CCPP | 9 | 120.00 | 01/05/2025 00:56 |  | ROTOR EARTH FAULT
RAICHUR TPS | 7 | 210.00 | 01/05/2025 19:05 |  | WATER WALL TUBE LEAKAGE
NEYVELI NEW TPP | 1 | 500.00 | 01/05/2025 20:31 |  | BOILER AUX. MISC. PROMLEMS
TUTICORIN TPS | 5 | 210.00 | 01/05/2025 00:07 |  | BOILER AUX. MISC. PROMLEMS
KAMALANGA TPS | 1 | 350.00 | 01/05/2025 00:14 |  | P.A. FANS PROBLEM
MEJIA TPS | 3 | 210.00 | 01/05/2025 17:49 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
RAGHUNATHPUR TPP | 1 | 600.00 | 01/05/2025 07:59 |  | F.D. FANS PROBLEM
https://npp.gov.in 02/05/2025 17:52:14 |  |  |  |  | PAGE 1
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 01-05-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
SOUTHERN REPL. TPS | 1 | 67.50 | 01/05/2025 01:08 | 02/05/2025 | RESERVE SHUT DOWN / STANDBY UNIT
KATHALGURI CCPP | 4 | 33.50 | 01/05/2025 00:00 |  | MISCELLANEOUS
KATHALGURI CCPP | 8 | 30.00 | 01/05/2025 00:00 |  | MISCELLANEOUS
LAKWA REPLACEMENT POWER PROJECT | 6 | 9.96 | 01/05/2025 00:30 |  | GRID DISTURBANCES MISC.
AGARTALA GT | 3 | 21.00 | 01/05/2025 00:00 |  | Fuel Shortage
AGARTALA GT | 4 | 21.00 | 01/05/2025 00:00 |  | Fuel Shortage
AGARTALA GT | 6 | 25.50 | 01/05/2025 00:00 |  | Fuel Shortage
Total |  | 6562.12
https://npp.gov.in 02/05/2025 17:52:14 |  |  |  |  | PAGE 2