## dailyOutage_Report
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 03-07-2025
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[8 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Haryana |  | INDIRA GANDHI STPP | 2 | 0 | 0 | 500 | 0 | 20/06/2025 23:58 |  | RESERVE SHUT DOWN / STANDBY UNIT
Haryana |  | RAJIV GANDHI TPS | 2 | 0 | 0 | 600 | 0 | 02/07/2025 19:33 | 03/07/2025 15:41 | STATION TRANSFORMER PROBLEM
Rajasthan |  | KALISINDH TPS | 2 | 600 | 0 | 0 | 0 | 21/06/2025 00:01 |  | ANNUAL MAINTENANCE
Rajasthan |  | SURATGARH STPS | 7 | 660 | 0 | 0 | 0 | 02/07/2025 06:00 |  | ANNUAL MAINTENANCE
Uttar Pradesh |  | GHATAMPUR TPP | 1 | 660 | 0 | 0 | 0 | 02/07/2025 08:02 |  | MISCELLANEOUS PLANNED MAINTENANCE
Uttar Pradesh |  | JAWAHARPUR STPP | 1 | 0 | 660 | 0 | 0 | 11/06/2025 13:37 |  | GEN. TRANSORMER PROTECTION RELAY OPERATION PROBLEM
Uttar Pradesh |  | JAWAHARPUR STPP | 2 | 0 | 0 | 660 | 0 | 29/06/2025 18:28 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | OBRA TPS | 15 | 0 | 0 | 660 | 0 | 25/06/2025 21:15 |  | TURBINE MISC. PROBLEMS
Uttar Pradesh |  | PANKI TPS EXT | 1 | 0 | 0 | 660 | 0 | 18/06/2025 01:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Chhatisgarh |  | MARWA TPS | 2 | 0 | 0 | 0 | 0 | 03/07/2025 12:54 | 03/07/2025 16:34 | ELECTRICAL MISCELLANEOUS PROBLEMS
Chhatisgarh |  | ADANI POWER LIMITED RAIPUR TPP | 2 | 0 | 0 | 0 | 0 | 03/07/2025 23:25 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 1 | 0 | 0 | 800 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 2 | 0 | 0 | 800 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat |  | MUNDRA UMTPP | 3 | 0 | 0 | 800 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat |  | MUNDRA UMTPP | 4 | 0 | 0 | 800 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat |  | MUNDRA UMTPP | 5 | 0 | 0 | 800 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Gujarat |  | SALAYA TPP | 2 | 0 | 600 | 0 | 0 | 14/06/2025 12:08 |  | ELECTRICAL FAULT
Madhya Pradesh |  | GADARWARA TPP | 1 | 800 | 0 | 0 | 0 | 01/06/2025 00:16 |  | OVERHAULING WORKS
Madhya Pradesh |  | KHARGONE STPP | 1 | 660 | 0 | 0 | 0 | 01/07/2025 01:04 |  | OVERHAULING WORKS
Madhya Pradesh |  | SASAN UMTPP | 5 | 0 | 0 | 0 | 0 | 02/07/2025 03:00 | 03/07/2025 04:04 | ECONOMISER TUBE LEAKAGE
Madhya Pradesh |  | SASAN UMTPP | 6 | 660 | 0 | 0 | 0 | 25/06/2025 00:24 |  | ANNUAL MAINTENANCE
Maharashtra |  | MAUDA TPS | 1 | 500 | 0 | 0 | 0 | 15/06/2025 00:24 |  | OVERHAULING WORKS
Maharashtra |  | SOLAPUR STPS | 2 | 660 | 0 | 0 | 0 | 25/06/2025 23:00 |  | OVERHAULING WORKS
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 9 | 0 | 500 | 0 | 0 | 11/01/2025 18:55 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Maharashtra |  | KHAPARKHEDA TPS | 5 | 500 | 0 | 0 | 0 | 25/06/2025 00:01 |  | CAPITAL MAINTENANCE
Maharashtra |  | KORADI TPS | 8 | 0 | 0 | 660 | 0 | 01/07/2025 03:15 |  | ECONOMISER TUBE LEAKAGE
Maharashtra |  | ADANI POWER LIMITED TIRODA TPP | 4 | 660 | 0 | 0 | 0 | 01/07/2025 01:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Andhra Pradesh |  | SIMHADRI | 3 | 500 | 0 | 0 | 0 | 16/06/2025 00:04 |  | OVERHAULING WORKS
Andhra Pradesh |  | Dr. N.TATA RAO TPS | 8 | 0 | 0 | 800 | 0 | 03/07/2025 11:17 |  | GENEARTOR MISC.
Karnataka |  | KUDGI STPP | 1 | 0 | 800 | 0 | 0 | 17/06/2025 03:38 |  | CONSERVATION OF MAIN FUEL/RSD
Karnataka |  | KUDGI STPP | 2 | 0 | 800 | 0 | 0 | 31/05/2025 13:35 |  | CONSERVATION OF MAIN FUEL/RSD
Karnataka |  | YERMARUS TPP | 1 | 0 | 0 | 800 | 0 | 03/07/2025 17:06 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 600 | 0 | 0 | 17/06/2025 00:04 |  | RSD/LOW SCHEDULE
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 2 | 0 | 600 | 0 | 0 | 21/05/2025 01:52 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | NEYVELI NEW TPP | 2 | 500 | 0 | 0 | 0 | 16/06/2025 18:12 |  | OVERHAULING WORKS
Tamil Nadu |  | VALLUR TPP | 1 | 0 | 0 | 500 | 0 | 02/07/2025 22:55 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | VALLUR TPP | 3 | 500 | 0 | 0 | 0 | 23/06/2025 00:58 |  | CAPITAL MAINTENANCE
Tamil Nadu |  | NORTH CHENNAI TPS | 5 | 0 | 600 | 0 | 0 | 17/06/2025 10:10 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | TUTICORIN TPP ST-IV | 1 | 525 | 0 | 0 | 0 | 11/06/2025 23:26 |  | ANNUAL MAINTENANCE
Telangana |  | RAMAGUNDEM STPS | 5 | 0 | 0 | 500 | 0 | 21/06/2025 10:01 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | KOTHAGUDEM TPS (STAGE-7) | 12 | 800 | 0 | 0 | 0 | 25/06/2025 02:36 |  | SCHEDULED ANNUAL MAINTENANCE
Telangana |  | SINGARENI TPP | 1 | 600 | 0 | 0 | 0 | 09/06/2025 07:04 |  | ANNUAL MAINTENANCE
Telangana |  | YADADRI TPS | 2 | 0 | 0 | 800 | 0 | 29/06/2025 09:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Bihar |  | BARH STPS | 3 | 0 | 0 | 660 | 0 | 02/07/2025 08:22 |  | WATER WALL TUBE LEAKAGE
Bihar |  | BARH STPS | 5 | 660 | 0 | 0 | 0 | 02/07/2025 01:25 |  | OVERHAULING WORKS
Jharkhand |  | NORTH KARANPURA TPP | 3 | 0 | 0 | 660 | 0 | 22/06/2025 11:47 |  | ASH HANDLING SYSTEM PROBLEM
Odisha |  | DARLIPALI STPS | 2 | 800 | 0 | 0 | 0 | 01/07/2025 00:00 |  | OVERHAULING WORKS
Odisha |  | TALCHER STPS | 3 | 500 | 0 | 0 | 0 | 14/06/2025 00:56 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha |  | DERANG TPP | 2 | 0 | 0 | 600 | 0 | 30/06/2025 18:45 | 03/07/2025 06:33 | ASH HANDLING SYSTEM PROBLEM
Odisha |  | VEDANTA TPP | 2 | 0 | 600 | 0 | 0 | 31/05/2025 04:15 |  | AIR PREHEATERS PROBLEM
West Bengal |  | RAGHUNATHPUR TPP | 1 | 0 | 0 | 600 | 0 | 01/07/2025 21:16 |  | SUPER HEATER TUBE LEAKAGE
| Total | 5: 11745; 6: 5760; 7: 13660; DD/MM/YYYY HH24:MM 8: 0
Remarks:-
Report Version :-