## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 03-07-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
GOINDWAL SAHIB TPP | 1 | 270.00 | 03/07/2025 12:41 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
ANTA CCPP | 1 | 88.71 | 03/07/2025 00:44 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 3 | 88.71 | 03/07/2025 00:44 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 1 | 111.19 | 03/07/2025 00:46 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 2 | 111.19 | 03/07/2025 00:46 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 03/07/2025 00:47 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 2 | 130.19 | 03/07/2025 00:47 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
ANPARA TPS | 3 | 210.00 | 03/07/2025 14:45 |  | ECONOMISER TUBE LEAKAGE
KORBA-WEST TPS | 2 | 210.00 | 03/07/2025 15:18 | 03/07/2025 | FURNACE FIRE OUT /FLAME FAILURE
KORBA-WEST TPS | 4 | 210.00 | 03/07/2025 03:04 | 03/07/2025 | GENERATOR PROTECTION
MARWA TPS | 2 | 500.00 | 03/07/2025 12:54 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
ADANI POWER LIMITED RAIPUR TPP | 2 | 685.00 | 03/07/2025 23:25 |  | AIR PREHEATERS PROBLEM
BINJKOTE TPP | 2 | 300.00 | 03/07/2025 09:10 |  | TURBINE MISC.
CHAKABURA TPP | 2 | 30.00 | 03/07/2025 01:27 |  | FURNACE DRAFT ABNORMAL
GANDHAR CCPP | 1 | 144.30 | 03/07/2025 00:34 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 2 | 144.30 | 03/07/2025 22:21 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 2 |  | 03/07/2025 00:45 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 3 | 144.30 | 03/07/2025 00:41 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 1 | 106.00 | 03/07/2025 00:39 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 2 | 106.00 | 03/07/2025 00:43 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 4 | 106.00 | 03/07/2025 00:29 | 03/07/2025 | CONSERVATION OF MAIN FUEL/RSD
KUTCH LIG. TPS | 3 | 75.00 | 03/07/2025 16:23 |  | FURNACE DRAFT ABNORMAL
MUNDRA UMTPP | 1 | 800.00 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
SANJAY GANDHI TPS | 1 | 210.00 | 03/07/2025 22:10 |  | FURNACE DRAFT ABNORMAL
PARAS TPS | 3 | 250.00 | 03/07/2025 08:53 |  | FURNACE DRAFT ABNORMAL
URAN CCPP | 8 | 108.00 | 03/07/2025 12:40 |  | COMPRESSED AIR SYSTEM PROBLEM
Dr. N.TATA RAO TPS | 8 | 800.00 | 03/07/2025 11:17 |  | GENEARTOR MISC.
SIMHAPURI TPS | 4 | 150.00 | 03/07/2025 01:00 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
YERMARUS TPP | 1 | 800.00 | 03/07/2025 17:06 |  | COAL FEEDING SYSTEM FAILURE.
RAMAGUNDEM STPS | 3 | 200.00 | 03/07/2025 23:30 | 03/07/2025 | MAINT./REPLACEMENT OF BRUSHES/SLIP RINGS
JSW Energy Utkal Limited | 1 | 350.00 | 03/07/2025 12:49 | 03/07/2025 | TURBINE BEARING TEMP. HIGH
KATHALGURI CCPP | 2 | 33.50 | 03/07/2025 00:00 |  | LOW SYSTEM DEMAND
https://npp.gov.in 04/07/2025 16:24:47 |  |  |  |  | PAGE 1
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 03-07-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
LAKWA REPLACEMENT POWER PROJECT | 3 | 9.96 | 03/07/2025 12:45 |  | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 5 | 9.96 | 03/07/2025 12:03 |  | MISC. SHORT DURATION MAINTENANCE
Total |  | 7622.51
https://npp.gov.in 04/07/2025 16:24:47 |  |  |  |  | PAGE 2