## generationrptforNTPCStation
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
GENERATION REPORT FOR NTPC STATIONS DATED - 03-Jul-2025
Power Station |  | Monitored Cap. (MW) | Available Cap. (MW) | Generation (MU) |  |  |  | Coal Stock In day's | Cap. Under Outage (MW) | Maintenance Start Date (dd/mm/yyyyhh24:mi) | Expected Returned Date/SyncDate | Remarks
|  |  |  | Today's Program | Today's Actual | April 1 Till Date
[6 empty] | Prog. | Actual
Haryana
FARIDABAD CCPP |  | 431.59 | 0 | 0.59 | 1.82 | 59.77 | 96 |  | 431.59
Total THER (GT) |  | 431.59 | 0 | 0.59 | 1.82 | 59.77 | 96 |  | 431.59
Total Generation |  | 431.59 | 0 | 0.59 | 1.82 | 59.77 | 96 |  | 431.59
Himachal Pradesh
KOLDAM |  | 800 | 800 | 19.19 | 21.03 | 1046.57 | 1102.73 |  | 0
Total HYDRO |  | 800 | 800 | 19.19 | 21.03 | 1046.57 | 1102.73 |  | 0
Total Generation |  | 800 | 800 | 19.19 | 21.03 | 1046.57 | 1102.73 |  | 0
Rajasthan
ANTA CCPP |  | 419.33 | 0 | 1.32 | 1.1 | 120.96 | 123.9 |  | 419.33
Total THER (GT) |  | 419.33 | 0 | 1.32 | 1.1 | 120.96 | 123.9 |  | 419.33
Total Generation |  | 419.33 | 0 | 1.32 | 1.1 | 120.96 | 123.9 |  | 419.33
Uttarakhand
TAPOVAN VISHNUGAD HPS |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Total HYDRO |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Total Generation |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Uttar Pradesh
DADRI (NCTPP) |  | 1820 | 980 | 27.19 | 20.42 | 3057.57 | 2178.33 | 234 | 840
Unit 1 |  | 210 | 0 | 3.68 | 1.04 | 362.04 | 200.99 | 39 | 210 | 2025-06-20 01:06 | 2025-07-03 17:38 | CONSERVATION OF MAIN FUEL/RSD
Unit 2 |  | 210 | 0 | 0 | 0 | 376 | 189.44 | 39 | 210 | 2025-06-18 11:47 |  | OVERHAULING WORKS
Unit 3 |  | 210 | 0 | 3.42 | 1.41 | 338.26 | 214.14 | 39 | 210 | 2025-06-20 00:06 | 2025-07-03 14:51 | CONSERVATION OF MAIN FUEL/RSD
Unit 4 |  | 210 | 0 | 3.42 | 0 | 338.26 | 242.28 | 39 | 210 | 2025-06-01 09:53 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 5 |  | 490 | 490 | 8.19 | 9.07 | 805.57 | 597.47 | 39 | 0
Unit 6 |  | 490 | 490 | 8.48 | 8.9 | 837.44 | 734.01 | 39 | 0
RIHAND STPS |  | 3000 | 3000 | 67.9 | 68.44 | 6387.7 | 5947.25 | 138 | 0
Unit 1 |  | 500 | 500 | 11.32 | 11 | 1063.96 | 967.88 | 23 | 0
Unit 2 |  | 500 | 500 | 11.32 | 11.33 | 1063.96 | 924.89 | 23 | 0
Unit 3 |  | 500 | 500 | 11.29 | 11.5 | 1061.87 | 1016.86 | 23 | 0
Unit 4 |  | 500 | 500 | 11.39 | 11.55 | 1071.17 | 1007.46 | 23 | 0
Unit 5 |  | 500 | 500 | 11.29 | 11.52 | 1061.87 | 1018.27 | 23 | 0
Unit 6 |  | 500 | 500 | 11.29 | 11.54 | 1064.87 | 1011.89 | 23 | 0
SINGRAULI STPS |  | 2000 | 2000 | 45.04 | 43.03 | 4236.12 | 3847.7 | 98 | 0
Unit 1 |  | 200 | 200 | 4.56 | 4.51 | 425.68 | 403.09 | 14 | 0
Unit 2 |  | 200 | 200 | 4.45 | 4.36 | 419.35 | 397.22 | 14 | 0
Unit 3 |  | 200 | 200 | 4.48 | 4.41 | 422.44 | 403.4 | 14 | 0
Unit 4 |  | 200 | 200 | 4.45 | 4.62 | 419.35 | 404.96 | 14 | 0
Unit 5 |  | 200 | 200 | 4.52 | 4.24 | 425.56 | 398.91 | 14 | 0
Unit 6 |  | 500 | 500 | 11.29 | 10.56 | 1063.87 | 876.76 | 14 | 0
Unit 7 |  | 500 | 500 | 11.29 | 10.33 | 1059.87 | 963.36 | 14 | 0
TANDA TPS |  | 1760 | 1320 | 32.44 | 28.17 | 3230.32 | 3110.32 | 222 | 440
Unit 1 |  | 110 | 0 | 1.77 | 0 | 174.31 | 204.13 | 37 | 110 | 2025-06-30 23:05 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 2 |  | 110 | 0 | 1.77 | 0 | 174.31 | 207.34 | 37 | 110 | 2025-06-30 23:17 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 3 |  | 110 | 0 | 1.77 | 0 | 174.31 | 188.16 | 37 | 110 | 2025-06-30 23:54 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 4 |  | 110 | 0 | 1.65 | 0 | 161.95 | 199.03 | 37 | 110 | 2025-06-30 23:41 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 5 |  | 660 | 660 | 13.03 | 14.05 | 1302.09 | 1158.59 | 37 | 0
Unit 6 |  | 660 | 660 | 12.45 | 14.12 | 1243.35 | 1153.07 | 37 | 0
UNCHAHAR TPS |  | 1550 | 1550 | 29.33 | 31.77 | 2947.99 | 2662.37 | 186 | 0
Unit 1 |  | 210 | 210 | 3.65 | 4.27 | 358.95 | 355.15 | 31 | 0
Unit 2 |  | 210 | 210 | 3.84 | 4.03 | 391.52 | 344.55 | 31 | 0
Unit 3 |  | 210 | 210 | 4.03 | 4.1 | 413.09 | 359.5 | 31 | 0
Unit 4 |  | 210 | 210 | 4.23 | 4.5 | 421.69 | 360.77 | 31 | 0
Unit 5 |  | 210 | 210 | 4.23 | 4.37 | 421.69 | 361.96 | 31 | 0
Unit 6 |  | 500 | 500 | 9.35 | 10.5 | 941.05 | 880.44 | 31 | 0
Total THERMAL |  | 10130 | 8850 | 201.9 | 191.83 | 19859.7 | 17745.97 | 878 | 1280
AURAIYA CCPP |  | 663.36 | 0 | 2.06 | 2.18 | 239.18 | 171.47 |  | 663.36
DADRI CCPP |  | 829.78 | 0 | 3.12 | 2.27 | 298.36 | 203.61 |  | 829.78
Total THER (GT) |  | 1493.14 | 0 | 5.18 | 4.45 | 537.54 | 375.08 |  | 1493.14
Total Generation |  | 11623.14 | 8850 | 207.08 | 196.28 | 20397.24 | 18121.05 | 878 | 2773.14
Chhatisgarh
KORBA STPS |  | 2600 | 2400 | 54.78 | 55.28 | 5487.34 | 5008.04 | 77 | 200
Unit 1 |  | 200 | 200 | 4.52 | 4.64 | 425.56 | 413.71 | 11 | 0
Unit 2 |  | 200 | 200 | 4.52 | 4.7 | 425.56 | 226.86 | 11 | 0
Unit 3 |  | 200 | 0 | 0 | 0 | 341 | 336.52 | 11 | 200 | 2025-06-15 23:58 |  | OVERHAULING WORKS
Unit 4 |  | 500 | 500 | 11.35 | 11.52 | 1065.05 | 994.07 | 11 | 0
Unit 5 |  | 500 | 500 | 11.35 | 11.51 | 1069.05 | 1000.38 | 11 | 0
Unit 6 |  | 500 | 500 | 11.52 | 11.59 | 1080.56 | 1008.22 | 11 | 0
Unit 7 |  | 500 | 500 | 11.52 | 11.32 | 1080.56 | 1028.28 | 11 | 0
LARA TPP |  | 1600 | 1600 | 18.35 | 37.82 | 3397.05 | 3352.07 | 42 | 0
Unit 1 |  | 800 | 800 | 18.35 | 18.89 | 1726.05 | 1668.04 | 21 | 0
Unit 2 |  | 800 | 800 | 0 | 18.93 | 1671 | 1684.03 | 21 | 0
SIPAT STPS |  | 2980 | 2980 | 55.48 | 69.69 | 5466.44 | 5276.65 | 85 | 0
Unit 1 |  | 660 | 660 | 14.77 | 15.51 | 871.31 | 812.57 | 17 | 0
Unit 2 |  | 660 | 660 | 14.81 | 15.53 | 1394.43 | 1363.95 | 17 | 0
Unit 3 |  | 660 | 660 | 14.74 | 15.49 | 1381.22 | 1320.38 | 17 | 0
Unit 4 |  | 500 | 500 | 11.16 | 11.52 | 1049.48 | 765.74 | 17 | 0
Unit 5 |  | 500 | 500 | 0 | 11.64 | 770 | 1014.01 | 17 | 0
Total THERMAL |  | 7180 | 6980 | 128.61 | 162.79 | 14350.83 | 13636.76 | 204 | 200
Total Generation |  | 7180 | 6980 | 128.61 | 162.79 | 14350.83 | 13636.76 | 204 | 200
Gujarat
GANDHAR CCPP |  | 657.39 | 144.3 | 2.62 | 4.16 | 248.86 | 199.75 |  | 513.09
KAWAS CCPP |  | 656.2 | 106 | 2.55 | 3.86 | 226.65 | 198.91 |  | 550.2
Total THER (GT) |  | 1313.59 | 250.3 | 5.17 | 8.02 | 475.51 | 398.66 |  | 1063.29
Total Generation |  | 1313.59 | 250.3 | 5.17 | 8.02 | 475.51 | 398.66 |  | 1063.29
Madhya Pradesh
GADARWARA TPP |  | 1600 | 800 | 30.78 | 16.79 | 2068.34 | 2207.05 | 30 | 800
Unit 1 |  | 800 | 0 | 15.65 | 0 | 547.95 | 882.68 | 15 | 800 | 2025-06-01 00:16 |  | OVERHAULING WORKS
Unit 2 |  | 800 | 800 | 15.13 | 16.79 | 1520.39 | 1324.37 | 15 | 0
KHARGONE STPP |  | 1320 | 660 | 11.23 | 12.97 | 2203.69 | 2064.08 | 64 | 660
Unit 1 |  | 660 | 0 | 0 | 0 | 1096 | 1009.87 | 32 | 660 | 2025-07-01 01:04 |  | OVERHAULING WORKS
Unit 2 |  | 660 | 660 | 11.23 | 12.97 | 1107.69 | 1054.21 | 32 | 0
VINDHYACHAL STPS |  | 4760 | 4550 | 93 | 97.08 | 9646 | 8601.05 | 156 | 210
Unit 1 |  | 210 | 210 | 4.84 | 4.53 | 457.52 | 415.44 | 12 | 0
Unit 10 |  | 500 | 500 | 11.39 | 10.9 | 1071.17 | 966.76 | 12 | 0
Unit 11 |  | 500 | 500 | 11.58 | 10.97 | 566.74 | 573.23 | 12 | 0
Unit 12 |  | 500 | 500 | 11.48 | 10.9 | 1081.44 | 962.35 | 12 | 0
Unit 13 |  | 500 | 500 | 11.39 | 10.92 | 1073.17 | 954.83 | 12 | 0
Unit 2 |  | 210 | 0 | 0 | 0 | 364 | 307.39 | 12 | 210 | 2025-06-12 00:45 |  | OVERHAULING WORKS
Unit 3 |  | 210 | 210 | 4.87 | 4.61 | 455.61 | 368.06 | 12 | 0
Unit 4 |  | 210 | 210 | 4.87 | 4.53 | 455.61 | 410.46 | 12 | 0
Unit 5 |  | 210 | 210 | 4.87 | 4.49 | 455.61 | 395.1 | 12 | 0
Unit 6 |  | 210 | 210 | 4.84 | 4.56 | 457.52 | 408.82 | 12 | 0
Unit 7 |  | 500 | 500 | 11.48 | 9.75 | 1078.44 | 942.64 | 12 | 0
Unit 8 |  | 500 | 500 | 11.39 | 10.14 | 1071.17 | 972.57 | 12 | 0
Unit 9 |  | 500 | 500 | 0 | 10.78 | 1058 | 923.4 | 12 | 0
Total THERMAL |  | 7680 | 6010 | 135.01 | 126.84 | 13918.03 | 12872.18 | 250 | 1670
Total Generation |  | 7680 | 6010 | 135.01 | 126.84 | 13918.03 | 12872.18 | 250 | 1670
Maharashtra
MAUDA TPS |  | 2320 | 1820 | 43.04 | 38.57 | 4322.12 | 3705.05 | 120 | 500
Unit 1 |  | 500 | 0 | 9.23 | 0 | 925.69 | 700.8 | 30 | 500 | 2025-06-15 00:24 |  | OVERHAULING WORKS
Unit 2 |  | 500 | 500 | 9.23 | 10.53 | 925.69 | 890.8 | 30 | 0
Unit 3 |  | 660 | 660 | 12.1 | 13.94 | 1224.3 | 1109.26 | 30 | 0
Unit 4 |  | 660 | 660 | 12.48 | 14.1 | 1246.44 | 1004.19 | 30 | 0
SOLAPUR STPS |  | 1320 | 660 | 20.46 | 11.95 | 2003.38 | 1645.35 | 74 | 660
Unit 1 |  | 660 | 660 | 10.29 | 11.95 | 1015.87 | 849.21 | 37 | 0
Unit 2 |  | 660 | 0 | 10.17 | 0 | 987.51 | 796.14 | 37 | 660 | 2025-06-25 23:00 |  | OVERHAULING WORKS
Total THERMAL |  | 3640 | 2480 | 63.5 | 50.52 | 6325.5 | 5350.4 | 194 | 1160
Total Generation |  | 3640 | 2480 | 63.5 | 50.52 | 6325.5 | 5350.4 | 194 | 1160
Andhra Pradesh
SIMHADRI |  | 2000 | 1500 | 27 | 28.95 | 3449 | 3096.94 | 116 | 500
Unit 1 |  | 500 | 500 | 8.84 | 9.19 | 872.52 | 819.52 | 29 | 0
Unit 2 |  | 500 | 500 | 8.9 | 9.63 | 882.7 | 800.83 | 29 | 0
Unit 3 |  | 500 | 0 | 0 | 0 | 766 | 682.49 | 29 | 500 | 2025-06-16 00:04 |  | OVERHAULING WORKS
Unit 4 |  | 500 | 500 | 9.26 | 10.13 | 927.78 | 794.1 | 29 | 0
Total THERMAL |  | 2000 | 1500 | 27 | 28.95 | 3449 | 3096.94 | 116 | 500
Total Generation |  | 2000 | 1500 | 27 | 28.95 | 3449 | 3096.94 | 116 | 500
Karnataka
KUDGI STPP |  | 2400 | 800 | 24.12 | 14.58 | 3590.36 | 2498.52 | 99 | 1600
Unit 1 |  | 800 | 0 | 12.06 | 0 | 1190.18 | 683.45 | 33 | 800 | 2025-06-17 03:38 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 2 |  | 800 | 0 | 0 | 0 | 1211 | 672.98 | 33 | 800 | 2025-05-31 13:35 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 3 |  | 800 | 800 | 12.06 | 14.58 | 1189.18 | 1142.09 | 33 | 0
Total THERMAL |  | 2400 | 800 | 24.12 | 14.58 | 3590.36 | 2498.52 | 99 | 1600
Total Generation |  | 2400 | 800 | 24.12 | 14.58 | 3590.36 | 2498.52 | 99 | 1600
Kerala
R. GANDHI CCPP (Liq.) |  | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Total THER (GT) |  | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Total Generation |  | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Telangana
RAMAGUNDEM STPS |  | 2600 | 1900 | 53 | 39.11 | 5247 | 4064.92 | 245 | 700
Unit 1 |  | 200 | 200 | 4 | 4 | 403 | 340.24 | 35 | 0
Unit 2 |  | 200 | 0 | 4 | 0 | 403 | 283.09 | 35 | 200 | 2025-06-20 00:08 |  | GENEATOR PROTECTION MISC/BACK UP PROT
Unit 3 |  | 200 | 200 | 4.06 | 3.92 | 403.18 | 315.72 | 35 | 0 | 2025-07-03 23:30 |  | MAINT./REPLACEMENT OF BRUSHES/SLIP RINGS
Unit 4 |  | 500 | 500 | 10.55 | 10.32 | 989.65 | 830.72 | 35 | 0
Unit 5 |  | 500 | 0 | 10.26 | 0 | 1026.78 | 614.49 | 35 | 500 | 2025-06-21 10:01 |  | RESERVE SHUT DOWN / STANDBY UNIT
Unit 6 |  | 500 | 500 | 9.87 | 10.5 | 994.61 | 833.7 | 35 | 0
Unit 7 |  | 500 | 500 | 10.26 | 10.37 | 1026.78 | 846.96 | 35 | 0
TELANGANA STPP PH-1 |  | 1600 | 1600 | 29.52 | 29.58 | 2933.56 | 2605.52 | 62 | 0
Unit 1 |  | 800 | 800 | 14.84 | 13.34 | 1464.52 | 1371.41 | 31 | 0
Unit 2 |  | 800 | 800 | 14.68 | 16.24 | 1469.04 | 1234.11 | 31 | 0
Total THERMAL |  | 4200 | 3500 | 82.52 | 68.69 | 8180.56 | 6670.44 | 307 | 700
Total Generation |  | 4200 | 3500 | 82.52 | 68.69 | 8180.56 | 6670.44 | 307 | 700
Bihar
BARAUNI TPS |  | 500 | 250 | 10.39 | 5.89 | 1001.17 | 914.27 | 140 | 250
Unit 6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 2023-07-22 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Unit 7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 2023-07-19 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Unit 8 |  | 250 | 0 | 5.29 | 0 | 495.87 | 431.87 | 35 | 250 | 2025-07-02 23:29 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Unit 9 |  | 250 | 250 | 5.1 | 5.89 | 505.3 | 482.4 | 35 | 0
BARH STPS |  | 3300 | 1980 | 44.65 | 42.49 | 5707.95 | 4171.83 | 140 | 1320
Unit 1 |  | 660 | 660 | 11.13 | 14 | 1095.39 | 935.76 | 28 | 0
Unit 2 |  | 660 | 660 | 9.87 | 14.27 | 974.61 | 912.99 | 28 | 0
Unit 3 |  | 660 | 0 | 10.68 | 0 | 1057.04 | 35.28 | 28 | 660 | 2025-07-02 08:22 |  | WATER WALL TUBE LEAKAGE
Unit 4 |  | 660 | 660 | 0 | 14.22 | 1277 | 1241.37 | 28 | 0
Unit 5 |  | 660 | 0 | 12.97 | 0 | 1303.91 | 1046.43 | 28 | 660 | 2025-07-02 01:25 |  | OVERHAULING WORKS
KAHALGAON TPS |  | 2340 | 2130 | 46.07 | 45.63 | 4739.21 | 4298.43 | 126 | 210
Unit 1 |  | 210 | 210 | 0 | 4.45 | 421 | 388.15 | 18 | 0
Unit 2 |  | 210 | 0 | 4.55 | 0 | 426.65 | 351.91 | 18 | 210 | 2025-07-02 12:24 |  | REHEATER TUBE LEAKAGE
Unit 3 |  | 210 | 210 | 4.55 | 4.44 | 426.65 | 393.05 | 18 | 0
Unit 4 |  | 210 | 210 | 4.61 | 4.31 | 434.83 | 370.26 | 18 | 0
Unit 5 |  | 500 | 500 | 10.71 | 10.75 | 1001.13 | 936.42 | 18 | 0
Unit 6 |  | 500 | 500 | 10.71 | 10.88 | 1001.13 | 943.95 | 18 | 0
Unit 7 |  | 500 | 500 | 10.94 | 10.8 | 1027.82 | 914.69 | 18 | 0
Total THERMAL |  | 6140 | 4360 | 101.11 | 94.01 | 11448.33 | 9384.53 | 406 | 1780
Total Generation |  | 6140 | 4360 | 101.11 | 94.01 | 11448.33 | 9384.53 | 406 | 1780
Jharkhand
NORTH KARANPURA TPP |  | 1980 | 1320 | 34.13 | 29.99 | 3413.39 | 2584.59 | 66 | 660
Unit 1 |  | 660 | 660 | 12.68 | 14.98 | 1272.04 | 1179.23 | 22 | 0
Unit 2 |  | 660 | 660 | 12.68 | 15.01 | 1274.04 | 1311.14 | 22 | 0
Unit 3 |  | 660 | 0 | 8.77 | 0 | 867.31 | 94.22 | 22 | 660 | 2025-06-22 11:47 |  | ASH HANDLING SYSTEM PROBLEM
Total THERMAL |  | 1980 | 1320 | 34.13 | 29.99 | 3413.39 | 2584.59 | 66 | 660
Total Generation |  | 1980 | 1320 | 34.13 | 29.99 | 3413.39 | 2584.59 | 66 | 660
Odisha
DARLIPALI STPS |  | 1600 | 800 | 36.45 | 19.27 | 3425.35 | 3203.24 | 38 | 800
Unit 1 |  | 800 | 800 | 18.1 | 19.27 | 1699.3 | 1703.92 | 19 | 0
Unit 2 |  | 800 | 0 | 18.35 | 0 | 1726.05 | 1499.32 | 19 | 800 | 2025-07-01 |  | OVERHAULING WORKS
TALCHER STPS |  | 3000 | 2500 | 44.82 | 56.74 | 6073.46 | 5745.63 | 114 | 500
Unit 1 |  | 500 | 500 | 0 | 10.92 | 1040 | 950.79 | 19 | 0
Unit 2 |  | 500 | 500 | 11.1 | 11.14 | 1043.3 | 969.66 | 19 | 0
Unit 3 |  | 500 | 0 | 0 | 0 | 865 | 795.49 | 19 | 500 | 2025-06-14 00:56 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Unit 4 |  | 500 | 500 | 11.39 | 11.52 | 1071.17 | 1003.42 | 19 | 0
Unit 5 |  | 500 | 500 | 11.1 | 11.59 | 1043.3 | 1015.32 | 19 | 0
Unit 6 |  | 500 | 500 | 11.23 | 11.57 | 1010.69 | 1010.95 | 19 | 0
Total THERMAL |  | 4600 | 3300 | 81.27 | 76.01 | 9498.81 | 8948.87 | 152 | 1300
Total Generation |  | 4600 | 3300 | 81.27 | 76.01 | 9498.81 | 8948.87 | 152 | 1300
West Bengal
FARAKKA STPS |  | 2100 | 2100 | 39.8 | 42.6 | 4199.4 | 3472.24 | 138 | 0
Unit 1 |  | 200 | 200 | 4.19 | 4.23 | 395.57 | 306.85 | 23 | 0
Unit 2 |  | 200 | 200 | 4.19 | 4.19 | 395.57 | 300.39 | 23 | 0
Unit 3 |  | 200 | 200 | 0 | 4.25 | 398 | 315.76 | 23 | 0
Unit 4 |  | 500 | 500 | 10.45 | 9.69 | 981.35 | 826.55 | 23 | 0
Unit 5 |  | 500 | 500 | 10.1 | 9.66 | 1012.3 | 808.75 | 23 | 0
Unit 6 |  | 500 | 500 | 10.87 | 10.58 | 1016.61 | 913.94 | 23 | 0
Total THERMAL |  | 2100 | 2100 | 39.8 | 42.6 | 4199.4 | 3472.24 | 138 | 0
Total Generation |  | 2100 | 2100 | 39.8 | 42.6 | 4199.4 | 3472.24 | 138 | 0
Assam
BONGAIGAON TPP |  | 750 | 750 | 15.2 | 14.58 | 1383.6 | 1120.73 | 102 | 0
Unit 1 |  | 250 | 250 | 4.97 | 4.85 | 496.91 | 403.45 | 34 | 0
Unit 2 |  | 250 | 250 | 5.23 | 4.83 | 493.69 | 402.87 | 34 | 0
Unit 3 |  | 250 | 250 | 5 | 4.9 | 393 | 314.41 | 34 | 0
Total THERMAL |  | 750 | 750 | 15.2 | 14.58 | 1383.6 | 1120.73 | 102 | 0
Total Generation |  | 750 | 750 | 15.2 | 14.58 | 1383.6 | 1120.73 | 102 | 0
Remarks:-
Report Version :-