## dailyOutage_Report
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 04-10-2025
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[8 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Haryana |  | INDIRA GANDHI STPP | 3 | 0 | 0 | 500 | 0 | 04/10/2025 00:04 |  | RSD/LOW SCHEDULE
Rajasthan |  | RAJASTHAN A.P.S. | 7 | 0 | 0 | 700 | 0 | 04/10/2025 16:34 |  | TURBINE VIBRATION HIGH
Rajasthan |  | CHHABRA-II TPP | 5 | 660 | 0 | 0 | 0 | 02/10/2025 03:17 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan |  | ADANI POWER LIMITED KAWAI TPP | 1 | 0 | 660 | 0 | 0 | 31/08/2025 15:30 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | GHATAMPUR TPP | 1 | 0 | 0 | 660 | 0 | 03/10/2025 11:21 |  | FURNACE DRAFT ABNORMAL
Uttar Pradesh |  | RIHAND STPS | 2 | 500 | 0 | 0 | 0 | 08/08/2025 12:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh |  | TANDA TPS | 5 | 0 | 0 | 660 | 0 | 29/09/2025 17:00 |  | WATER WALL TUBE LEAKAGE
Uttar Pradesh |  | TANDA TPS | 6 | 660 | 0 | 0 | 0 | 22/09/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh |  | OBRA TPS | 15 | 0 | 660 | 0 | 0 | 18/09/2025 20:31 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Chhatisgarh |  | LARA TPP | 2 | 800 | 0 | 0 | 0 | 25/08/2025 00:29 |  | OVERHAULING WORKS
Chhatisgarh |  | TAMNAR TPP | 2 | 0 | 0 | 600 | 0 | 04/10/2025 10:11 |  | TURBINE MISC.
Chhatisgarh |  | Vedanta Ltd Chhattisgarh TPP | 1 | 0 | 600 | 0 | 0 | 17/09/2025 05:51 |  | TURBINE BEARING PROBLEM
Gujarat |  | ADANI POWER LIMITED MUNDRA TPP - I & II | 6 | 0 | 0 | 660 | 0 | 01/10/2025 13:54 | 04/10/2025 18:45 | RSD/LOW SCHEDULE
Gujarat |  | MUNDRA UMTPP | 1 | 0 | 800 | 0 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 2 | 0 | 800 | 0 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat |  | MUNDRA UMTPP | 3 | 0 | 800 | 0 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat |  | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat |  | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Gujarat |  | SALAYA TPP | 1 | 0 | 0 | 600 | 0 | 30/09/2025 11:51 |  | RESERVE SHUT DOWN / STANDBY UNIT
Madhya Pradesh |  | KHARGONE STPP | 1 | 0 | 0 | 660 | 0 | 02/10/2025 12:17 |  | RESERVE SHUT DOWN / STANDBY UNIT
Madhya Pradesh |  | VINDHYACHAL STPS | 9 | 0 | 0 | 500 | 0 | 02/10/2025 21:34 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh |  | SHREE SINGAJI TPP | 1 | 0 | 0 | 0 | 600 | 01/10/2025 07:28 |  | RESERVE SHUT DOWN
Madhya Pradesh |  | SHREE SINGAJI TPP | 2 | 0 | 0 | 600 | 0 | 01/10/2025 19:35 |  | RSD/LOW SCHEDULE
Madhya Pradesh |  | SHREE SINGAJI TPP | 3 | 0 | 0 | 660 | 0 | 01/10/2025 14:28 |  | RSD/LOW SCHEDULE
Madhya Pradesh |  | ANUPPUR TPP | 1 | 0 | 0 | 625 | 0 | 02/10/2025 04:10 |  | AIR PREHEATERS PROBLEM
Madhya Pradesh |  | SASAN UMTPP | 6 | 0 | 0 | 0 | 0 | 03/10/2025 23:04 | 04/10/2025 03:19 | TURBINE MISC. PROBLEM
Maharashtra |  | SOLAPUR STPS | 1 | 0 | 0 | 660 | 0 | 02/10/2025 10:13 |  | RESERVE SHUT DOWN / STANDBY UNIT
Maharashtra |  | BHUSAWAL TPS | 5 | 0 | 0 | 500 | 0 | 01/10/2025 22:00 |  | RSD/LOW SCHEDULE
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 6 | 0 | 0 | 500 | 0 | 04/10/2025 15:22 | 04/10/2025 18:15 | DRUM LEVEL LOW
Maharashtra |  | KHAPARKHEDA TPS | 5 | 0 | 0 | 500 | 0 | 03/10/2025 11:29 |  | WATER WALL TUBE LEAKAGE
Andhra Pradesh |  | RAYALASEEMA TPS | 6 | 0 | 0 | 600 | 0 | 02/10/2025 20:27 |  | P.A. FANS PROBLEM
Andhra Pradesh |  | VIZAG TPP | 2 | 520 | 0 | 0 | 0 | 03/10/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | KUDGI STPP | 2 | 0 | 0 | 800 | 0 | 01/10/2025 00:06 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | KUDGI STPP | 3 | 0 | 0 | 800 | 0 | 02/10/2025 00:12 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | BELLARY TPS | 3 | 700 | 0 | 0 | 0 | 21/07/2025 23:35 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 1 | 600 | 0 | 0 | 0 | 20/09/2025 03:02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 2 | 0 | 0 | 600 | 0 | 27/09/2025 10:53 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | NEYVELI NEW TPP | 1 | 0 | 0 | 0 | 0 | 04/10/2025 11:30 | 04/10/2025 13:45 | MISCELLANEOUS
Tamil Nadu |  | KUDANKULAM | 1 | 1000 | 0 | 0 | 0 | 01/08/2025 04:30 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | METTUR TPS - II | 1 | 0 | 0 | 600 | 0 | 03/10/2025 22:45 | 04/10/2025 23:59 | BOILER MISC. PROBLEM
Tamil Nadu |  | ITPCL TPP | 2 | 600 | 0 | 0 | 0 | 01/08/2025 01:36 |  | CAPITAL MAINTENANCE
Tamil Nadu |  | MUTHIARA TPP | 1 | 0 | 0 | 600 | 0 | 03/10/2025 22:14 |  | COOLING WATER PUMP PROBLEM
Telangana |  | RAMAGUNDEM STPS | 4 | 0 | 0 | 500 | 0 | 02/10/2025 00:05 |  | CONSERVATION OF MAIN FUEL/RSD
Telangana |  | KOTHAGUDEM TPS (STAGE-7) | 12 | 0 | 0 | 800 | 0 | 02/10/2025 02:27 |  | RSD/LOW SCHEDULE
Bihar |  | BARH STPS | 1 | 0 | 0 | 660 | 0 | 01/10/2025 19:32 |  | WATER WALL TUBE LEAKAGE
Bihar |  | BARH STPS | 2 | 0 | 0 | 660 | 0 | 29/09/2025 07:22 |  | WATER WALL TUBE LEAKAGE
Bihar |  | BARH STPS | 3 | 0 | 0 | 660 | 0 | 29/09/2025 12:57 |  | WATER WALL TUBE LEAKAGE
Bihar |  | BARH STPS | 4 | 0 | 0 | 660 | 0 | 04/10/2025 17:07 |  | C&I PROBLEM
Bihar |  | KAHALGAON TPS | 7 | 0 | 0 | 500 | 0 | 04/10/2025 08:30 |  | WATER WALL TUBE LEAKAGE
Jharkhand |  | NORTH KARANPURA TPP | 3 | 0 | 0 | 660 | 0 | 28/09/2025 00:56 |  | WATER WALL TUBE LEAKAGE
Odisha |  | TALCHER STPS | 4 | 500 | 0 | 0 | 0 | 24/08/2025 00:28 |  | OVERHAULING WORKS
Odisha |  | TALCHER STPS | 6 | 0 | 0 | 0 | 0 | 29/09/2025 17:53 | 04/10/2025 11:09 | WATER WALL TUBE LEAKAGE
Odisha |  | VEDANTA TPP | 2 | 0 | 0 | 600 | 0 | 02/10/2025 12:50 |  | RSD/LOW SCHEDULE
West Bengal |  | RAGHUNATHPUR TPP | 1 | 0 | 0 | 600 | 0 | 04/10/2025 06:57 |  | LUB.OIL SYSTEM PROBLEM
| Total | 5: 6540; 6: 5920; 7: 19885; DD/MM/YYYY HH24:MM 8: 600
Remarks:-
Report Version :-