## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 04-10-2025 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
KORBA-WEST TPS | 2 | 210.00 | 04/10/2025 17:56 | 04/10/2025 21:57 | GENEARTOR MISC.
ADANI POWER LIMITED MUNDRA TPP - I & II | 6 | 660.00 | 01/10/2025 13:54 | 04/10/2025 18:45 | RSD/LOW SCHEDULE
SASAN UMTPP | 6 | 660.00 | 03/10/2025 23:04 | 04/10/2025 03:19 | TURBINE MISC. PROBLEM
CHANDRAPUR(MAHARASHTRA) STPS | 6 | 500.00 | 04/10/2025 15:22 | 04/10/2025 18:15 | DRUM LEVEL LOW
AMRAVATI TPS | 4 | 270.00 | 23/08/2025 00:00 | 04/10/2025 10:32 | CAPITAL MAINTENANCE
NEYVELI NEW TPP | 1 | 500.00 | 04/10/2025 11:30 | 04/10/2025 13:45 | MISCELLANEOUS
METTUR TPS - II | 1 | 600.00 | 03/10/2025 22:45 | 04/10/2025 23:59 | BOILER MISC. PROBLEM
OPG Power Generation Private Limited | 2 | 77.00 | 03/10/2025 23:59 | 04/10/2025 17:00 | RSD/LOW SCHEDULE
TALCHER STPS | 6 | 500.00 | 29/09/2025 17:53 | 04/10/2025 11:09 | WATER WALL TUBE LEAKAGE
KATHALGURI CCPP | 4 | 33.50 | 04/10/2025 00:00 | 04/10/2025 23:59 | LOW SYSTEM DEMAND
LAKWA REPLACEMENT POWER PROJECT | 1 | 9.96 | 03/10/2025 20:30 | 04/10/2025 18:45 | GRID DISTURBANCES MISC.
LAKWA REPLACEMENT POWER PROJECT | 1 |  | 04/10/2025 18:45 | 04/10/2025 20:45 | Fuel Shortage
AGARTALA GT | 2 | 21.00 | 04/10/2025 00:00 | 04/10/2025 23:59 | Fuel Shortage
Total |  | 4,041.47