## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 04-10-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
INDIRA GANDHI STPP | 3 | 500.00 | 04/10/2025 00:04 |  | RSD/LOW SCHEDULE
RAJASTHAN A.P.S. | 7 | 700.00 | 04/10/2025 16:34 | 10/10/2025 | TURBINE VIBRATION HIGH
SURATGARH TPS | 5 | 250.00 | 04/10/2025 20:27 |  | RSD/LOW SCHEDULE
KORBA-WEST TPS | 2 | 210.00 | 04/10/2025 17:56 | 04/10/2025 | GENEARTOR MISC.
KORBA-WEST TPS | 3 | 210.00 | 04/10/2025 10:30 | 05/10/2025 | ECONOMISER TUBE LEAKAGE
TAMNAR TPP | 2 | 600.00 | 04/10/2025 10:11 |  | TURBINE MISC.
CHANDRAPUR(MAHARASHTRA) STPS | 6 | 500.00 | 04/10/2025 15:22 |  | DRUM LEVEL LOW
AMRAVATI TPS | 3 | 270.00 | 04/10/2025 09:30 |  | ASH HANDLING SYSTEM PROBLEM
NEYVELI NEW TPP | 1 | 500.00 | 04/10/2025 11:30 |  | MISCELLANEOUS
OPG Power Generation Private Limited | 2 | 77.00 | 04/10/2025 23:59 |  | RSD/LOW SCHEDULE
BARH STPS | 4 | 660.00 | 04/10/2025 17:07 | 05/10/2025 | C&I PROBLEM
KAHALGAON TPS | 7 | 500.00 | 04/10/2025 08:30 | 05/10/2025 | WATER WALL TUBE LEAKAGE
RAGHUNATHPUR TPP | 1 | 600.00 | 04/10/2025 06:57 |  | LUB.OIL SYSTEM PROBLEM
KOLAGHAT TPS | 6 | 210.00 | 04/10/2025 11:31 |  | BOILER MISC. PROBLEM
KATHALGURI CCPP | 4 | 33.50 | 04/10/2025 00:00 |  | LOW SYSTEM DEMAND
LAKWA REPLACEMENT POWER PROJECT | 1 | 9.96 | 04/10/2025 20:45 |  | GRID DISTURBANCES MISC.
LAKWA REPLACEMENT POWER PROJECT | 1 |  | 04/10/2025 18:45 |  | Fuel Shortage
AGARTALA GT | 2 | 21.00 | 04/10/2025 00:00 |  | Fuel Shortage
Total |  | 5851.47
https://npp.gov.in 06/10/2025 17:28:47 |  |  |  |  | PAGE 1