## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 05-09-2024
Sub-Report-10
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana | RAJIV GANDHI TPS | 2 | 0 | 0 | 600 | 0 | 05/09/2024 20:08 |  | ECONOMISER TUBE LEAKAGE
Punjab | GH TPS (LEH.MOH.) | 2 | 0 | 210 | 0 | 0 | 30/04/2022 15:01 |  | ASH HANDLING SYSTEM PROBLEM
Punjab | GH TPS (LEH.MOH.) | 3 | 0 | 0 | 250 | 0 | 26/08/2024 18:09 |  | WATER WALL TUBE LEAKAGE
Punjab | ROPAR TPS | 3 | 0 | 0 | 210 | 0 | 28/08/2024 06:32 |  | RSD/LOW SCHEDULE
Punjab | ROPAR TPS | 5 | 0 | 0 | 210 | 0 | 27/08/2024 17:01 |  | RSD/LOW SCHEDULE
Punjab | ROPAR TPS | 6 | 0 | 0 | 210 | 0 | 24/08/2024 21:45 |  | RSD/LOW SCHEDULE
Rajasthan | DAE (RAJASTHAN) | 1 | 0 | 100 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | KOTA TPS | 5 | 0 | 0 | 210 | 0 | 04/09/2024 23:31 |  | GENEREATOR COOLING SYSTEM
Rajasthan | KOTA TPS | 7 | 0 | 0 | 0 | 0 | 11/08/2024 23:44 | 05/09/2024 04:54 | ANNUAL MAINTENANCE
Rajasthan | SURATGARH STPS | 8 | 660 | 0 | 0 | 0 | 28/07/2024 00:14 |  | ANNUAL MAINTENANCE
Rajasthan | SURATGARH TPS | 2 | 0 | 0 | 250 | 0 | 04/09/2024 19:07 |  | FURNACE FIRE OUT /FLAME FAILURE
Rajasthan | JALIPA KAPURDI TPP | 3 | 0 | 135 | 0 | 0 | 12/08/2024 07:27 |  | BOILER MISC. PROBLEM
Rajasthan | JALIPA KAPURDI TPP | 4 | 0 | 0 | 135 | 0 | 04/09/2024 11:01 |  | BOILER MISC. PROBLEM
Rajasthan | JALIPA KAPURDI TPP | 7 | 0 | 0 | 135 | 0 | 05/09/2024 06:43 |  | BOILER MISC. PROBLEM
Rajasthan | SHREE CEMENT LTD TPS | 1 | 0 | 0 | 150 | 0 | 05/09/2024 04:08 |  | GENERATOR EARTH FAULT
Uttar Pradesh | RIHAND STPS | 2 | 500 | 0 | 0 | 0 | 01/09/2024 01:33 |  | BOILER INSPECTION/ RE-CERTIFICATION
Uttar Pradesh | UNCHAHAR TPS | 5 | 0 | 0 | 210 | 0 | 05/09/2024 14:49 | 05/09/2024 23:14 | FURNACE FIRE OUT /FLAME FAILURE
Uttar Pradesh | OBRA TPS | 10 | 0 | 0 | 200 | 0 | 05/09/2024 16:39 | 05/09/2024 23:05 | DRUM LEVEL LOW
Uttar Pradesh | OBRA TPS | 13 | 0 | 0 | 200 | 0 | 01/09/2024 11:04 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Total Northern |  |  | 1410 | 445 | 2970 | 0
Western
Chhatisgarh | KORBA STPS | 1 | 0 | 0 | 200 | 0 | 04/09/2024 17:06 |  | WATER WALL TUBE LEAKAGE
Chhatisgarh | KORBA STPS | 6 | 0 | 500 | 0 | 0 | 10/08/2024 00:07 |  | CONSERVATION OF MAIN FUEL/RSD
Chhatisgarh | DSPM TPS | 2 | 250 | 0 | 0 | 0 | 03/08/2024 00:10 |  | SCHEDULED ANNUAL MAINTENANCE
Chhatisgarh | AKALTARA TPS | 2 | 0 | 0 | 600 | 0 | 22/08/2024 00:27 |  | COAL SHORTAGE
Chhatisgarh | AKALTARA TPS | 3 | 0 | 600 | 0 | 0 | 30/07/2024 00:51 | 05/09/2024 16:06 | COAL SHORTAGE
Chhatisgarh | BINJKOTE TPP | 1 | 300 | 0 | 0 | 0 | 31/08/2024 13:30 |  | SCHEDULED ANNUAL MAINTENANCE
Chhatisgarh | BINJKOTE TPP | 2 | 0 | 0 | 300 | 0 | 05/09/2024 12:17 | 05/09/2024 18:57 | P.A. FANS PROBLEM
Chhatisgarh | KASAIPALLI TPP | 1 | 0 | 135 | 0 | 0 | 02/07/2024 02:14 |  | TURBINE VIBRATION
Chhatisgarh | KATGHORA TPP | 1 | 0 | 0 | 0 | 35 | 15/10/2012 00:28 |  | NO Power purchase agreement
Chhatisgarh | PATHADI TPP | 1 | 300 | 0 | 0 | 0 | 21/07/2024 01:29 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Chhatisgarh | SALORA TPP | 1 | 0 | 0 | 0 | 135 | 19/10/2014 04:30 |  | NO Power purchase agreement
Chhatisgarh | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 25 | 01/04/2015 00:20 |  | NO Power purchase agreement
Chhatisgarh | TAMNAR TPP | 2 | 0 | 0 | 600 | 0 | 04/09/2024 20:28 |  | TURBINE MISC. PROBLEM
Chhatisgarh | UCHPINDA TPP | 2 | 360 | 0 | 0 | 0 | 06/08/2024 01:25 |  | CAPITAL MAINTENANCE
Chhatisgarh | UCHPINDA TPP | 3 | 0 | 0 | 360 | 0 | 29/08/2024 09:24 |  | HYDROGEN PRESSURE PROBLEM
Gujarat | AKRIMOTA LIG TPS | 1 | 0 | 125 | 0 | 0 | 08/06/2024 19:30 |  | BARRING GEAR PROBLEM
Gujarat | AKRIMOTA LIG TPS | 2 | 0 | 125 | 0 | 0 | 19/02/2024 18:45 |  | CABLE FAULTS
Gujarat | BHAVNAGAR CFBC | 1 | 0 | 0 | 250 | 0 | 26/08/2024 19:06 |  | WATER WALL TUBE LEAKAGE
Gujarat | TPP | 1 | 0 | 0 | 250 | 0 | 26/08/2024 19:06 |  | WATER WALL TUBE LEAKAGE
Gujarat | BHAVNAGAR CFBC TPP | 2 | 0 | 0 | 250 | 0 | 31/08/2024 12:45 |  | BOILER MISC. PROBLEM
Gujarat | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat | SIKKA REP. TPS | 3 | 0 | 0 | 0 | 250 | 05/09/2024 15:48 |  | RESERVE SHUT DOWN
Gujarat | SIKKA REP. TPS | 4 | 0 | 0 | 0 | 250 | 05/09/2024 17:21 |  | RESERVE SHUT DOWN
Gujarat | UKAI TPS | 4 | 0 | 200 | 0 | 0 | 20/08/2024 09:42 |  | FURNACE FIRE OUT /FLAME FAILURE
Gujarat | WANAKBORI TPS | 2 | 0 | 0 | 210 | 0 | 04/09/2024 10:28 |  | COAL FEEDING PROBLEM IN PLANT
Gujarat | WANAKBORI TPS | 3 | 0 | 0 | 210 | 0 | 03/09/2024 00:26 |  | FURNACE DRAFT ABNORMAL
Gujarat | ADANI POWER LIMITED MUNDRA TPP - III | 8 | 0 | 660 | 0 | 0 | 11/08/2024 04:34 |  | AIR PREHEATERS PROBLEM
Gujarat | ADANI POWER LIMITED MUNDRA TPP - III | 9 | 0 | 0 | 660 | 0 | 27/08/2024 22:28 |  | H.P.ROTOR BLADES FAILURE
Gujarat | ADANI POWER LIMITED MUNDRA TPP - I & II | 1 | 0 | 0 | 330 | 0 | 25/08/2024 12:41 |  | RSD/LOW SCHEDULE
Gujarat | ADANI POWER LIMITED MUNDRA TPP - I & II | 2 | 0 | 0 | 0 | 330 | 25/08/2024 12:04 | 05/09/2024 20:48 | ACCIDENT/STRIKE/OTHERS
Gujarat | ADANI POWER LIMITED MUNDRA TPP - I & II | 3 | 0 | 0 | 330 | 0 | 25/08/2024 12:01 |  | RSD/LOW SCHEDULE
Gujarat | ADANI POWER LIMITED MUNDRA TPP - I & II | 5 | 0 | 0 | 660 | 0 | 26/08/2024 11:45 |  | RSD/LOW SCHEDULE
Gujarat | MUNDRA UMTPP | 1 | 0 | 0 | 800 | 0 | 29/08/2024 13:17 |  | COAL FEEDING SYSTEM FAILURE.
Gujarat | MUNDRA UMTPP | 2 | 0 | 0 | 800 | 0 | 29/08/2024 14:20 |  | COAL FEEDING SYSTEM FAILURE.
Gujarat | MUNDRA UMTPP | 3 | 0 | 0 | 800 | 0 | 23/08/2024 11:02 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat | MUNDRA UMTPP | 4 | 0 | 0 | 800 | 0 | 29/08/2024 13:17 |  | COAL FEEDING SYSTEM FAILURE.
Gujarat | MUNDRA UMTPP | 5 | 0 | 0 | 800 | 0 | 29/08/2024 14:36 |  | COAL FEEDING SYSTEM FAILURE.
Gujarat | SURAT LIG. TPS | 1 | 0 | 0 | 125 | 0 | 02/09/2024 16:15 |  | WATER WALL TUBE LEAKAGE
Gujarat | SURAT LIG. TPS | 2 | 125 | 0 | 0 | 0 | 20/08/2024 00:00 |  | ANNUAL MAINTENANCE
Madhya Pradesh | GADARWARA TPP | 1 | 0 | 0 | 0 | 800 | 05/09/2024 20:24 |  | NO/REDUCED IRRIGATION DEMAND
Madhya Pradesh | GADARWARA TPP | 2 | 0 | 0 | 0 | 800 | 30/06/2024 23:49 |  | NO/REDUCED IRRIGATION DEMAND
Madhya Pradesh | VINDHYACHAL STPS | 10 | 500 | 0 | 0 | 0 | 12/08/2024 00:07 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh | SANJAY GANDHI TPS | 1 | 210 | 0 | 0 | 0 | 04/08/2024 19:03 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SANJAY GANDHI TPS | 2 | 210 | 0 | 0 | 0 | 15/07/2024 21:55 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SATPURA TPS | 6 | 200 | 0 | 0 | 0 | 05/03/2021 11:55 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 7 | 210 | 0 | 0 | 0 | 05/03/2021 10:09 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 8 | 210 | 0 | 0 | 0 | 29/02/2020 23:54 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 9 | 210 | 0 | 0 | 0 | 22/02/2020 02:52 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 10 | 250 | 0 | 0 | 0 | 01/08/2024 00:08 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh | SHREE SINGAJI TPP | 1 | 600 | 0 | 0 | 0 | 22/08/2024 20:16 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SHREE SINGAJI TPP | 3 | 660 | 0 | 0 | 0 | 30/07/2024 16:39 |  | ANNUAL MAINTENANCE
Madhya Pradesh | BINA TPS | 1 | 0 | 0 | 0 | 0 | 02/09/2024 12:02 | 05/09/2024 00:01 | WATER WALL TUBE LEAKAGE
Madhya Pradesh | NIGRI TPP | 1 | 0 | 0 | 660 | 0 | 02/09/2024 20:53 | 05/09/2024 12:59 | WATER WALL TUBE LEAKAGE
Maharashtra | MAUDA TPS | 1 | 0 | 0 | 500 | 0 | 02/09/2024 17:53 | 05/09/2024 16:19 | SUPER HEATER TUBE LEAKAGE
Maharashtra | MAUDA TPS | 4 | 660 | 0 | 0 | 0 | 31/08/2024 23:10 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | TARAPUR | 2 | 160 | 0 | 0 | 0 | 20/12/2023 11:06 |  | ANNUAL MAINTENANCE
Maharashtra | BHUSAWAL TPS | 3 | 0 | 0 | 210 | 0 | 04/09/2024 23:02 |  | WATER WALL TUBE LEAKAGE
Maharashtra | BHUSAWAL TPS | 5 | 0 | 0 | 500 | 0 | 05/09/2024 10:49 |  | ECONOMISER TUBE LEAKAGE
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 3 | 210 | 0 | 0 | 0 | 15/08/2024 17:21 |  | CAPITAL MAINTENANCE
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 5 | 0 | 0 | 500 | 0 | 02/09/2024 21:14 |  | BOILER FEED PUMP/MOTOR PROBLEM
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 9 | 500 | 0 | 0 | 0 | 31/08/2024 23:45 |  | CAPITAL MAINTENANCE
Maharashtra | KHAPARKHEDA TPS | 3 | 0 | 0 | 0 | 0 | 05/09/2024 07:33 | 05/09/2024 11:03 | FURNACE DRAFT ABNORMAL
Maharashtra | NASIK TPS | 5 | 0 | 0 | 0 | 210 | 25/08/2024 13:23 |  | RESERVE SHUT DOWN
Maharashtra | PARLI TPS | 6 | 250 | 0 | 0 | 0 | 04/08/2024 00:00 |  | ANNUAL MAINTENANCE
Maharashtra | AMRAVATI TPS | 3 | 0 | 270 | 0 | 0 | 23/07/2024 00:47 |  | TURBINE VIBRATION HIGH
Maharashtra | BUTIBORI TPP | 1 | 0 | 300 | 0 | 0 | 29/12/2018 00:30 |  | COAL SHORTAGE
Maharashtra | BUTIBORI TPP | 2 | 0 | 300 | 0 | 0 | 17/01/2019 00:15 |  | COAL SHORTAGE
Maharashtra | GEPL TPP Ph-I | 1 | 0 | 0 | 0 | 60 | 29/06/2013 00:00 |  | NO Power purchase agreement
Maharashtra | GEPL TPP Ph-I | 2 | 0 | 0 | 0 | 60 | 20/06/2013 20:27 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 1 | 0 | 0 | 0 | 61.51 | 10/01/2013 15:50 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 2 | 0 | 0 | 0 | 61.5 | 05/11/2013 11:53 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 3 | 0 | 0 | 0 | 61.5 | 10/06/2013 18:00 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 4 | 0 | 0 | 0 | 61.5 | 20/08/2013 10:00 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 1 | 0 | 0 | 0 | 270 | 04/03/2014 18:10 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 2 | 0 | 0 | 0 | 270 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 3 | 0 | 0 | 0 | 270 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 4 | 0 | 0 | 0 | 270 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 5 | 0 | 0 | 0 | 270 | 30/05/2017 15:24 |  | NO Power purchase agreement
Maharashtra | WARDHA WARORA TPP | 2 | 135 | 0 | 0 | 0 | 01/08/2024 01:50 |  | CAPITAL MAINTENANCE
Total Western |  |  | 6670 | 3290 | 11455 | 4551.01
Southern
Andhra Pradesh | SIMHADRI | 2 | 0 | 0 | 500 | 0 | 05/09/2024 09:16 |  | SUPER HEATER TUBE LEAKAGE
Andhra Pradesh | DAMODARAM SANJEEVAIAH TPS | 1 | 0 | 0 | 0 | 0 | 03/09/2024 23:43 | 05/09/2024 02:07 | BOILER AUX. MISC. PROMLEMS
Andhra Pradesh | DAMODARAM SANJEEVAIAH TPS | 3 | 0 | 0 | 0 | 0 | 05/09/2024 21:24 |  | BOILER MISC. PROBLEM
Andhra Pradesh | Dr. N.TATA RAO TPS | 1 | 0 | 0 | 210 | 0 | 30/08/2024 15:27 |  | BOILER AUX. MISC. PROMLEMS
Andhra Pradesh | Dr. N.TATA RAO TPS | 2 | 0 | 0 | 210 | 0 | 31/08/2024 16:09 |  | FURNACE FIRE OUT /FLAME FAILURE
Andhra Pradesh | Dr. N.TATA RAO TPS | 3 | 0 | 0 | 210 | 0 | 27/08/2024 00:00 | 05/09/2024 20:28 | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh | Dr. N.TATA RAO TPS | 7 | 500 | 0 | 0 | 0 | 31/08/2024 15:47 |  | ANNUAL MAINTENANCE
Andhra Pradesh | Dr. N.TATA RAO TPS | 8 | 0 | 800 | 0 | 0 | 09/08/2024 12:29 |  | GENEATOR PROTECTION MISC/BACK UP PROT
Andhra Pradesh | THAMMINAPATNAM TPS | 1 | 0 | 0 | 150 | 0 | 05/09/2024 10:59 |  | TURBINE VIBRATION HIGH
Andhra Pradesh | THAMMINAPATNAM TPS | 2 | 0 | 150 | 0 | 0 | 05/08/2024 07:22 |  | GENEATOR PROTECTION MISC/BACK UP PROT
Andhra Pradesh | VIZAG TPP | 2 | 0 | 520 | 0 | 0 | 06/08/2024 23:59 |  | COAL SHORTAGE
Karnataka | BELLARY TPS | 1 | 500 | 0 | 0 | 0 | 11/08/2024 00:00 |  | ANNUAL MAINTENANCE
Karnataka | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka | RAICHUR TPS | 2 | 0 | 0 | 210 | 0 | 25/08/2024 15:02 |  | RSD/LOW SCHEDULE
Karnataka | RAICHUR TPS | 3 | 0 | 0 | 210 | 0 | 26/08/2024 16:54 |  | RSD/LOW SCHEDULE
Karnataka | RAICHUR TPS | 4 | 0 | 0 | 0 | 210 | 03/09/2024 14:23 |  | LOW SYSTEM DEMAND
Karnataka | RAICHUR TPS | 6 | 210 | 0 | 0 | 0 | 10/08/2024 05:12 |  | ANNUAL MAINTENANCE
Karnataka | RAICHUR TPS | 7 | 0 | 0 | 210 | 0 | 31/08/2024 19:32 |  | WATER WALL TUBE LEAKAGE
Karnataka | RAICHUR TPS | 8 | 0 | 0 | 250 | 0 | 05/09/2024 10:11 |  | WATER WALL TUBE LEAKAGE
Karnataka | YERMARUS TPP | 1 | 800 | 0 | 0 | 0 | 03/09/2024 23:59 |  | ANNUAL MAINTENANCE
Karnataka | YERMARUS TPP | 2 | 0 | 0 | 0 | 800 | 25/08/2024 23:59 |  | RESERVE SHUT DOWN
Karnataka | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 0 | 600 | 0 | 23/08/2024 00:12 |  | RSD/LOW SCHEDULE
Karnataka | ADANI POWER LIMITED UDUPI TPP | 2 | 600 | 0 | 0 | 0 | 02/09/2024 00:00 |  | OVERHAULING WORKS
Tamil Nadu | NEYVELI TPS-II | 3 | 0 | 0 | 210 | 0 | 28/08/2024 23:00 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Tamil Nadu | NEYVELI TPS-II | 5 | 210 | 0 | 0 | 0 | 01/09/2024 00:00 |  | ANNUAL MAINTENANCE
Tamil Nadu | NEYVELI TPS-II EXP | 1 | 0 | 0 | 250 | 0 | 04/09/2024 19:04 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
Tamil Nadu | NEYVELI TPS-II EXP | 2 | 250 | 0 | 0 | 0 | 09/07/2024 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu | METTUR TPS | 1 | 0 | 0 | 0 | 0 | 03/09/2024 17:21 | 05/09/2024 00:35 | REHEATER TUBE LEAKAGE
Tamil Nadu | METTUR TPS | 4 | 210 | 0 | 0 | 0 | 28/08/2024 23:17 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | METTUR TPS - II | 1 | 600 | 0 | 0 | 0 | 06/08/2024 23:39 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | NORTH CHENNAI TPS | 2 | 0 | 210 | 0 | 0 | 07/08/2024 21:24 |  | GENERATOR EARTH FAULT
Tamil Nadu | NORTH CHENNAI TPS | 5 | 0 | 0 | 600 | 0 | 03/09/2024 20:22 | 05/09/2024 23:16 | GENEATOR PROTECTION MISC/BACK UP PROT
Tamil Nadu | TUTICORIN TPS | 1 | 0 | 0 | 0 | 0 | 05/09/2024 21:13 |  | BOILER MISC. PROBLEM
Tamil Nadu | TUTICORIN TPS | 3 | 210 | 0 | 0 | 0 | 26/08/2024 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | TUTICORIN TPS | 5 | 0 | 0 | 210 | 0 | 05/09/2024 08:10 | 05/09/2024 20:14 | SUPER HEATER TUBE LEAKAGE
Tamil Nadu | MUTHIARA TPP | 2 | 0 | 0 | 600 | 0 | 02/09/2024 02:40 |  | AIR PREHEATERS PROBLEM
Tamil Nadu | OPG Power Generation Private Limited | 1 | 0 | 0 | 0 | 0 | 05/09/2024 10:14 | 05/09/2024 12:27 | GRID DISTURBANCE
Tamil Nadu | TUTICORIN (P) TPP | 1 | 0 | 0 | 0 | 150 | 03/04/2016 00:31 |  | NO Power purchase agreement
Tamil Nadu | TUTICORIN (P) TPP | 2 | 0 | 0 | 0 | 150 | 16/04/2016 01:42 |  | NO Power purchase agreement
Telangana | RAMAGUNDEM STPS | 5 | 0 | 0 | 500 | 0 | 02/09/2024 22:57 |  | WATER WALL TUBE LEAKAGE
Telangana | BHADRADRI TPP | 1 | 0 | 0 | 0 | 270 | 30/06/2024 00:00 |  | GT-FIRE PROTECTION SYSTEM
Telangana | KOTHAGUDEM TPS (NEW) | 9 | 0 | 0 | 250 | 0 | 01/09/2024 02:45 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana | KOTHAGUDEM TPS (NEW) | 10 | 0 | 0 | 250 | 0 | 01/09/2024 02:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Total Southern |  |  | 4090 | 2172.5 | 5630 | 1580
Eastern
Bihar | BARAUNI TPS | 6 | 0 | 105 | 0 | 0 | 22/07/2023 12:05 |  | CONSERVATION OF MAIN FUEL/RSD
Bihar | BARAUNI TPS | 7 | 0 | 105 | 0 | 0 | 19/07/2023 15:30 |  | CONSERVATION OF MAIN FUEL/RSD
Bihar | BARH STPS | 1 | 0 | 0 | 660 | 0 | 02/09/2024 19:50 | 05/09/2024 14:06 | REHEATER TUBE LEAKAGE
Bihar | KAHALGAON TPS | 2 | 0 | 0 | 210 | 0 | 28/08/2024 03:45 |  | TURBINE BEARING PROBLEM
Bihar | KAHALGAON TPS | 6 | 500 | 0 | 0 | 0 | 20/08/2024 23:45 |  | ANNUAL MAINTENANCE
Jharkhand | NORTH KARANPURA TPP | 2 | 0 | 0 | 660 | 0 | 03/09/2024 01:16 |  | WATER WALL TUBE LEAKAGE
Jharkhand | TENUGHAT TPS | 2 | 210 | 0 | 0 | 0 | 21/08/2024 21:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Jharkhand | MAHADEV PRASAD STPP | 1 | 270 | 0 | 0 | 0 | 16/08/2024 00:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha | TALCHER STPS | 2 | 500 | 0 | 0 | 0 | 19/08/2024 01:08 |  | OVERHAULING WORKS
Odisha | IB VALLEY TPS | 4 | 660 | 0 | 0 | 0 | 06/08/2024 01:50 |  | ANNUAL MAINTENANCE
West Bengal | FARAKKA STPS | 2 | 0 | 0 | 200 | 0 | 04/09/2024 07:18 |  | SUPER HEATER TUBE LEAKAGE
West Bengal | MEJIA TPS | 2 | 210 | 0 | 0 | 0 | 28/07/2024 16:56 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal | BAKRESWAR TPS | 5 | 0 | 0 | 210 | 0 | 05/09/2024 11:53 |  | TURBINE VIBRATION HIGH
West Bengal | D.P.L. TPS | 8 | 0 | 0 | 250 | 0 | 27/08/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
West Bengal | KOLAGHAT TPS | 6 | 210 | 0 | 0 | 0 | 11/07/2024 00:01 |  | OVERHAULING WORKS
West Bengal | SAGARDIGHI TPS | 2 | 300 | 0 | 0 | 0 | 07/08/2024 01:57 |  | OVERHAULING WORKS
West Bengal | DISHERGARH TPP | 1 | 12 | 0 | 0 | 0 | 21/07/2024 14:51 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal | SOUTHERN REPL. TPS | 1 | 0 | 0 | 0 | 67.5 | 20/08/2024 00:00 |  | RESERVE SHUT DOWN
West Bengal | SOUTHERN REPL. TPS | 2 | 0 | 0 | 67.5 | 0 | 24/08/2024 19:14 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 1 | 0 | 60 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 2 | 0 | 60 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 3 | 0 | 60 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 4 | 0 | 60 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern |  |  | 2872 | 450 | 2257.5 | 67.5
Total |  |  | 15042 | 6357.5 | 22312.5 | 6198.51