## dailyOutage_Report
| CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 05-09-2024
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[7 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Haryana | RAJIV GANDHI TPS | 2 | 0 | 0 | 600 | 0 | 05/09/2024 20:08 |  | ECONOMISER TUBE LEAKAGE
Rajasthan | SURATGARH STPS | 8 | 660 | 0 | 0 | 0 | 28/07/2024 00:14 |  | ANNUAL MAINTENANCE
Uttar Pradesh | RIHAND STPS | 2 | 500 | 0 | 0 | 0 | 01/09/2024 01:33 |  | BOILER INSPECTION/ RE-CERTIFICATION
Chhatisgarh | KORBA STPS | 6 | 0 | 500 | 0 | 0 | 10/08/2024 00:07 |  | CONSERVATION OF MAIN FUEL/RSD
Chhatisgarh | AKALTARA TPS | 2 | 0 | 0 | 600 | 0 | 22/08/2024 00:27 |  | COAL SHORTAGE
Chhatisgarh | AKALTARA TPS | 3 | 0 | 600 | 0 | 0 | 30/07/2024 00:51 | 05/09/2024 16:06 | COAL SHORTAGE
Chhatisgarh | TAMNAR TPP | 2 | 0 | 0 | 600 | 0 | 04/09/2024 20:28 |  | TURBINE MISC. PROBLEM
Gujarat | ADANI POWER LIMITED MUNDRA TPP - III | 8 | 0 | 660 | 0 | 0 | 11/08/2024 04:34 |  | AIR PREHEATERS PROBLEM
Gujarat | ADANI POWER LIMITED MUNDRA TPP - III | 9 | 0 | 0 | 660 | 0 | 27/08/2024 22:28 |  | H.P.ROTOR BLADES FAILURE
Gujarat | ADANI POWER LIMITED MUNDRA TPP - I & II | 5 | 0 | 0 | 660 | 0 | 26/08/2024 11:45 |  | RSD/LOW SCHEDULE
Gujarat | MUNDRA UMTPP | 1 | 0 | 0 | 800 | 0 | 29/08/2024 13:17 |  | COAL FEEDING SYSTEM FAILURE.
Gujarat | MUNDRA UMTPP | 2 | 0 | 0 | 800 | 0 | 29/08/2024 14:20 |  | COAL FEEDING SYSTEM FAILURE.
Gujarat | MUNDRA UMTPP | 3 | 0 | 0 | 800 | 0 | 23/08/2024 11:02 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat | MUNDRA UMTPP | 4 | 0 | 0 | 800 | 0 | 29/08/2024 13:17 |  | COAL FEEDING SYSTEM FAILURE.
Gujarat | MUNDRA UMTPP | 5 | 0 | 0 | 800 | 0 | 29/08/2024 14:36 |  | COAL FEEDING SYSTEM FAILURE.
Madhya Pradesh | GADARWARA TPP | 1 | 0 | 0 | 0 | 800 | 05/09/2024 20:24 |  | NO/REDUCED IRRIGATION DEMAND
Madhya Pradesh | GADARWARA TPP | 2 | 0 | 0 | 0 | 800 | 30/06/2024 23:49 |  | NO/REDUCED IRRIGATION DEMAND
Madhya Pradesh | VINDHYACHAL STPS | 10 | 500 | 0 | 0 | 0 | 12/08/2024 00:07 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh | SHREE SINGAJI TPP | 1 | 600 | 0 | 0 | 0 | 22/08/2024 20:16 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SHREE SINGAJI TPP | 3 | 660 | 0 | 0 | 0 | 30/07/2024 16:39 |  | ANNUAL MAINTENANCE
Madhya Pradesh | NIGRI TPP | 1 | 0 | 0 | 660 | 0 | 02/09/2024 20:53 | 05/09/2024 12:59 | WATER WALL TUBE LEAKAGE
Maharashtra | MAUDA TPS | 1 | 0 | 0 | 500 | 0 | 02/09/2024 17:53 | 05/09/2024 16:19 | SUPER HEATER TUBE LEAKAGE
Maharashtra | MAUDA TPS | 4 | 660 | 0 | 0 | 0 | 31/08/2024 23:10 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra | BHUSAWAL TPS | 5 | 0 | 0 | 500 | 0 | 05/09/2024 10:49 |  | ECONOMISER TUBE LEAKAGE
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 5 | 0 | 0 | 500 | 0 | 02/09/2024 21:14 |  | BOILER FEED PUMP/MOTOR PROBLEM
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 9 | 500 | 0 | 0 | 0 | 31/08/2024 23:45 |  | CAPITAL MAINTENANCE
Andhra Pradesh | SIMHADRI | 2 | 0 | 0 | 500 | 0 | 05/09/2024 09:16 |  | SUPER HEATER TUBE LEAKAGE
Andhra Pradesh | DAMODARAM SANJEEVAIAH TPS | 1 | 0 | 0 | 0 | 0 | 03/09/2024 23:43 | 05/09/2024 02:07 | BOILER AUX. MISC. PROMLEMS
Andhra Pradesh | DAMODARAM SANJEEVAIAH TPS | 3 | 0 | 0 | 0 | 0 | 05/09/2024 21:24 |  | BOILER MISC. PROBLEM
Andhra Pradesh | Dr. N.TATA RAO TPS | 7 | 500 | 0 | 0 | 0 | 31/08/2024 15:47 |  | ANNUAL MAINTENANCE
Andhra Pradesh | Dr. N.TATA RAO TPS | 8 | 0 | 800 | 0 | 0 | 09/08/2024 12:29 |  | GENEATOR PROTECTION MISC/BACK UP PROT
Andhra Pradesh | VIZAG TPP | 2 | 0 | 520 | 0 | 0 | 06/08/2024 23:59 |  | COAL SHORTAGE
Karnataka | BELLARY TPS | 1 | 500 | 0 | 0 | 0 | 11/08/2024 00:00 |  | ANNUAL MAINTENANCE
Karnataka | YERMARUS TPP | 1 | 800 | 0 | 0 | 0 | 03/09/2024 23:59 |  | ANNUAL MAINTENANCE
Karnataka | YERMARUS TPP | 2 | 0 | 0 | 0 | 800 | 25/08/2024 23:59 |  | RESERVE SHUT DOWN
Karnataka | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 0 | 600 | 0 | 23/08/2024 00:12 |  | RSD/LOW SCHEDULE
Karnataka | ADANI POWER LIMITED UDUPI TPP | 2 | 600 | 0 | 0 | 0 | 02/09/2024 00:00 |  | OVERHAULING WORKS
Tamil Nadu | METTUR TPS - II | 1 | 600 | 0 | 0 | 0 | 06/08/2024 23:39 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | NORTH CHENNAI TPS | 5 | 0 | 0 | 600 | 0 | 03/09/2024 20:22 | 05/09/2024 23:16 | GENEATOR PROTECTION MISC/BACK UP PROT
Tamil Nadu | MUTHIARA TPP | 2 | 0 | 0 | 600 | 0 | 02/09/2024 02:40 |  | AIR PREHEATERS PROBLEM
Telangana | RAMAGUNDEM STPS | 5 | 0 | 0 | 500 | 0 | 02/09/2024 22:57 |  | WATER WALL TUBE LEAKAGE
Bihar | BARH STPS | 1 | 0 | 0 | 660 | 0 | 02/09/2024 19:50 | 05/09/2024 14:06 | REHEATER TUBE LEAKAGE
Bihar | KAHALGAON TPS | 6 | 500 | 0 | 0 | 0 | 20/08/2024 23:45 |  | ANNUAL MAINTENANCE
Jharkhand | NORTH KARANPURA TPP | 2 | 0 | 0 | 660 | 0 | 03/09/2024 01:16 |  | WATER WALL TUBE LEAKAGE
Odisha | TALCHER STPS | 2 | 500 | 0 | 0 | 0 | 19/08/2024 01:08 |  | OVERHAULING WORKS
Odisha | IB VALLEY TPS | 4 | 660 | 0 | 0 | 0 | 06/08/2024 01:50 |  | ANNUAL MAINTENANCE
Total |  |  | 8740 | 3080 | 13400 | 2400