## dailyOutageReport_12
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS OUT OF GRID FOR MORE THAN 15 DAYS DURING 2024-25 as on: 05-09-2024
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY
1 | 2 | 3 | 4 | 5 | 6
FARIDABAD CCPP | 1 | 137.76 | 2019-02-02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
FARIDABAD CCPP | 1 | 137.76 | 2018-11-12 14:59 |  | GT- LOW SYSTEM DAMAND
FARIDABAD CCPP | 1 | 137.76 | 2024-06-28 01:24 | 2024-09-05 | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 3 | 156.07 | 2024-07-29 12:00 |  | NO/REDUCED IRRIGATION DEMAND
FARIDABAD CCPP | 3 | 156.07 | 2024-08-02 12:00 | 2024-09-05 | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 3 | 156.07 | 2019-01-31 23:55 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
FARIDABAD CCPP | 3 | 156.07 | 2024-06-28 01:16 |  | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 3 | 156.07 | 2024-08-01 12:00 |  | CONSERVATION OF MAIN FUEL/RSD
PRAGATI CCPP | 1 | 104.6 | 2024-08-01 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 1 | 104.6 | 2024-08-07 18:00 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 1 | 104.6 | 2020-09-04 21:02 |  | GT-MISCELLANEOUS PROBLEMS
PRAGATI CCPP | 1 | 104.6 | 2023-09-22 15:05 |  | GRID DISTURBANCE
PRAGATI CCPP | 1 | 104.6 | 2023-09-22 15:45 |  | GT-STATOR/ROTOR EARTH FAULT
PRAGATI CCPP | 1 | 104.6 | 2023-09-23 16:00 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 1 | 104.6 | 2023-09-25 12:00 |  | GT-STATOR/ROTOR EARTH FAULT
PRAGATI CCPP | 1 | 104.6 | 2024-08-07 12:30 |  | GT-MANDATORY INSPECTION/OTHERS
SURATGARH STPS | 8 | 660 | 2024-07-28 00:14 |  | ANNUAL MAINTENANCE
SURATGARH STPS | 8 | 660 | 2023-11-27 01:45 |  | BOILER MISC. PROBLEM
JALIPA KAPURDI TPP | 3 | 135 | 2024-08-12 07:27 |  | BOILER MISC. PROBLEM
RAMGARH CCPP | 3 | 37.5 | 2024-06-14 |  | VIBRATIONS
RAMGARH CCPP | 5 | 110 | 2024-02-27 |  | GT INLET GAS PRESSURE LOW
RAMGARH CCPP | 6 | 50 | 2023-09-25 10:00 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
AURAIYA CCPP | 5 | 109.3 | 2023-12-16 12:00 |  | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 5 | 109.3 | 2022-04-10 12:45 |  | RSD/LOW SCHEDULE
AURAIYA CCPP | 5 | 109.3 | 2024-06-28 00:30 |  | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 5 | 109.3 | 2024-08-12 12:30 | 2024-09-05 | CONSERVATION OF MAIN FUEL/RSD
DSPM TPS | 2 | 250 | 2024-08-03 00:10 |  | SCHEDULED ANNUAL MAINTENANCE
KORBA STPS | 6 | 500 | 2024-08-10 00:07 |  | CONSERVATION OF MAIN FUEL/RSD
PATHADI TPP | 1 | 300 | 2024-07-21 01:29 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
KASAIPALLI TPP | 1 | 135 | 2024-07-02 02:14 | 2024-09-15 | TURBINE VIBRATION
UCHPINDA TPP | 2 | 360 | 2024-08-06 01:25 |  | CAPITAL MAINTENANCE
SATPURA TPS | 10 | 250 | 2024-08-01 00:08 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
SHREE SINGAJI TPP | 3 | 660 | 2019-09-26 13:02 |  | I.D. FANS PROBLEM
SHREE SINGAJI TPP | 3 | 660 | 2024-07-30 16:39 |  | ANNUAL MAINTENANCE
SANJAY GANDHI TPS | 1 | 210 | 2024-08-04 19:03 |  | ANNUAL MAINTENANCE
SANJAY GANDHI TPS | 2 | 210 | 2024-07-15 21:56 |  | ANNUAL MAINTENANCE
VINDHYACHAL STPS | 10 | 500 | 2024-08-12 00:07 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
GADARWARA TPP | 2 | 800 | 2024-06-30 23:49 | 2024-09-05 | NO/REDUCED IRRIGATION DEMAND
UKAI TPS | 4 | 200 | 2024-08-20 09:42 |  | FURNACE FIRE OUT /FLAME FAILURE
UKAI TPS | 4 | 200 | 2023-01-27 19:41 |  | WATER WALL TUBE LEAKAGE
HAZIRA CCPP EXT | 1 | 351 | 2023-02-17 21:00 |  | TURBINE VIBRATIONS HIGH
HAZIRA CCPP EXT | 1 | 351 | 2022-02-14 |  | MISCELLANEOUS PLANNED MAINTENANCE
HAZIRA CCPP EXT | 1 | 351 | 2021-10-26 19:15 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2021-05-02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
HAZIRA CCPP EXT | 1 | 351 | 2022-02-23 21:00 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-12-23 19:37 |  | GENEATOR PROTECTION MISC/BACK UP PROT
HAZIRA CCPP EXT | 1 | 351 | 2024-06-21 |  | LOW SYSTEM DEMAND
HAZIRA CCPP EXT | 1 | 351 | 2022-03-23 20:15 |  | Fuel Shortage
HAZIRA CCPP EXT | 1 | 351 | 2022-04-07 06:10 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-05-02 |  | BOILER INSPECTION/ RE-CERTIFICATION
PIPAVAV CCPP | 2 | 351 | 2024-04-19 01:10 |  | RSD/LOW SCHEDULE
AKRIMOTA LIG TPS | 1 | 125 | 2024-06-08 19:30 |  | BARRING GEAR PROBLEM
AKRIMOTA LIG TPS | 2 | 125 | 2024-02-19 18:45 |  | CABLE FAULTS
UNOSUGEN CCPP | 1 | 382.5 | 2023-11-16 |  | ANNUAL MAINTENANCE
UNOSUGEN CCPP | 1 | 382.5 | 2020-11-19 |  | GT-MANDATORY INSPECTION/OTHERS
UNOSUGEN CCPP | 1 | 382.5 | 2024-07-01 |  | RSD/LOW SCHEDULE
UNOSUGEN CCPP | 1 | 382.5 | 2021-10-30 23:58 |  | RSD/LOW SCHEDULE
UNOSUGEN CCPP | 1 | 382.5 | 2023-10-24 00:59 |  | RSD/LOW SCHEDULE
UNOSUGEN CCPP | 1 | 382.5 | 2022-12-31 21:38 |  | RSD/LOW SCHEDULE
DGEN MEGA CCPP | 1 | 400 | 2023-07-17 11:00 |  | GT-MISCELLANEOUS PROBLEMS
DGEN MEGA CCPP | 1 | 400 | 2023-06-20 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 1 | 400 | 2023-10-20 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 2 | 400 | 2023-10-15 01:19 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 2 | 400 | 2021-11-05 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 2 | 400 | 2023-07-13 09:55 |  | SWITH YARD RELATED PROBLEMS
DGEN MEGA CCPP | 2 | 400 | 2020-08-12 00:26 |  | RESERVE SHUT DOWN
DGEN MEGA CCPP | 2 | 400 | 2023-06-11 |  | GT-NO SCHEDULE FROM BENIFICIARIES
SURAT LIG. TPS | 2 | 125 | 2024-08-20 | 2024-09-06 | ANNUAL MAINTENANCE
ADANI POWER LIMITED MUNDRA TPP - III | 8 | 660 | 2021-07-04 00:57 |  | TURBINE MISC. PROBLEM
ADANI POWER LIMITED MUNDRA TPP - III | 8 | 660 | 2024-08-11 04:34 |  | AIR PREHEATERS PROBLEM
ADANI POWER LIMITED MUNDRA TPP - III | 8 | 660 | 2021-07-19 |  | OVERHAULING WORKS
PARLI TPS | 6 | 250 | 2024-08-04 |  | ANNUAL MAINTENANCE
CHANDRAPUR(MAHARASHTRA) STPS | 3 | 210 | 2024-08-15 17:21 |  | CAPITAL MAINTENANCE
URAN CCPP | 5 | 108 | 2024-05-09 20:15 |  | Fuel Shortage
URAN CCPP | 7 | 108 | 2024-07-29 23:22 |  | RESERVE SHUT DOWN
URAN CCPP | 7 | 108 | 2023-04-25 22:44 |  | INSTRUMENTATION PROBLEM
URAN CCPP | 7 | 108 | 2020-02-25 12:51 |  | TURBINE MISC. PROBLEM
WARDHA WARORA TPP | 2 | 135 | 2024-08-01 01:50 |  | CAPITAL MAINTENANCE
AMRAVATI TPS | 3 | 270 | 2022-12-25 17:45 |  | ASH HANDLING SYSTEM PROBLEM
AMRAVATI TPS | 3 | 270 | 2024-07-23 00:47 |  | TURBINE VIBRATION HIGH
AMRAVATI TPS | 3 | 270 | 2022-05-24 02:22 |  | FURNACE FIRE OUT /FLAME FAILURE
TARAPUR | 1 | 160 | 2024-03-06 |  | RENOVATION/MODERNISATION WORKS
TARAPUR | 2 | 160 | 2023-12-20 11:06 |  | ANNUAL MAINTENANCE
RAICHUR TPS | 1 | 210 | 2022-07-30 07:11 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-08 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-09 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-08-10 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-10 09:00 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-11 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-12 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-13 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-14 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-08-15 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-08-17 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-18 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-19 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-20 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-21 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-22 |  | OLD UNIT NOT IN OPERATION DUE TO MISC. FORCED OUTAGE
RAICHUR TPS | 1 | 210 | 2022-08-23 |  | VARIOUS MAINTENANCE WORKS
RAICHUR TPS | 1 | 210 | 2022-06-20 20:20 |  | ASH HANDLING SYSTEM PROBLEM
RAICHUR TPS | 1 | 210 | 2022-06-24 18:30 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 1 | 210 | 2022-06-29 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-06-30 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-01 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 1 | 210 | 2022-07-01 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-04 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-07 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-08 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-09 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-10 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-11 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-15 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-16 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-17 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-23 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-24 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-26 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-26 23:59 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-28 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-30 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-08-24 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-01 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-08-02 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-08-04 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-05 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-08-07 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 1 | 210 | 2022-08-25 |  | OLD UNIT NOT IN OPERATION DUE TO MISC. FORCED OUTAGE
RAICHUR TPS | 1 | 210 | 2022-08-26 |  | VARIOUS MAINTENANCE WORKS
RAICHUR TPS | 1 | 210 | 2022-08-27 |  | OLD UNIT NOT IN OPERATION DUE TO MISC. FORCED OUTAGE
RAICHUR TPS | 1 | 210 | 2022-08-29 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-08-31 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-08-31 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-02 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-03 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-04 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-09-05 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-09-06 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-09-09 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-10 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-11 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-12 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-17 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-18 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-19 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-25 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-26 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-26 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-27 23:59 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-29 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-30 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-01 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-10-03 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-06 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-10-09 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-10 |  | COLLAPSE OF R.C. BUNKER
RAICHUR TPS | 1 | 210 | 2022-10-11 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-12 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-12 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-14 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-15 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-22 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-25 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-26 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-10-27 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-28 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-29 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-30 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-11-03 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-11-18 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-11-20 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-11-21 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-11-23 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-11-24 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-11-25 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2024-01-20 |  | COLLAPSE OF R.C. BUNKER
RAICHUR TPS | 1 | 210 | 2024-03-15 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-08-10 08:45 |  | RESERVE SHUT DOWN
RAICHUR TPS | 6 | 210 | 2022-08-11 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 6 | 210 | 2022-08-13 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 6 | 210 | 2022-08-14 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 6 | 210 | 2022-08-15 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 6 | 210 | 2022-09-11 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 6 | 210 | 2022-09-10 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 6 | 210 | 2022-09-09 00:15 |  | RESERVE SHUT DOWN
RAICHUR TPS | 6 | 210 | 2022-07-16 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 6 | 210 | 2022-07-17 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 6 | 210 | 2022-07-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 6 | 210 | 2022-07-23 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 6 | 210 | 2022-07-24 |  | RESERVE SHUT DOWN
RAICHUR TPS | 6 | 210 | 2022-07-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 6 | 210 | 2022-07-26 |  | RESERVE SHUT DOWN
RAICHUR TPS | 6 | 210 | 2022-08-02 21:07 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 6 | 210 | 2022-08-06 11:24 |  | RESERVE SHUT DOWN
RAICHUR TPS | 6 | 210 | 2022-08-09 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 6 | 210 | 2022-08-10 |  | RESERVE SHUT DOWN
RAICHUR TPS | 6 | 210 | 2022-08-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 6 | 210 | 2022-08-26 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 6 | 210 | 2022-08-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 6 | 210 | 2022-07-08 18:22 |  | RESERVE SHUT DOWN
RAICHUR TPS | 6 | 210 | 2022-07-09 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 6 | 210 | 2022-07-10 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 6 | 210 | 2022-07-11 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 6 | 210 | 2022-07-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 6 | 210 | 2024-08-10 05:12 |  | ANNUAL MAINTENANCE
RAICHUR TPS | 6 | 210 | 2022-08-23 23:59 |  | RESERVE SHUT DOWN
RAICHUR TPS | 6 | 210 | 2022-09-17 |  | RESERVE SHUT DOWN
RAICHUR TPS | 6 | 210 | 2022-09-12 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 6 | 210 | 2022-08-23 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 6 | 210 | 2022-08-22 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 6 | 210 | 2022-08-21 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 6 | 210 | 2022-08-20 |  | RESERVE SHUT DOWN
RAICHUR TPS | 6 | 210 | 2022-08-19 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 6 | 210 | 2022-08-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 6 | 210 | 2022-08-17 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 6 | 210 | 2022-07-15 |  | RESERVE SHUT DOWN
BELLARY TPS | 1 | 500 | 2020-02-05 16:21 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
BELLARY TPS | 1 | 500 | 2024-08-11 | 2024-09-10 | ANNUAL MAINTENANCE
BELLARY TPS | 1 | 500 | 2020-06-02 13:44 |  | RSD/LOW SCHEDULE
BELLARY TPS | 1 | 500 | 2020-09-09 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
BELLARY TPS | 1 | 500 | 2022-10-17 04:29 |  | ASH HANDLING SYSTEM PROBLEM
METTUR TPS - II | 1 | 600 | 2024-05-16 11:56 |  | WATER WALL TUBE LEAKAGE
METTUR TPS - II | 1 | 600 | 2020-02-14 19:03 |  | SUPER HEATER TUBE LEAKAGE
METTUR TPS - II | 1 | 600 | 2020-08-01 10:56 |  | Low system demand/ costly fuel
METTUR TPS - II | 1 | 600 | 2021-04-15 06:11 |  | RESERVE SHUT DOWN
METTUR TPS - II | 1 | 600 | 2024-08-06 23:39 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
NORTH CHENNAI TPS | 2 | 210 | 2024-08-07 21:24 |  | GENERATOR EARTH FAULT
NEYVELI TPS-II EXP | 2 | 250 | 2024-07-09 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-04-17 17:10 |  | RSD/LOW SCHEDULE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2024-06-04 20:24 |  | COAL FEEDING PROBLEM IN PLANT
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-04-21 21:15 |  | RSD/LOW SCHEDULE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-06-09 00:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
BHADRADRI TPP | 1 | 270 | 2024-06-30 |  | GT-FIRE PROTECTION SYSTEM
Dr. N.TATA RAO TPS | 8 | 800 | 2024-08-09 12:29 |  | GENEATOR PROTECTION MISC/BACK UP PROT
THAMMINAPATNAM TPS | 2 | 150 | 2024-08-05 07:22 | 2024-09-05 | GENEATOR PROTECTION MISC/BACK UP PROT
VIZAG TPP | 2 | 520 | 2020-07-16 04:00 |  | COAL SHORTAGE
VIZAG TPP | 2 | 520 | 2020-04-27 04:00 |  | COAL SHORTAGE
VIZAG TPP | 2 | 520 | 2020-04-25 04:11 |  | Cooling Water System Abnormal/ Maintenance
VIZAG TPP | 2 | 520 | 2019-08-08 |  | Coal Transportation Problems
VIZAG TPP | 2 | 520 | 2019-09-02 03:00 |  | RSD/LOW SCHEDULE
VIZAG TPP | 2 | 520 | 2024-08-07 |  | COAL SHORTAGE
VIZAG TPP | 2 | 520 | 2024-06-26 08:16 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
JEGURUPADU CCPP PH I | 1 | 52.8 | 2024-05-10 19:12 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2024-05-20 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2021-12-01 14:40 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2021-03-06 00:29 |  | BOILER INSPECTION/ RE-CERTIFICATION
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-26 16:25 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-06 15:31 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-07 13:45 |  | GT-GEN./FIELD BREAKER PROBLEM
JEGURUPADU CCPP PH I | 4 | 77 | 2024-05-20 |  | Fuel Shortage
KAHALGAON TPS | 6 | 500 | 2024-08-20 23:45 |  | ANNUAL MAINTENANCE
DISHERGARH TPP | 1 | 12 | 2024-07-21 14:51 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
DISHERGARH TPP | 1 | 12 | 2022-07-07 23:16 |  | ECONOMISER TUBE LEAKAGE
MEJIA TPS | 2 | 210 | 2019-09-22 15:41 |  | COAL SHORTAGE
MEJIA TPS | 2 | 210 | 2019-08-14 18:58 |  | Low system demand/ costly fuel
MEJIA TPS | 2 | 210 | 2022-10-23 12:59 |  | FURNACE FIRE OUT /FLAME FAILURE
MEJIA TPS | 2 | 210 | 2024-07-28 16:56 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
MEJIA TPS | 2 | 210 | 2022-07-03 08:15 |  | FURNACE FIRE OUT /FLAME FAILURE
MEJIA TPS | 2 | 210 | 2019-08-18 16:45 |  | Low system demand/ costly fuel
MEJIA TPS | 2 | 210 | 2019-08-22 23:15 |  | COAL FEEDING SYSTEM NOT READY
KOLAGHAT TPS | 6 | 210 | 2024-07-11 00:01 |  | OVERHAULING WORKS
SAGARDIGHI TPS | 2 | 300 | 2024-08-07 01:57 |  | OVERHAULING WORKS
SOUTHERN REPL. TPS | 1 | 67.5 | 2024-08-20 |  | RESERVE SHUT DOWN
TENUGHAT TPS | 2 | 210 | 2024-08-21 21:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
MAHADEV PRASAD STPP | 1 | 270 | 2024-08-16 00:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
IB VALLEY TPS | 4 | 660 | 2024-08-06 01:50 |  | ANNUAL MAINTENANCE
TALCHER STPS | 2 | 500 | 2024-08-19 01:08 | 2024-09-05 | OVERHAULING WORKS
NAMRUP CCPP | 2 | 17 | 2023-09-02 15:05 |  | EXCT. FAIL/LOSS OF EXCITATION /MISC. PROB.
NAMRUP CCPP | 2 | 17 | 2020-05-06 20:15 |  | Electrical Scheduled Maitenance
NAMRUP CCPP | 2 | 17 | 2021-12-03 11:08 |  | GRID SYSTEM PROBLEMS
NAMRUP CCPP | 2 | 17 | 2021-12-18 |  | OIL LEAKAGE PROBLEM OPU/SUM/SYSTEM
NAMRUP CCPP | 2 | 17 | 2022-01-28 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 2 | 17 | 2022-01-28 20:25 |  | INSTRUMENTATION PROBLEM
NAMRUP CCPP | 2 | 17 | 2022-02-04 09:28 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 2 | 17 | 2022-02-04 13:38 |  | Fuel Shortage
NAMRUP CCPP | 2 | 17 | 2022-03-22 |  | Instrument air system Failure
NAMRUP CCPP | 2 | 17 | 2022-05-25 20:20 |  | LUBRICATING OIL PUMP/SYSTEM MISC
NAMRUP CCPP | 2 | 17 | 2022-05-27 12:30 |  | LOW SYSTEM DEMAND
NAMRUP CCPP | 2 | 17 | 2022-07-07 07:15 |  | Fuel Shortage
NAMRUP CCPP | 2 | 17 | 2022-08-23 04:42 |  | GRID DISTURBANCE
NAMRUP CCPP | 2 | 17 | 2022-08-23 04:46 |  | VIBRATIONS
NAMRUP CCPP | 2 | 17 | 2022-10-07 21:52 |  | SEAL OIL SYSTEM PROBLEM
NAMRUP CCPP | 2 | 17 | 2022-11-30 15:35 |  | REVERSE POWER RELAY OPERATION
NAMRUP CCPP | 2 | 17 | 2024-07-17 11:15 |  | GENEATOR PROTECTION MISC/BACK UP PROT
NAMRUP CCPP | 2 | 17 | 2024-07-17 14:01 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 3 | 15 | 2022-02-14 09:30 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 3 | 15 | 2022-05-08 09:17 |  | C&I PROBLEM
NAMRUP CCPP | 3 | 15 | 2022-06-02 13:05 |  | GRID DISTURBENCE
NAMRUP CCPP | 3 | 15 | 2022-08-03 08:37 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 3 | 15 | 2024-08-16 09:46 |  | MISCELLANEOUS PLANNED MAINTENANCE
NAMRUP CCPP | 3 | 15 | 2021-07-13 13:55 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
NAMRUP CCPP | 3 | 15 | 2021-11-24 10:43 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 3 | 15 | 2022-01-08 23:15 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 3 | 15 | 2022-01-28 20:25 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
NAMRUP CCPP | 3 | 15 | 2024-08-16 17:00 |  | WATER SHORTAGE DUE TO INTERNAL PLANT PROBLEM
NAMRUP CCPP | 3 | 15 | 2024-02-05 09:16 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 3 | 15 | 2023-06-04 22:48 |  | TURBINE BEARING COOLING SYS/OIL COOLER
NAMRUP CCPP | 3 | 15 | 2022-10-03 16:13 |  | GRID DISTURBANCE
NAMRUP CCPP | 3 | 15 | 2022-01-22 22:40 |  | Fuel Shortage
NAMRUP CCPP | 3 | 15 | 2022-02-13 23:40 |  | Fuel Shortage
NAMRUP CCPP | 6 | 9 | 2022-04-17 19:45 |  | AIR COMRESSORS FAILURE AND OTHER PROBLEM
NAMRUP CCPP | 6 | 9 | 2022-10-23 10:43 |  | Fuel Shortage
NAMRUP CCPP | 6 | 9 | 2024-08-16 09:30 |  | MISCELLANEOUS PLANNED MAINTENANCE
NAMRUP CCPP | 6 | 9 | 2024-08-16 17:00 |  | WATER SHORTAGE DUE TO INTERNAL PLANT PROBLEM
NAMRUP CCPP | 6 | 9 | 2021-12-09 05:05 |  | CONDENSER LOW VACCUM
NAMRUP CCPP | 6 | 9 | 2022-08-23 04:42 |  | GRID DISTURBANCE
LAKWA GT | 7 | 20 | 2023-02-04 21:47 |  | Fuel Shortage
LAKWA GT | 7 | 20 | 2021-04-19 |  | GEN. TRANSORMER PROTECTION RELAY OPERATION PROBLEM
LAKWA GT | 7 | 20 | 2020-01-06 |  | MINOR MAINTENANCE WORKS
LAKWA GT | 7 | 20 | 2024-04-08 17:08 |  | VIBRATIONS
LAKWA GT | 7 | 20 | 2023-10-18 |  | BUS PROTECTION TRIP
Total |  | 68616.23