## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 05-09-2024 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
RAJIV GANDHI TPS | 2 | 600.00 | 05/09/2024 20:08 |  | ECONOMISER TUBE LEAKAGE
ANTA CCPP | 2 | 88.71 | 05/09/2024 20:45 | 05/09/2024 | NO/REDUCED IRRIGATION DEMAND
ANTA CCPP | 3 | 88.71 | 05/09/2024 20:45 | 05/09/2024 | NO/REDUCED IRRIGATION DEMAND
RAMGARH CCPP | 2 | 35.50 | 05/09/2024 15:35 |  | OIL LEAKAGE PROBLEM OPU/SUM/SYSTEM
RAMGARH CCPP | 4 | 37.50 | 05/09/2024 15:38 |  | MISCELLANEOUS
JALIPA KAPURDI TPP | 7 | 135.00 | 05/09/2024 06:43 |  | BOILER MISC. PROBLEM
SHREE CEMENT LTD TPS | 1 | 150.00 | 05/09/2024 04:08 |  | GENERATOR EARTH FAULT
UNCHAHAR TPS | 5 | 210.00 | 05/09/2024 14:49 |  | FURNACE FIRE OUT /FLAME FAILURE
AURAIYA CCPP | 1 | 111.19 | 05/09/2024 20:17 | 05/09/2024 | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 2 | 111.19 | 05/09/2024 20:17 | 05/09/2024 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 3 | 111.19 | 05/09/2024 20:16 | 05/09/2024 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 4 | 111.19 | 05/09/2024 20:18 | 05/09/2024 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 05/09/2024 20:27 | 05/09/2024 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 2 | 130.19 | 05/09/2024 20:30 | 05/09/2024 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 3 | 130.19 | 05/09/2024 20:28 | 05/09/2024 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 4 | 130.19 | 05/09/2024 20:28 | 05/09/2024 | CONSERVATION OF MAIN FUEL/RSD
OBRA TPS | 10 | 200.00 | 05/09/2024 16:39 |  | DRUM LEVEL LOW
BINJKOTE TPP | 2 | 300.00 | 05/09/2024 12:17 |  | P.A. FANS PROBLEM
GANDHAR CCPP | 1 | 144.30 | 05/09/2024 20:24 | 05/09/2024 | NO/REDUCED IRRIGATION DEMAND
GANDHAR CCPP | 2 | 144.30 | 05/09/2024 20:19 | 05/09/2024 | NO/REDUCED IRRIGATION DEMAND
GANDHAR CCPP | 3 | 144.30 | 05/09/2024 20:31 | 05/09/2024 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 1 | 106.00 | 05/09/2024 20:25 | 05/09/2024 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 2 | 106.00 | 05/09/2024 20:23 | 05/09/2024 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 3 | 106.00 | 05/09/2024 20:34 | 05/09/2024 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 4 | 106.00 | 05/09/2024 20:04 | 05/09/2024 | NO/REDUCED IRRIGATION DEMAND
SIKKA REP. TPS | 3 | 250.00 | 05/09/2024 15:48 |  | RESERVE SHUT DOWN
SIKKA REP. TPS | 4 | 250.00 | 05/09/2024 17:21 |  | RESERVE SHUT DOWN
DHUVARAN CCPP | 1 | 67.85 | 05/09/2024 17:17 |  | NO Power purchase agreement
DHUVARAN CCPP | 3 | 72.00 | 05/09/2024 00:00 |  | RESERVE SHUT DOWN
DHUVARAN CCPP | 5 | 376.10 | 05/09/2024 00:00 |  | RESERVE SHUT DOWN
UTRAN CCPP | 5 | 240.00 | 05/09/2024 00:00 | 05/09/2024 | RESERVE SHUT DOWN/ STANDBY.
UTRAN CCPP | 6 | 134.00 | 05/09/2024 00:00 | 05/09/2024 | RESERVE SHUT DOWN/ STANDBY.
https://npp.gov.in 06/09/2024 17:08:57 |  |  |  |  | PAGE 1
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 05-09-2024 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
GADARWARA TPP | 1 | 800.00 | 05/09/2024 20:24 |  | NO/REDUCED IRRIGATION DEMAND
RATNAGIRI CCPP | 8 | 213.00 | 05/09/2024 23:39 |  | GT-MISCELLANEOUS PROBLEMS
BHUSAWAL TPS | 5 | 500.00 | 05/09/2024 10:49 |  | ECONOMISER TUBE LEAKAGE
KHAPARKHEDA TPS | 3 | 210.00 | 05/09/2024 07:33 |  | FURNACE DRAFT ABNORMAL
SIMHADRI | 2 | 500.00 | 05/09/2024 09:16 | 05/09/2024 | SUPER HEATER TUBE LEAKAGE
DAMODARAM SANJEEVAIAH TPS | 3 | 800.00 | 05/09/2024 21:24 |  | BOILER MISC. PROBLEM
THAMMINAPATNAM TPS | 1 | 150.00 | 05/09/2024 10:59 | 06/09/2024 | TURBINE VIBRATION HIGH
RAICHUR TPS | 8 | 250.00 | 05/09/2024 10:11 |  | WATER WALL TUBE LEAKAGE
TUTICORIN TPS | 1 | 210.00 | 05/09/2024 21:13 |  | BOILER MISC. PROBLEM
TUTICORIN TPS | 5 | 210.00 | 05/09/2024 08:10 |  | SUPER HEATER TUBE LEAKAGE
OPG Power Generation Private Limited | 1 | 77.00 | 05/09/2024 10:14 |  | GRID DISTURBANCE
BAKRESWAR TPS | 5 | 210.00 | 05/09/2024 11:53 |  | TURBINE VIBRATION HIGH
KATHALGURI CCPP | 1 | 33.50 | 05/09/2024 00:00 |  | Fuel Shortage
KATHALGURI CCPP | 4 | 33.50 | 05/09/2024 21:10 |  | Fuel Shortage
LAKWA REPLACEMENT POWER PROJECT | 2 | 9.96 | 05/09/2024 09:33 |  | GRID DISTURBANCES MISC.
LAKWA REPLACEMENT POWER PROJECT | 6 | 9.96 | 05/09/2024 16:58 |  | Fuel Shortage
AGARTALA GT | 1 | 21.00 | 05/09/2024 20:36 |  | MISCELLANEOUS
AGARTALA GT | 4 | 21.00 | 05/09/2024 10:17 |  | LOW SYSTEM DEMAND
AGARTALA GT | 4 |  | 05/09/2024 00:00 |  | Fuel Shortage
AGARTALA GT | 6 | 25.50 | 05/09/2024 00:00 |  | Fuel Shortage
Total |  | 9342.22
https://npp.gov.in 06/09/2024 17:08:57 |  |  |  |  | PAGE 2