## generationrptforNTPCStation
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
GENERATION REPORT FOR NTPC STATIONS DATED - 05-Sep-2024
Power Station | Monitored Cap. (MW) | Available Cap. (MW) | Generation (MU) |  |  |  | Coal Stock In day's | Cap. Under Outage (MW) | Maintenance Start Date (dd/mm/yyyyhh24:mi) | Expected Returned Date/SyncDate | Remarks
|  |  | Today's Program | Today's Actual | April 1 Till Date
[5 empty] | Prog. | Actual
Haryana
FARIDABAD CCPP | 431.59 | 0 | 0.39 | 0 | 70.95 | 215.37 |  | 431.59
Total THER (GT) | 431.59 | 0 | 0.39 | 0 | 70.95 | 215.37 |  | 431.59
Total Generation | 431.59 | 0 | 0.39 | 0 | 70.95 | 215.37 |  | 431.59
Himachal Pradesh
KOLDAM | 800 | 200 | 12 | 20.79 | 2239 | 2359.73 |  | 600
Total HYDRO | 800 | 200 | 12 | 20.79 | 2239 | 2359.73 |  | 600
Total Generation | 800 | 200 | 12 | 20.79 | 2239 | 2359.73 |  | 600
Rajasthan
ANTA CCPP | 419.33 | 0 | 1.37 | 0.46 | 209.85 | 340.94 |  | 419.33
Total THER (GT) | 419.33 | 0 | 1.37 | 0.46 | 209.85 | 340.94 |  | 419.33
Total Generation | 419.33 | 0 | 1.37 | 0.46 | 209.85 | 340.94 |  | 419.33
Uttarakhand
TAPOVAN VISHNUGAD HPS | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Total HYDRO | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Total Generation | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Uttar Pradesh
DADRI (NCTPP) | 1820 | 1820 | 30.83 | 26.36 | 5658.15 | 4570.93 | 186 | 0
Unit 1 | 210 | 210 | 4 | 2.98 | 650 | 516.6 | 31 | 0
Unit 2 | 210 | 210 | 4 | 3.01 | 650 | 531.54 | 31 | 0
Unit 3 | 210 | 210 | 0 | 3.17 | 652 | 439.68 | 31 | 0
Unit 4 | 210 | 210 | 4.17 | 3.07 | 671.85 | 540.91 | 31 | 0
Unit 5 | 490 | 490 | 9.33 | 6.99 | 1518.65 | 1274.55 | 31 | 0
Unit 6 | 490 | 490 | 9.33 | 7.14 | 1515.65 | 1267.65 | 31 | 0
RIHAND STPS | 3000 | 2500 | 69.96 | 51.62 | 11057.8 | 10348.71 | 96 | 500
Unit 1 | 500 | 500 | 11.67 | 9.7 | 1844.35 | 1642.62 | 16 | 0
Unit 2 | 500 | 0 | 11.73 | 0 | 1851.65 | 1620.06 | 16 | 500 | 2024-09-01 01:33 |  | BOILER INSPECTION/ RE-CERTIFICATION
Unit 3 | 500 | 500 | 11.63 | 10.46 | 1839.15 | 1832.04 | 16 | 0
Unit 4 | 500 | 500 | 11.63 | 10.38 | 1839.15 | 1680.61 | 16 | 0
Unit 5 | 500 | 500 | 11.63 | 10.53 | 1840.15 | 1817.86 | 16 | 0
Unit 6 | 500 | 500 | 11.67 | 10.55 | 1843.35 | 1755.52 | 16 | 0
SINGRAULI STPS | 2000 | 2000 | 46.78 | 40.42 | 7388.9 | 6867.41 | 56 | 0
Unit 1 | 200 | 200 | 4.67 | 4.09 | 735.35 | 725.41 | 8 | 0
Unit 2 | 200 | 200 | 4.7 | 4.11 | 743.5 | 552.86 | 8 | 0
Unit 3 | 200 | 200 | 4.67 | 3.78 | 737.35 | 734.92 | 8 | 0
Unit 4 | 200 | 200 | 4.7 | 4.18 | 743.5 | 714.12 | 8 | 0
Unit 5 | 200 | 200 | 4.67 | 4.1 | 735.35 | 716.29 | 8 | 0
Unit 6 | 500 | 500 | 11.8 | 10.03 | 1865 | 1670.45 | 8 | 0
Unit 7 | 500 | 500 | 11.57 | 10.13 | 1828.85 | 1753.36 | 8 | 0
TANDA TPS | 1760 | 1760 | 35.63 | 30.71 | 5705.15 | 5211.24 | 120 | 0
Unit 1 | 110 | 110 | 1.97 | 1.5 | 311.85 | 251.81 | 20 | 0
Unit 2 | 110 | 110 | 1.97 | 1.53 | 311.85 | 248.48 | 20 | 0
Unit 3 | 110 | 110 | 1.93 | 1.56 | 312.65 | 250.84 | 20 | 0
Unit 4 | 110 | 110 | 1.93 | 1.52 | 316.65 | 229.27 | 20 | 0
Unit 5 | 660 | 660 | 13.7 | 12.24 | 2188.5 | 2101.61 | 20 | 0
Unit 6 | 660 | 660 | 14.13 | 12.36 | 2263.65 | 2129.23 | 20 | 0
UNCHAHAR TPS | 1550 | 1340 | 29.49 | 23.9 | 4735.45 | 4388.8 | 72 | 210
Unit 1 | 210 | 210 | 3.83 | 3.29 | 618.15 | 578.58 | 12 | 0
Unit 2 | 210 | 210 | 3.73 | 3.29 | 603.65 | 551.65 | 12 | 0
Unit 3 | 210 | 210 | 4.83 | 3.58 | 764.15 | 587.86 | 12 | 0
Unit 4 | 210 | 210 | 4.83 | 3.53 | 764.15 | 627.74 | 12 | 0
Unit 5 | 210 | 0 | 4 | 1.97 | 650 | 616.46 | 12 | 210 | 2024-09-05 14:49 | 2024-09-05 23:14 | FURNACE FIRE OUT /FLAME FAILURE
Unit 6 | 500 | 500 | 8.27 | 8.24 | 1335.35 | 1426.51 | 12 | 0
Total THERMAL | 10130 | 9420 | 212.69 | 173.01 | 34545.45 | 31387.09 | 530 | 710
AURAIYA CCPP | 663.36 | 0 | 2.46 | 0.55 | 386.3 | 429.89 |  | 663.36
DADRI CCPP | 829.78 | 0 | 3.24 | 0.93 | 498.2 | 539.41 |  | 829.78
Total THER (GT) | 1493.14 | 0 | 5.7 | 1.48 | 884.5 | 969.3 |  | 1493.14
Total Generation | 11623.14 | 9420 | 218.39 | 174.49 | 35429.95 | 32356.39 | 530 | 2203.14
Chhatisgarh
KORBA STPS | 2600 | 1900 | 60.74 | 40.52 | 8846.7 | 8625.59 | 49 | 700
Unit 1 | 200 | 0 | 4.7 | 0 | 738.5 | 724.91 | 7 | 200 | 2024-09-04 17:06 |  | WATER WALL TUBE LEAKAGE
Unit 2 | 200 | 200 | 4.7 | 4.39 | 740.5 | 733.8 | 7 | 0
Unit 3 | 200 | 200 | 4.67 | 4.36 | 737.35 | 727.47 | 7 | 0
Unit 4 | 500 | 500 | 11.67 | 10.62 | 1839.35 | 1793.86 | 7 | 0
Unit 5 | 500 | 500 | 11.67 | 10.59 | 1839.35 | 1824.89 | 7 | 0
Unit 6 | 500 | 0 | 11.6 | 0 | 1442 | 1451.16 | 7 | 500 | 2024-08-10 00:07 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 7 | 500 | 500 | 11.73 | 10.56 | 1509.65 | 1369.5 | 7 | 0
LARA TPP | 1600 | 1600 | 18.37 | 34.28 | 5180.85 | 5768.81 | 24 | 0
Unit 1 | 800 | 800 | 0 | 17.06 | 2281 | 2830.94 | 12 | 0
Unit 2 | 800 | 800 | 18.37 | 17.22 | 2899.85 | 2937.87 | 12 | 0
SIPAT STPS | 2980 | 2980 | 64.93 | 63.18 | 9956.65 | 9677.56 | 50 | 0
Unit 1 | 660 | 660 | 14.23 | 14.2 | 2240.15 | 2132.99 | 10 | 0
Unit 2 | 660 | 660 | 14.17 | 14.2 | 2239.85 | 2045.36 | 10 | 0
Unit 3 | 660 | 660 | 14.03 | 13.93 | 1923.15 | 1904.2 | 10 | 0
Unit 4 | 500 | 500 | 11.27 | 10.41 | 1779.35 | 1812.47 | 10 | 0
Unit 5 | 500 | 500 | 11.23 | 10.44 | 1774.15 | 1782.54 | 10 | 0
Total THERMAL | 7180 | 6480 | 144.04 | 137.98 | 23984.2 | 24071.96 | 123 | 700
Total Generation | 7180 | 6480 | 144.04 | 137.98 | 23984.2 | 24071.96 | 123 | 700
Gujarat
GANDHAR CCPP | 657.39 | 0 | 2.46 | 0.73 | 384.3 | 493.49 |  | 657.39
KAWAS CCPP | 656.2 | 0 | 2.06 | 0.8 | 332.3 | 439.15 |  | 656.2
Total THER (GT) | 1313.59 | 0 | 4.52 | 1.53 | 716.6 | 932.64 |  | 1313.59
Total Generation | 1313.59 | 0 | 4.52 | 1.53 | 716.6 | 932.64 |  | 1313.59
Madhya Pradesh
GADARWARA TPP | 1600 | 0 | 35.4 | 14.46 | 4532 | 3613.86 | 52 | 1600
Unit 1 | 800 | 0 | 17.7 | 14.46 | 2797.5 | 2283.29 | 26 | 800 | 2024-09-05 20:24 |  | NO/REDUCED IRRIGATION DEMAND
Unit 2 | 800 | 0 | 17.7 | 0 | 1734.5 | 1330.57 | 26 | 800 | 2024-06-30 23:49 |  | NO/REDUCED IRRIGATION DEMAND
KHARGONE STPP | 1320 | 1320 | 23.17 | 19.04 | 3362.85 | 2976.38 | 62 | 0
Unit 1 | 660 | 660 | 12.5 | 9.69 | 2010.5 | 1666.41 | 31 | 0
Unit 2 | 660 | 660 | 10.67 | 9.35 | 1352.35 | 1309.97 | 31 | 0
VINDHYACHAL STPS | 4760 | 4260 | 106.29 | 86.87 | 16817.45 | 15983.42 | 195 | 500
Unit 1 | 210 | 210 | 4.87 | 4.19 | 540.35 | 466.07 | 15 | 0
Unit 10 | 500 | 0 | 11.73 | 0 | 1443.65 | 1470.24 | 15 | 500 | 2024-08-12 00:07 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Unit 11 | 500 | 500 | 11.63 | 10.48 | 1839.15 | 1796.6 | 15 | 0
Unit 12 | 500 | 500 | 11.63 | 10.4 | 1839.15 | 1806.06 | 15 | 0
Unit 13 | 500 | 500 | 11.63 | 10.21 | 1839.15 | 1756 | 15 | 0
Unit 2 | 210 | 210 | 4.93 | 4.17 | 779.65 | 711.94 | 15 | 0
Unit 3 | 210 | 210 | 4.93 | 4.11 | 779.65 | 697.78 | 15 | 0
Unit 4 | 210 | 210 | 0 | 4.02 | 645 | 653.79 | 15 | 0
Unit 5 | 210 | 210 | 4.9 | 4.14 | 777.5 | 696.26 | 15 | 0
Unit 6 | 210 | 210 | 4.93 | 4.24 | 778.65 | 739.71 | 15 | 0
Unit 7 | 500 | 500 | 11.63 | 10.14 | 1840.15 | 1758.25 | 15 | 0
Unit 8 | 500 | 500 | 11.78 | 10.49 | 1863.9 | 1689.18 | 15 | 0
Unit 9 | 500 | 500 | 11.7 | 10.28 | 1851.5 | 1741.54 | 15 | 0
Total THERMAL | 7680 | 5580 | 164.86 | 120.37 | 24712.3 | 22573.66 | 309 | 2100
Total Generation | 7680 | 5580 | 164.86 | 120.37 | 24712.3 | 22573.66 | 309 | 2100
Maharashtra
MAUDA TPS | 2320 | 1160 | 48.4 | 22.13 | 7357 | 6104.98 | 92 | 1160
Unit 1 | 500 | 0 | 10.6 | 2.44 | 1692 | 1433.44 | 23 | 500 | 2024-09-02 17:53 | 2024-09-05 16:19 | SUPER HEATER TUBE LEAKAGE
Unit 2 | 500 | 500 | 10.9 | 8.23 | 1341.5 | 1006.29 | 23 | 0
Unit 3 | 660 | 660 | 13.3 | 11.46 | 2144.5 | 1777.88 | 23 | 0
Unit 4 | 660 | 0 | 13.6 | 0 | 2179 | 1887.37 | 23 | 660 | 2024-08-31 23:10 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
SOLAPUR STPS | 1320 | 1320 | 22.44 | 18.97 | 3344.2 | 2600.68 | 64 | 0
Unit 1 | 660 | 660 | 11.57 | 9.34 | 1570.85 | 1083.17 | 32 | 0
Unit 2 | 660 | 660 | 10.87 | 9.63 | 1773.35 | 1517.51 | 32 | 0
Total THERMAL | 3640 | 2480 | 70.84 | 41.1 | 10701.2 | 8705.66 | 156 | 1160
Total Generation | 3640 | 2480 | 70.84 | 41.1 | 10701.2 | 8705.66 | 156 | 1160
Andhra Pradesh
SIMHADRI | 2000 | 1500 | 39.63 | 28.79 | 5967.15 | 5158.21 | 52 | 500
Unit 1 | 500 | 500 | 9.63 | 8.71 | 1567.15 | 1426.06 | 13 | 0
Unit 2 | 500 | 0 | 10.2 | 2.89 | 1653 | 1393.33 | 13 | 500 | 2024-09-05 09:16 |  | SUPER HEATER TUBE LEAKAGE
Unit 3 | 500 | 500 | 9.63 | 8.46 | 1567.15 | 1408.35 | 13 | 0
Unit 4 | 500 | 500 | 10.17 | 8.73 | 1179.85 | 930.47 | 13 | 0
Total THERMAL | 2000 | 1500 | 39.63 | 28.79 | 5967.15 | 5158.21 | 52 | 500
Total Generation | 2000 | 1500 | 39.63 | 28.79 | 5967.15 | 5158.21 | 52 | 500
Karnataka
KUDGI STPP | 2400 | 2400 | 41.14 | 35.34 | 6143.7 | 5037.17 | 63 | 0
Unit 1 | 800 | 800 | 13.47 | 12.36 | 1640.35 | 1434.91 | 21 | 0
Unit 2 | 800 | 800 | 15 | 11.57 | 2454 | 1907.52 | 21 | 0
Unit 3 | 800 | 800 | 12.67 | 11.41 | 2049.35 | 1694.74 | 21 | 0
Total THERMAL | 2400 | 2400 | 41.14 | 35.34 | 6143.7 | 5037.17 | 63 | 0
Total Generation | 2400 | 2400 | 41.14 | 35.34 | 6143.7 | 5037.17 | 63 | 0
Kerala
R. GANDHI CCPP (Liq.) | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Total THER (GT) | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Total Generation | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Telangana
RAMAGUNDEM STPS | 2600 | 2100 | 57.24 | 31.34 | 8927.97 | 6682.6 | 112 | 500
Unit 1 | 200 | 200 | 4.41 | 3.05 | 586.82 | 548.18 | 16 | 0
Unit 2 | 200 | 200 | 4.4 | 3.07 | 697 | 558.03 | 16 | 0
Unit 3 | 200 | 200 | 4.4 | 3.08 | 691 | 563.02 | 16 | 0
Unit 4 | 500 | 500 | 10.93 | 7.54 | 1731.65 | 1394.88 | 16 | 0
Unit 5 | 500 | 0 | 11.07 | 0 | 1745.35 | 979.87 | 16 | 500 | 2024-09-02 22:57 |  | WATER WALL TUBE LEAKAGE
Unit 6 | 500 | 500 | 10.93 | 7.43 | 1730.65 | 1278.3 | 16 | 0
Unit 7 | 500 | 500 | 11.1 | 7.17 | 1745.5 | 1360.32 | 16 | 0
TELANGANA STPP PH-1 | 1600 | 1600 | 28.83 | 25.9 | 4633.15 | 4200.46 | 34 | 0
Unit 1 | 800 | 800 | 16.43 | 12.96 | 2627.15 | 2036.43 | 17 | 0
Unit 2 | 800 | 800 | 12.4 | 12.94 | 2006 | 2164.03 | 17 | 0
Total THERMAL | 4200 | 3700 | 86.07 | 57.24 | 13561.12 | 10883.06 | 146 | 500
Total Generation | 4200 | 3700 | 86.07 | 57.24 | 13561.12 | 10883.06 | 146 | 500
Bihar
BARAUNI TPS | 710 | 500 | 9.13 | 11.01 | 1472.65 | 1603.88 | 88 | 210
Unit 6 | 105 | 0 | 0 | 0 | 0 | 0 | 22 | 105 | 2023-07-22 12:05 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 7 | 105 | 0 | 0 | 0 | 0 | 0 | 22 | 105 | 2023-07-19 15:30 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 8 | 250 | 250 | 4.43 | 5.54 | 711.15 | 851.87 | 22 | 0
Unit 9 | 250 | 250 | 4.7 | 5.47 | 761.5 | 752.01 | 22 | 0
BARH STPS | 2640 | 1980 | 57.07 | 38.43 | 8203.35 | 6912.88 | 90 | 660
Unit 1 | 660 | 0 | 12.47 | 3.7 | 2009.35 | 1190.28 | 18 | 660 | 2024-09-02 19:50 | 2024-09-05 14:06 | REHEATER TUBE LEAKAGE
Unit 2 | 660 | 660 | 12.8 | 11.96 | 2076 | 1692.43 | 18 | 0
Unit 3 | 0 | 0 | 6.6 | 0 | 33 | 0 | 18 | 0 |  |  | unit not yet commissioned
Unit 4 | 660 | 660 | 12.4 | 11.22 | 2007 | 2037.27 | 18 | 0
Unit 5 | 660 | 660 | 12.8 | 11.55 | 2078 | 1992.9 | 18 | 0
KAHALGAON TPS | 2340 | 1630 | 51.98 | 32.2 | 8047.9 | 7206.16 | 140 | 710
Unit 1 | 210 | 210 | 4.8 | 3.96 | 759 | 676.4 | 20 | 0
Unit 2 | 210 | 0 | 4.77 | 0 | 610.85 | 626.42 | 20 | 210 | 2024-08-28 03:45 |  | TURBINE BEARING PROBLEM
Unit 3 | 210 | 210 | 4.77 | 4.18 | 753.85 | 515.83 | 20 | 0
Unit 4 | 210 | 210 | 4.7 | 3.95 | 736.5 | 674.77 | 20 | 0
Unit 5 | 500 | 500 | 11.2 | 10.04 | 1769 | 1648.13 | 20 | 0
Unit 6 | 500 | 0 | 10.87 | 0 | 1709.35 | 1452.7 | 20 | 500 | 2024-08-20 23:45 |  | ANNUAL MAINTENANCE
Unit 7 | 500 | 500 | 10.87 | 10.07 | 1709.35 | 1611.91 | 20 | 0
Total THERMAL | 5690 | 4110 | 118.18 | 81.64 | 17723.9 | 15722.92 | 318 | 1580
Total Generation | 5690 | 4110 | 118.18 | 81.64 | 17723.9 | 15722.92 | 318 | 1580
Jharkhand
NORTH KARANPURA TPP | 1320 | 660 | 26 | 13.33 | 4157 | 4397.87 | 27 | 660
Unit 1 | 660 | 660 | 14.17 | 13.33 | 2238.85 | 2190.26 | 9 | 0
Unit 2 | 660 | 0 | 11.83 | 0 | 1918.15 | 2207.61 | 9 | 660 | 2024-09-03 01:16 |  | WATER WALL TUBE LEAKAGE
Unit 3 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 |  |  | unit not yet commissioned
Total THERMAL | 1320 | 660 | 26 | 13.33 | 4157 | 4397.87 | 27 | 660
Total Generation | 1320 | 660 | 26 | 13.33 | 4157 | 4397.87 | 27 | 660
Odisha
DARLIPALI STPS | 1600 | 1600 | 18.6 | 34.67 | 5448 | 4435.05 | 38 | 0
Unit 1 | 800 | 800 | 0 | 17.34 | 2503 | 1485.7 | 19 | 0
Unit 2 | 800 | 800 | 18.6 | 17.33 | 2945 | 2949.35 | 19 | 0
TALCHER STPS | 3000 | 2500 | 58.48 | 50.82 | 10285.82 | 9045.93 | 54 | 500
Unit 1 | 500 | 500 | 11.63 | 10.29 | 1839.15 | 1624.23 | 9 | 0
Unit 2 | 500 | 0 | 0 | 0 | 1569 | 1429.38 | 9 | 500 | 2024-08-19 01:08 |  | OVERHAULING WORKS
Unit 3 | 500 | 500 | 11.63 | 10.07 | 1839.15 | 1582.86 | 9 | 0
Unit 4 | 500 | 500 | 11.63 | 10.15 | 1840.15 | 1602.08 | 9 | 0
Unit 5 | 500 | 500 | 11.8 | 10.16 | 1865 | 1645.95 | 9 | 0
Unit 6 | 500 | 500 | 11.79 | 10.15 | 1333.37 | 1161.43 | 9 | 0
Total THERMAL | 4600 | 4100 | 77.08 | 85.49 | 15733.82 | 13480.98 | 92 | 500
Total Generation | 4600 | 4100 | 77.08 | 85.49 | 15733.82 | 13480.98 | 92 | 500
West Bengal
FARAKKA STPS | 2100 | 1900 | 41.97 | 33.93 | 6500.85 | 5869.28 | 126 | 200
Unit 1 | 200 | 200 | 4.1 | 3.52 | 661.5 | 599.11 | 21 | 0
Unit 2 | 200 | 0 | 4.07 | 0 | 654.35 | 588.08 | 21 | 200 | 2024-09-04 07:18 |  | SUPER HEATER TUBE LEAKAGE
Unit 3 | 200 | 200 | 4.1 | 3.63 | 658.5 | 613.14 | 21 | 0
Unit 4 | 500 | 500 | 9.9 | 8.9 | 1606.5 | 1521.85 | 21 | 0
Unit 5 | 500 | 500 | 9.9 | 8.89 | 1312.5 | 976.29 | 21 | 0
Unit 6 | 500 | 500 | 9.9 | 8.99 | 1607.5 | 1570.81 | 21 | 0
Total THERMAL | 2100 | 1900 | 41.97 | 33.93 | 6500.85 | 5869.28 | 126 | 200
Total Generation | 2100 | 1900 | 41.97 | 33.93 | 6500.85 | 5869.28 | 126 | 200
Assam
BONGAIGAON TPP | 750 | 750 | 15.97 | 12.69 | 2548.85 | 2194.97 | 60 | 0
Unit 1 | 250 | 250 | 5.53 | 4.18 | 872.65 | 729 | 20 | 0
Unit 2 | 250 | 250 | 5.27 | 4.22 | 856.35 | 733.58 | 20 | 0
Unit 3 | 250 | 250 | 5.17 | 4.29 | 819.85 | 732.39 | 20 | 0
Total THERMAL | 750 | 750 | 15.97 | 12.69 | 2548.85 | 2194.97 | 60 | 0
Total Generation | 750 | 750 | 15.97 | 12.69 | 2548.85 | 2194.97 | 60 | 0