## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 09-07-2025
Sub-Report-10
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana |  | INDIRA GANDHI STPP | 2 | 0 | 500 | 0 | 0 | 20/06/2025 23:58 | 09/07/2025 16:42 | RESERVE SHUT DOWN / STANDBY UNIT
Punjab |  | ROPAR TPS | 3 | 0 | 0 | 210 | 0 | 08/07/2025 23:27 |  | COAL FEEDING PROBLEM IN PLANT
Punjab |  | ROPAR TPS | 4 | 0 | 0 | 210 | 0 | 08/07/2025 07:16 |  | COAL FEEDING PROBLEM IN PLANT
Rajasthan |  | BARSINGSAR LIGNITE | 2 | 125 | 0 | 0 | 0 | 26/04/2025 22:43 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan |  | DAE (RAJASTHAN) | 1 | 0 | 0 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan |  | CHHABRA-II TPP | 5 | 0 | 0 | 660 | 0 | 06/07/2025 04:51 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Rajasthan |  | CHHABRA-I PH-1 TPP | 1 | 250 | 0 | 0 | 0 | 21/06/2025 23:50 |  | ANNUAL MAINTENANCE
Rajasthan |  | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan |  | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan |  | KALISINDH TPS | 2 | 600 | 0 | 0 | 0 | 21/06/2025 00:01 |  | ANNUAL MAINTENANCE
Rajasthan |  | KOTA TPS | 4 | 0 | 210 | 0 | 0 | 20/06/2025 08:22 |  | RESERVE SHUT DOWN / STANDBY UNIT
Rajasthan |  | KOTA TPS | 6 | 0 | 195 | 0 | 0 | 27/05/2025 11:56 |  | FURNACE DRAFT ABNORMAL
Rajasthan |  | SURATGARH STPS | 7 | 660 | 0 | 0 | 0 | 02/07/2025 06:00 |  | ANNUAL MAINTENANCE
Rajasthan |  | SURATGARH TPS | 1 | 0 | 250 | 0 | 0 | 19/06/2025 20:40 |  | RSD/LOW SCHEDULE
Rajasthan |  | SURATGARH TPS | 3 | 0 | 250 | 0 | 0 | 28/11/2024 13:48 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
Rajasthan |  | JALIPA KAPURDI TPP | 1 | 0 | 0 | 135 | 0 | 09/07/2025 03:16 |  | BOILER MISC. PROBLEM
Rajasthan |  | JALIPA KAPURDI TPP | 6 | 0 | 0 | 135 | 0 | 05/07/2025 10:53 |  | BOILER MISC. PROBLEM
Rajasthan |  | SHREE CEMENT LTD TPS | 2 | 0 | 0 | 150 | 0 | 07/07/2025 04:34 |  | COAL FEEDING SYSTEM FAILURE.
Uttar Pradesh |  | DADRI (NCTPP) | 2 | 210 | 0 | 0 | 0 | 18/06/2025 11:47 |  | OVERHAULING WORKS
Uttar Pradesh |  | GHATAMPUR TPP | 1 | 0 | 0 | 660 | 0 | 08/07/2025 16:04 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Uttar Pradesh |  | MEJA STPP | 1 | 0 | 0 | 660 | 0 | 07/07/2025 19:52 |  | WATER WALL TUBE LEAKAGE
Uttar Pradesh |  | TANDA TPS | 1 | 0 | 0 | 110 | 0 | 30/06/2025 23:05 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 2 | 0 | 0 | 110 | 0 | 30/06/2025 23:17 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 3 | 0 | 0 | 110 | 0 | 30/06/2025 23:54 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 4 | 0 | 0 | 110 | 0 | 30/06/2025 23:41 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | NARORA A.P.S. | 1 | 0 | 220 | 0 | 0 | 14/04/2025 04:36 |  | Turbine Misc
Uttar Pradesh |  | HARDUAGANJ TPS | 7 | 0 | 105 | 0 | 0 | 18/06/2025 00:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | HARDUAGANJ TPS | 9 | 0 | 0 | 250 | 0 | 08/07/2025 20:43 | 09/07/2025 01:34 | TURBINE MISC.
Uttar Pradesh |  | JAWAHARPUR STPP | 1 | 0 | 660 | 0 | 0 | 11/06/2025 13:37 |  | GEN. TRANSORMER PROTECTION RELAY OPERATION PROBLEM
Uttar Pradesh |  | OBRA TPS | 9 | 0 | 0 | 200 | 0 | 01/07/2025 15:52 |  | FURNACE DRAFT ABNORMAL
Uttar Pradesh |  | OBRA TPS | 12 | 0 | 0 | 200 | 0 | 07/07/2025 08:57 |  | I.D. FANS PROBLEM
Uttar Pradesh |  | OBRA TPS | 15 | 0 | 0 | 0 | 0 | 25/06/2025 21:15 | 09/07/2025 11:12 | TURBINE MISC. PROBLEMS
Uttar Pradesh |  | PANKI TPS EXT | 1 | 0 | 660 | 0 | 0 | 18/06/2025 01:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | PARICHHA TPS | 6 | 0 | 0 | 250 | 0 | 08/07/2025 17:49 |  | BOILER MISC. PROBLEM
Uttar Pradesh |  | BARKHERA TPS | 1 | 0 | 45 | 0 | 0 | 18/06/2025 00:42 | 09/07/2025 14:54 | RSD/LOW SCHEDULE
Uttar Pradesh |  | BARKHERA TPS | 2 | 0 | 45 | 0 | 0 | 18/06/2025 00:42 | 09/07/2025 15:03 | RSD/LOW SCHEDULE
Uttar Pradesh |  | KHAMBARKHERA TPS | 1 | 0 | 45 | 0 | 0 | 18/06/2025 00:45 | 09/07/2025 14:05 | RSD/LOW SCHEDULE
Uttar Pradesh |  | KHAMBARKHERA TPS | 2 | 0 | 45 | 0 | 0 | 18/06/2025 00:16 | 09/07/2025 14:15 | RSD/LOW SCHEDULE
Uttar Pradesh |  | KUNDARKI TPS | 1 | 0 | 45 | 0 | 0 | 18/06/2025 00:28 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | KUNDARKI TPS | 2 | 0 | 45 | 0 | 0 | 18/06/2025 00:28 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | MAQSOODPUR TPS | 1 | 0 | 45 | 0 | 0 | 18/06/2025 00:28 | 09/07/2025 14:34 | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | MAQSOODPUR TPS | 2 | 0 | 45 | 0 | 0 | 18/06/2025 00:28 | 09/07/2025 14:44 | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | UTRAULA TPS | 1 | 0 | 45 | 0 | 0 | 18/06/2025 00:28 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | UTRAULA TPS | 2 | 0 | 45 | 0 | 0 | 18/06/2025 00:28 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Northern |  | 4: 2095; 5: 3500; 6: 4160; 7: 0
Western
Chhatisgarh |  | KORBA STPS | 3 | 200 | 0 | 0 | 0 | 15/06/2025 23:58 |  | OVERHAULING WORKS
Chhatisgarh |  | DSPM TPS | 1 | 0 | 0 | 250 | 0 | 09/07/2025 01:00 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Chhatisgarh |  | KORBA-WEST TPS | 2 | 0 | 0 | 210 | 0 | 06/07/2025 12:50 |  | COAL FEEDING PROBLEM IN PLANT
Chhatisgarh |  | KORBA-WEST TPS | 4 | 0 | 0 | 210 | 0 | 06/07/2025 08:47 |  | COAL FEEDING PROBLEM IN PLANT
Chhatisgarh |  | KORBA-WEST TPS | 5 | 500 | 0 | 0 | 0 | 05/07/2025 00:00 |  | ANNUAL MAINTENANCE
Chhatisgarh |  | ADANI POWER LIMITED RAIPUR TPP | 2 | 0 | 0 | 685 | 0 | 03/07/2025 23:25 |  | AIR PREHEATERS PROBLEM
Chhatisgarh |  | BARADARHA TPS | 1 | 0 | 0 | 600 | 0 | 09/07/2025 00:00 |  | DRUM LEVEL LOW
Chhatisgarh |  | BINJKOTE TPP | 2 | 0 | 0 | 300 | 0 | 06/07/2025 08:49 | 09/07/2025 12:26 | ASH HANDLING SYSTEM PROBLEM
Chhatisgarh |  | CHAKABURA TPP | 2 | 0 | 0 | 0 | 0 | 08/07/2025 23:41 | 09/07/2025 02:26 | GENEARTOR MISC.
Chhatisgarh |  | KATGHORA TPP | 1 | 0 | 0 | 0 | 0 | 15/10/2012 00:28 |  | No Fuel Supply Agreement
Chhatisgarh |  | NAWAPARA TPP | 2 | 0 | 300 | 0 | 0 | 23/06/2025 16:34 |  | I.D. FANS PROBLEM
Chhatisgarh |  | SALORA TPP | 1 | 0 | 0 | 0 | 0 | 19/10/2014 04:30 |  | No Fuel Supply Agreement
Chhatisgarh |  | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 0 | 01/04/2015 00:20 |  | No Fuel Supply Agreement
Chhatisgarh |  | TAMNAR TPP | 1 | 0 | 0 | 600 | 0 | 06/07/2025 21:45 | 09/07/2025 13:38 | MISC. SHORT DURATION MAINTENANCE
Chhatisgarh |  | UCHPINDA TPP | 1 | 0 | 360 | 0 | 0 | 22/06/2025 01:15 |  | TURBINE VIBRATIONS HIGH
Gujarat |  | KAKRAPARA | 2 | 220 | 0 | 0 | 0 | 21/05/2025 21:00 |  | ANNUAL MAINTENANCE
Gujarat |  | AKRIMOTA LIG TPS | 1 | 125 | 0 | 0 | 0 | 08/06/2024 19:30 |  | CAPITAL MAINTENANCE
Gujarat |  | AKRIMOTA LIG TPS | 2 | 125 | 0 | 0 | 0 | 19/02/2024 18:45 |  | CAPITAL MAINTENANCE
Gujarat |  | BHAVNAGAR CFBC TPP | 1 | 0 | 250 | 0 | 0 | 22/06/2025 06:58 |  | INSTRUMENTATION PROBLEM
Gujarat |  | GANDHI NAGAR TPS | 3 | 0 | 210 | 0 | 0 | 16/06/2025 11:05 |  | RSD/LOW SCHEDULE
Gujarat |  | GANDHI NAGAR TPS | 4 | 0 | 210 | 0 | 0 | 15/06/2025 10:36 |  | RSD/LOW SCHEDULE
Gujarat |  | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat |  | SIKKA REP. TPS | 3 | 0 | 250 | 0 | 0 | 24/05/2025 10:44 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | SIKKA REP. TPS | 4 | 0 | 250 | 0 | 0 | 13/06/2025 16:43 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | UKAI TPS | 3 | 0 | 0 | 200 | 0 | 27/06/2025 23:29 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | UKAI TPS | 5 | 0 | 0 | 210 | 0 | 28/06/2025 07:49 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 1 | 0 | 210 | 0 | 0 | 17/06/2025 07:05 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 2 | 0 | 210 | 0 | 0 | 17/06/2025 09:45 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 4 | 0 | 210 | 0 | 0 | 16/06/2025 20:30 | 09/07/2025 18:32 | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 5 | 0 | 210 | 0 | 0 | 17/06/2025 10:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 6 | 0 | 210 | 0 | 0 | 17/06/2025 06:55 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 8 | 0 | 0 | 800 | 0 | 06/07/2025 11:05 |  | AIR PREHEATERS PROBLEM
Gujarat |  | ADANI POWER LIMITED MUNDRA TPP - I & II | 3 | 0 | 330 | 0 | 0 | 19/06/2025 16:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | MUNDRA UMTPP | 1 | 0 | 0 | 800 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 2 | 0 | 0 | 800 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat |  | MUNDRA UMTPP | 3 | 0 | 0 | 800 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat |  | MUNDRA UMTPP | 4 | 0 | 0 | 800 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat |  | MUNDRA UMTPP | 5 | 0 | 0 | 800 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Gujarat |  | SALAYA TPP | 2 | 0 | 600 | 0 | 0 | 14/06/2025 12:08 |  | ELECTRICAL FAULT
Gujarat |  | SURAT LIG. TPS | 3 | 125 | 0 | 0 | 0 | 20/06/2025 16:43 |  | ANNUAL MAINTENANCE
Gujarat |  | SURAT LIG. TPS | 4 | 0 | 0 | 125 | 0 | 05/07/2025 06:29 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh |  | GADARWARA TPP | 1 | 800 | 0 | 0 | 0 | 01/06/2025 00:16 |  | OVERHAULING WORKS
Madhya Pradesh |  | KHARGONE STPP | 1 | 660 | 0 | 0 | 0 | 01/07/2025 01:04 |  | OVERHAULING WORKS
Madhya Pradesh |  | VINDHYACHAL STPS | 2 | 210 | 0 | 0 | 0 | 12/06/2025 00:45 |  | OVERHAULING WORKS
Madhya Pradesh |  | SANJAY GANDHI TPS | 1 | 0 | 0 | 210 | 0 | 03/07/2025 22:10 | 09/07/2025 12:06 | FURNACE DRAFT ABNORMAL
Madhya Pradesh |  | BINA TPS | 2 | 0 | 0 | 250 | 0 | 05/07/2025 20:23 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh |  | SASAN UMTPP | 6 | 660 | 0 | 0 | 0 | 25/06/2025 00:24 |  | ANNUAL MAINTENANCE
Maharashtra |  | MAUDA TPS | 1 | 500 | 0 | 0 | 0 | 15/06/2025 00:24 |  | OVERHAULING WORKS
Maharashtra |  | SOLAPUR STPS | 2 | 660 | 0 | 0 | 0 | 25/06/2025 23:00 |  | OVERHAULING WORKS
Maharashtra |  | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra |  | TARAPUR | 2 | 160 | 0 | 0 | 0 | 13/07/2020 04:38 |  | RENOVATION/MODERNISATION WORKS
Maharashtra |  | BHUSAWAL TPS | 3 | 0 | 210 | 0 | 0 | 20/05/2025 23:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 9 | 0 | 500 | 0 | 0 | 11/01/2025 18:55 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Maharashtra |  | KHAPARKHEDA TPS | 3 | 0 | 0 | 210 | 0 | 09/07/2025 10:20 | 09/07/2025 20:48 | FURNACE DRAFT ABNORMAL
Maharashtra |  | KHAPARKHEDA TPS | 5 | 500 | 0 | 0 | 0 | 25/06/2025 00:01 |  | CAPITAL MAINTENANCE
Maharashtra |  | KORADI TPS | 8 | 660 | 0 | 0 | 0 | 01/07/2025 03:15 |  | CAPITAL MAINTENANCE
Maharashtra |  | NASIK TPS | 3 | 0 | 0 | 210 | 0 | 06/07/2025 20:55 |  | MISCELLANEOUS
Maharashtra |  | ADANI POWER LIMITED TIRODA TPP | 4 | 660 | 0 | 0 | 0 | 01/07/2025 01:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra |  | AMRAVATI TPS | 5 | 270 | 0 | 0 | 0 | 30/06/2025 23:12 |  | CAPITAL MAINTENANCE
Maharashtra |  | GEPL TPP Ph-I | 1 | 0 | 60 | 0 | 0 | 29/06/2013 00:00 |  | No Fuel Supply Agreement
Maharashtra |  | GEPL TPP Ph-I | 2 | 0 | 60 | 0 | 0 | 20/06/2013 20:27 |  | No Fuel Supply Agreement
Maharashtra |  | GMR WARORA TPS | 2 | 300 | 0 | 0 | 0 | 01/07/2025 00:00 |  | CAPITAL MAINTENANCE
Maharashtra |  | MIHAN TPS | 1 | 0 | 61.51 | 0 | 0 | 10/01/2013 15:50 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 2 | 0 | 61.5 | 0 | 0 | 05/11/2013 11:53 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 3 | 0 | 61.5 | 0 | 0 | 10/06/2013 18:00 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 4 | 0 | 61.5 | 0 | 0 | 20/08/2013 10:00 |  | No Fuel Supply Agreement
Maharashtra |  | NASIK (P) TPS | 1 | 0 | 0 | 0 | 0 | 04/03/2014 18:10 |  | No Fuel Supply Agreement
Maharashtra |  | NASIK (P) TPS | 2 | 0 | 0 | 0 | 0 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 3 | 0 | 0 | 0 | 0 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 4 | 0 | 0 | 0 | 0 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 5 | 0 | 0 | 0 | 0 | 30/05/2017 15:24 |  | NO Power purchase agreement
Maharashtra |  | SHIRPUR TPP | 1 | 0 | 150 | 0 | 0 | 20/06/2025 00:27 | 09/07/2025 16:45 | RSD/LOW SCHEDULE
Total Western |  | 4: 7495; 5: 5111.01; 6: 9070; 7: 0
Southern
Andhra Pradesh |  | SIMHADRI | 3 | 500 | 0 | 0 | 0 | 16/06/2025 00:04 |  | OVERHAULING WORKS
Andhra Pradesh |  | Dr. N.TATA RAO TPS | 1 | 210 | 0 | 0 | 0 | 01/07/2025 01:03 |  | ANNUAL MAINTENANCE
Andhra Pradesh |  | Dr. N.TATA RAO TPS | 7 | 500 | 0 | 0 | 0 | 07/07/2025 01:45 |  | ANNUAL MAINTENANCE
Andhra Pradesh |  | RAYALASEEMA TPS | 1 | 0 | 0 | 210 | 0 | 06/07/2025 23:17 | 09/07/2025 13:10 | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh |  | RAYALASEEMA TPS | 4 | 0 | 0 | 210 | 0 | 30/06/2025 12:10 | 09/07/2025 18:10 | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh |  | SIMHAPURI TPS | 3 | 0 | 0 | 150 | 0 | 01/07/2025 01:46 |  | BOILER AUX. MISC. PROMLEMS
Andhra Pradesh |  | SIMHAPURI TPS | 4 | 0 | 0 | 150 | 0 | 03/07/2025 01:00 |  | RSD/LOW SCHEDULE
Andhra Pradesh |  | THAMMINAPATNAM TPS | 1 | 0 | 0 | 0 | 150 | 05/07/2025 15:58 |  | Cooling Water System Abnormal/ Maintenance
Andhra Pradesh |  | THAMMINAPATNAM TPS | 2 | 0 | 0 | 150 | 0 | 07/07/2025 22:40 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Karnataka |  | KUDGI STPP | 1 | 0 | 800 | 0 | 0 | 17/06/2025 03:38 |  | CONSERVATION OF MAIN FUEL/RSD
Karnataka |  | KUDGI STPP | 2 | 0 | 800 | 0 | 0 | 31/05/2025 13:35 |  | CONSERVATION OF MAIN FUEL/RSD
Karnataka |  | KAIGA | 1 | 220 | 0 | 0 | 0 | 31/03/2025 23:11 |  | MISCELLANEOUS PLANNED MAINTENANCE
Karnataka |  | KAIGA | 3 | 220 | 0 | 0 | 0 | 19/06/2025 00:37 |  | ANNUAL MAINTENANCE
Karnataka |  | BELLARY TPS | 1 | 0 | 0 | 0 | 0 | 07/07/2025 09:20 | 09/07/2025 00:16 | WATER WALL TUBE LEAKAGE
Karnataka |  | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka |  | RAICHUR TPS | 2 | 0 | 210 | 0 | 0 | 15/06/2025 10:37 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | RAICHUR TPS | 3 | 0 | 210 | 0 | 0 | 22/05/2025 11:33 |  | RSD/LOW SCHEDULE
Karnataka |  | RAICHUR TPS | 4 | 0 | 0 | 210 | 0 | 25/06/2025 11:05 |  | RSD/LOW SCHEDULE
Karnataka |  | RAICHUR TPS | 5 | 0 | 210 | 0 | 0 | 23/06/2025 04:08 |  | RSD/LOW SCHEDULE
Karnataka |  | RAICHUR TPS | 6 | 0 | 210 | 0 | 0 | 22/05/2025 11:19 |  | RSD/LOW SCHEDULE
Karnataka |  | RAICHUR TPS | 7 | 0 | 210 | 0 | 0 | 15/06/2025 14:55 |  | RSD/LOW SCHEDULE
Karnataka |  | RAICHUR TPS | 8 | 0 | 0 | 250 | 0 | 04/07/2025 17:20 |  | BOILER MISC. PROBLEM
Karnataka |  | YERMARUS TPP | 1 | 0 | 0 | 800 | 0 | 03/07/2025 17:06 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 0 | 0 | 0 | 17/06/2025 00:04 | 09/07/2025 01:03 | RSD/LOW SCHEDULE
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 2 | 0 | 600 | 0 | 0 | 21/05/2025 01:52 |  | RSD/LOW SCHEDULE
Karnataka |  | TORANGALLU TPS(SBU-I) | 1 | 0 | 0 | 130 | 0 | 05/07/2025 19:39 |  | CONDENSER LOW VACCUM
Tamil Nadu |  | NEYVELI NEW TPP | 2 | 500 | 0 | 0 | 0 | 16/06/2025 18:12 |  | OVERHAULING WORKS
Tamil Nadu |  | NEYVELI TPS-II | 2 | 0 | 0 | 210 | 0 | 08/07/2025 13:09 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Tamil Nadu |  | NEYVELI TPS-II | 3 | 0 | 0 | 210 | 0 | 04/07/2025 15:56 |  | BOILER MISC. PROBLEM
Tamil Nadu |  | NEYVELI TPS-II | 4 | 0 | 210 | 0 | 0 | 07/06/2025 21:27 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Tamil Nadu |  | NEYVELI TPS-II | 7 | 0 | 0 | 210 | 0 | 04/07/2025 19:08 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
Tamil Nadu |  | NEYVELI TPS-II EXP | 1 | 0 | 250 | 0 | 0 | 11/05/2025 03:33 |  | GENERATOR PROTECTION
Tamil Nadu |  | NEYVELI TPS-II EXP | 2 | 0 | 0 | 250 | 0 | 30/06/2025 21:00 |  | BOILER MISC. PROBLEM
Tamil Nadu |  | NTPL TUTICORIN TPP | 1 | 0 | 0 | 500 | 0 | 08/07/2025 13:44 |  | MISCELLANEOUS
Tamil Nadu |  | VALLUR TPP | 2 | 0 | 0 | 500 | 0 | 04/07/2025 13:00 |  | ROTOR EARTH FAULT
Tamil Nadu |  | VALLUR TPP | 3 | 500 | 0 | 0 | 0 | 23/06/2025 00:58 |  | CAPITAL MAINTENANCE
Tamil Nadu |  | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu |  | NORTH CHENNAI TPS | 5 | 0 | 600 | 0 | 0 | 17/06/2025 10:10 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | TUTICORIN TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2025 21:50 |  | FIRE IN CABLE GALLERY.
Tamil Nadu |  | TUTICORIN TPS | 2 | 0 | 210 | 0 | 0 | 15/03/2025 22:01 |  | FIRE IN CABLE GALLERY
Tamil Nadu |  | OPG Power Generation Private Limited | 1 | 0 | 0 | 77 | 0 | 30/06/2025 23:59 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | TCP Limited | 1 | 63.5 | 0 | 0 | 0 | 16/07/2021 05:21 |  | MISCELLANEOUS PLANNED MAINTENANCE
Tamil Nadu |  | TUTICORIN (P) TPP | 1 | 0 | 150 | 0 | 0 | 03/04/2016 00:31 |  | No Fuel Supply Agreement
Tamil Nadu |  | TUTICORIN (P) TPP | 2 | 0 | 150 | 0 | 0 | 16/04/2016 01:42 |  | No Fuel Supply Agreement
Tamil Nadu |  | TUTICORIN TPP ST-IV | 1 | 525 | 0 | 0 | 0 | 11/06/2025 23:26 |  | ANNUAL MAINTENANCE
Telangana |  | RAMAGUNDEM STPS | 2 | 0 | 200 | 0 | 0 | 20/06/2025 00:08 |  | GENEATOR PROTECTION MISC/BACK UP PROT
Telangana |  | RAMAGUNDEM STPS | 5 | 0 | 500 | 0 | 0 | 21/06/2025 10:01 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | BHADRADRI TPP | 2 | 270 | 0 | 0 | 0 | 06/07/2025 18:10 |  | ANNUAL MAINTENANCE
Telangana |  | BHADRADRI TPP | 3 | 0 | 0 | 0 | 0 | 09/07/2025 09:34 | 09/07/2025 10:40 | TURBINE BEARING PROBLEM
Telangana |  | KOTHAGUDEM TPS (STAGE-7) | 12 | 800 | 0 | 0 | 0 | 25/06/2025 02:36 |  | SCHEDULED ANNUAL MAINTENANCE
Telangana |  | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Telangana |  | SINGARENI TPP | 1 | 600 | 0 | 0 | 0 | 09/06/2025 07:04 |  | ANNUAL MAINTENANCE
Telangana |  | YADADRI TPS | 2 | 0 | 0 | 0 | 0 | 08/07/2025 22:50 | 09/07/2025 00:54 | MISC. SHORT DURATION MAINTENANCE
Total Southern |  | 4: 4908.5; 5: 6222.5; 6: 4217; 7: 150
Eastern
Bihar |  | BARAUNI TPS | 6 | 0 | 0 | 0 | 0 | 22/07/2023 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar |  | BARAUNI TPS | 7 | 0 | 0 | 0 | 0 | 19/07/2023 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar |  | BARH STPS | 3 | 0 | 0 | 0 | 0 | 02/07/2025 08:22 | 09/07/2025 01:13 | WATER WALL TUBE LEAKAGE
Bihar |  | BARH STPS | 5 | 660 | 0 | 0 | 0 | 02/07/2025 01:25 |  | OVERHAULING WORKS
Bihar |  | NABINAGAR STPP | 3 | 0 | 0 | 660 | 0 | 08/07/2025 16:13 |  | CONDENSER TUBE LEAKAGE/ CLEANING
Jharkhand |  | CHANDRAPURA(DVC) TPS | 7 | 0 | 250 | 0 | 0 | 03/06/2025 23:42 |  | STATOR/ STATOR EARTH FAULT
Jharkhand |  | TENUGHAT TPS | 2 | 210 | 0 | 0 | 0 | 20/04/2025 22:46 |  | CAPITAL MAINTENANCE
Jharkhand |  | MAITHON RB TPP | 2 | 0 | 0 | 525 | 0 | 09/07/2025 11:15 |  | REHEATER TUBE LEAKAGE
Odisha |  | DARLIPALI STPS | 2 | 800 | 0 | 0 | 0 | 25/06/2025 17:53 |  | OVERHAULING WORKS
Odisha |  | TALCHER STPS | 1 | 0 | 0 | 500 | 0 | 08/07/2025 12:41 |  | WATER WALL TUBE LEAKAGE
Odisha |  | TALCHER STPS | 3 | 500 | 0 | 0 | 0 | 14/06/2025 00:56 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha |  | JSW Energy Utkal Limited | 2 | 0 | 0 | 350 | 0 | 09/07/2025 21:49 |  | ELECTRICAL FAULT
Odisha |  | KAMALANGA TPS | 2 | 350 | 0 | 0 | 0 | 06/07/2025 02:54 |  | ANNUAL MAINTENANCE
Odisha |  | Maadurga Thermal Power Company Ltd. | 1 | 0 | 30 | 0 | 0 | 24/05/2025 12:00 |  | GEN. TRANSFORMER TRIPPING/ DAMAGED
Odisha |  | VEDANTA TPP | 2 | 0 | 600 | 0 | 0 | 31/05/2025 04:15 |  | AIR PREHEATERS PROBLEM
West Bengal |  | BAKRESWAR TPS | 4 | 210 | 0 | 0 | 0 | 16/06/2025 00:39 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal |  | KOLAGHAT TPS | 4 | 210 | 0 | 0 | 0 | 27/06/2025 00:01 |  | OVERHAULING WORKS
West Bengal |  | HIRANMAYE TPP | 1 | 0 | 150 | 0 | 0 | 26/04/2025 00:23 |  | TURBINE VIBRATION HIGH
West Bengal |  | SOUTHERN REPL. TPS | 1 | 0 | 67.5 | 0 | 0 | 15/06/2025 19:15 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | SOUTHERN REPL. TPS | 2 | 0 | 67.5 | 0 | 0 | 15/06/2025 19:26 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 1 | 0 | 0 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 2 | 0 | 0 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 3 | 0 | 0 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 4 | 0 | 0 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern |  | 4: 2940; 5: 1165; 6: 2035; 7: 0
Total |  | 4: 17438.5; 5: 15998.51; 6: 19482; 7: 150
Remarks:-
Report Version :-