## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 09-09-2025
Sub-Report-10
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana |  | PANIPAT TPS | 6 | 0 | 0 | 210 | 0 | 28/08/2025 12:40 |  | FURNACE FIRE OUT /FLAME FAILURE
Haryana |  | PANIPAT TPS | 7 | 0 | 0 | 250 | 0 | 02/09/2025 13:16 | 09/09/2025 16:47 | RSD/LOW SCHEDULE
Haryana |  | PANIPAT TPS | 8 | 0 | 0 | 250 | 0 | 03/09/2025 10:38 | 09/09/2025 13:53 | RSD/LOW SCHEDULE
Haryana |  | RAJIV GANDHI TPS | 1 | 0 | 600 | 0 | 0 | 22/08/2025 21:40 | 09/09/2025 14:26 | RESERVE SHUT DOWN / STANDBY UNIT
Punjab |  | GH TPS (LEH.MOH.) | 1 | 0 | 0 | 0 | 210 | 01/09/2025 12:30 |  | LOW SYSTEM DEMAND
Punjab |  | GH TPS (LEH.MOH.) | 2 | 0 | 0 | 210 | 0 | 08/09/2025 06:52 | 09/09/2025 19:01 | RESERVE SHUT DOWN / STANDBY UNIT
Punjab |  | ROPAR TPS | 3 | 0 | 0 | 0 | 210 | 25/08/2025 11:05 |  | LOW SYSTEM DEMAND
Punjab |  | ROPAR TPS | 4 | 0 | 0 | 0 | 210 | 02/09/2025 17:45 |  | LOW SYSTEM DEMAND
Punjab |  | ROPAR TPS | 5 | 0 | 0 | 0 | 0 | 24/08/2025 15:41 | 09/09/2025 10:45 | RESERVE SHUT DOWN / STANDBY UNIT
Punjab |  | ROPAR TPS | 6 | 210 | 0 | 0 | 0 | 31/08/2025 10:45 | 09/09/2025 13:46 | TURBINE INSPECTION MISC
Rajasthan |  | DAE (RAJASTHAN) | 1 | 0 | 0 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan |  | CHHABRA-I PH-1 TPP | 2 | 250 | 0 | 0 | 0 | 15/08/2025 06:59 |  | SCHEDULED ANNUAL MAINTENANCE
Rajasthan |  | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan |  | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan |  | KALISINDH TPS | 1 | 0 | 0 | 0 | 0 | 08/09/2025 12:47 | 09/09/2025 00:43 | STATOR EARTH FAULT
Rajasthan |  | KOTA TPS | 1 | 0 | 0 | 110 | 0 | 09/09/2025 21:52 |  | FURNACE DRAFT ABNORMAL
Rajasthan |  | KOTA TPS | 2 | 0 | 0 | 110 | 0 | 31/08/2025 12:36 | 09/09/2025 18:12 | RESERVE SHUT DOWN / STANDBY UNIT
Rajasthan |  | KOTA TPS | 3 | 0 | 210 | 0 | 0 | 24/08/2025 10:50 |  | RSD/LOW SCHEDULE
Rajasthan |  | KOTA TPS | 4 | 0 | 0 | 210 | 0 | 09/09/2025 16:36 | 09/09/2025 21:02 | BOILER FEED PUMP/MOTOR PROBLEM
Rajasthan |  | KOTA TPS | 5 | 0 | 210 | 0 | 0 | 24/08/2025 10:37 |  | RSD/LOW SCHEDULE
Rajasthan |  | KOTA TPS | 7 | 0 | 0 | 195 | 0 | 31/08/2025 12:24 | 09/09/2025 17:05 | RESERVE SHUT DOWN / STANDBY UNIT
Rajasthan |  | SURATGARH TPS | 1 | 0 | 0 | 250 | 0 | 06/09/2025 19:36 |  | RSD/LOW SCHEDULE
Rajasthan |  | SURATGARH TPS | 2 | 0 | 0 | 250 | 0 | 01/09/2025 12:11 |  | RSD/LOW SCHEDULE
Rajasthan |  | SURATGARH TPS | 3 | 0 | 250 | 0 | 0 | 28/11/2024 13:48 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
Rajasthan |  | SURATGARH TPS | 4 | 0 | 250 | 0 | 0 | 23/08/2025 13:58 |  | RSD/LOW SCHEDULE
Rajasthan |  | SURATGARH TPS | 5 | 0 | 250 | 0 | 0 | 23/08/2025 21:20 |  | RESERVE SHUT DOWN / STANDBY UNIT
Rajasthan |  | SURATGARH TPS | 6 | 0 | 250 | 0 | 0 | 25/07/2025 12:09 |  | TURBINE VIBRATION HIGH
Rajasthan |  | ADANI POWER LIMITED KAWAI TPP | 1 | 0 | 0 | 660 | 0 | 31/08/2025 15:30 |  | RESERVE SHUT DOWN / STANDBY UNIT
Rajasthan |  | ADANI POWER LIMITED KAWAI TPP | 2 | 0 | 0 | 660 | 0 | 01/09/2025 13:31 | 09/09/2025 18:17 | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | DADRI (NCTPP) | 1 | 0 | 0 | 210 | 0 | 02/09/2025 09:30 | 09/09/2025 19:57 | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | DADRI (NCTPP) | 2 | 0 | 0 | 210 | 0 | 05/09/2025 10:56 | 09/09/2025 13:13 | RSD/LOW SCHEDULE
Uttar Pradesh |  | DADRI (NCTPP) | 3 | 0 | 0 | 0 | 0 | 05/09/2025 09:51 | 09/09/2025 08:31 | RSD/LOW SCHEDULE
Uttar Pradesh |  | DADRI (NCTPP) | 4 | 0 | 0 | 210 | 0 | 25/08/2025 13:53 | 09/09/2025 18:41 | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | RIHAND STPS | 2 | 500 | 0 | 0 | 0 | 08/08/2025 12:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh |  | SINGRAULI STPS | 6 | 500 | 0 | 0 | 0 | 18/07/2025 01:50 |  | OVERHAULING WORKS
Uttar Pradesh |  | TANDA TPS | 1 | 0 | 110 | 0 | 0 | 30/06/2025 23:05 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 2 | 0 | 110 | 0 | 0 | 30/06/2025 23:17 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 3 | 0 | 0 | 110 | 0 | 31/08/2025 23:58 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 4 | 0 | 0 | 110 | 0 | 31/08/2025 23:58 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | UNCHAHAR TPS | 5 | 0 | 0 | 210 | 0 | 31/08/2025 23:44 | 09/09/2025 21:03 | P.A. FANS PROBLEM
Uttar Pradesh |  | NARORA A.P.S. | 1 | 0 | 220 | 0 | 0 | 14/04/2025 04:36 |  | Turbine Misc
Uttar Pradesh |  | ANPARA TPS | 5 | 0 | 0 | 500 | 0 | 06/09/2025 18:43 |  | ECONOMISER TUBE LEAKAGE
Uttar Pradesh |  | HARDUAGANJ TPS | 7 | 0 | 105 | 0 | 0 | 26/07/2025 00:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | HARDUAGANJ TPS | 8 | 0 | 250 | 0 | 0 | 24/08/2025 17:38 | 09/09/2025 22:21 | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | HARDUAGANJ TPS | 9 | 0 | 250 | 0 | 0 | 24/08/2025 17:20 | 09/09/2025 16:07 | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | HARDUAGANJ TPS | 10 | 0 | 0 | 660 | 0 | 31/08/2025 18:17 | 09/09/2025 13:46 | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | JAWAHARPUR STPP | 1 | 0 | 0 | 660 | 0 | 26/08/2025 06:49 |  | AIR PREHEATERS PROBLEM
Uttar Pradesh |  | OBRA TPS | 12 | 0 | 0 | 0 | 0 | 09/09/2025 06:30 | 09/09/2025 10:15 | FURNACE DRAFT ABNORMAL
Uttar Pradesh |  | PANKI TPS EXT | 1 | 0 | 0 | 660 | 0 | 09/09/2025 00:58 |  | BOILER FEED PUMP/MOTOR PROBLEM
Uttar Pradesh |  | BARKHERA TPS | 1 | 0 | 0 | 45 | 0 | 09/09/2025 19:35 |  | BOILER MISC. PROBLEM
Uttar Pradesh |  | BARKHERA TPS | 2 | 0 | 0 | 45 | 0 | 01/09/2025 00:28 | 09/09/2025 14:10 | RSD/LOW SCHEDULE
Uttar Pradesh |  | KHAMBARKHERA TPS | 1 | 0 | 0 | 45 | 0 | 01/09/2025 00:30 | 09/09/2025 13:57 | RSD/LOW SCHEDULE
Uttar Pradesh |  | KHAMBARKHERA TPS | 2 | 0 | 0 | 45 | 0 | 01/09/2025 00:14 | 09/09/2025 14:19 | RSD/LOW SCHEDULE
Uttar Pradesh |  | KUNDARKI TPS | 1 | 0 | 0 | 45 | 0 | 01/09/2025 00:26 | 09/09/2025 15:11 | RSD/LOW SCHEDULE
Uttar Pradesh |  | KUNDARKI TPS | 2 | 0 | 0 | 45 | 0 | 01/09/2025 00:26 | 09/09/2025 15:15 | RSD/LOW SCHEDULE
Uttar Pradesh |  | MAQSOODPUR TPS | 1 | 0 | 0 | 45 | 0 | 01/09/2025 00:30 | 09/09/2025 14:05 | RSD/LOW SCHEDULE
Uttar Pradesh |  | MAQSOODPUR TPS | 2 | 0 | 0 | 45 | 0 | 01/09/2025 00:30 | 09/09/2025 13:51 | RSD/LOW SCHEDULE
Uttar Pradesh |  | UTRAULA TPS | 1 | 0 | 0 | 45 | 0 | 01/09/2025 00:27 | 09/09/2025 14:57 | RSD/LOW SCHEDULE
Uttar Pradesh |  | UTRAULA TPS | 2 | 0 | 0 | 45 | 0 | 01/09/2025 00:27 | 09/09/2025 14:54 | RSD/LOW SCHEDULE
Total Northern |  | 4: 1710; 5: 3065; 6: 7355; 7: 630
Western
Chhatisgarh |  | KORBA STPS | 4 | 500 | 0 | 0 | 0 | 16/08/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Chhatisgarh |  | LARA TPP | 2 | 800 | 0 | 0 | 0 | 25/08/2025 00:00 |  | OVERHAULING WORKS
Chhatisgarh |  | SIPAT STPS | 5 | 500 | 0 | 0 | 0 | 26/07/2025 03:40 |  | OVERHAULING WORKS
Chhatisgarh |  | KORBA-WEST TPS | 2 | 0 | 0 | 0 | 0 | 01/09/2025 22:27 | 09/09/2025 03:00 | COAL FEEDING PROBLEM IN PLANT
Chhatisgarh |  | KORBA-WEST TPS | 3 | 0 | 0 | 0 | 0 | 09/09/2025 22:00 |  | BOILER AUX. MISC. PROMLEMS
Chhatisgarh |  | KORBA-WEST TPS | 4 | 0 | 0 | 0 | 0 | 04/09/2025 06:38 | 09/09/2025 02:35 | FURNACE FIRE OUT /FLAME FAILURE
Chhatisgarh |  | BALCO TPS | 1 | 0 | 300 | 0 | 0 | 15/08/2025 23:36 |  | HYDROGEN PRESSURE PROBLEM
Chhatisgarh |  | BINJKOTE TPP | 2 | 0 | 0 | 300 | 0 | 08/09/2025 08:40 |  | AIR PREHEATERS PROBLEM
Chhatisgarh |  | KASAIPALLI TPP | 2 | 0 | 0 | 135 | 0 | 08/09/2025 21:40 |  | I.D. FANS PROBLEM
Chhatisgarh |  | KATGHORA TPP | 1 | 0 | 0 | 0 | 0 | 15/10/2012 00:28 |  | No Fuel Supply Agreement
Chhatisgarh |  | NAWAPARA TPP | 1 | 0 | 0 | 300 | 0 | 04/09/2025 09:30 |  | ASH HANDLING SYSTEM PROBLEM
Chhatisgarh |  | OP JINDAL TPS | 3 | 250 | 0 | 0 | 0 | 01/09/2025 04:10 |  | CAPITAL MAINTENANCE
Chhatisgarh |  | PATHADI TPP | 1 | 0 | 0 | 300 | 0 | 03/09/2025 12:00 |  | AIR PREHEATERS PROBLEM
Chhatisgarh |  | SALORA TPP | 1 | 0 | 0 | 0 | 0 | 19/10/2014 04:30 |  | No Fuel Supply Agreement
Chhatisgarh |  | SVPL TPP | 1 | 0 | 63 | 0 | 0 | 03/08/2025 00:29 | 09/09/2025 22:05 | I.D. FANS PROBLEM
Chhatisgarh |  | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 0 | 01/04/2015 00:20 |  | No Fuel Supply Agreement
Chhatisgarh |  | UCHPINDA TPP | 1 | 0 | 360 | 0 | 0 | 22/06/2025 01:15 |  | TURBINE VIBRATIONS HIGH
Chhatisgarh |  | UCHPINDA TPP | 2 | 0 | 0 | 360 | 0 | 09/09/2025 20:46 |  | AIR PREHEATERS PROBLEM
Chhatisgarh |  | UCHPINDA TPP | 3 | 0 | 0 | 0 | 0 | 09/09/2025 14:48 | 09/09/2025 17:09 | P.A. FANS PROBLEM
Chhatisgarh |  | Vedanta Ltd Chhattisgarh TPP | 1 | 0 | 0 | 600 | 0 | 09/09/2025 23:17 |  | FURNACE FIRE OUT /FLAME FAILURE
Gujarat |  | KAKRAPARA | 3 | 0 | 0 | 700 | 0 | 04/09/2025 10:07 |  | MISCELLANEOUS
Gujarat |  | AKRIMOTA LIG TPS | 1 | 125 | 0 | 0 | 0 | 08/06/2024 19:30 |  | CAPITAL MAINTENANCE
Gujarat |  | AKRIMOTA LIG TPS | 2 | 0 | 0 | 125 | 0 | 05/09/2025 11:08 |  | DRUM LEVEL HIGH/ low
Gujarat |  | BHAVNAGAR CFBC TPP | 1 | 0 | 0 | 250 | 0 | 05/09/2025 07:17 |  | BOILER MISC. PROBLEM
Gujarat |  | GANDHI NAGAR TPS | 3 | 0 | 0 | 210 | 0 | 31/08/2025 11:06 |  | RSD/LOW SCHEDULE
Gujarat |  | GANDHI NAGAR TPS | 4 | 0 | 0 | 210 | 0 | 31/08/2025 10:49 |  | RSD/LOW SCHEDULE
Gujarat |  | GANDHI NAGAR TPS | 5 | 0 | 0 | 210 | 0 | 01/09/2025 12:56 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | KUTCH LIG. TPS | 3 | 0 | 0 | 75 | 0 | 02/09/2025 09:31 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat |  | SIKKA REP. TPS | 3 | 0 | 0 | 250 | 0 | 31/08/2025 10:27 |  | RSD/LOW SCHEDULE
Gujarat |  | SIKKA REP. TPS | 4 | 0 | 0 | 250 | 0 | 31/08/2025 10:18 |  | RSD/LOW SCHEDULE
Gujarat |  | UKAI TPS | 3 | 0 | 0 | 0 | 200 | 31/08/2025 21:29 |  | RESERVE SHUT DOWN/ STANDBY.
Gujarat |  | UKAI TPS | 5 | 0 | 0 | 0 | 210 | 05/09/2025 00:00 |  | RESERVE SHUT DOWN/ STANDBY.
Gujarat |  | WANAKBORI TPS | 1 | 0 | 0 | 210 | 0 | 01/09/2025 08:00 |  | RESERVE SHUT DOWN /
Gujarat |  | WANAKBORI TPS | 1 | 0 | 0 | 210 | 0 | 01/09/2025 08:00 |  | STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 2 | 0 | 0 | 210 | 0 | 01/09/2025 10:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 3 | 0 | 0 | 210 | 0 | 02/09/2025 09:44 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 4 | 0 | 210 | 0 | 0 | 15/08/2025 17:17 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 5 | 0 | 0 | 210 | 0 | 01/09/2025 08:01 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 6 | 0 | 0 | 210 | 0 | 01/09/2025 10:37 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 7 | 0 | 0 | 210 | 0 | 01/09/2025 13:25 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | ADANI POWER LIMITED MUNDRA TPP - I & II | 1 | 330 | 0 | 0 | 0 | 01/08/2025 01:57 |  | ANNUAL MAINTENANCE
Gujarat |  | ADANI POWER LIMITED MUNDRA TPP - I & II | 2 | 0 | 0 | 330 | 0 | 02/09/2025 23:35 | 09/09/2025 19:39 | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | ADANI POWER LIMITED MUNDRA TPP - I & II | 3 | 0 | 0 | 330 | 0 | 05/09/2025 11:14 | 09/09/2025 18:18 | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | MUNDRA UMTPP | 1 | 0 | 800 | 0 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 2 | 0 | 800 | 0 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat |  | MUNDRA UMTPP | 3 | 0 | 800 | 0 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat |  | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat |  | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Gujarat |  | SURAT LIG. TPS | 2 | 0 | 0 | 0 | 0 | 08/09/2025 11:00 | 09/09/2025 00:33 | ELECTRICAL FAULT
Madhya Pradesh |  | GADARWARA TPP | 2 | 0 | 0 | 0 | 0 | 06/09/2025 10:00 | 09/09/2025 06:50 | WATER WALL TUBE LEAKAGE
Madhya Pradesh |  | SANJAY GANDHI TPS | 3 | 0 | 0 | 210 | 0 | 09/09/2025 17:03 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
Madhya Pradesh |  | SANJAY GANDHI TPS | 5 | 500 | 0 | 0 | 0 | 10/07/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh |  | SHREE SINGAJI TPP | 1 | 0 | 0 | 600 | 0 | 03/09/2025 12:48 | 09/09/2025 22:19 | RESERVE SHUT DOWN / STANDBY UNIT
Madhya Pradesh |  | SHREE SINGAJI TPP | 3 | 0 | 0 | 0 | 0 | 09/09/2025 22:19 |  | D.M. WATER PROBLEM
Madhya Pradesh |  | NIGRI TPP | 2 | 0 | 0 | 0 | 0 | 07/09/2025 10:25 | 09/09/2025 11:04 | WATER WALL TUBE LEAKAGE
Maharashtra |  | SOLAPUR STPS | 1 | 0 | 0 | 660 | 0 | 06/09/2025 10:13 |  | RSD/LOW SCHEDULE
Maharashtra |  | SOLAPUR STPS | 2 | 0 | 0 | 0 | 0 | 07/09/2025 02:20 | 09/09/2025 04:55 | RSD/LOW SCHEDULE
Maharashtra |  | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra |  | TARAPUR | 2 | 160 | 0 | 0 | 0 | 13/07/2020 04:38 |  | RENOVATION/MODERNISATION WORKS
Maharashtra |  | BHUSAWAL TPS | 3 | 0 | 210 | 0 | 0 | 09/08/2025 07:12 | 09/09/2025 14:56 | WET / POOR QUALITY COAL
Maharashtra |  | BHUSAWAL TPS | 6 | 0 | 0 | 0 | 0 | 09/09/2025 00:00 | 09/09/2025 07:43 | TRANSMISSION CONSTRAINTS
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 3 | 0 | 0 | 210 | 0 | 29/08/2025 04:37 |  | COAL FEEDING SYSTEM FAILURE.
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 4 | 210 | 0 | 0 | 0 | 15/08/2025 15:13 |  | ANNUAL MAINTENANCE
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 7 | 0 | 0 | 500 | 0 | 06/09/2025 05:14 |  | SWITCH YARD/TRIPPING OF TRANSMISSION LINES/BUS BAR PROBLEM
Maharashtra |  | KORADI TPS | 6 | 210 | 0 | 0 | 0 | 23/08/2025 23:16 |  | ANNUAL MAINTENANCE
Maharashtra |  | KORADI TPS | 10 | 0 | 0 | 660 | 0 | 03/09/2025 11:50 | 09/09/2025 21:38 | ECONOMISER TUBE LEAKAGE
Maharashtra |  | NASIK TPS | 3 | 0 | 0 | 210 | 0 | 03/09/2025 18:00 |  | FURNACE FIRE OUT /FLAME FAILURE
Maharashtra |  | PARAS TPS | 4 | 250 | 0 | 0 | 0 | 23/08/2025 02:28 |  | CAPITAL MAINTENANCE
Maharashtra |  | PARLI TPS | 6 | 0 | 250 | 0 | 0 | 20/08/2025 15:15 | 09/09/2025 14:16 | RESERVE SHUT DOWN / STANDBY UNIT
Maharashtra |  | PARLI TPS | 7 | 0 | 0 | 250 | 0 | 05/09/2025 16:26 | 09/09/2025 12:12 | RSD/LOW SCHEDULE
Maharashtra |  | PARLI TPS | 8 | 0 | 250 | 0 | 0 | 15/08/2025 14:00 | 09/09/2025 13:14 | WATER WALL TUBE LEAKAGE
Maharashtra |  | AMRAVATI TPS | 4 | 270 | 0 | 0 | 0 | 23/08/2025 00:00 |  | CAPITAL MAINTENANCE
Maharashtra |  | BUTIBORI TPP | 1 | 0 | 0 | 300 | 0 | 03/09/2025 23:11 |  | Turbine Misc
Maharashtra |  | GEPL TPP Ph-I | 1 | 0 | 60 | 0 | 0 | 29/06/2013 00:00 |  | No Fuel Supply Agreement
Maharashtra |  | GEPL TPP Ph-I | 2 | 0 | 60 | 0 | 0 | 20/06/2013 20:27 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 1 | 0 | 61.51 | 0 | 0 | 10/01/2013 15:50 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 2 | 0 | 61.5 | 0 | 0 | 05/11/2013 11:53 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 3 | 0 | 61.5 | 0 | 0 | 10/06/2013 18:00 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 4 | 0 | 61.5 | 0 | 0 | 20/08/2013 10:00 |  | No Fuel Supply Agreement
Maharashtra |  | NASIK (P) TPS | 1 | 0 | 0 | 0 | 0 | 04/03/2014 18:10 |  | No Fuel Supply Agreement
Maharashtra |  | NASIK (P) TPS | 2 | 0 | 0 | 0 | 0 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 3 | 0 | 0 | 0 | 0 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 4 | 0 | 0 | 0 | 0 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 5 | 0 | 0 | 0 | 0 | 30/05/2017 15:24 |  | NO Power purchase agreement
Maharashtra |  | SHIRPUR TPP | 1 | 0 | 0 | 150 | 0 | 05/09/2025 00:24 | 09/09/2025 15:08 | RESERVE SHUT DOWN / STANDBY UNIT
Total Western |  | 4: 4265; 5: 6084.01; 6: 9945; 7: 410
Southern
Andhra Pradesh |  | SIMHADRI | 2 | 0 | 0 | 500 | 0 | 01/09/2025 12:16 | 09/09/2025 15:57 | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh |  | SIMHADRI | 4 | 0 | 0 | 500 | 0 | 29/08/2025 13:22 | 09/09/2025 14:25 | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh |  | Dr. N.TATA RAO TPS | 2 | 210 | 0 | 0 | 0 | 31/08/2025 00:12 |  | ANNUAL MAINTENANCE
Andhra Pradesh |  | THAMMINAPATNAM TPS | 1 | 0 | 0 | 150 | 0 | 01/09/2025 15:01 |  | TURBINE MISC. PROBLEM
Andhra Pradesh |  | THAMMINAPATNAM TPS | 2 | 0 | 150 | 0 | 0 | 07/07/2025 22:40 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Andhra Pradesh |  | THAMMINAPATNAM TPS | 3 | 0 | 0 | 0 | 0 | 09/09/2025 05:59 | 09/09/2025 09:11 | I.D. FANS PROBLEM
Andhra Pradesh |  | THAMMINAPATNAM TPS | 4 | 0 | 0 | 350 | 0 | 02/09/2025 10:29 |  | TURBINE VIBRATION HIGH
Andhra Pradesh |  | VIZAG TPP | 1 | 0 | 0 | 520 | 0 | 02/09/2025 23:51 |  | ASH HANDLING SYSTEM PROBLEM
Karnataka |  | KUDGI STPP | 1 | 0 | 800 | 0 | 0 | 15/08/2025 00:38 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | KUDGI STPP | 2 | 800 | 0 | 0 | 0 | 05/08/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | KUDGI STPP | 3 | 0 | 800 | 0 | 0 | 15/08/2025 09:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | KAIGA | 1 | 220 | 0 | 0 | 0 | 31/03/2025 23:11 |  | MISCELLANEOUS PLANNED MAINTENANCE
Karnataka |  | BELLARY TPS | 3 | 700 | 0 | 0 | 0 | 21/07/2025 23:35 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka |  | RAICHUR TPS | 2 | 210 | 0 | 0 | 0 | 10/08/2025 10:49 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | RAICHUR TPS | 3 | 0 | 0 | 210 | 0 | 09/09/2025 15:24 |  | WATER WALL TUBE LEAKAGE
Karnataka |  | YERMARUS TPP | 1 | 0 | 0 | 0 | 0 | 15/08/2025 09:13 | 09/09/2025 01:19 | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | YERMARUS TPP | 2 | 0 | 0 | 0 | 800 | 14/08/2025 10:50 |  | RESERVE SHUT DOWN
Karnataka |  | TORANGALLU TPS(SBU-II) | 3 | 0 | 300 | 0 | 0 | 24/08/2025 18:15 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | NEYVELI ( EXT) TPS | 1 | 210 | 0 | 0 | 0 | 25/08/2025 06:35 |  | ANNUAL MAINTENANCE
Tamil Nadu |  | NEYVELI NEW TPP | 1 | 0 | 0 | 500 | 0 | 09/09/2025 02:17 |  | BOILER AUX. MISC. PROMLEMS
Tamil Nadu |  | NEYVELI TPS-II | 2 | 0 | 210 | 0 | 0 | 18/08/2025 17:20 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Tamil Nadu |  | NEYVELI TPS-II | 4 | 210 | 0 | 0 | 0 | 14/07/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu |  | NEYVELI TPS-II EXP | 2 | 0 | 0 | 250 | 0 | 02/09/2025 02:23 |  | FBHE (FLUIDISED BED HEAT EXCHANGER) PROBLEM
Tamil Nadu |  | KUDANKULAM | 1 | 1000 | 0 | 0 | 0 | 03/08/2025 00:00 |  | ANNUAL MAINTENANCE
Tamil Nadu |  | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu |  | MADRAS A.P.S. | 2 | 220 | 0 | 0 | 0 | 01/09/2025 00:12 |  | ANNUAL MAINTENANCE
Tamil Nadu |  | METTUR TPS | 4 | 210 | 0 | 0 | 0 | 01/09/2025 01:40 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu |  | NORTH CHENNAI TPS | 1 | 0 | 210 | 0 | 0 | 02/08/2025 22:33 |  | REHEATER TUBE LEAKAGE
Tamil Nadu |  | TUTICORIN TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2025 21:50 |  | FIRE IN CABLE GALLERY.
Tamil Nadu |  | TUTICORIN TPS | 2 | 0 | 210 | 0 | 0 | 15/03/2025 22:01 |  | FIRE IN CABLE GALLERY
Tamil Nadu |  | ITPCL TPP | 2 | 600 | 0 | 0 | 0 | 01/08/2025 01:36 |  | CAPITAL MAINTENANCE
Tamil Nadu |  | MUTHIARA TPP | 1 | 0 | 600 | 0 | 0 | 01/08/2025 22:56 |  | AIR PREHEATERS PROBLEM
Tamil Nadu |  | OPG Power Generation Private Limited | 1 | 0 | 77 | 0 | 0 | 30/06/2025 23:59 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | OPG Power Generation Private Limited | 2 | 0 | 0 | 77 | 0 | 09/09/2025 03:00 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | OPG Power | 4 | 0 | 0 | 180 | 0 | 07/09/2025 02:29 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | Generation Private Limited | 4 | 0 | 0 | 180 | 0 | 07/09/2025 02:29 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | TCP Limited | 1 | 63.5 | 0 | 0 | 0 | 16/07/2021 05:21 |  | MISCELLANEOUS PLANNED MAINTENANCE
Tamil Nadu |  | TUTICORIN (P) TPP | 1 | 0 | 150 | 0 | 0 | 03/04/2016 00:31 |  | No Fuel Supply Agreement
Tamil Nadu |  | TUTICORIN (P) TPP | 2 | 0 | 150 | 0 | 0 | 16/04/2016 01:42 |  | No Fuel Supply Agreement
Telangana |  | RAMAGUNDEM STPS | 2 | 0 | 0 | 0 | 0 | 28/08/2025 11:59 | 09/09/2025 06:07 | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | RAMAGUNDEM STPS | 3 | 0 | 0 | 200 | 0 | 26/08/2025 10:47 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | RAMAGUNDEM STPS | 6 | 500 | 0 | 0 | 0 | 10/08/2025 21:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Telangana |  | TELANGANA STPP PH-1 | 2 | 0 | 800 | 0 | 0 | 18/08/2025 12:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | BHADRADRI TPP | 1 | 0 | 0 | 270 | 0 | 02/09/2025 06:29 | 09/09/2025 20:21 | RSD/LOW SCHEDULE
Telangana |  | BHADRADRI TPP | 4 | 0 | 0 | 270 | 0 | 09/09/2025 20:28 |  | FURNACE FIRE OUT /FLAME FAILURE
Telangana |  | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Telangana |  | YADADRI TPS | 2 | 0 | 0 | 0 | 0 | 11/08/2025 08:08 | 09/09/2025 03:49 | WATER WALL TUBE LEAKAGE
Total Southern |  | 4: 5153.5; 5: 5159.5; 6: 3977; 7: 800
Eastern
Bihar |  | BARAUNI TPS | 6 | 0 | 0 | 0 | 0 | 22/07/2023 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar |  | BARAUNI TPS | 7 | 0 | 0 | 0 | 0 | 19/07/2023 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar |  | KAHALGAON TPS | 2 | 210 | 0 | 0 | 0 | 28/08/2025 00:15 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Bihar |  | KAHALGAON TPS | 4 | 0 | 0 | 0 | 0 | 09/09/2025 23:50 |  | DRUM LEVEL LOW
Bihar |  | NABINAGAR TPP | 4 | 250 | 0 | 0 | 0 | 25/08/2025 00:01 |  | ANNUAL MAINTENANCE
Odisha |  | DARLIPALI STPS | 1 | 0 | 0 | 800 | 0 | 08/09/2025 01:40 |  | WATER WALL TUBE LEAKAGE
Odisha |  | TALCHER STPS | 1 | 0 | 0 | 500 | 0 | 09/09/2025 01:03 |  | ECONOMISER TUBE LEAKAGE
Odisha |  | TALCHER STPS | 4 | 500 | 0 | 0 | 0 | 24/08/2025 00:28 |  | OVERHAULING WORKS
Odisha |  | IB VALLEY TPS | 3 | 660 | 0 | 0 | 0 | 24/08/2025 02:25 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha |  | IB VALLEY TPS | 4 | 0 | 0 | 660 | 0 | 05/09/2025 08:17 |  | WATER WALL TUBE LEAKAGE
Odisha |  | JSW Energy Utkal Limited | 2 | 0 | 0 | 350 | 0 | 08/09/2025 04:30 |  | TURBINE BEARING OIL SYSTEM TROUBLE
Odisha |  | Maadurga Thermal Power Company Ltd. | 1 | 0 | 0 | 30 | 0 | 09/09/2025 00:28 |  | STATION SERVICE TRANSFORMER MISC.
Odisha |  | Maadurga Thermal Power Company Ltd. | 2 | 0 | 0 | 30 | 0 | 09/09/2025 00:25 |  | STATION SERVICE TRANSFORMER MISC.
West Bengal |  | DURGAPUR STEEL TPS | 1 | 500 | 0 | 0 | 0 | 15/08/2025 02:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal |  | FARAKKA STPS | 5 | 0 | 0 | 500 | 0 | 02/09/2025 12:00 | 09/09/2025 21:44 | RSD/LOW SCHEDULE
West Bengal |  | RAGHUNATHPUR TPP | 1 | 0 | 0 | 600 | 0 | 02/09/2025 12:14 |  | REHEATER TUBE LEAKAGE
West Bengal |  | BAKRESWAR TPS | 1 | 210 | 0 | 0 | 0 | 24/08/2025 00:06 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal |  | BANDEL TPS | 2 | 0 | 0 | 0 | 0 | 06/09/2025 00:23 | 09/09/2025 10:07 | WATER WALL TUBE LEAKAGE
West Bengal |  | D.P.L. TPS | 8 | 250 | 0 | 0 | 0 | 25/08/2025 00:50 |  | OVERHAULING WORKS
West Bengal |  | SOUTHERN REPL. TPS | 2 | 67.5 | 0 | 0 | 0 | 30/08/2025 01:45 |  | MISCELLANEOUS PLANNED MAINTENANCE
West Bengal |  | TITAGARH TPS | 1 | 0 | 0 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 2 | 0 | 0 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 3 | 0 | 0 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 4 | 0 | 0 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN /
West Bengal |  | TITAGARH TPS | 4 | 0 | 0 | 0 | 0 | 09/10/2016 05:36 |  | STANDBY UNIT
Total Eastern |  | 4: 2647.5; 5: 0; 6: 3470; 7: 0
Total |  | 4: 13776; 5: 14308.51; 6: 24747; 7: 1840
Remarks:-
Report Version :-