## dailyOutage_Report
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 09-09-2025
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[8 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Haryana |  | RAJIV GANDHI TPS | 1 | 0 | 600 | 0 | 0 | 22/08/2025 21:40 | 09/09/2025 14:26 | RESERVE SHUT DOWN / STANDBY UNIT
Rajasthan |  | KALISINDH TPS | 1 | 0 | 0 | 0 | 0 | 08/09/2025 12:47 | 09/09/2025 00:43 | STATOR EARTH FAULT
Rajasthan |  | ADANI POWER LIMITED KAWAI TPP | 1 | 0 | 0 | 660 | 0 | 31/08/2025 15:30 |  | RESERVE SHUT DOWN / STANDBY UNIT
Rajasthan |  | ADANI POWER LIMITED KAWAI TPP | 2 | 0 | 0 | 660 | 0 | 01/09/2025 13:31 | 09/09/2025 18:17 | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | RIHAND STPS | 2 | 500 | 0 | 0 | 0 | 08/08/2025 12:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh |  | SINGRAULI STPS | 6 | 500 | 0 | 0 | 0 | 18/07/2025 01:50 |  | OVERHAULING WORKS
Uttar Pradesh |  | ANPARA TPS | 5 | 0 | 0 | 500 | 0 | 06/09/2025 18:43 |  | ECONOMISER TUBE LEAKAGE
Uttar Pradesh |  | HARDUAGANJ TPS | 10 | 0 | 0 | 660 | 0 | 31/08/2025 18:17 | 09/09/2025 13:46 | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | JAWAHARPUR STPP | 1 | 0 | 0 | 660 | 0 | 26/08/2025 06:49 |  | AIR PREHEATERS PROBLEM
Uttar Pradesh |  | PANKI TPS EXT | 1 | 0 | 0 | 660 | 0 | 09/09/2025 00:58 |  | BOILER FEED PUMP/MOTOR PROBLEM
Chhatisgarh |  | KORBA STPS | 4 | 500 | 0 | 0 | 0 | 16/08/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Chhatisgarh |  | LARA TPP | 2 | 800 | 0 | 0 | 0 | 25/08/2025 00:00 |  | OVERHAULING WORKS
Chhatisgarh |  | SIPAT STPS | 5 | 500 | 0 | 0 | 0 | 26/07/2025 03:40 |  | OVERHAULING WORKS
Chhatisgarh |  | Vedanta Ltd Chhattisgarh TPP | 1 | 0 | 0 | 600 | 0 | 09/09/2025 23:17 |  | FURNACE FIRE OUT /FLAME FAILURE
Gujarat |  | KAKRAPARA | 3 | 0 | 0 | 700 | 0 | 04/09/2025 10:07 |  | MISCELLANEOUS
Gujarat |  | MUNDRA UMTPP | 1 | 0 | 800 | 0 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 2 | 0 | 800 | 0 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat |  | MUNDRA UMTPP | 3 | 0 | 800 | 0 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat |  | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat |  | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Madhya Pradesh |  | GADARWARA TPP | 2 | 0 | 0 | 0 | 0 | 06/09/2025 10:00 | 09/09/2025 06:50 | WATER WALL TUBE LEAKAGE
Madhya Pradesh |  | SANJAY GANDHI TPS | 5 | 500 | 0 | 0 | 0 | 10/07/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh |  | SHREE SINGAJI TPP | 1 | 0 | 0 | 600 | 0 | 03/09/2025 12:48 | 09/09/2025 22:19 | RESERVE SHUT DOWN / STANDBY UNIT
Madhya Pradesh |  | SHREE SINGAJI TPP | 3 | 0 | 0 | 0 | 0 | 09/09/2025 22:19 |  | D.M. WATER PROBLEM
Madhya Pradesh |  | NIGRI TPP | 2 | 0 | 0 | 0 | 0 | 07/09/2025 10:25 | 09/09/2025 11:04 | WATER WALL TUBE LEAKAGE
Maharashtra |  | SOLAPUR STPS | 1 | 0 | 0 | 660 | 0 | 06/09/2025 10:13 |  | RSD/LOW SCHEDULE
Maharashtra |  | SOLAPUR STPS | 2 | 0 | 0 | 0 | 0 | 07/09/2025 02:20 | 09/09/2025 04:55 | RSD/LOW SCHEDULE
Maharashtra |  | BHUSAWAL TPS | 6 | 0 | 0 | 0 | 0 | 09/09/2025 00:00 | 09/09/2025 07:43 | TRANSMISSION CONSTRAINTS
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 7 | 0 | 0 | 500 | 0 | 06/09/2025 05:14 |  | SWITCH YARD/TRIPPING OF TRANSMISSION LINES/BUS BAR PROBLEM
Maharashtra |  | KORADI TPS | 10 | 0 | 0 | 660 | 0 | 03/09/2025 11:50 | 09/09/2025 21:38 | ECONOMISER TUBE LEAKAGE
Andhra Pradesh |  | SIMHADRI | 2 | 0 | 0 | 500 | 0 | 01/09/2025 12:16 | 09/09/2025 15:57 | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh |  | SIMHADRI | 4 | 0 | 0 | 500 | 0 | 29/08/2025 13:22 | 09/09/2025 14:25 | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh |  | VIZAG TPP | 1 | 0 | 0 | 520 | 0 | 02/09/2025 23:51 |  | ASH HANDLING SYSTEM PROBLEM
Karnataka |  | KUDGI STPP | 1 | 0 | 800 | 0 | 0 | 15/08/2025 00:38 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | KUDGI STPP | 2 | 800 | 0 | 0 | 0 | 05/08/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | KUDGI STPP | 3 | 0 | 800 | 0 | 0 | 15/08/2025 09:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | BELLARY TPS | 3 | 700 | 0 | 0 | 0 | 21/07/2025 23:35 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | YERMARUS TPP | 1 | 0 | 0 | 0 | 0 | 15/08/2025 09:13 | 09/09/2025 01:19 | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | YERMARUS TPP | 2 | 0 | 0 | 0 | 800 | 14/08/2025 10:50 |  | RESERVE SHUT DOWN
Tamil Nadu |  | NEYVELI NEW TPP | 1 | 0 | 0 | 500 | 0 | 09/09/2025 02:17 |  | BOILER AUX. MISC. PROMLEMS
Tamil Nadu |  | KUDANKULAM | 1 | 1000 | 0 | 0 | 0 | 03/08/2025 00:00 |  | ANNUAL MAINTENANCE
Tamil Nadu |  | ITPCL TPP | 2 | 600 | 0 | 0 | 0 | 01/08/2025 01:36 |  | CAPITAL MAINTENANCE
Tamil Nadu |  | MUTHIARA TPP | 1 | 0 | 600 | 0 | 0 | 01/08/2025 22:56 |  | AIR PREHEATERS PROBLEM
Telangana |  | RAMAGUNDEM STPS | 6 | 500 | 0 | 0 | 0 | 10/08/2025 21:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Telangana |  | TELANGANA STPP PH-1 | 2 | 0 | 800 | 0 | 0 | 18/08/2025 12:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | YADADRI TPS | 2 | 0 | 0 | 0 | 0 | 11/08/2025 08:08 | 09/09/2025 03:49 | WATER WALL TUBE LEAKAGE
Odisha |  | DARLIPALI STPS | 1 | 0 | 0 | 800 | 0 | 08/09/2025 01:40 |  | WATER WALL TUBE LEAKAGE
Odisha |  | TALCHER STPS | 1 | 0 | 0 | 500 | 0 | 09/09/2025 01:03 |  | ECONOMISER TUBE LEAKAGE
Odisha |  | TALCHER STPS | 4 | 500 | 0 | 0 | 0 | 24/08/2025 00:28 |  | OVERHAULING WORKS
Odisha |  | IB VALLEY TPS | 3 | 660 | 0 | 0 | 0 | 24/08/2025 02:25 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha |  | IB VALLEY TPS | 4 | 0 | 0 | 660 | 0 | 05/09/2025 08:17 |  | WATER WALL TUBE LEAKAGE
West Bengal |  | DURGAPUR STEEL TPS | 1 | 500 | 0 | 0 | 0 | 15/08/2025 02:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal |  | FARAKKA STPS | 5 | 0 | 0 | 500 | 0 | 02/09/2025 12:00 | 09/09/2025 21:44 | RSD/LOW SCHEDULE
West Bengal |  | RAGHUNATHPUR TPP | 1 | 0 | 0 | 600 | 0 | 02/09/2025 12:14 |  | REHEATER TUBE LEAKAGE
| Total | 5: 8560; 6: 7600; 7: 12600; DD/MM/YYYY HH24:MM 8: 800
Remarks:-
Report Version :-