## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 09-09-2025 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
FARIDABAD CCPP | 1 | 137.76 | 08/09/2025 23:42 | 09/09/2025 16:43 | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 2 | 137.76 | 08/09/2025 23:42 | 09/09/2025 16:59 | CONSERVATION OF MAIN FUEL/RSD
PANIPAT TPS | 7 | 250.00 | 02/09/2025 13:16 | 09/09/2025 16:47 | RSD/LOW SCHEDULE
PANIPAT TPS | 8 | 250.00 | 03/09/2025 10:38 | 09/09/2025 13:53 | RSD/LOW SCHEDULE
RAJIV GANDHI TPS | 1 | 600.00 | 22/08/2025 21:40 | 09/09/2025 14:26 | RESERVE SHUT DOWN / STANDBY UNIT
GH TPS (LEH.MOH.) | 2 | 210.00 | 08/09/2025 06:52 | 09/09/2025 19:01 | RESERVE SHUT DOWN / STANDBY UNIT
ROPAR TPS | 5 | 210.00 | 24/08/2025 15:41 | 09/09/2025 10:45 | RESERVE SHUT DOWN / STANDBY UNIT
ANTA CCPP | 4 | 153.20 | 23/08/2025 20:59 | 09/09/2025 17:57 | CONSERVATION OF MAIN FUEL/RSD
KALISINDH TPS | 1 | 600.00 | 08/09/2025 12:47 | 09/09/2025 00:43 | STATOR EARTH FAULT
KOTA TPS | 1 | 110.00 | 31/08/2025 12:43 | 09/09/2025 19:43 | RESERVE SHUT DOWN / STANDBY UNIT
KOTA TPS | 2 | 110.00 | 31/08/2025 12:36 | 09/09/2025 18:12 | RESERVE SHUT DOWN / STANDBY UNIT
KOTA TPS | 4 | 210.00 | 09/09/2025 16:36 | 09/09/2025 21:02 | BOILER FEED PUMP/MOTOR PROBLEM
KOTA TPS | 4 |  | 24/08/2025 10:48 | 09/09/2025 15:52 | RSD/LOW SCHEDULE
KOTA TPS | 7 | 195.00 | 31/08/2025 12:24 | 09/09/2025 17:05 | RESERVE SHUT DOWN / STANDBY UNIT
ADANI POWER LIMITED KAWAI TPP | 2 | 660.00 | 01/09/2025 13:31 | 09/09/2025 18:17 | RESERVE SHUT DOWN / STANDBY UNIT
DADRI (NCTPP) | 1 | 210.00 | 02/09/2025 09:30 | 09/09/2025 19:57 | RESERVE SHUT DOWN / STANDBY UNIT
DADRI (NCTPP) | 2 | 210.00 | 05/09/2025 10:56 | 09/09/2025 13:13 | RSD/LOW SCHEDULE
DADRI (NCTPP) | 3 | 210.00 | 05/09/2025 09:51 | 09/09/2025 08:31 | RSD/LOW SCHEDULE
DADRI (NCTPP) | 4 | 210.00 | 25/08/2025 13:53 | 09/09/2025 18:41 | RESERVE SHUT DOWN / STANDBY UNIT
UNCHAHAR TPS | 5 | 210.00 | 31/08/2025 23:44 | 09/09/2025 21:03 | P.A. FANS PROBLEM
AURAIYA CCPP | 1 | 111.19 | 08/09/2025 23:59 | 09/09/2025 13:02 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 2 | 111.19 | 08/09/2025 23:41 | 09/09/2025 16:40 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 5 | 109.30 | 23/08/2025 20:04 | 09/09/2025 17:12 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 6 | 109.30 | 23/08/2025 20:10 | 09/09/2025 18:38 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 08/09/2025 23:36 | 09/09/2025 17:32 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 2 | 130.19 | 08/09/2025 23:36 | 09/09/2025 15:26 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 4 | 130.19 | 08/09/2025 23:36 | 09/09/2025 15:54 | CONSERVATION OF MAIN FUEL/RSD
HARDUAGANJ TPS | 8 | 250.00 | 24/08/2025 17:38 | 09/09/2025 22:21 | RESERVE SHUT DOWN / STANDBY UNIT
HARDUAGANJ TPS | 9 | 250.00 | 24/08/2025 17:20 | 09/09/2025 16:07 | RESERVE SHUT DOWN / STANDBY UNIT
HARDUAGANJ TPS | 10 | 660.00 | 31/08/2025 18:17 | 09/09/2025 13:46 | RESERVE SHUT DOWN / STANDBY UNIT
OBRA TPS | 12 | 200.00 | 09/09/2025 06:30 | 09/09/2025 10:15 | FURNACE DRAFT ABNORMAL
BARKHERA TPS | 1 | 45.00 | 01/09/2025 00:28 | 09/09/2025 14:15 | RSD/LOW SCHEDULE
BARKHERA TPS | 2 | 45.00 | 01/09/2025 00:28 | 09/09/2025 14:10 | RSD/LOW SCHEDULE
KHAMBARKHERA TPS | 1 | 45.00 | 01/09/2025 00:30 | 09/09/2025 13:57 | RSD/LOW SCHEDULE
KHAMBARKHERA TPS | 2 | 45.00 | 01/09/2025 00:14 | 09/09/2025 14:19 | RSD/LOW SCHEDULE
KUNDARKI TPS | 1 | 45.00 | 01/09/2025 00:26 | 09/09/2025 15:11 | RSD/LOW SCHEDULE
KUNDARKI TPS | 2 | 45.00 | 01/09/2025 00:26 | 09/09/2025 15:15 | RSD/LOW SCHEDULE
MAQSOODPUR TPS | 1 | 45.00 | 01/09/2025 00:30 | 09/09/2025 14:05 | RSD/LOW SCHEDULE
MAQSOODPUR TPS | 2 | 45.00 | 01/09/2025 00:30 | 09/09/2025 13:51 | RSD/LOW SCHEDULE
UTRAULA TPS | 1 | 45.00 | 01/09/2025 00:27 | 09/09/2025 14:57 | RSD/LOW SCHEDULE
UTRAULA TPS | 2 | 45.00 | 01/09/2025 00:27 | 09/09/2025 14:54 | RSD/LOW SCHEDULE
KORBA-WEST TPS | 2 | 210.00 | 01/09/2025 22:27 | 09/09/2025 03:00 | COAL FEEDING PROBLEM IN PLANT
KORBA-WEST TPS | 4 | 210.00 | 04/09/2025 06:38 | 09/09/2025 02:35 | FURNACE FIRE OUT /FLAME FAILURE
SVPL TPP | 1 | 63.00 | 03/08/2025 00:29 | 09/09/2025 22:05 | I.D. FANS PROBLEM
UCHPINDA TPP | 3 | 360.00 | 09/09/2025 14:48 | 09/09/2025 17:09 | P.A. FANS PROBLEM
Vedanta Ltd Chhattisgarh TPP | 1 | 600.00 | 02/09/2025 01:57 | 09/09/2025 23:05 | P.A. FANS PROBLEM
GANDHAR CCPP | 2 | 144.30 | 08/09/2025 23:51 | 09/09/2025 10:31 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 3 | 144.30 | 08/09/2025 23:57 | 09/09/2025 16:33 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 4 | 224.49 | 23/08/2025 11:54 | 09/09/2025 17:13 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 2 | 106.00 | 08/09/2025 23:45 | 09/09/2025 16:54 | CONSERVATION OF MAIN FUEL/RSD
ADANI POWER LIMITED MUNDRA TPP - I & II | 2 | 330.00 | 02/09/2025 23:35 | 09/09/2025 19:39 | RESERVE SHUT DOWN / STANDBY UNIT
ADANI POWER LIMITED MUNDRA TPP - I & II | 3 | 330.00 | 05/09/2025 11:14 | 09/09/2025 18:18 | RESERVE SHUT DOWN / STANDBY UNIT
SURAT LIG. TPS | 2 | 125.00 | 08/09/2025 11:00 | 09/09/2025 00:33 | ELECTRICAL FAULT
GADARWARA TPP | 2 | 800.00 | 06/09/2025 10:00 | 09/09/2025 06:50 | WATER WALL TUBE LEAKAGE
SHREE SINGAJI TPP | 1 | 600.00 | 03/09/2025 12:48 | 09/09/2025 22:19 | RESERVE SHUT DOWN / STANDBY UNIT
NIGRI TPP | 2 | 660.00 | 07/09/2025 10:25 | 09/09/2025 11:04 | WATER WALL TUBE LEAKAGE
SOLAPUR STPS | 2 | 660.00 | 07/09/2025 02:20 | 09/09/2025 04:55 | RSD/LOW SCHEDULE
RATNAGIRI CCPP | 4 | 213.00 | 22/08/2025 22:41 | 09/09/2025 11:31 | GT- LOW SYSTEM DAMAND
RATNAGIRI CCPP | 5 | 213.00 | 23/08/2025 12:14 | 09/09/2025 14:17 | GT- LOW SYSTEM DAMAND
RATNAGIRI CCPP | 6 | 237.54 | 23/08/2025 12:06 | 09/09/2025 13:53 | GT- LOW SYSTEM DAMAND
RATNAGIRI CCPP | 7 | 213.00 | 22/08/2025 23:26 | 09/09/2025 11:49 | GT- LOW SYSTEM DAMAND
RATNAGIRI CCPP | 8 | 213.00 | 23/08/2025 12:15 | 09/09/2025 15:26 | GT- LOW SYSTEM DAMAND
RATNAGIRI CCPP | 9 | 237.54 | 23/08/2025 12:13 | 09/09/2025 14:35 | GT- LOW SYSTEM DAMAND
BHUSAWAL TPS | 3 | 210.00 | 09/08/2025 07:12 | 09/09/2025 14:56 | WET / POOR QUALITY COAL
BHUSAWAL TPS | 6 | 660.00 | 09/09/2025 00:00 | 09/09/2025 07:43 | TRANSMISSION CONSTRAINTS
KORADI TPS | 10 | 660.00 | 03/09/2025 11:50 | 09/09/2025 21:38 | ECONOMISER TUBE LEAKAGE
PARLI TPS | 6 | 250.00 | 20/08/2025 15:15 | 09/09/2025 14:16 | RESERVE SHUT DOWN / STANDBY UNIT
PARLI TPS | 7 | 250.00 | 05/09/2025 16:26 | 09/09/2025 12:12 | RSD/LOW SCHEDULE
PARLI TPS | 8 | 250.00 | 15/08/2025 14:00 | 09/09/2025 13:14 | WATER WALL TUBE LEAKAGE
SHIRPUR TPP | 1 | 150.00 | 05/09/2025 00:24 | 09/09/2025 15:08 | RESERVE SHUT DOWN / STANDBY UNIT
SIMHADRI | 2 | 500.00 | 01/09/2025 12:16 | 09/09/2025 15:57 | RESERVE SHUT DOWN / STANDBY UNIT
SIMHADRI | 4 | 500.00 | 29/08/2025 13:22 | 09/09/2025 14:25 | RESERVE SHUT DOWN / STANDBY UNIT
THAMMINAPATNAM TPS | 3 | 350.00 | 09/09/2025 05:59 | 09/09/2025 09:11 | I.D. FANS PROBLEM
YERMARUS TPP | 1 | 800.00 | 15/08/2025 09:13 | 09/09/2025 01:19 | RESERVE SHUT DOWN / STANDBY UNIT
RAMAGUNDEM STPS | 2 | 200.00 | 28/08/2025 11:59 | 09/09/2025 06:07 | RESERVE SHUT DOWN / STANDBY UNIT
BHADRADRI TPP | 1 | 270.00 | 02/09/2025 06:29 | 09/09/2025 20:21 | RSD/LOW SCHEDULE
YADADRI TPS | 2 | 800.00 | 11/08/2025 08:08 | 09/09/2025 03:49 | WATER WALL TUBE LEAKAGE
FARAKKA STPS | 5 | 500.00 | 02/09/2025 12:00 | 09/09/2025 21:44 | RSD/LOW SCHEDULE
BANDEL TPS | 2 | 60.00 | 06/09/2025 00:23 | 09/09/2025 10:07 | WATER WALL TUBE LEAKAGE
KATHALGURI CCPP | 5 | 33.50 | 09/09/2025 00:00 | 09/09/2025 23:59 | LOW SYSTEM DEMAND
LAKWA REPLACEMENT POWER PROJECT | 1 | 9.96 | 09/09/2025 17:42 | 09/09/2025 17:54 | Miscellaneous
LAKWA REPLACEMENT POWER PROJECT | 1 |  | 09/09/2025 08:00 | 09/09/2025 17:20 | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 6 | 9.96 | 09/09/2025 01:02 | 09/09/2025 06:25 | GRID MISCELLANEOUS
Total |  | 20,882.87