## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 09-09-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
FARIDABAD CCPP | 1 | 137.76 | 09/09/2025 23:33 | 09/09/2025 | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 2 | 137.76 | 09/09/2025 23:32 | 09/09/2025 | CONSERVATION OF MAIN FUEL/RSD
KOTA TPS | 1 | 110.00 | 09/09/2025 21:52 |  | FURNACE DRAFT ABNORMAL
KOTA TPS | 4 | 210.00 | 09/09/2025 16:36 |  | BOILER FEED PUMP/MOTOR PROBLEM
AURAIYA CCPP | 2 | 111.19 | 09/09/2025 23:58 | 09/09/2025 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 2 | 130.19 | 09/09/2025 23:47 | 09/09/2025 | CONSERVATION OF MAIN FUEL/RSD
OBRA TPS | 12 | 200.00 | 09/09/2025 06:30 |  | FURNACE DRAFT ABNORMAL
PANKI TPS EXT | 1 | 660.00 | 09/09/2025 00:58 |  | BOILER FEED PUMP/MOTOR PROBLEM
BARKHERA TPS | 1 | 45.00 | 09/09/2025 19:35 |  | BOILER MISC. PROBLEM
KORBA-WEST TPS | 3 | 210.00 | 09/09/2025 22:00 |  | BOILER AUX. MISC. PROMLEMS
UCHPINDA TPP | 2 | 360.00 | 09/09/2025 20:46 | 13/09/2025 | AIR PREHEATERS PROBLEM
UCHPINDA TPP | 3 | 360.00 | 09/09/2025 14:48 |  | P.A. FANS PROBLEM
Vedanta Ltd Chhattisgarh TPP | 1 | 600.00 | 09/09/2025 23:17 |  | FURNACE FIRE OUT /FLAME FAILURE
KAWAS CCPP | 2 | 106.00 | 09/09/2025 23:30 | 09/09/2025 | CONSERVATION OF MAIN FUEL/RSD
SANJAY GANDHI TPS | 3 | 210.00 | 09/09/2025 17:03 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
SHREE SINGAJI TPP | 3 | 660.00 | 09/09/2025 22:19 |  | D.M. WATER PROBLEM
BHUSAWAL TPS | 6 | 660.00 | 09/09/2025 00:00 |  | TRANSMISSION CONSTRAINTS
THAMMINAPATNAM TPS | 3 | 350.00 | 09/09/2025 05:59 |  | I.D. FANS PROBLEM
RAICHUR TPS | 3 | 210.00 | 09/09/2025 15:24 |  | WATER WALL TUBE LEAKAGE
NEYVELI NEW TPP | 1 | 500.00 | 09/09/2025 02:17 |  | BOILER AUX. MISC. PROMLEMS
OPG Power Generation Private Limited | 2 | 77.00 | 09/09/2025 03:00 |  | RSD/LOW SCHEDULE
BHADRADRI TPP | 4 | 270.00 | 09/09/2025 20:28 |  | FURNACE FIRE OUT /FLAME FAILURE
KAHALGAON TPS | 4 | 210.00 | 09/09/2025 23:50 |  | DRUM LEVEL LOW
TALCHER STPS | 1 | 500.00 | 09/09/2025 01:03 | 09/09/2025 | ECONOMISER TUBE LEAKAGE
Maadurga Thermal Power Company Ltd. | 1 | 30.00 | 09/09/2025 00:28 |  | STATION SERVICE TRANSFORMER MISC.
Maadurga Thermal Power Company Ltd. | 2 | 30.00 | 09/09/2025 00:25 |  | STATION SERVICE TRANSFORMER MISC.
KATHALGURI CCPP | 5 | 33.50 | 09/09/2025 00:00 |  | LOW SYSTEM DEMAND
LAKWA REPLACEMENT POWER PROJECT | 1 | 9.96 | 09/09/2025 08:00 |  | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 1 |  | 09/09/2025 17:42 |  | Miscellaneous
LAKWA REPLACEMENT POWER PROJECT | 6 | 9.96 | 09/09/2025 01:02 |  | GRID MISCELLANEOUS
Total |  | 7138.33
https://npp.gov.in 10/09/2025 17:42:20 |  |  |  |  | PAGE 1