## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 10-04-2025
Sub-Report-10
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana | PANIPAT TPS | 7 | 250 | 0 | 0 | 0 | 21/03/2025 00:20 |  | ANNUAL MAINTENANCE
Haryana | PANIPAT TPS | 8 | 250 | 0 | 0 | 0 | 06/04/2025 01:23 |  | ANNUAL MAINTENANCE
Haryana | RAJIV GANDHI TPS | 1 | 0 | 600 | 0 | 0 | 23/02/2025 21:06 |  | WATER WALL TUBE LEAKAGE
Haryana | YAMUNA NAGAR TPS | 2 | 0 | 0 | 300 | 0 | 10/04/2025 17:13 |  | GENERATOR MISCLLANEOUS MAINTENANCE
Punjab | GH TPS (LEH.MOH.) | 1 | 210 | 0 | 0 | 0 | 27/03/2025 00:00 |  | ANNUAL MAINTENANCE
Punjab | GOINDWAL SAHIB TPP | 2 | 270 | 0 | 0 | 0 | 05/04/2025 22:15 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Punjab | TALWANDI SABO TPP | 2 | 0 | 0 | 660 | 0 | 10/04/2025 15:41 |  | DC SUPPLY PROBLEM
Rajasthan | DAE (RAJASTHAN) | 1 | 0 | 100 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan | RAJASTHAN A.P.S. | 2 | 200 | 0 | 0 | 0 | 31/12/2024 21:44 |  | ANNUAL MAINTENANCE
Rajasthan | RAJASTHAN A.P.S. | 5 | 0 | 0 | 220 | 0 | 09/04/2025 18:21 |  | Miscellaneous
Rajasthan | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | SURATGARH TPS | 1 | 0 | 250 | 0 | 0 | 23/03/2025 12:31 |  | A.V.R. FAILURE
Rajasthan | SURATGARH TPS | 3 | 0 | 250 | 0 | 0 | 28/11/2024 13:48 |  | GENERATOR STATOR DAMAGED
Rajasthan | JALIPA KAPURDI TPP | 3 | 0 | 0 | 135 | 0 | 07/04/2025 10:43 |  | BOILER MISC. PROBLEM
Rajasthan | JALIPA KAPURDI TPP | 6 | 0 | 0 | 0 | 0 | 10/04/2025 21:04 |  | BOILER MISC. PROBLEM
Uttar Pradesh | GHATAMPUR TPP | 1 | 0 | 0 | 660 | 0 | 05/04/2025 19:00 |  | MISCELLANEOUS
Uttar Pradesh | MEJA STPP | 2 | 660 | 0 | 0 | 0 | 26/02/2025 22:27 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh | RIHAND STPS | 1 | 0 | 0 | 500 | 0 | 10/04/2025 19:22 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Uttar Pradesh | TANDA TPS | 5 | 0 | 0 | 660 | 0 | 10/04/2025 10:39 |  | A.V.R. PROBLEM
Uttar Pradesh | UNCHAHAR TPS | 3 | 0 | 0 | 0 | 0 | 10/04/2025 22:29 |  | P.A. FANS PROBLEM
Uttar Pradesh | ANPARA TPS | 1 | 0 | 0 | 210 | 0 | 10/04/2025 14:45 | 10/04/2025 19:14 | BEARING
Uttar Pradesh | ANPARA TPS | 4 | 0 | 0 | 500 | 0 | 08/04/2025 22:00 |  | ECONOMISER TUBE LEAKAGE
Uttar Pradesh | OBRA TPS | 10 | 0 | 0 | 200 | 0 | 06/04/2025 17:45 |  | ECONOMISER TUBE LEAKAGE
Uttar Pradesh | OBRA TPS | 14 | 0 | 0 | 660 | 0 | 10/04/2025 04:01 | 10/04/2025 18:12 | C.W. PUMP PROBLEM
Uttar Pradesh | PANKI TPS EXT | 1 | 0 | 0 | 660 | 0 | 10/04/2025 07:48 |  | MAL-FUNCTION OF RELAY
Uttar Pradesh | PARICHHA TPS | 5 | 0 | 0 | 250 | 0 | 05/04/2025 09:46 | 10/04/2025 12:05 | FURNACE FIRE OUT /FLAME FAILURE
Uttar Pradesh | LALITPUR TPS | 1 | 0 | 0 | 660 | 0 | 08/04/2025 21:30 |  | BOILER MISC. PROBLEM
Total Northern |  |  | 2090 | 1200 | 6275 | 0
Western
Chhatisgarh | SIPAT STPS | 3 | 0 | 0 | 0 | 0 | 08/04/2025 00:47 | 10/04/2025 02:12 | AIR PREHEATERS PROBLEM
Chhatisgarh | SIPAT STPS | 4 | 500 | 0 | 0 | 0 | 16/03/2025 00:22 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Chhatisgarh | KATGHORA TPP | 1 | 0 | 0 | 0 | 35 | 15/10/2012 00:28 |  | NO Power purchase agreement
Chhatisgarh | OP JINDAL TPS | 4 | 0 | 250 | 0 | 0 | 09/02/2025 08:36 |  | ELECTRICAL FAULT
Chhatisgarh | SALORA TPP | 1 | 0 | 0 | 0 | 135 | 19/10/2014 04:30 |  | NO Power purchase agreement
Chhatisgarh | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 25 | 01/04/2015 00:20 |  | NO Power purchase agreement
Gujarat | AKRIMOTA LIG TPS | 1 | 125 | 0 | 0 | 0 | 08/06/2024 19:30 |  | CAPITAL MAINTENANCE
Gujarat | AKRIMOTA LIG TPS | 2 | 125 | 0 | 0 | 0 | 19/02/2024 18:45 |  | CAPITAL MAINTENANCE
Gujarat | BHAVNAGAR CFBC TPP | 1 | 0 | 0 | 250 | 0 | 28/03/2025 08:30 |  | WATER WALL TUBE LEAKAGE
Gujarat | BHAVNAGAR CFBC TPP | 2 | 250 | 0 | 0 | 0 | 26/01/2025 23:59 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Gujarat | GANDHI NAGAR TPS | 4 | 0 | 0 | 0 | 0 | 29/03/2025 05:22 | 10/04/2025 01:18 | RSD/LOW SCHEDULE
Gujarat | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat | SIKKA REP. TPS | 3 | 0 | 250 | 0 | 0 | 21/03/2025 10:20 | 10/04/2025 15:25 | AIR PREHEATERS PROBLEM
Gujarat | SIKKA REP. TPS | 4 | 0 | 0 | 0 | 0 | 28/03/2025 14:25 | 10/04/2025 09:34 | RSD/LOW SCHEDULE
Gujarat | WANAKBORI TPS | 4 | 0 | 0 | 210 | 0 | 08/04/2025 22:33 |  | WATER WALL TUBE LEAKAGE
Gujarat | WANAKBORI TPS | 5 | 210 | 0 | 0 | 0 | 10/03/2025 00:22 |  | CAPITAL MAINTENANCE
Gujarat | ADANI POWER LIMITED MUNDRA TPP - I & II | 5 | 660 | 0 | 0 | 0 | 17/03/2025 23:45 |  | CAPITAL MAINTENANCE
Gujarat | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 13/03/2025 02:53 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat | SABARMATI (D-F STATIONS) | 1 | 0 | 0 | 120 | 0 | 10/04/2025 04:48 |  | TURBINE VIBRATIONS HIGH
Madhya Pradesh | GADARWARA TPP | 2 | 0 | 0 | 0 | 0 | 10/04/2025 22:59 |  | GENERATOR PROTECTION
Madhya Pradesh | SANJAY GANDHI TPS | 1 | 210 | 0 | 0 | 0 | 04/08/2024 19:03 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SATPURA TPS | 6 | 200 | 0 | 0 | 0 | 05/03/2021 11:55 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 7 | 210 | 0 | 0 | 0 | 05/03/2021 10:09 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 8 | 210 | 0 | 0 | 0 | 29/02/2020 23:54 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 9 | 210 | 0 | 0 | 0 | 22/02/2020 02:52 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | BINA TPS | 1 | 0 | 250 | 0 | 0 | 27/01/2025 12:17 |  | STATOR EARTH FAULT
Madhya Pradesh | BINA TPS | 2 | 0 | 0 | 250 | 0 | 10/04/2025 16:42 | 10/04/2025 22:24 | TRIPPING OF TRANSMISSION LINE
Madhya Pradesh | NIWARI TPP | 2 | 0 | 0 | 45 | 0 | 09/04/2025 09:22 |  | WATER WALL TUBE LEAKAGE
Maharashtra | MAUDA TPS | 1 | 0 | 0 | 500 | 0 | 10/04/2025 17:59 | 10/04/2025 20:21 | C&I PROBLEM
Maharashtra | MAUDA TPS | 4 | 0 | 0 | 660 | 0 | 09/04/2025 09:22 |  | REHEATER TUBE LEAKAGE
Maharashtra | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | TARAPUR | 2 | 160 | 0 | 0 | 0 | 13/07/2020 04:38 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 3 | 0 | 0 | 210 | 0 | 07/04/2025 15:34 |  | WATER WALL TUBE LEAKAGE
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 9 | 0 | 500 | 0 | 0 | 11/01/2025 18:55 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Maharashtra | KHAPARKHEDA TPS | 4 | 0 | 0 | 210 | 0 | 10/04/2025 08:25 |  | ECONOMISER TUBE LEAKAGE
Maharashtra | KORADI TPS | 9 | 0 | 0 | 660 | 0 | 07/04/2025 12:28 |  | WATER WALL TUBE LEAKAGE
Maharashtra | NASIK TPS | 3 | 0 | 0 | 210 | 0 | 10/04/2025 16:38 |  | GOVERNING SYSTEM PROBLEM
Maharashtra | BUTIBORI TPP | 1 | 0 | 300 | 0 | 0 | 29/12/2018 00:30 |  | COAL SHORTAGE
Maharashtra | BUTIBORI TPP | 2 | 0 | 300 | 0 | 0 | 17/01/2019 00:15 |  | COAL SHORTAGE
Maharashtra | GEPL TPP Ph-I | 1 | 0 | 0 | 0 | 60 | 29/06/2013 00:00 |  | NO Power purchase agreement
Maharashtra | GEPL TPP Ph-I | 2 | 0 | 0 | 0 | 60 | 20/06/2013 20:27 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 1 | 0 | 0 | 0 | 61.51 | 10/01/2013 15:50 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 2 | 0 | 0 | 0 | 61.5 | 05/11/2013 11:53 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 3 | 0 | 0 | 0 | 61.5 | 10/06/2013 18:00 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 4 | 0 | 0 | 0 | 61.5 | 20/08/2013 10:00 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 1 | 0 | 0 | 0 | 270 | 04/03/2014 18:10 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 2 | 0 | 0 | 0 | 270 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 3 | 0 | 0 | 0 | 270 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 4 | 0 | 0 | 0 | 270 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 5 | 0 | 0 | 0 | 270 | 30/05/2017 15:24 |  | NO Power purchase agreement
Total Western |  |  | 3230 | 2725 | 3325 | 1911.01
Southern
Andhra Pradesh | RAYALASEEMA TPS | 2 | 0 | 0 | 210 | 0 | 10/04/2025 20:21 |  | REHEATER TUBE LEAKAGE
Andhra Pradesh | THAMMINAPATNAM TPS | 1 | 0 | 0 | 0 | 0 | 08/04/2025 05:09 | 10/04/2025 07:35 | F.D. FANS PROBLEM
Andhra Pradesh | THAMMINAPATNAM TPS | 2 | 0 | 0 | 0 | 0 | 10/04/2025 13:40 | 10/04/2025 15:49 | Turbine Misc
Andhra Pradesh | VIZAG TPP | 2 | 0 | 0 | 520 | 0 | 01/04/2025 23:12 |  | GEN. TRANSORMER PROTECTION RELAY OPERATION PROBLEM
Karnataka | KAIGA | 1 | 220 | 0 | 0 | 0 | 31/03/2025 23:11 |  | MISCELLANEOUS PLANNED MAINTENANCE
Karnataka | BELLARY TPS | 3 | 0 | 0 | 700 | 0 | 10/04/2025 04:08 |  | ECONOMISER TUBE LEAKAGE
Karnataka | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka | RAICHUR TPS | 2 | 0 | 0 | 210 | 0 | 10/04/2025 18:45 | 10/04/2025 21:47 | ELECTRICAL MISCELLANEOUS PROBLEMS
Karnataka | RAICHUR TPS | 3 | 0 | 0 | 210 | 0 | 10/04/2025 15:53 |  | WATER WALL TUBE LEAKAGE
Karnataka | RAICHUR TPS | 4 | 0 | 210 | 0 | 0 | 09/11/2024 15:57 |  | REHEATER TUBE LEAKAGE
Karnataka | RAICHUR TPS | 5 | 0 | 0 | 0 | 0 | 08/04/2025 21:35 | 10/04/2025 04:52 | WATER WALL TUBE LEAKAGE
Karnataka | RAICHUR TPS | 6 | 0 | 0 | 210 | 0 | 09/04/2025 22:35 |  | WATER WALL TUBE LEAKAGE
Karnataka | TORANGALLU TPS(SBU-I) | 2 | 0 | 0 | 130 | 0 | 08/04/2025 01:34 |  | CONDENSER TUBE LEAKAGE/ CLEANING
Tamil Nadu | NEYVELI TPS-II | 3 | 0 | 210 | 0 | 0 | 16/03/2025 02:38 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
Tamil Nadu | NEYVELI TPS-II | 5 | 0 | 0 | 210 | 0 | 09/04/2025 02:55 |  | F.D. FANS PROBLEM
Tamil Nadu | NEYVELI TPS-II | 6 | 0 | 0 | 210 | 0 | 08/04/2025 18:42 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Tamil Nadu | NEYVELI TPS-II EXP | 1 | 250 | 0 | 0 | 0 | 14/09/2024 23:59 |  | CAPITAL MAINTENANCE
Tamil Nadu | NEYVELI TPS-II EXP | 2 | 0 | 0 | 250 | 0 | 31/03/2025 10:00 |  | REGENERATIVE SYSTEM PROBLEM
Tamil Nadu | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu | METTUR TPS | 3 | 0 | 210 | 0 | 0 | 19/12/2024 16:33 |  | COLLAPSE OF R.C. BUNKER
Tamil Nadu | NORTH CHENNAI TPS | 3 | 0 | 0 | 210 | 0 | 02/04/2025 23:00 |  | REHEATER TUBE LEAKAGE
Tamil Nadu | NORTH CHENNAI TPS | 4 | 0 | 600 | 0 | 0 | 01/03/2025 11:14 |  | TURBINE MISC. PROBLEM
Tamil Nadu | TUTICORIN TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2025 21:50 |  | FIRE IN CABLE GALLERY.
Tamil Nadu | TUTICORIN TPS | 2 | 0 | 210 | 0 | 0 | 15/03/2025 22:01 |  | FIRE IN CABLE GALLERY
Tamil Nadu | TUTICORIN TPS | 4 | 0 | 0 | 210 | 0 | 09/04/2025 22:05 |  | CONDENSER LOW VACCUM
Tamil Nadu | MUTHIARA TPP | 1 | 0 | 0 | 600 | 0 | 07/04/2025 01:52 |  | HYDROGEN PRESSURE PROBLEM
Tamil Nadu | TCP Limited | 1 | 63.5 | 0 | 0 | 0 | 16/07/2021 05:21 |  | MISCELLANEOUS PLANNED MAINTENANCE
Tamil Nadu | TUTICORIN (P) TPP | 1 | 0 | 0 | 0 | 150 | 03/04/2016 00:31 |  | NO Power purchase agreement
Tamil Nadu | TUTICORIN (P) TPP | 2 | 0 | 0 | 0 | 150 | 16/04/2016 01:42 |  | NO Power purchase agreement
Telangana | BHADRADRI TPP | 1 | 0 | 270 | 0 | 0 | 30/06/2024 00:00 |  | GENEATOR PROTECTION MISC/BACK UP PROT
Telangana | KAKATIYA TPS | 2 | 0 | 0 | 600 | 0 | 08/04/2025 19:51 |  | WATER WALL TUBE LEAKAGE
Telangana | KOTHAGUDEM TPS (NEW) | 9 | 0 | 0 | 0 | 0 | 09/04/2025 12:25 | 10/04/2025 03:55 | WATER WALL TUBE LEAKAGE
Telangana | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Total Southern |  |  | 533.5 | 2412.5 | 4480 | 300
Eastern
Bihar | BARAUNI TPS | 6 | 105 | 0 | 0 | 0 | 22/07/2023 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar | BARAUNI TPS | 7 | 105 | 0 | 0 | 0 | 19/07/2023 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar | BARAUNI TPS | 8 | 0 | 0 | 250 | 0 | 07/04/2025 21:56 | 10/04/2025 15:22 | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Bihar | NABINAGAR STPP | 3 | 0 | 0 | 660 | 0 | 09/04/2025 17:30 | 10/04/2025 12:25 | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Jharkhand | BOKARO TPS `A` EXP | 1 | 500 | 0 | 0 | 0 | 25/03/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Jharkhand | CHANDRAPURA(DVC) TPS | 8 | 0 | 0 | 250 | 0 | 10/04/2025 01:12 |  | WATER WALL TUBE LEAKAGE
Jharkhand | TENUGHAT TPS | 2 | 0 | 0 | 210 | 0 | 08/04/2025 23:22 | 10/04/2025 16:25 | TURBINE VIBRATION HIGH
Odisha | DARLIPALI STPS | 2 | 0 | 0 | 800 | 0 | 10/04/2025 11:28 |  | SUPER HEATER TUBE LEAKAGE
Odisha | IB VALLEY TPS | 3 | 0 | 0 | 0 | 0 | 07/04/2025 12:28 | 10/04/2025 02:25 | BOILER AUX. MISC. PROMLEMS
Odisha | JSW Energy Utkal Limited | 2 | 0 | 0 | 350 | 0 | 09/04/2025 21:54 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
West Bengal | FARAKKA STPS | 1 | 0 | 0 | 200 | 0 | 03/04/2025 18:48 |  | SEAL OIL SYSTEM PROBLEM
West Bengal | MEJIA TPS | 6 | 0 | 0 | 0 | 0 | 08/04/2025 11:11 | 10/04/2025 04:00 | BOILER AUX. MISC. PROMLEMS
West Bengal | RAGHUNATHPUR TPP | 1 | 0 | 0 | 0 | 0 | 10/04/2025 04:33 | 10/04/2025 12:22 | FUEL OIL SHORTAGE
West Bengal | BANDEL TPS | 5 | 0 | 0 | 210 | 0 | 08/04/2025 20:17 |  | SUPER HEATER TUBE LEAKAGE
West Bengal | DISHERGARH TPP | 1 | 12 | 0 | 0 | 0 | 11/12/2024 12:13 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal | HIRANMAYE TPP | 2 | 0 | 0 | 0 | 0 | 07/04/2025 14:14 | 10/04/2025 02:10 | GENERATOR PROTECTION
West Bengal | SOUTHERN REPL. TPS | 1 | 0 | 0 | 67.5 | 0 | 30/03/2025 05:30 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 1 | 0 | 60 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 2 | 0 | 60 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 3 | 0 | 60 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 4 | 0 | 60 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern |  |  | 722 | 240 | 2997.5 | 0
North Eastern
Assam | BONGAIGAON TPP | 3 | 250 | 0 | 0 | 0 | 25/02/2025 00:34 |  | OVERHAULING WORKS
Total North Eastern |  |  | 250 | 0 | 0 | 0
Total |  |  | 6825.5 | 6577.5 | 17077.5 | 2211.01