## dailyOutage_Report
| CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 10-04-2025
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[7 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Haryana | RAJIV GANDHI TPS | 1 | 0 | 600 | 0 | 0 | 23/02/2025 21:06 |  | WATER WALL TUBE LEAKAGE
Punjab | TALWANDI SABO TPP | 2 | 0 | 0 | 660 | 0 | 10/04/2025 15:41 |  | DC SUPPLY PROBLEM
Uttar Pradesh | GHATAMPUR TPP | 1 | 0 | 0 | 660 | 0 | 05/04/2025 19:00 |  | MISCELLANEOUS
Uttar Pradesh | MEJA STPP | 2 | 660 | 0 | 0 | 0 | 26/02/2025 22:27 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh | RIHAND STPS | 1 | 0 | 0 | 500 | 0 | 10/04/2025 19:22 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Uttar Pradesh | TANDA TPS | 5 | 0 | 0 | 660 | 0 | 10/04/2025 10:39 |  | A.V.R. PROBLEM
Uttar Pradesh | ANPARA TPS | 4 | 0 | 0 | 500 | 0 | 08/04/2025 22:00 |  | ECONOMISER TUBE LEAKAGE
Uttar Pradesh | OBRA TPS | 14 | 0 | 0 | 660 | 0 | 10/04/2025 04:01 | 10/04/2025 18:12 | C.W. PUMP PROBLEM
Uttar Pradesh | PANKI TPS EXT | 1 | 0 | 0 | 660 | 0 | 10/04/2025 07:48 |  | MAL-FUNCTION OF RELAY
Uttar Pradesh | LALITPUR TPS | 1 | 0 | 0 | 660 | 0 | 08/04/2025 21:30 |  | BOILER MISC. PROBLEM
Chhatisgarh | SIPAT STPS | 3 | 0 | 0 | 0 | 0 | 08/04/2025 00:47 | 10/04/2025 02:12 | AIR PREHEATERS PROBLEM
Chhatisgarh | SIPAT STPS | 4 | 500 | 0 | 0 | 0 | 16/03/2025 00:22 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Gujarat | ADANI POWER LIMITED MUNDRA TPP - I & II | 5 | 660 | 0 | 0 | 0 | 17/03/2025 23:45 |  | CAPITAL MAINTENANCE
Gujarat | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 13/03/2025 02:53 |  | TURBINE CONTROL VALVE PROBLEM
Madhya Pradesh | GADARWARA TPP | 2 | 0 | 0 | 0 | 0 | 10/04/2025 22:59 |  | GENERATOR PROTECTION
Maharashtra | MAUDA TPS | 1 | 0 | 0 | 500 | 0 | 10/04/2025 17:59 | 10/04/2025 20:21 | C&I PROBLEM
Maharashtra | MAUDA TPS | 4 | 0 | 0 | 660 | 0 | 09/04/2025 09:22 |  | REHEATER TUBE LEAKAGE
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 9 | 0 | 500 | 0 | 0 | 11/01/2025 18:55 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Maharashtra | KORADI TPS | 9 | 0 | 0 | 660 | 0 | 07/04/2025 12:28 |  | WATER WALL TUBE LEAKAGE
Andhra Pradesh | VIZAG TPP | 2 | 0 | 0 | 520 | 0 | 01/04/2025 23:12 |  | GEN. TRANSORMER PROTECTION RELAY
Andhra Pradesh | VIZAG TPP | 2 | 0 | 0 | 520 | 0 | 01/04/2025 23:12 |  | OPERATION PROBLEM
Karnataka | BELLARY TPS | 3 | 0 | 0 | 700 | 0 | 10/04/2025 04:08 |  | ECONOMISER TUBE LEAKAGE
Tamil Nadu | NORTH CHENNAI TPS | 4 | 0 | 600 | 0 | 0 | 01/03/2025 11:14 |  | TURBINE MISC. PROBLEM
Tamil Nadu | MUTHIARA TPP | 1 | 0 | 0 | 600 | 0 | 07/04/2025 01:52 |  | HYDROGEN PRESSURE PROBLEM
Telangana | KAKATIYA TPS | 2 | 0 | 0 | 600 | 0 | 08/04/2025 19:51 |  | WATER WALL TUBE LEAKAGE
Bihar | NABINAGAR STPP | 3 | 0 | 0 | 660 | 0 | 09/04/2025 17:30 | 10/04/2025 12:25 | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Jharkhand | BOKARO TPS `A` EXP | 1 | 500 | 0 | 0 | 0 | 25/03/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha | DARLIPALI STPS | 2 | 0 | 0 | 800 | 0 | 10/04/2025 11:28 |  | SUPER HEATER TUBE LEAKAGE
Odisha | IB VALLEY TPS | 3 | 0 | 0 | 0 | 0 | 07/04/2025 12:28 | 10/04/2025 02:25 | BOILER AUX. MISC. PROMLEMS
West Bengal | RAGHUNATHPUR TPP | 1 | 0 | 0 | 0 | 0 | 10/04/2025 04:33 | 10/04/2025 12:22 | FUEL OIL SHORTAGE
Total |  |  | 2320 | 2500 | 10660 | 0