## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 15-09-2025
Sub-Report-10
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana |  | RAJIV GANDHI TPS | 2 | 0 | 0 | 600 | 0 | 12/09/2025 21:23 | 15/09/2025 13:12 | DRUM LEVEL LOW
Punjab |  | GOINDWAL SAHIB TPP | 1 | 0 | 0 | 270 | 0 | 13/09/2025 11:35 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Punjab |  | GOINDWAL SAHIB TPP | 2 | 0 | 0 | 270 | 0 | 13/09/2025 06:00 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Punjab |  | ROPAR TPS | 6 | 0 | 0 | 210 | 0 | 11/09/2025 14:52 |  | GEN. COOLING SYSTEM MISC. / INSPECTION
Rajasthan |  | DAE (RAJASTHAN) | 1 | 0 | 0 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan |  | CHHABRA-I PH-1 TPP | 2 | 250 | 0 | 0 | 0 | 15/08/2025 06:59 |  | SCHEDULED ANNUAL MAINTENANCE
Rajasthan |  | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan |  | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan |  | KALISINDH TPS | 1 | 0 | 0 | 600 | 0 | 13/09/2025 11:33 |  | DRUM LEVEL LOW
Rajasthan |  | SURATGARH TPS | 3 | 0 | 250 | 0 | 0 | 28/11/2024 13:48 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
Rajasthan |  | SURATGARH TPS | 6 | 0 | 250 | 0 | 0 | 25/07/2025 12:09 |  | TURBINE VIBRATION HIGH
Rajasthan |  | ADANI POWER LIMITED KAWAI TPP | 1 | 0 | 0 | 660 | 0 | 31/08/2025 15:30 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | RIHAND STPS | 2 | 500 | 0 | 0 | 0 | 08/08/2025 12:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh |  | SINGRAULI STPS | 6 | 500 | 0 | 0 | 0 | 18/07/2025 01:50 |  | OVERHAULING WORKS
Uttar Pradesh |  | TANDA TPS | 1 | 0 | 110 | 0 | 0 | 30/06/2025 23:05 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 2 | 0 | 110 | 0 | 0 | 30/06/2025 23:17 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 3 | 0 | 0 | 110 | 0 | 31/08/2025 23:58 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 4 | 0 | 0 | 110 | 0 | 31/08/2025 23:58 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | UNCHAHAR TPS | 2 | 210 | 0 | 0 | 0 | 12/09/2025 00:53 |  | OVERHAULING WORKS
Uttar Pradesh |  | NARORA A.P.S. | 1 | 0 | 220 | 0 | 0 | 14/04/2025 04:36 |  | Turbine Misc
Uttar Pradesh |  | OBRA TPS | 9 | 0 | 0 | 200 | 0 | 14/09/2025 23:00 |  | WATER WALL TUBE LEAKAGE
Uttar Pradesh |  | OBRA TPS | 12 | 0 | 0 | 0 | 0 | 15/09/2025 08:10 | 15/09/2025 10:31 | FURNACE DRAFT ABNORMAL
Uttar Pradesh |  | OBRA TPS | 13 | 0 | 0 | 200 | 0 | 12/09/2025 11:17 |  | WATER WALL TUBE LEAKAGE
Uttar Pradesh |  | OBRA TPS | 14 | 0 | 0 | 0 | 0 | 15/09/2025 23:35 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
Uttar Pradesh |  | OBRA TPS | 15 | 0 | 0 | 0 | 0 | 11/09/2025 12:57 | 15/09/2025 07:20 | MAINTENANCE OF AUXILIARY SYSTEM
Uttar Pradesh |  | PANKI TPS EXT | 1 | 0 | 0 | 0 | 0 | 14/09/2025 23:09 | 15/09/2025 02:01 | I.D. FANS PROBLEM
Total Northern |  | 4: 1710; 5: 940; 6: 3230; 7: 0
Western
Chhatisgarh |  | KORBA STPS | 4 | 500 | 0 | 0 | 0 | 16/08/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Chhatisgarh |  | LARA TPP | 2 | 800 | 0 | 0 | 0 | 25/08/2025 00:00 |  | OVERHAULING WORKS
Chhatisgarh |  | SIPAT STPS | 5 | 500 | 0 | 0 | 0 | 26/07/2025 03:40 |  | OVERHAULING WORKS
Chhatisgarh |  | BALCO TPS | 1 | 0 | 300 | 0 | 0 | 15/08/2025 23:36 | 15/09/2025 13:50 | HYDROGEN PRESSURE PROBLEM
Chhatisgarh |  | CHAKABURA TPP | 2 | 0 | 0 | 0 | 0 | 15/09/2025 03:27 | 15/09/2025 04:34 | Turbine Misc
Chhatisgarh |  | KASAIPALLI TPP | 2 | 0 | 0 | 135 | 0 | 08/09/2025 21:40 |  | I.D. FANS PROBLEM
Chhatisgarh |  | KATGHORA TPP | 1 | 0 | 0 | 0 | 0 | 15/10/2012 00:28 |  | No Fuel Supply Agreement
Chhatisgarh |  | NAWAPARA TPP | 1 | 0 | 0 | 300 | 0 | 04/09/2025 09:30 | 15/09/2025 12:15 | ASH HANDLING SYSTEM
Chhatisgarh |  | NAWAPARA TPP | 1 | 0 | 0 | 300 | 0 | 04/09/2025 09:30 | 15/09/2025 12:15 | PROBLEM
Chhatisgarh |  | OP JINDAL TPS | 3 | 250 | 0 | 0 | 0 | 01/09/2025 04:10 |  | CAPITAL MAINTENANCE
Chhatisgarh |  | SALORA TPP | 1 | 0 | 0 | 0 | 0 | 19/10/2014 04:30 |  | No Fuel Supply Agreement
Chhatisgarh |  | SVPL TPP | 1 | 0 | 0 | 63 | 0 | 15/09/2025 19:35 |  | COAL FEEDING PROBLEM IN PLANT
Chhatisgarh |  | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 0 | 01/04/2015 00:20 |  | No Fuel Supply Agreement
Chhatisgarh |  | UCHPINDA TPP | 2 | 0 | 0 | 360 | 0 | 09/09/2025 20:46 |  | AIR PREHEATERS PROBLEM
Chhatisgarh |  | Vedanta Ltd Chhattisgarh TPP | 1 | 0 | 0 | 600 | 0 | 12/09/2025 14:09 | 15/09/2025 13:07 | TURBINE MISC. PROBLEM
Gujarat |  | AKRIMOTA LIG TPS | 1 | 125 | 0 | 0 | 0 | 08/06/2024 19:30 |  | CAPITAL MAINTENANCE
Gujarat |  | BHAVNAGAR CFBC TPP | 1 | 0 | 0 | 250 | 0 | 05/09/2025 07:17 |  | BOILER MISC. PROBLEM
Gujarat |  | GANDHI NAGAR TPS | 3 | 0 | 0 | 210 | 0 | 31/08/2025 11:06 |  | RSD/LOW SCHEDULE
Gujarat |  | GANDHI NAGAR TPS | 4 | 0 | 0 | 210 | 0 | 31/08/2025 10:49 |  | RSD/LOW SCHEDULE
Gujarat |  | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat |  | SIKKA REP. TPS | 3 | 0 | 0 | 250 | 0 | 31/08/2025 10:27 |  | RSD/LOW SCHEDULE
Gujarat |  | SIKKA REP. TPS | 4 | 0 | 0 | 250 | 0 | 31/08/2025 10:18 |  | RSD/LOW SCHEDULE
Gujarat |  | UKAI TPS | 3 | 0 | 0 | 0 | 200 | 31/08/2025 21:29 |  | RESERVE SHUT DOWN/ STANDBY.
Gujarat |  | UKAI TPS | 5 | 0 | 0 | 210 | 0 | 04/09/2025 19:32 | 15/09/2025 21:12 | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 1 | 0 | 0 | 210 | 0 | 01/09/2025 08:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 2 | 0 | 0 | 210 | 0 | 01/09/2025 10:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 4 | 0 | 210 | 0 | 0 | 15/08/2025 17:17 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 5 | 0 | 0 | 210 | 0 | 01/09/2025 08:01 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 6 | 0 | 0 | 210 | 0 | 01/09/2025 10:37 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | ADANI POWER LIMITED MUNDRA TPP - I & II | 1 | 330 | 0 | 0 | 0 | 01/08/2025 01:57 |  | ANNUAL MAINTENANCE
Gujarat |  | MUNDRA UMTPP | 1 | 0 | 800 | 0 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 2 | 0 | 800 | 0 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat |  | MUNDRA UMTPP | 3 | 0 | 800 | 0 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat |  | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat |  | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Madhya Pradesh |  | VINDHYACHAL STPS | 2 | 0 | 0 | 210 | 0 | 13/09/2025 00:27 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh |  | VINDHYACHAL STPS | 4 | 0 | 0 | 210 | 0 | 15/09/2025 20:14 |  | SUPER HEATER TUBE LEAKAGE
Madhya Pradesh |  | VINDHYACHAL STPS | 6 | 210 | 0 | 0 | 0 | 11/09/2025 01:10 |  | OVERHAULING WORKS
Madhya Pradesh |  | SANJAY GANDHI TPS | 5 | 500 | 0 | 0 | 0 | 10/07/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh |  | SHREE SINGAJI TPP | 3 | 0 | 0 | 660 | 0 | 09/09/2025 22:19 |  | D.M. WATER PROBLEM
Maharashtra |  | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra |  | TARAPUR | 2 | 160 | 0 | 0 | 0 | 13/07/2020 04:38 |  | RENOVATION/MODERNISATION WORKS
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 3 | 0 | 0 | 210 | 0 | 14/09/2025 08:06 | 15/09/2025 12:50 | CONDENSER LOW VACCUM
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 4 | 210 | 0 | 0 | 0 | 15/08/2025 15:13 |  | ANNUAL MAINTENANCE
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 6 | 0 | 0 | 500 | 0 | 15/09/2025 09:03 |  | WATER WALL TUBE LEAKAGE
Maharashtra |  | KHAPARKHEDA TPS | 5 | 0 | 0 | 500 | 0 | 14/09/2025 06:31 | 15/09/2025 19:06 | TURBINE VIBRATIONS HIGH
Maharashtra |  | KORADI TPS | 6 | 210 | 0 | 0 | 0 | 23/08/2025 23:16 |  | ANNUAL MAINTENANCE
Maharashtra |  | NASIK TPS | 3 | 0 | 0 | 210 | 0 | 03/09/2025 18:00 |  | FURNACE FIRE OUT /FLAME FAILURE
Maharashtra |  | PARAS TPS | 4 | 250 | 0 | 0 | 0 | 23/08/2025 02:28 |  | CAPITAL MAINTENANCE
Maharashtra |  | ADANI POWER LIMITED TIRODA TPP | 2 | 0 | 0 | 0 | 660 | 13/09/2025 23:59 |  | Fuel Shortage
Maharashtra |  | AMRAVATI TPS | 4 | 270 | 0 | 0 | 0 | 23/08/2025 00:00 |  | CAPITAL MAINTENANCE
Maharashtra |  | AMRAVATI TPS | 5 | 270 | 0 | 0 | 0 | 13/09/2025 08:45 |  | TURBINE INSPECTION MISC
Maharashtra |  | BUTIBORI TPP | 2 | 0 | 0 | 300 | 0 | 13/09/2025 12:53 |  | AIR PREHEATERS PROBLEM
Maharashtra |  | GEPL TPP Ph-I | 1 | 0 | 60 | 0 | 0 | 29/06/2013 00:00 |  | No Fuel Supply Agreement
Maharashtra |  | GEPL TPP Ph-I | 2 | 0 | 60 | 0 | 0 | 20/06/2013 20:27 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 1 | 0 | 61.51 | 0 | 0 | 10/01/2013 15:50 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 2 | 0 | 61.5 | 0 | 0 | 05/11/2013 11:53 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 3 | 0 | 61.5 | 0 | 0 | 10/06/2013 18:00 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 4 | 0 | 61.5 | 0 | 0 | 20/08/2013 10:00 |  | No Fuel Supply Agreement
Maharashtra |  | NASIK (P) TPS | 1 | 0 | 0 | 0 | 0 | 04/03/2014 18:10 |  | No Fuel Supply Agreement
Maharashtra |  | NASIK (P) TPS | 2 | 0 | 0 | 0 | 0 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 3 | 0 | 0 | 0 | 0 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 4 | 0 | 0 | 0 | 0 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 5 | 0 | 0 | 0 | 0 | 30/05/2017 15:24 |  | NO Power purchase agreement
Maharashtra |  | SHIRPUR TPP | 1 | 0 | 0 | 0 | 0 | 15/09/2025 04:55 | 15/09/2025 06:13 | FURNACE FIRE OUT /FLAME FAILURE
Total Western |  | 4: 4745; 5: 4951.01; 6: 6478; 7: 860
Southern
Andhra Pradesh |  | SIMHADRI | 1 | 0 | 0 | 0 | 0 | 12/09/2025 08:34 | 15/09/2025 02:37 | WATER WALL TUBE LEAKAGE
Andhra Pradesh |  | Dr. N.TATA RAO TPS | 2 | 210 | 0 | 0 | 0 | 31/08/2025 00:12 |  | ANNUAL MAINTENANCE
Andhra Pradesh |  | THAMMINAPATNAM TPS | 1 | 0 | 0 | 150 | 0 | 01/09/2025 15:01 |  | TURBINE MISC. PROBLEM
Andhra Pradesh |  | THAMMINAPATNAM TPS | 2 | 0 | 150 | 0 | 0 | 07/07/2025 22:40 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Andhra Pradesh |  | THAMMINAPATNAM TPS | 4 | 0 | 0 | 350 | 0 | 02/09/2025 10:29 |  | TURBINE VIBRATION HIGH
Andhra Pradesh |  | VIZAG TPP | 1 | 0 | 0 | 520 | 0 | 02/09/2025 23:51 |  | ASH HANDLING SYSTEM PROBLEM
Karnataka |  | KUDGI STPP | 2 | 800 | 0 | 0 | 0 | 05/08/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | KAIGA | 1 | 220 | 0 | 0 | 0 | 31/03/2025 23:11 |  | MISCELLANEOUS PLANNED MAINTENANCE
Karnataka |  | BELLARY TPS | 2 | 0 | 0 | 500 | 0 | 15/09/2025 06:54 | 15/09/2025 21:43 | FURNACE FIRE OUT /FLAME FAILURE
Karnataka |  | BELLARY TPS | 3 | 700 | 0 | 0 | 0 | 21/07/2025 23:35 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka |  | RAICHUR TPS | 2 | 210 | 0 | 0 | 0 | 10/08/2025 10:49 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | RAICHUR TPS | 5 | 0 | 0 | 0 | 0 | 15/09/2025 05:23 | 15/09/2025 17:05 | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Karnataka |  | RAICHUR TPS | 7 | 0 | 0 | 210 | 0 | 11/09/2025 16:21 |  | WATER CONDCUTOR SYSTEM
Karnataka |  | YERMARUS TPP | 2 | 0 | 0 | 800 | 0 | 10/09/2025 10:07 |  | BOILER MISC. PROBLEM
Karnataka |  | TORANGALLU TPS(SBU-II) | 3 | 0 | 300 | 0 | 0 | 24/08/2025 18:15 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | NEYVELI ( EXT) TPS | 1 | 210 | 0 | 0 | 0 | 25/08/2025 06:35 |  | ANNUAL MAINTENANCE
Tamil Nadu |  | NEYVELI TPS-II | 2 | 0 | 210 | 0 | 0 | 18/08/2025 17:20 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Tamil Nadu |  | NEYVELI TPS-II | 4 | 0 | 0 | 210 | 0 | 14/09/2025 00:13 |  | TURBINE GOVERNING SYS. FAILURE
Tamil Nadu |  | KUDANKULAM | 1 | 1000 | 0 | 0 | 0 | 03/08/2025 00:00 |  | ANNUAL MAINTENANCE
Tamil Nadu |  | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu |  | MADRAS A.P.S. | 2 | 220 | 0 | 0 | 0 | 01/09/2025 00:12 |  | ANNUAL MAINTENANCE
Tamil Nadu |  | METTUR TPS | 4 | 0 | 0 | 0 | 0 | 01/09/2025 01:40 | 15/09/2025 10:16 | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu |  | NORTH CHENNAI TPS | 1 | 0 | 210 | 0 | 0 | 02/08/2025 22:33 |  | REHEATER TUBE LEAKAGE
Tamil Nadu |  | NORTH CHENNAI TPS | 5 | 0 | 0 | 0 | 0 | 11/09/2025 23:29 | 15/09/2025 02:50 | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | TUTICORIN TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2025 21:50 |  | FIRE IN CABLE GALLERY.
Tamil Nadu |  | TUTICORIN TPS | 2 | 0 | 210 | 0 | 0 | 15/03/2025 22:01 |  | FIRE IN CABLE GALLERY
Tamil Nadu |  | TUTICORIN TPS | 3 | 210 | 0 | 0 | 0 | 10/09/2025 18:40 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu |  | TUTICORIN TPS | 5 | 0 | 0 | 210 | 0 | 14/09/2025 19:15 | 15/09/2025 02:14 | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu |  | ITPCL TPP | 2 | 600 | 0 | 0 | 0 | 01/08/2025 01:36 |  | CAPITAL MAINTENANCE
Tamil Nadu |  | MUTHIARA TPP | 1 | 0 | 600 | 0 | 0 | 01/08/2025 22:56 |  | AIR PREHEATERS PROBLEM
Tamil Nadu |  | OPG Power Generation Private Limited | 1 | 0 | 77 | 0 | 0 | 30/06/2025 23:59 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | TCP Limited | 1 | 63.5 | 0 | 0 | 0 | 16/07/2021 05:21 |  | MISCELLANEOUS PLANNED
Tamil Nadu |  | TCP Limited | 1 | 63.5 | 0 | 0 | 0 | 16/07/2021 05:21 |  | MAINTENANCE
Tamil Nadu |  | TUTICORIN (P) TPP | 1 | 0 | 150 | 0 | 0 | 03/04/2016 00:31 |  | No Fuel Supply Agreement
Tamil Nadu |  | TUTICORIN (P) TPP | 2 | 0 | 150 | 0 | 0 | 16/04/2016 01:42 |  | No Fuel Supply Agreement
Telangana |  | RAMAGUNDEM STPS | 6 | 500 | 0 | 0 | 0 | 10/08/2025 21:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Telangana |  | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Total Southern |  | 4: 4943.5; 5: 2759.5; 6: 2950; 7: 0
Eastern
Bihar |  | BARAUNI TPS | 6 | 0 | 0 | 0 | 0 | 22/07/2023 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar |  | BARAUNI TPS | 7 | 0 | 0 | 0 | 0 | 19/07/2023 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar |  | BARH STPS | 1 | 0 | 0 | 660 | 0 | 12/09/2025 07:46 |  | WATER WALL TUBE LEAKAGE
Bihar |  | BARH STPS | 5 | 0 | 0 | 660 | 0 | 15/09/2025 02:30 |  | WATER WALL TUBE LEAKAGE
Bihar |  | KAHALGAON TPS | 2 | 210 | 0 | 0 | 0 | 28/08/2025 00:15 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Bihar |  | MUZAFFARPUR TPS | 4 | 195 | 0 | 0 | 0 | 12/09/2025 09:43 |  | MISC. SHORT DURATION PLANNED MAINTENACE
Bihar |  | NABINAGAR TPP | 4 | 250 | 0 | 0 | 0 | 25/08/2025 00:01 |  | ANNUAL MAINTENANCE
Jharkhand |  | CHANDRAPURA(DVC) TPS | 7 | 0 | 0 | 250 | 0 | 11/09/2025 09:17 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Odisha |  | TALCHER STPS | 4 | 500 | 0 | 0 | 0 | 24/08/2025 00:28 |  | OVERHAULING WORKS
Odisha |  | TALCHER STPS | 5 | 0 | 0 | 500 | 0 | 13/09/2025 06:36 |  | SUPER HEATER TUBE LEAKAGE
Odisha |  | IB VALLEY TPS | 3 | 660 | 0 | 0 | 0 | 24/08/2025 02:25 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha |  | IB VALLEY TPS | 4 | 0 | 0 | 660 | 0 | 12/09/2025 17:44 |  | WATER WALL TUBE LEAKAGE
Odisha |  | JSW Energy Utkal | 2 | 0 | 0 | 350 | 0 | 08/09/2025 04:30 |  | TURBINE BEARING OIL SYSTEM
Odisha |  | Limited | 2 | 0 | 0 | 350 | 0 | 08/09/2025 04:30 |  | TROUBLE
Odisha |  | Maadurga Thermal Power Company Ltd. | 2 | 0 | 0 | 30 | 0 | 09/09/2025 00:25 |  | STATION SERVICE TRANSFORMER MISC.
West Bengal |  | RAGHUNATHPUR TPP | 1 | 0 | 0 | 600 | 0 | 02/09/2025 12:14 |  | REHEATER TUBE LEAKAGE
West Bengal |  | BAKRESWAR TPS | 1 | 0 | 0 | 210 | 0 | 15/09/2025 20:32 |  | Miscellaneous
West Bengal |  | SOUTHERN REPL. TPS | 2 | 67.5 | 0 | 0 | 0 | 30/08/2025 01:45 | 15/09/2025 13:07 | MISCELLANEOUS PLANNED MAINTENANCE
West Bengal |  | TITAGARH TPS | 1 | 0 | 0 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 2 | 0 | 0 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 3 | 0 | 0 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 4 | 0 | 0 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern |  | 4: 1882.5; 5: 0; 6: 3920; 7: 0
Total |  | 4: 13281; 5: 8650.51; 6: 16578; 7: 860
Remarks:-
Report Version :-