## dailyOutage_Report
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 15-09-2025
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[8 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Haryana |  | RAJIV GANDHI TPS | 2 | 0 | 0 | 600 | 0 | 12/09/2025 21:23 | 15/09/2025 13:12 | DRUM LEVEL LOW
Rajasthan |  | KALISINDH TPS | 1 | 0 | 0 | 600 | 0 | 13/09/2025 11:33 |  | DRUM LEVEL LOW
Rajasthan |  | ADANI POWER LIMITED KAWAI TPP | 1 | 0 | 0 | 660 | 0 | 31/08/2025 15:30 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | RIHAND STPS | 2 | 500 | 0 | 0 | 0 | 08/08/2025 12:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh |  | SINGRAULI STPS | 6 | 500 | 0 | 0 | 0 | 18/07/2025 01:50 |  | OVERHAULING WORKS
Uttar Pradesh |  | OBRA TPS | 14 | 0 | 0 | 0 | 0 | 15/09/2025 23:35 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
Uttar Pradesh |  | OBRA TPS | 15 | 0 | 0 | 0 | 0 | 11/09/2025 12:57 | 15/09/2025 07:20 | MAINTENANCE OF AUXILIARY SYSTEM
Uttar Pradesh |  | PANKI TPS EXT | 1 | 0 | 0 | 0 | 0 | 14/09/2025 23:09 | 15/09/2025 02:01 | I.D. FANS PROBLEM
Chhatisgarh |  | KORBA STPS | 4 | 500 | 0 | 0 | 0 | 16/08/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Chhatisgarh |  | LARA TPP | 2 | 800 | 0 | 0 | 0 | 25/08/2025 00:00 |  | OVERHAULING WORKS
Chhatisgarh |  | SIPAT STPS | 5 | 500 | 0 | 0 | 0 | 26/07/2025 03:40 |  | OVERHAULING WORKS
Chhatisgarh |  | Vedanta Ltd Chhattisgarh TPP | 1 | 0 | 0 | 600 | 0 | 12/09/2025 14:09 | 15/09/2025 13:07 | TURBINE MISC. PROBLEM
Gujarat |  | MUNDRA UMTPP | 1 | 0 | 800 | 0 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 2 | 0 | 800 | 0 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat |  | MUNDRA UMTPP | 3 | 0 | 800 | 0 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat |  | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat |  | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Madhya Pradesh |  | SANJAY GANDHI TPS | 5 | 500 | 0 | 0 | 0 | 10/07/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh |  | SHREE SINGAJI TPP | 3 | 0 | 0 | 660 | 0 | 09/09/2025 22:19 |  | D.M. WATER PROBLEM
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 6 | 0 | 0 | 500 | 0 | 15/09/2025 09:03 |  | WATER WALL TUBE LEAKAGE
Maharashtra |  | KHAPARKHEDA TPS | 5 | 0 | 0 | 500 | 0 | 14/09/2025 06:31 | 15/09/2025 19:06 | TURBINE VIBRATIONS HIGH
Maharashtra |  | ADANI POWER LIMITED TIRODA TPP | 2 | 0 | 0 | 0 | 660 | 13/09/2025 23:59 |  | Fuel Shortage
Andhra Pradesh |  | SIMHADRI | 1 | 0 | 0 | 0 | 0 | 12/09/2025 08:34 | 15/09/2025 02:37 | WATER WALL TUBE LEAKAGE
Andhra Pradesh |  | VIZAG TPP | 1 | 0 | 0 | 520 | 0 | 02/09/2025 23:51 |  | ASH HANDLING SYSTEM PROBLEM
Karnataka |  | KUDGI STPP | 2 | 800 | 0 | 0 | 0 | 05/08/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | BELLARY TPS | 2 | 0 | 0 | 500 | 0 | 15/09/2025 06:54 | 15/09/2025 21:43 | FURNACE FIRE OUT /FLAME FAILURE
Karnataka |  | BELLARY TPS | 3 | 700 | 0 | 0 | 0 | 21/07/2025 23:35 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | YERMARUS TPP | 2 | 0 | 0 | 800 | 0 | 10/09/2025 10:07 |  | BOILER MISC. PROBLEM
Tamil Nadu |  | KUDANKULAM | 1 | 1000 | 0 | 0 | 0 | 03/08/2025 00:00 |  | ANNUAL MAINTENANCE
Tamil Nadu |  | NORTH CHENNAI TPS | 5 | 0 | 0 | 0 | 0 | 11/09/2025 23:29 | 15/09/2025 02:50 | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | ITPCL TPP | 2 | 600 | 0 | 0 | 0 | 01/08/2025 01:36 |  | CAPITAL MAINTENANCE
Tamil Nadu |  | MUTHIARA TPP | 1 | 0 | 600 | 0 | 0 | 01/08/2025 22:56 |  | AIR PREHEATERS PROBLEM
Telangana |  | RAMAGUNDEM STPS | 6 | 500 | 0 | 0 | 0 | 10/08/2025 21:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Bihar |  | BARH STPS | 1 | 0 | 0 | 660 | 0 | 12/09/2025 07:46 |  | WATER WALL TUBE LEAKAGE
Bihar |  | BARH STPS | 5 | 0 | 0 | 660 | 0 | 15/09/2025 02:30 |  | WATER WALL TUBE LEAKAGE
Odisha |  | TALCHER STPS | 4 | 500 | 0 | 0 | 0 | 24/08/2025 00:28 |  | OVERHAULING WORKS
Odisha |  | TALCHER STPS | 5 | 0 | 0 | 500 | 0 | 13/09/2025 06:36 |  | SUPER HEATER TUBE LEAKAGE
| Odisha |  | IB VALLEY TPS | 3 | 660 | 0 | 0 | 0 | 24/08/2025 02:25 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
| Odisha |  | IB VALLEY TPS | 4 | 0 | 0 | 660 | 0 | 12/09/2025 17:44 |  | WATER WALL TUBE LEAKAGE
| West Bengal |  | RAGHUNATHPUR TPP | 1 | 0 | 0 | 600 | 0 | 02/09/2025 12:14 |  | REHEATER TUBE LEAKAGE
| Total | 5: 8060; 6: 4600; 7: 9020; DD/MM/YYYY HH24:MM 8: 660
Remarks:-
Report Version :-