## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 15-09-2025 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
RAJIV GANDHI TPS | 2 | 600.00 | 12/09/2025 21:23 | 15/09/2025 13:12 | DRUM LEVEL LOW
ANTA CCPP | 4 | 153.20 | 14/09/2025 00:20 | 15/09/2025 16:14 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 1 | 111.19 | 13/09/2025 23:58 | 15/09/2025 13:01 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 2 | 111.19 | 13/09/2025 23:38 | 15/09/2025 15:37 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 5 | 109.30 | 13/09/2025 23:49 | 15/09/2025 16:48 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 6 | 109.30 | 13/09/2025 23:47 | 15/09/2025 16:27 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 13/09/2025 23:42 | 15/09/2025 16:48 | CONSERVATION OF MAIN FUEL/RSD
OBRA TPS | 12 | 200.00 | 15/09/2025 08:10 | 15/09/2025 10:31 | FURNACE DRAFT ABNORMAL
OBRA TPS | 15 | 660.00 | 11/09/2025 12:57 | 15/09/2025 07:20 | MAINTENANCE OF AUXILIARY SYSTEM
PANKI TPS EXT | 1 | 660.00 | 14/09/2025 23:09 | 15/09/2025 02:01 | I.D. FANS PROBLEM
BALCO TPS | 1 | 300.00 | 15/08/2025 23:36 | 15/09/2025 13:50 | HYDROGEN PRESSURE PROBLEM
CHAKABURA TPP | 2 | 30.00 | 15/09/2025 03:27 | 15/09/2025 04:34 | Turbine Misc
NAWAPARA TPP | 1 | 300.00 | 04/09/2025 09:30 | 15/09/2025 12:15 | ASH HANDLING SYSTEM PROBLEM
Vedanta Ltd Chhattisgarh TPP | 1 | 600.00 | 12/09/2025 14:09 | 15/09/2025 13:07 | TURBINE MISC. PROBLEM
GANDHAR CCPP | 2 | 144.30 | 13/09/2025 23:12 | 15/09/2025 16:53 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 3 | 144.30 | 13/09/2025 21:18 | 15/09/2025 11:05 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 1 | 106.00 | 13/09/2025 23:11 | 15/09/2025 12:30 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 2 | 106.00 | 13/09/2025 21:26 | 15/09/2025 16:31 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 4 | 106.00 | 13/09/2025 23:01 | 15/09/2025 11:33 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 5 | 116.10 | 13/09/2025 23:04 | 15/09/2025 15:46 | CONSERVATION OF MAIN FUEL/RSD
UKAI TPS | 5 | 210.00 | 04/09/2025 19:32 | 15/09/2025 21:12 | RESERVE SHUT DOWN / STANDBY UNIT
RATNAGIRI CCPP | 4 | 213.00 | 13/09/2025 22:51 | 15/09/2025 12:14 | GT- LOW SYSTEM DAMAND
RATNAGIRI CCPP | 5 | 213.00 | 13/09/2025 22:05 | 15/09/2025 15:27 | GT- LOW SYSTEM DAMAND
RATNAGIRI CCPP | 6 | 237.54 | 13/09/2025 22:46 | 15/09/2025 14:38 | GT- LOW SYSTEM DAMAND
RATNAGIRI CCPP | 7 | 213.00 | 13/09/2025 21:22 | 15/09/2025 12:29 | GT- LOW SYSTEM DAMAND
RATNAGIRI CCPP | 8 | 213.00 | 13/09/2025 22:26 | 15/09/2025 16:43 | GT- LOW SYSTEM DAMAND
RATNAGIRI CCPP | 9 | 237.54 | 13/09/2025 22:24 | 15/09/2025 14:24 | GT- LOW SYSTEM DAMAND
CHANDRAPUR(MAHARASHTRA) STPS | 3 | 210.00 | 14/09/2025 08:06 | 15/09/2025 12:50 | CONDENSER LOW VACCUM
KHAPARKHEDA TPS | 5 | 500.00 | 14/09/2025 06:31 | 15/09/2025 19:06 | TURBINE VIBRATIONS HIGH
SHIRPUR TPP | 1 | 150.00 | 15/09/2025 04:55 | 15/09/2025 06:13 | FURNACE FIRE OUT /FLAME FAILURE
SIMHADRI | 1 | 500.00 | 12/09/2025 08:34 | 15/09/2025 02:37 | WATER WALL TUBE LEAKAGE
BELLARY TPS | 2 | 500.00 | 15/09/2025 06:54 | 15/09/2025 21:43 | FURNACE FIRE OUT /FLAME FAILURE
RAICHUR TPS | 5 | 210.00 | 15/09/2025 05:23 | 15/09/2025 17:05 | GENERATOR PROTECTION RELAY OPERATION PROBLEM
METTUR TPS | 4 | 210.00 | 01/09/2025 01:40 | 15/09/2025 10:16 | BOILER OVERHAUL/ ANNUAL MAINTENANCE
NORTH CHENNAI TPS | 5 | 600.00 | 11/09/2025 23:29 | 15/09/2025 02:50 | WATER WALL TUBE LEAKAGE
TUTICORIN TPS | 5 | 210.00 | 14/09/2025 19:15 | 15/09/2025 02:14 | RESERVE SHUT DOWN / STANDBY UNIT
BAKRESWAR TPS | 1 | 210.00 | 15/09/2025 15:36 | 15/09/2025 17:02 | FURNACE FIRE OUT /FLAME FAILURE
BAKRESWAR TPS | 1 |  | 24/08/2025 00:06 | 15/09/2025 15:06 | BOILER OVERHAUL/ ANNUAL MAINTENANCE
SOUTHERN REPL. TPS | 2 | 67.50 | 30/08/2025 01:45 | 15/09/2025 13:07 | MISCELLANEOUS PLANNED MAINTENANCE
KATHALGURI CCPP | 5 | 33.50 | 15/09/2025 00:00 | 15/09/2025 23:59 | MISCELLANOUS
KATHALGURI CCPP | 7 | 30.00 | 15/09/2025 00:00 | 15/09/2025 23:59 | MISCELLANEOUS PLANNED MAINTENANCE
KATHALGURI CCPP | 8 | 30.00 | 15/09/2025 00:00 | 15/09/2025 18:26 | MISCELLANEOUS
LAKWA REPLACEMENT POWER PROJECT | 2 | 9.96 | 15/09/2025 00:00 | 15/09/2025 19:00 | GRID DISTURBANCES MISC.
AGARTALA GT | 3 | 21.00 | 15/09/2025 00:00 | 15/09/2025 23:59 | Fuel Shortage
Total |  | 9,826.12