## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 15-09-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
AURAIYA CCPP | 1 | 111.19 | 15/09/2025 22:16 | 15/09/2025 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 15/09/2025 22:24 | 15/09/2025 | CONSERVATION OF MAIN FUEL/RSD
OBRA TPS | 12 | 200.00 | 15/09/2025 08:10 |  | FURNACE DRAFT ABNORMAL
OBRA TPS | 14 | 660.00 | 15/09/2025 23:35 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
CHAKABURA TPP | 2 | 30.00 | 15/09/2025 03:27 |  | Turbine Misc
SVPL TPP | 1 | 63.00 | 15/09/2025 19:35 | 16/09/2025 | COAL FEEDING PROBLEM IN PLANT
GANDHAR CCPP | 3 | 144.30 | 15/09/2025 19:15 | 15/09/2025 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 2 | 106.00 | 15/09/2025 22:52 | 15/09/2025 | CONSERVATION OF MAIN FUEL/RSD
VINDHYACHAL STPS | 4 | 210.00 | 15/09/2025 20:14 | 15/09/2025 | SUPER HEATER TUBE LEAKAGE
RATNAGIRI CCPP | 5 | 213.00 | 15/09/2025 22:48 |  | GT- LOW SYSTEM DAMAND
RATNAGIRI CCPP | 8 | 213.00 | 15/09/2025 23:18 |  | GT- LOW SYSTEM DAMAND
CHANDRAPUR(MAHARASHTRA) STPS | 6 | 500.00 | 15/09/2025 09:03 |  | WATER WALL TUBE LEAKAGE
SHIRPUR TPP | 1 | 150.00 | 15/09/2025 04:55 |  | FURNACE FIRE OUT /FLAME FAILURE
BELLARY TPS | 2 | 500.00 | 15/09/2025 06:54 |  | FURNACE FIRE OUT /FLAME FAILURE
RAICHUR TPS | 5 | 210.00 | 15/09/2025 05:23 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
BARH STPS | 5 | 660.00 | 15/09/2025 02:30 | 15/09/2025 | WATER WALL TUBE LEAKAGE
BAKRESWAR TPS | 1 | 210.00 | 15/09/2025 20:32 |  | Miscellaneous
BAKRESWAR TPS | 1 |  | 15/09/2025 15:36 |  | FURNACE FIRE OUT /FLAME FAILURE
KATHALGURI CCPP | 5 | 33.50 | 15/09/2025 00:00 |  | MISCELLANOUS
KATHALGURI CCPP | 7 | 30.00 | 15/09/2025 00:00 |  | MISCELLANEOUS PLANNED MAINTENANCE
KATHALGURI CCPP | 8 | 30.00 | 15/09/2025 00:00 |  | MISCELLANEOUS
LAKWA REPLACEMENT POWER PROJECT | 1 | 9.96 | 15/09/2025 21:30 |  | GRID DISTURBANCES MISC.
LAKWA REPLACEMENT POWER PROJECT | 2 | 9.96 | 15/09/2025 00:00 |  | GRID DISTURBANCES MISC.
AGARTALA GT | 3 | 21.00 | 15/09/2025 00:00 |  | Fuel Shortage
Total |  | 4445.11
https://npp.gov.in 16/09/2025 17:29:57 |  |  |  |  | PAGE 1