## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 15-10-2025
Sub-Report-10
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana |  | INDIRA GANDHI STPP | 3 | 0 | 0 | 500 | 0 | 15/10/2025 16:26 | 15/10/2025 21:06 | MAL-FUNCTION OF RELAY
Haryana |  | PANIPAT TPS | 6 | 0 | 210 | 0 | 0 | 20/09/2025 21:34 |  | C.W. PUMP PROBLEM
Haryana |  | PANIPAT TPS | 7 | 0 | 0 | 250 | 0 | 06/10/2025 01:46 |  | RESERVE SHUT DOWN / STANDBY UNIT
Haryana |  | PANIPAT TPS | 8 | 0 | 0 | 250 | 0 | 05/10/2025 11:29 |  | RESERVE SHUT DOWN / STANDBY UNIT
Haryana |  | RAJIV GANDHI TPS | 1 | 0 | 0 | 600 | 0 | 09/10/2025 11:06 |  | RESERVE SHUT DOWN / STANDBY UNIT
Haryana |  | RAJIV GANDHI TPS | 2 | 0 | 0 | 600 | 0 | 06/10/2025 22:33 |  | Turbine Misc
Punjab |  | ROPAR TPS | 6 | 0 | 0 | 210 | 0 | 13/10/2025 16:37 |  | BOILER MISC. PROBLEM
Punjab |  | TALWANDI SABO TPP | 3 | 0 | 0 | 660 | 0 | 15/10/2025 09:16 |  | ABNORMAL BOILER OPERATIONAL PARAMETER
Rajasthan |  | DAE (RAJASTHAN) | 1 | 0 | 0 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan |  | RAJASTHAN A.P.S. | 4 | 0 | 0 | 220 | 0 | 15/10/2025 00:00 |  | Miscellaneous
Rajasthan |  | RAJASTHAN A.P.S. | 7 | 0 | 0 | 700 | 0 | 04/10/2025 16:34 |  | TURBINE VIBRATION HIGH
Rajasthan |  | CHHABRA-II TPP | 5 | 660 | 0 | 0 | 0 | 02/10/2025 03:17 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan |  | CHHABRA-II TPP | 6 | 0 | 0 | 0 | 0 | 15/10/2025 21:30 |  | BOILER MISC. PROBLEM
Rajasthan |  | CHHABRA-I PH-1 TPP | 2 | 0 | 0 | 250 | 0 | 14/10/2025 11:14 | 15/10/2025 14:29 | ABNORMAL SOUND
Rajasthan |  | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan |  | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan |  | KOTA TPS | 6 | 0 | 0 | 0 | 0 | 12/10/2025 10:08 | 15/10/2025 08:40 | RESERVE SHUT DOWN / STANDBY UNIT
Rajasthan |  | SURATGARH TPS | 2 | 0 | 0 | 250 | 0 | 05/10/2025 10:40 |  | RSD/LOW SCHEDULE
Rajasthan |  | SURATGARH TPS | 3 | 0 | 250 | 0 | 0 | 28/11/2024 13:48 | 15/10/2025 19:47 | FUEL SUPPLY & OTHER MISC. PROBLEMS
Rajasthan |  | SURATGARH TPS | 5 | 0 | 0 | 250 | 0 | 04/10/2025 20:27 |  | RSD/LOW SCHEDULE
Rajasthan |  | SURATGARH TPS | 6 | 0 | 250 | 0 | 0 | 25/07/2025 12:09 |  | TURBINE VIBRATION HIGH
Rajasthan |  | ADANI POWER LIMITED KAWAI TPP | 2 | 0 | 0 | 0 | 0 | 05/10/2025 01:10 | 15/10/2025 04:35 | TURBINE OIL SYSTEM PROBLEM
Rajasthan |  | JALIPA KAPURDI TPP | 1 | 0 | 0 | 0 | 0 | 15/10/2025 11:12 | 15/10/2025 13:42 | BOILER MISC. PROBLEM
Rajasthan |  | JALIPA KAPURDI TPP | 5 | 0 | 0 | 135 | 0 | 11/10/2025 18:06 | 15/10/2025 02:02 | BOILER MISC. PROBLEM
Uttar Pradesh |  | DADRI (NCTPP) | 5 | 490 | 0 | 0 | 0 | 15/10/2025 00:14 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh |  | RIHAND STPS | 3 | 500 | 0 | 0 | 0 | 08/10/2025 23:44 |  | BOILER INSPECTION/ RE-CERTIFICATION
Uttar Pradesh |  | SINGRAULI STPS | 5 | 200 | 0 | 0 | 0 | 19/09/2025 00:30 |  | OVERHAULING WORKS
Uttar Pradesh |  | TANDA TPS | 1 | 0 | 110 | 0 | 0 | 30/06/2025 23:05 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 2 | 0 | 110 | 0 | 0 | 30/06/2025 23:17 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 3 | 0 | 110 | 0 | 0 | 31/08/2025 23:58 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 4 | 0 | 110 | 0 | 0 | 31/08/2025 23:58 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | TANDA TPS | 6 | 660 | 0 | 0 | 0 | 22/09/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh |  | UNCHAHAR TPS | 2 | 0 | 0 | 0 | 0 | 12/09/2025 00:53 | 15/10/2025 07:14 | OVERHAULING WORKS
Uttar Pradesh |  | NARORA A.P.S. | 1 | 0 | 220 | 0 | 0 | 14/04/2025 04:36 |  | Turbine Misc
Uttar Pradesh |  | HARDUAGANJ TPS | 7 | 0 | 0 | 105 | 0 | 03/10/2025 23:17 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | HARDUAGANJ TPS | 8 | 0 | 0 | 250 | 0 | 03/10/2025 23:15 |  | RESERVE SHUT DOWN /
Uttar Pradesh |  | HARDUAGANJ TPS | 8 | 0 | 0 | 250 | 0 | 03/10/2025 23:15 |  | STANDBY UNIT
Uttar Pradesh |  | HARDUAGANJ TPS | 9 | 0 | 0 | 250 | 0 | 03/10/2025 23:13 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | HARDUAGANJ TPS | 10 | 0 | 0 | 660 | 0 | 07/10/2025 00:44 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | JAWAHARPUR STPP | 1 | 0 | 0 | 660 | 0 | 07/10/2025 01:19 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | JAWAHARPUR STPP | 2 | 0 | 0 | 660 | 0 | 07/10/2025 00:58 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | OBRA TPS | 9 | 0 | 0 | 200 | 0 | 15/10/2025 17:22 | 15/10/2025 18:56 | CONDENSER LOW VACCUM
Uttar Pradesh |  | PARICHHA TPS | 3 | 0 | 0 | 210 | 0 | 08/10/2025 13:10 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | PARICHHA TPS | 4 | 0 | 0 | 210 | 0 | 08/10/2025 13:10 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | PARICHHA TPS | 5 | 0 | 0 | 250 | 0 | 08/10/2025 13:20 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | PARICHHA TPS | 6 | 0 | 0 | 250 | 0 | 08/10/2025 13:46 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | BARKHERA TPS | 1 | 0 | 0 | 45 | 0 | 12/10/2025 23:43 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | BARKHERA TPS | 2 | 0 | 0 | 45 | 0 | 12/10/2025 23:43 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | KHAMBARKHERA TPS | 1 | 0 | 0 | 45 | 0 | 11/10/2025 23:41 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | KHAMBARKHERA TPS | 2 | 0 | 0 | 45 | 0 | 11/10/2025 23:45 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | KUNDARKI TPS | 1 | 0 | 0 | 45 | 0 | 11/10/2025 23:41 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | KUNDARKI TPS | 2 | 0 | 0 | 45 | 0 | 11/10/2025 23:41 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | MAQSOODPUR TPS | 1 | 0 | 0 | 45 | 0 | 11/10/2025 23:45 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | MAQSOODPUR TPS | 2 | 0 | 0 | 45 | 0 | 11/10/2025 23:45 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | UTRAULA TPS | 1 | 0 | 0 | 45 | 0 | 11/10/2025 23:43 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | UTRAULA TPS | 2 | 0 | 0 | 45 | 0 | 11/10/2025 23:43 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Northern |  | 4: 2760; 5: 1370; 6: 9030; 7: 0
Western
Chhatisgarh |  | KORBA-WEST TPS | 2 | 0 | 0 | 210 | 0 | 11/10/2025 20:56 |  | I.D. FANS PROBLEM
Chhatisgarh |  | KORBA-WEST TPS | 4 | 210 | 0 | 0 | 0 | 14/10/2025 23:53 |  | CAPITAL MAINTENANCE
Chhatisgarh |  | AKALTARA TPS | 2 | 0 | 0 | 0 | 0 | 11/10/2025 22:44
Chhatisgarh |  | BALCO TPS | 2 | 0 | 0 | 0 | 0 | 15/10/2025 15:54 | 15/10/2025 17:34 | TURBINE MISC.
Chhatisgarh |  | KASAIPALLI TPP | 2 | 0 | 135 | 0 | 0 | 08/09/2025 21:40 |  | I.D. FANS PROBLEM
Chhatisgarh |  | KATGHORA TPP | 1 | 0 | 0 | 0 | 0 | 15/10/2012 00:28 |  | No Fuel Supply Agreement
Chhatisgarh |  | SALORA TPP | 1 | 0 | 0 | 0 | 0 | 19/10/2014 04:30 |  | No Fuel Supply Agreement
Chhatisgarh |  | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 0 | 01/04/2015 00:20 |  | No Fuel Supply Agreement
Chhatisgarh |  | TAMNAR TPP | 3 | 0 | 0 | 600 | 0 | 14/10/2025 22:21 |  | TURBINE MISC. PROBLEM
Chhatisgarh |  | UCHPINDA TPP | 2 | 0 | 360 | 0 | 0 | 09/09/2025 20:46 |  | AIR PREHEATERS PROBLEM
Chhatisgarh |  | UCHPINDA TPP | 4 | 0 | 0 | 0 | 0 | 15/10/2025 08:53 | 15/10/2025 16:45 | UNIT AUX. TRANSFORMER PROBLEM
Gujarat |  | AKRIMOTA LIG TPS | 1 | 125 | 0 | 0 | 0 | 08/06/2024 19:30 |  | CAPITAL MAINTENANCE
Gujarat |  | BHAVNAGAR CFBC TPP | 1 | 0 | 0 | 250 | 0 | 01/10/2025 10:30 |  | RSD/LOW SCHEDULE
Gujarat |  | GANDHI NAGAR TPS | 3 | 0 | 210 | 0 | 0 | 22/09/2025 13:37 |  | RSD/LOW SCHEDULE
Gujarat |  | GANDHI NAGAR TPS | 4 | 0 | 210 | 0 | 0 | 22/09/2025 15:16 |  | RSD/LOW SCHEDULE
Gujarat |  | GANDHI NAGAR TPS | 5 | 0 | 210 | 0 | 0 | 24/09/2025 15:33 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | KUTCH LIG. TPS | 3 | 0 | 75 | 0 | 0 | 27/09/2025 21:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat |  | SIKKA REP. TPS | 3 | 0 | 0 | 0 | 250 | 23/09/2025 12:19 |  | RESERVE SHUT DOWN
Gujarat |  | SIKKA REP. TPS | 4 | 0 | 0 | 0 | 250 | 22/09/2025 11:54 |  | RESERVE SHUT DOWN
Gujarat |  | UKAI TPS | 3 | 0 | 0 | 200 | 0 | 13/10/2025 07:55 |  | AIR PREHEATERS PROBLEM
Gujarat |  | WANAKBORI TPS | 1 | 0 | 210 | 0 | 0 | 23/09/2025 09:35 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 2 | 0 | 210 | 0 | 0 | 23/09/2025 10:13 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 3 | 0 | 210 | 0 | 0 | 27/09/2025 19:19 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 4 | 0 | 210 | 0 | 0 | 15/08/2025 17:17 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 5 | 0 | 210 | 0 | 0 | 23/09/2025 16:55 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 6 | 0 | 210 | 0 | 0 | 23/09/2025 16:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 7 | 0 | 210 | 0 | 0 | 24/09/2025 15:33 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | ADANI POWER LIMITED MUNDRA TPP - I & II | 1 | 330 | 0 | 0 | 0 | 01/08/2025 01:57 |  | ANNUAL MAINTENANCE
Gujarat |  | ADANI POWER LIMITED MUNDRA TPP - I & II | 2 | 0 | 0 | 0 | 330 | 28/09/2025 11:10 |  | RESERVE SHUT DOWN
Gujarat |  | ADANI POWER LIMITED MUNDRA TPP - I & II | 3 | 0 | 0 | 0 | 330 | 29/09/2025 09:10 |  | RESERVE SHUT DOWN
Gujarat |  | ADANI POWER LIMITED MUNDRA TPP - I & II | 4 | 0 | 0 | 0 | 330 | 28/09/2025 01:18 |  | RESERVE SHUT DOWN
Gujarat |  | MUNDRA UMTPP | 1 | 0 | 800 | 0 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 2 | 0 | 800 | 0 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat |  | MUNDRA UMTPP | 3 | 0 | 800 | 0 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat |  | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat |  | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Gujarat |  | SABARMATI (D-F STATIONS) | 1 | 120 | 0 | 0 | 0 | 09/10/2025 15:03 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Gujarat |  | SURAT LIG. TPS | 3 | 0 | 0 | 125 | 0 | 14/10/2025 09:45 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh |  | VINDHYACHAL STPS | 9 | 0 | 0 | 500 | 0 | 15/10/2025 08:33 |  | ECONOMISER TUBE LEAKAGE
Madhya Pradesh |  | SHREE SINGAJI TPP | 1 | 0 | 0 | 0 | 600 | 01/10/2025 07:28 |  | RESERVE SHUT DOWN
Madhya Pradesh |  | SHREE SINGAJI TPP | 2 | 0 | 0 | 600 | 0 | 01/10/2025 19:35 |  | RSD/LOW SCHEDULE
Madhya Pradesh |  | SHREE SINGAJI TPP | 3 | 0 | 0 | 660 | 0 | 01/10/2025 14:28 |  | RSD/LOW SCHEDULE
Madhya Pradesh |  | ANUPPUR TPP | 2 | 0 | 0 | 625 | 0 | 14/10/2025 20:24 |  | AIR PREHEATERS PROBLEM
Maharashtra |  | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra |  | TARAPUR | 2 | 160 | 0 | 0 | 0 | 13/07/2020 04:38 |  | RENOVATION/MODERNISATION WORKS
Maharashtra |  | BHUSAWAL TPS | 3 | 0 | 0 | 210 | 0 | 01/10/2025 00:05 |  | RESERVE SHUT DOWN / STANDBY UNIT
Maharashtra |  | BHUSAWAL TPS | 5 | 0 | 0 | 500 | 0 | 01/10/2025 22:00 |  | RSD/LOW SCHEDULE
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 3 | 0 | 0 | 210 | 0 | 13/10/2025 09:22 | 15/10/2025 13:02 | WATER WALL TUBE LEAKAGE
Maharashtra |  | KHAPARKHEDA TPS | 2 | 0 | 0 | 210 | 0 | 15/10/2025 14:47 |  | WATER WALL TUBE LEAKAGE
Maharashtra |  | NASIK TPS | 3 | 0 | 0 | 0 | 0 | 08/10/2025 09:15 | 15/10/2025 09:50 | WATER WALL TUBE LEAKAGE
Maharashtra |  | NASIK TPS | 5 | 0 | 0 | 210 | 0 | 14/10/2025 20:32 |  | WATER WALL TUBE LEAKAGE
Maharashtra |  | PARLI TPS | 6 | 0 | 0 | 250 | 0 | 01/10/2025 01:35 | 15/10/2025 23:47 | RSD/LOW SCHEDULE
Maharashtra |  | PARLI TPS | 7 | 0 | 0 | 250 | 0 | 01/10/2025 01:34 |  | RSD/LOW SCHEDULE
Maharashtra |  | PARLI TPS | 8 | 250 | 0 | 0 | 0 | 29/09/2025 13:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra |  | GEPL TPP Ph-I | 1 | 0 | 60 | 0 | 0 | 29/06/2013 00:00 |  | No Fuel Supply Agreement
Maharashtra |  | GEPL TPP Ph-I | 2 | 0 | 60 | 0 | 0 | 20/06/2013 20:27 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 1 | 0 | 61.51 | 0 | 0 | 10/01/2013 15:50 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 2 | 0 | 61.5 | 0 | 0 | 05/11/2013 11:53 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 3 | 0 | 61.5 | 0 | 0 | 10/06/2013 18:00 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 4 | 0 | 61.5 | 0 | 0 | 20/08/2013 10:00 |  | No Fuel Supply Agreement
Maharashtra |  | NASIK (P) TPS | 1 | 0 | 0 | 0 | 0 | 04/03/2014 18:10 |  | No Fuel Supply Agreement
Maharashtra |  | NASIK (P) TPS | 2 | 0 | 0 | 0 | 0 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 3 | 0 | 0 | 0 | 0 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 4 | 0 | 0 | 0 | 0 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 5 | 0 | 0 | 0 | 0 | 30/05/2017 15:24 |  | NO Power purchase agreement
Maharashtra |  | SHIRPUR TPP | 1 | 0 | 0 | 0 | 150 | 02/10/2025 00:25 |  | LOW SYSTEM DEMAND
Total Western |  | 4: 1355; 5: 7111.01; 6: 5610; 7: 2240
Southern
Andhra Pradesh |  | SIMHADRI | 3 | 0 | 0 | 500 | 0 | 11/10/2025 11:22 |  | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh |  | RAYALASEEMA TPS | 5 | 0 | 0 | 210 | 0 | 01/10/2025 09:35 |  | TURBINE VIBRATION HIGH
Andhra Pradesh |  | SIMHAPURI TPS | 1 | 0 | 0 | 150 | 0 | 05/10/2025 00:55 |  | MISCELLANEOUS
Andhra Pradesh |  | THAMMINAPATNAM TPS | 1 | 0 | 150 | 0 | 0 | 01/09/2025 15:01 |  | TURBINE MISC. PROBLEM
Andhra Pradesh |  | THAMMINAPATNAM TPS | 2 | 0 | 150 | 0 | 0 | 07/07/2025 22:40 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Andhra Pradesh |  | THAMMINAPATNAM TPS | 4 | 0 | 0 | 350 | 0 | 13/10/2025 16:09 |  | P.A. FANS PROBLEM
Andhra Pradesh |  | VIZAG TPP | 1 | 0 | 0 | 520 | 0 | 14/10/2025 23:14 |  | ASH HANDLING SYSTEM PROBLEM
Karnataka |  | KAIGA | 1 | 220 | 0 | 0 | 0 | 31/03/2025 23:11 |  | MISCELLANEOUS PLANNED MAINTENANCE
Karnataka |  | BELLARY TPS | 3 | 700 | 0 | 0 | 0 | 21/07/2025 23:35 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka |  | RAICHUR TPS | 2 | 0 | 0 | 0 | 0 | 15/10/2025 23:18 |  | WATER WALL TUBE LEAKAGE
Karnataka |  | RAICHUR TPS | 6 | 210 | 0 | 0 | 0 | 24/09/2025 00:02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | TORANGALLU TPS(SBU-II) | 4 | 0 | 0 | 0 | 300 | 30/09/2025 07:39 |  | RESERVE SHUT DOWN
Tamil Nadu |  | NEYVELI ( EXT) TPS | 1 | 210 | 0 | 0 | 0 | 25/08/2025 06:35 |  | ANNUAL MAINTENANCE
Tamil Nadu |  | NEYVELI TPS-II | 2 | 0 | 210 | 0 | 0 | 18/08/2025 17:20 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Tamil Nadu |  | NTPL TUTICORIN TPP | 2 | 0 | 0 | 500 | 0 | 14/10/2025 19:14 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu |  | MADRAS A.P.S. | 2 | 220 | 0 | 0 | 0 | 01/09/2025 00:12 |  | ANNUAL MAINTENANCE
Tamil Nadu |  | METTUR TPS | 3 | 0 | 210 | 0 | 0 | 24/09/2025 01:16 |  | BOILER AUX. MISC. PROMLEMS
Tamil Nadu |  | METTUR TPS | 4 | 0 | 0 | 210 | 0 | 11/10/2025 10:28 |  | GENEREATOR COOLING SYSTEM
Tamil Nadu |  | METTUR TPS - II | 1 | 0 | 0 | 600 | 0 | 11/10/2025 05:55 |  | AIR PREHEATERS PROBLEM
Tamil Nadu |  | NORTH CHENNAI TPS | 1 | 0 | 0 | 0 | 0 | 14/10/2025 21:00 | 15/10/2025 01:26 | MISC. FIRE HAZARDS / CABLE GALLERY
Tamil Nadu |  | TUTICORIN TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2025 21:50 |  | FIRE IN CABLE GALLERY.
Tamil Nadu |  | TUTICORIN TPS | 2 | 0 | 210 | 0 | 0 | 15/03/2025 22:01 |  | FIRE IN CABLE GALLERY
Tamil Nadu |  | TUTICORIN TPS | 4 | 0 | 0 | 0 | 0 | 15/10/2025 22:38 |  | CONDENSER TUBE LEAKAGE/ CLEANING
Tamil Nadu |  | ITPCL TPP | 2 | 600 | 0 | 0 | 0 | 01/08/2025 01:36 |  | CAPITAL MAINTENANCE
Tamil Nadu |  | MUTHIARA TPP | 1 | 0 | 0 | 600 | 0 | 10/10/2025 07:25 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu |  | OPG Power Generation Private Limited | 1 | 0 | 77 | 0 | 0 | 30/06/2025 23:59 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | OPG Power Generation Private Limited | 2 | 0 | 0 | 77 | 0 | 15/10/2025 23:59 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | TCP Limited | 1 | 63.5 | 0 | 0 | 0 | 16/07/2021 05:21 |  | MISCELLANEOUS PLANNED MAINTENANCE
Tamil Nadu |  | TUTICORIN (P) TPP | 1 | 0 | 150 | 0 | 0 | 03/04/2016 00:31 |  | No Fuel Supply Agreement
Tamil Nadu |  | TUTICORIN (P) TPP | 2 | 0 | 150 | 0 | 0 | 16/04/2016 01:42 |  | No Fuel Supply Agreement
Telangana |  | RAMAGUNDEM STPS | 3 | 0 | 0 | 200 | 0 | 11/10/2025 10:08 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | RAMAGUNDEM STPS | 4 | 0 | 0 | 500 | 0 | 15/10/2025 09:30 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | RAMAGUNDEM STPS | 6 | 0 | 0 | 500 | 0 | 11/10/2025 00:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | TELANGANA STPP PH-1 | 1 | 0 | 0 | 800 | 0 | 13/10/2025 20:21 |  | WATER WALL TUBE LEAKAGE
Telangana |  | BHADRADRI TPP | 1 | 0 | 270 | 0 | 0 | 26/09/2025 10:59 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | BHADRADRI TPP | 2 | 0 | 270 | 0 | 0 | 26/09/2025 02:00 |  | RSD/LOW SCHEDULE
Telangana |  | BHADRADRI TPP | 4 | 0 | 270 | 0 | 0 | 26/09/2025 05:26 |  | RSD/LOW SCHEDULE
Telangana |  | KOTHAGUDEM TPS (NEW) | 9 | 0 | 250 | 0 | 0 | 29/09/2025 21:47 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | KOTHAGUDEM TPS (NEW) | 11 | 0 | 0 | 500 | 0 | 10/10/2025 13:00 |  | RSD/LOW SCHEDULE
Telangana |  | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Telangana |  | YADADRI TPS | 1 | 0 | 0 | 800 | 0 | 06/10/2025 06:53 |  | INSTRUMENTATION PROBLEM
Total Southern |  | 4: 2223.5; 5: 3069.5; 6: 7017; 7: 300
Eastern
Bihar |  | BARAUNI TPS | 6 | 0 | 0 | 0 | 0 | 22/07/2023 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar |  | BARAUNI TPS | 7 | 0 | 0 | 0 | 0 | 19/07/2023 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar |  | BARH STPS | 1 | 0 | 0 | 660 | 0 | 10/10/2025 17:09 |  | WATER WALL TUBE LEAKAGE
Bihar |  | KAHALGAON TPS | 2 | 0 | 0 | 210 | 0 | 12/10/2025 23:24 | 15/10/2025 13:05 | CONDENSER LOW VACCUM
Bihar |  | MUZAFFARPUR TPS | 3 | 0 | 0 | 195 | 0 | 15/10/2025 10:57 | 15/10/2025 20:29 | GENERATOR STATOR DAMAGED
Bihar |  | NABINAGAR STPP | 3 | 0 | 0 | 0 | 0 | 15/10/2025 03:42 | 15/10/2025 07:13 | ECONOMISER TUBE LEAKAGE
Jharkhand |  | TENUGHAT TPS | 1 | 0 | 0 | 0 | 0 | 14/10/2025 21:28 | 15/10/2025 00:33 | STATOR/ STATOR EARTH FAULT
Odisha |  | IB VALLEY TPS | 3 | 0 | 0 | 0 | 0 | 11/10/2025 11:28 | 15/10/2025 08:55 | CONDENSER TUBE LEAKAGE/ CLEANING
Odisha |  | JSW Energy Utkal Limited | 2 | 0 | 0 | 350 | 0 | 12/10/2025 20:47 |  | C.W. PUMP PROBLEM
Odisha |  | VEDANTA TPP | 2 | 0 | 0 | 600 | 0 | 08/10/2025 22:37 |  | P.A. FANS PROBLEM
West Bengal |  | FARAKKA STPS | 4 | 0 | 0 | 0 | 0 | 14/10/2025 08:18 | 15/10/2025 02:47 | P.A. FANS PROBLEM
West Bengal |  | RAGHUNATHPUR TPP | 1 | 0 | 0 | 600 | 0 | 04/10/2025 06:57 |  | LUB.OIL SYSTEM PROBLEM
West Bengal |  | KOLAGHAT TPS | 3 | 0 | 0 | 210 | 0 | 14/10/2025 11:02 |  | SUPER HEATER TUBE LEAKAGE
West Bengal |  | HIRANMAYE TPP | 1 | 0 | 0 | 0 | 0 | 15/10/2025 22:31 |  | TURBINE VIBRATIONS HIGH
West Bengal |  | SOUTHERN REPL. TPS | 1 | 0 | 0 | 67.5 | 0 | 03/10/2025 12:01 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | SOUTHERN REPL. TPS | 2 | 0 | 67.5 | 0 | 0 | 23/09/2025 11:06 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 1 | 0 | 0 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 2 | 0 | 0 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 3 | 0 | 0 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 4 | 0 | 0 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern |  | 4: 0; 5: 67.5; 6: 2892.5; 7: 0
Total |  | 4: 6338.5; 5: 11618.01; 6: 24549.5; 7: 2540
Remarks:-
Report Version :-