## dailyOutage_Report
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 15-10-2025
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[8 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Haryana |  | INDIRA GANDHI STPP | 3 | 0 | 0 | 500 | 0 | 15/10/2025 16:26 | 15/10/2025 21:06 | MAL-FUNCTION OF RELAY
Haryana |  | RAJIV GANDHI TPS | 1 | 0 | 0 | 600 | 0 | 09/10/2025 11:06 |  | RESERVE SHUT DOWN / STANDBY UNIT
Haryana |  | RAJIV GANDHI TPS | 2 | 0 | 0 | 600 | 0 | 06/10/2025 22:33 |  | Turbine Misc
Punjab |  | TALWANDI SABO TPP | 3 | 0 | 0 | 660 | 0 | 15/10/2025 09:16 |  | ABNORMAL BOILER OPERATIONAL PARAMETER
Rajasthan |  | RAJASTHAN A.P.S. | 7 | 0 | 0 | 700 | 0 | 04/10/2025 16:34 |  | TURBINE VIBRATION HIGH
Rajasthan |  | CHHABRA-II TPP | 5 | 660 | 0 | 0 | 0 | 02/10/2025 03:17 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan |  | CHHABRA-II TPP | 6 | 0 | 0 | 0 | 0 | 15/10/2025 21:30 |  | BOILER MISC. PROBLEM
Rajasthan |  | ADANI POWER LIMITED KAWAI TPP | 2 | 0 | 0 | 0 | 0 | 05/10/2025 01:10 | 15/10/2025 04:35 | TURBINE OIL SYSTEM PROBLEM
Uttar Pradesh |  | RIHAND STPS | 3 | 500 | 0 | 0 | 0 | 08/10/2025 23:44 |  | BOILER INSPECTION/ RE-CERTIFICATION
Uttar Pradesh |  | TANDA TPS | 6 | 660 | 0 | 0 | 0 | 22/09/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh |  | HARDUAGANJ TPS | 10 | 0 | 0 | 660 | 0 | 07/10/2025 00:44 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | JAWAHARPUR STPP | 1 | 0 | 0 | 660 | 0 | 07/10/2025 01:19 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | JAWAHARPUR STPP | 2 | 0 | 0 | 660 | 0 | 07/10/2025 00:58 |  | RESERVE SHUT DOWN / STANDBY UNIT
Chhatisgarh |  | AKALTARA TPS | 2 | 0 | 0 | 0 | 0 | 11/10/2025 22:44
Chhatisgarh |  | TAMNAR TPP | 3 | 0 | 0 | 600 | 0 | 14/10/2025 22:21 |  | TURBINE MISC. PROBLEM
Gujarat |  | MUNDRA UMTPP | 1 | 0 | 800 | 0 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 2 | 0 | 800 | 0 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat |  | MUNDRA UMTPP | 3 | 0 | 800 | 0 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat |  | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat |  | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Madhya Pradesh |  | VINDHYACHAL STPS | 9 | 0 | 0 | 500 | 0 | 15/10/2025 08:33 |  | ECONOMISER TUBE LEAKAGE
Madhya Pradesh |  | SHREE SINGAJI TPP | 1 | 0 | 0 | 0 | 600 | 01/10/2025 07:28 |  | RESERVE SHUT DOWN
Madhya Pradesh |  | SHREE SINGAJI TPP | 2 | 0 | 0 | 600 | 0 | 01/10/2025 19:35 |  | RSD/LOW SCHEDULE
Madhya Pradesh |  | SHREE SINGAJI TPP | 3 | 0 | 0 | 660 | 0 | 01/10/2025 14:28 |  | RSD/LOW SCHEDULE
Madhya Pradesh |  | ANUPPUR TPP | 2 | 0 | 0 | 625 | 0 | 14/10/2025 20:24 |  | AIR PREHEATERS PROBLEM
Maharashtra |  | BHUSAWAL TPS | 5 | 0 | 0 | 500 | 0 | 01/10/2025 22:00 |  | RSD/LOW SCHEDULE
Andhra Pradesh |  | SIMHADRI | 3 | 0 | 0 | 500 | 0 | 11/10/2025 11:22 |  | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh |  | VIZAG TPP | 1 | 0 | 0 | 520 | 0 | 14/10/2025 23:14 |  | ASH HANDLING SYSTEM PROBLEM
Karnataka |  | BELLARY TPS | 3 | 700 | 0 | 0 | 0 | 21/07/2025 23:35 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu |  | NTPL TUTICORIN TPP | 2 | 0 | 0 | 500 | 0 | 14/10/2025 19:14 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | METTUR TPS - II | 1 | 0 | 0 | 600 | 0 | 11/10/2025 05:55 |  | AIR PREHEATERS PROBLEM
Tamil Nadu |  | ITPCL TPP | 2 | 600 | 0 | 0 | 0 | 01/08/2025 01:36 |  | CAPITAL MAINTENANCE
Tamil Nadu |  | MUTHIARA TPP | 1 | 0 | 0 | 600 | 0 | 10/10/2025 07:25 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | RAMAGUNDEM STPS | 4 | 0 | 0 | 500 | 0 | 15/10/2025 09:30 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | RAMAGUNDEM STPS | 6 | 0 | 0 | 500 | 0 | 11/10/2025 00:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | TELANGANA STPP PH-1 | 1 | 0 | 0 | 800 | 0 | 13/10/2025 20:21 |  | WATER WALL TUBE LEAKAGE
Telangana |  | KOTHAGUDEM TPS (NEW) | 11 | 0 | 0 | 500 | 0 | 10/10/2025 13:00 |  | RSD/LOW SCHEDULE
Telangana |  | YADADRI TPS | 1 | 0 | 0 | 800 | 0 | 06/10/2025 06:53 |  | INSTRUMENTATION PROBLEM
| Bihar |  | BARH STPS | 1 | 0 | 0 | 660 | 0 | 10/10/2025 17:09 |  | WATER WALL TUBE LEAKAGE
| Bihar |  | NABINAGAR STPP | 3 | 0 | 0 | 0 | 0 | 15/10/2025 03:42 | 15/10/2025 07:13 | ECONOMISER TUBE LEAKAGE
| Odisha |  | IB VALLEY TPS | 3 | 0 | 0 | 0 | 0 | 11/10/2025 11:28 | 15/10/2025 08:55 | CONDENSER TUBE LEAKAGE/ CLEANING
| Odisha |  | VEDANTA TPP | 2 | 0 | 0 | 600 | 0 | 08/10/2025 22:37 |  | P.A. FANS PROBLEM
| West Bengal |  | FARAKKA STPS | 4 | 0 | 0 | 0 | 0 | 14/10/2025 08:18 | 15/10/2025 02:47 | P.A. FANS PROBLEM
| West Bengal |  | RAGHUNATHPUR TPP | 1 | 0 | 0 | 600 | 0 | 04/10/2025 06:57 |  | LUB.OIL SYSTEM PROBLEM
| Total | 5: 3120; 6: 4000; 7: 16205; DD/MM/YYYY HH24:MM 8: 600
Remarks:-
Report Version :-