## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 16-01-2025 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
ANPARA TPS | 2 | 210.00 | 15/01/2025 11:15 | 16/01/2025 05:21 | ELECTRICAL MISCELLANEOUS PROBLEMS
DSPM TPS | 2 | 250.00 | 14/01/2025 23:00 | 16/01/2025 02:14 | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
GANDHI NAGAR TPS | 5 | 210.00 | 12/01/2025 16:18 | 16/01/2025 03:12 | RESERVE SHUT DOWN / STANDBY UNIT
KUTCH LIG. TPS | 3 | 75.00 | 14/01/2025 11:54 | 16/01/2025 03:30 | RSD/LOW SCHEDULE
UKAI TPS | 4 | 200.00 | 14/01/2025 11:49 | 16/01/2025 02:20 | RESERVE SHUT DOWN / STANDBY UNIT
ADANI POWER LIMITED MUNDRA TPP - I & II | 1 | 330.00 | 13/01/2025 20:56 | 16/01/2025 04:41 | RSD/LOW SCHEDULE
ADANI POWER LIMITED MUNDRA TPP - I & II | 3 | 330.00 | 13/01/2025 21:09 | 16/01/2025 04:21 | RSD/LOW SCHEDULE
ADANI POWER LIMITED MUNDRA TPP - I & II | 4 | 330.00 | 13/01/2025 23:30 | 16/01/2025 04:17 | RSD/LOW SCHEDULE
SALAYA TPP | 1 | 600.00 | 13/01/2025 13:20 | 16/01/2025 05:21 | RESERVE SHUT DOWN / STANDBY UNIT
SALAYA TPP | 2 | 600.00 | 12/01/2025 22:33 | 16/01/2025 14:09 | RESERVE SHUT DOWN / STANDBY UNIT
SHREE SINGAJI TPP | 3 | 660.00 | 11/01/2025 12:03 | 16/01/2025 00:00 | MISCELLANEOUS PLANNED MAINTENANCE
ADANI POWER LIMITED TIRODA TPP | 5 | 660.00 | 11/01/2025 12:03 | 16/01/2025 14:45 | AIR PREHEATERS PROBLEM
BELLARY TPS | 3 | 700.00 | 21/12/2024 22:37 | 16/01/2025 19:13 | SUPER HEATER TUBE LEAKAGE
NEYVELI TPS-II | 5 | 210.00 | 16/01/2025 15:52 | 16/01/2025 18:52 | I.D. FANS PROBLEM
TENUGHAT TPS | 2 | 210.00 | 16/01/2025 17:17 | 16/01/2025 18:05 | VIBRATIONS
BUDGE BUDGE TPS | 3 | 250.00 | 16/01/2025 06:06 | 16/01/2025 06:54 | INSTRUMENTATION PROBLEM
BUDGE BUDGE TPS | 3 |  | 26/12/2024 23:23 | 16/01/2025 05:02 | SCHEDULED ANNUAL MAINTENANCE
LAKWA REPLACEMENT POWER PROJECT | 3 | 9.96 | 15/01/2025 20:04 | 16/01/2025 06:54 | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 4 | 9.96 | 16/01/2025 01:50 | 16/01/2025 02:12 | MISCELLANOUS
AGARTALA GT | 1 | 21.00 | 16/01/2025 00:00 | 16/01/2025 23:59 | Fuel Shortage
AGARTALA GT | 2 | 21.00 | 16/01/2025 00:00 | 16/01/2025 23:59 | Fuel Shortage
Total |  | 5,886.93