## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 16-01-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
BARADARHA TPS | 2 | 600.00 | 16/01/2025 10:33 | 18/01/2025 | BOILER MISC. PROBLEM
BELA TPS | 1 | 270.00 | 16/01/2025 13:55 | 19/01/2025 | BOILER MISC. PROBLEM
DAMODARAM SANJEEVAIAH TPS | 1 | 800.00 | 16/01/2025 14:14 |  | WATER WALL TUBE LEAKAGE
NEYVELI TPS-II | 5 | 210.00 | 16/01/2025 15:52 |  | I.D. FANS PROBLEM
NEYVELI TPS(Z) | 1 | 250.00 | 16/01/2025 06:41 |  | WATER WALL TUBE LEAKAGE
TENUGHAT TPS | 2 | 210.00 | 16/01/2025 17:17 |  | VIBRATIONS
RAGHUNATHPUR TPP | 2 | 600.00 | 16/01/2025 11:26 | 18/01/2025 | WATER WALL TUBE LEAKAGE
BANDEL TPS | 2 | 60.00 | 16/01/2025 11:34 |  | SUPER HEATER TUBE LEAKAGE
BUDGE BUDGE TPS | 3 | 250.00 | 16/01/2025 06:06 |  | INSTRUMENTATION PROBLEM
LAKWA REPLACEMENT POWER PROJECT | 3 | 9.96 | 16/01/2025 20:28 | 17/01/2025 | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 4 | 9.96 | 16/01/2025 01:50 |  | MISCELLANOUS
AGARTALA GT | 1 | 21.00 | 16/01/2025 00:00 |  | Fuel Shortage
AGARTALA GT | 2 | 21.00 | 16/01/2025 00:00 |  | Fuel Shortage
AGARTALA GT | 5 | 25.50 | 16/01/2025 00:00 |  | Fuel Shortage
Total |  | 3337.43
https://npp.gov.in 17/01/2025 17:23:52 |  |  |  |  | PAGE 1