## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 17-01-2025
Sub-Report-10
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana | PANIPAT TPS | 6 | 0 | 210 | 0 | 0 | 27/12/2024 20:25 |  | RSD/LOW SCHEDULE
Haryana | RAJIV GANDHI TPS | 2 | 0 | 0 | 600 | 0 | 14/01/2025 11:22 |  | RESERVE SHUT DOWN / STANDBY UNIT
Haryana | YAMUNA NAGAR TPS | 2 | 0 | 300 | 0 | 0 | 03/12/2024 15:00 |  | WATER WALL TUBE LEAKAGE
Punjab | GH TPS (LEH.MOH.) | 2 | 0 | 210 | 0 | 0 | 30/04/2022 15:01 |  | ASH HANDLING SYSTEM PROBLEM
Punjab | GOINDWAL SAHIB TPP | 2 | 0 | 0 | 270 | 0 | 10/01/2025 16:16 | 17/01/2025 20:22 | BOILER MISC. PROBLEM
Punjab | ROPAR TPS | 5 | 0 | 0 | 210 | 0 | 17/01/2025 20:29 |  | AIR PREHEATERS PROBLEM
Punjab | RAJPURA TPP | 2 | 0 | 0 | 0 | 0 | 14/01/2025 11:45 | 17/01/2025 06:21 | BOILER MISC. PROBLEM
Punjab | TALWANDI SABO TPP | 2 | 0 | 0 | 0 | 0 | 15/01/2025 21:00 | 17/01/2025 11:17 | BOILER MISC. PROBLEM
Punjab | TALWANDI SABO TPP | 3 | 660 | 0 | 0 | 0 | 27/11/2024 19:26 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan | DAE (RAJASTHAN) | 1 | 0 | 100 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan | RAJASTHAN A.P.S. | 2 | 200 | 0 | 0 | 0 | 31/12/2024 21:44 |  | ANNUAL MAINTENANCE
Rajasthan | RAJASTHAN A.P.S. | 5 | 0 | 0 | 0 | 0 | 13/01/2025 00:10 | 17/01/2025 02:08 | Miscellaneous
Rajasthan | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | SURATGARH TPS | 1 | 0 | 0 | 250 | 0 | 14/01/2025 20:17 |  | WATER WALL TUBE LEAKAGE
Rajasthan | SURATGARH TPS | 3 | 0 | 250 | 0 | 0 | 28/11/2024 16:00 |  | STATOR EARTH FAULT
Rajasthan | JALIPA KAPURDI TPP | 2 | 0 | 135 | 0 | 0 | 31/12/2024 12:43 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Uttar Pradesh | GHATAMPUR TPP | 1 | 0 | 0 | 660 | 0 | 04/01/2025 16:34 |  | ASH HANDLING SYSTEM PROBLEM
Uttar Pradesh | SINGRAULI STPS | 4 | 200 | 0 | 0 | 0 | 15/12/2024 23:25 |  | OVERHAULING WORKS
Uttar Pradesh | TANDA TPS | 1 | 0 | 0 | 110 | 0 | 13/01/2025 23:29 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh | TANDA TPS | 2 | 0 | 0 | 110 | 0 | 13/01/2025 23:15 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh | TANDA TPS | 3 | 0 | 0 | 110 | 0 | 13/01/2025 23:52 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh | TANDA TPS | 4 | 0 | 0 | 110 | 0 | 13/01/2025 23:58 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh | UNCHAHAR TPS | 1 | 210 | 0 | 0 | 0 | 14/01/2025 00:53 |  | OVERHAULING WORKS
Uttar Pradesh | ANPARA TPS | 5 | 500 | 0 | 0 | 0 | 06/11/2024 00:00 |  | OVERHAULING WORKS
Uttar Pradesh | ANPARA TPS | 6 | 0 | 500 | 0 | 0 | 10/11/2024 13:56 |  | GENERATOR MISCLLANEOUS MAINTENANCE
Uttar Pradesh | HARDUAGANJ TPS | 8 | 0 | 0 | 250 | 0 | 14/01/2025 12:41 |  | TURBINE CONTROL VALVE PROBLEM
Uttar Pradesh | JAWAHARPUR STPP | 1 | 0 | 660 | 0 | 0 | 25/12/2024 06:46 |  | D.M. WATER PROBLEM
Uttar Pradesh | OBRA TPS | 12 | 0 | 0 | 0 | 0 | 17/01/2025 11:58 | 17/01/2025 13:58 | FURNACE FIRE OUT /FLAME FAILURE
Uttar Pradesh | OBRA TPS | 14 | 660 | 0 | 0 | 0 | 15/01/2025 00:27 |  | MISCELLANEOUS PLANNED MAINTENANCE
Uttar Pradesh | ANPARA C TPS | 2 | 0 | 0 | 600 | 0 | 11/01/2025 00:27 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Uttar Pradesh | KHAMBARKHERA TPS | 1 | 0 | 0 | 0 | 0 | 17/01/2025 06:54 | 17/01/2025 07:47 | BOILER MISC. PROBLEM
Uttar Pradesh | LALITPUR TPS | 3 | 660 | 0 | 0 | 0 | 05/01/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh | UTRAULA TPS | 2 | 45 | 0 | 0 | 0 | 25/12/2024 20:27 |  | ANNUAL MAINTENANCE
Total Northern |  |  | 3385 | 2365 | 3280 | 0
Western
Chhatisgarh | MARWA TPS | 2 | 500 | 0 | 0 | 0 | 31/12/2024 00:03 |  | CAPITAL MAINTENANCE
Chhatisgarh | BARADARHA TPS | 2 | 0 | 0 | 600 | 0 | 16/01/2025 10:33 |  | BOILER MISC. PROBLEM
Chhatisgarh | CHAKABURA TPP | 2 | 30 | 0 | 0 | 0 | 01/01/2025 23:57 |  | CAPITAL MAINTENANCE
Chhatisgarh | KATGHORA TPP | 1 | 0 | 0 | 0 | 35 | 15/10/2012 00:28 |  | NO Power purchase agreement
Chhatisgarh | RATIJA TPS | 1 | 0 | 0 | 0 | 0 | 14/01/2025 00:00 | 17/01/2025 05:12 | BOILER MISC. PROBLEM
Chhatisgarh | SALORA TPP | 1 | 0 | 0 | 0 | 135 | 19/10/2014 04:30 |  | NO Power purchase agreement
Chhatisgarh | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 25 | 01/04/2015 00:20 |  | NO Power purchase agreement
Chhatisgarh | UCHPINDA TPP | 2 | 0 | 0 | 360 | 0 | 13/01/2025 22:42 |  | BOILER AUX. MISC. PROMLEMS
Chhatisgarh | UCHPINDA TPP | 4 | 0 | 360 | 0 | 0 | 13/11/2024 18:35 |  | TURBINE VIBRATION HIGH
Gujarat | AKRIMOTA LIG TPS | 1 | 0 | 125 | 0 | 0 | 08/06/2024 19:30 |  | BARRING GEAR PROBLEM
Gujarat | AKRIMOTA LIG TPS | 2 | 0 | 125 | 0 | 0 | 19/02/2024 18:45 |  | CABLE FAULTS
Gujarat | GANDHI NAGAR TPS | 3 | 210 | 0 | 0 | 0 | 08/01/2025 00:00 |  | SCHEDULED ANNUAL MAINTENANCE
Gujarat | GANDHI NAGAR TPS | 4 | 0 | 210 | 0 | 0 | 25/10/2024 10:16 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat | SIKKA REP. TPS | 3 | 0 | 250 | 0 | 0 | 11/10/2024 10:40 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | SIKKA REP. TPS | 4 | 0 | 250 | 0 | 0 | 11/10/2024 12:35 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | UKAI TPS | 3 | 0 | 200 | 0 | 0 | 09/12/2024 13:21 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | UKAI TPS | 5 | 0 | 0 | 210 | 0 | 06/01/2025 08:52 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | WANAKBORI TPS | 1 | 210 | 0 | 0 | 0 | 29/12/2024 06:26 |  | RESCHEDULED ANNUAL MAINTENANCE
Gujarat | WANAKBORI TPS | 2 | 0 | 210 | 0 | 0 | 27/12/2024 17:37 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | WANAKBORI TPS | 4 | 0 | 0 | 210 | 0 | 12/01/2025 15:21 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | WANAKBORI TPS | 5 | 0 | 210 | 0 | 0 | 27/12/2024 16:59 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | WANAKBORI TPS | 6 | 0 | 210 | 0 | 0 | 29/12/2024 08:48 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | WANAKBORI TPS | 7 | 0 | 0 | 210 | 0 | 10/01/2025 19:23 |  | GENEATOR TRANSFORMER MISC.
Gujarat | WANAKBORI TPS | 8 | 800 | 0 | 0 | 0 | 22/12/2024 00:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Gujarat | ADANI POWER LIMITED MUNDRA TPP - I & II | 2 | 330 | 0 | 0 | 0 | 15/12/2024 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Gujarat | SABARMATI (D-F STATIONS) | 1 | 120 | 0 | 0 | 0 | 17/11/2024 23:58 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh | VINDHYACHAL STPS | 5 | 210 | 0 | 0 | 0 | 02/01/2025 00:05 |  | OVERHAULING WORKS
Madhya Pradesh | SANJAY GANDHI TPS | 1 | 210 | 0 | 0 | 0 | 04/08/2024 19:03 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SATPURA TPS | 6 | 200 | 0 | 0 | 0 | 05/03/2021 11:55 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 7 | 210 | 0 | 0 | 0 | 05/03/2021 10:09 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 8 | 210 | 0 | 0 | 0 | 29/02/2020 23:54 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 9 | 210 | 0 | 0 | 0 | 22/02/2020 02:52 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SHREE SINGAJI TPP | 1 | 0 | 0 | 600 | 0 | 14/01/2025 14:16 | 17/01/2025 23:59 | WATER WALL TUBE LEAKAGE
Madhya Pradesh | SHREE SINGAJI TPP | 4 | 0 | 0 | 660 | 0 | 11/01/2025 12:04 | 17/01/2025 23:59 | AIR PREHEATERS PROBLEM
Maharashtra | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | TARAPUR | 2 | 160 | 0 | 0 | 0 | 13/07/2020 04:38 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | TARAPUR | 4 | 540 | 0 | 0 | 0 | 21/12/2024 22:05 |  | ANNUAL MAINTENANCE
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 6 | 0 | 500 | 0 | 0 | 14/12/2024 19:45 |  | WATER WALL TUBE LEAKAGE
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 9 | 0 | 0 | 500 | 0 | 11/01/2025 18:55 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Maharashtra | KORADI TPS | 9 | 0 | 660 | 0 | 0 | 30/12/2024 16:36 |  | AIR PREHEATERS PROBLEM
Maharashtra | ADANI POWER LIMITED TIRODA TPP | 4 | 0 | 0 | 0 | 0 | 12/01/2025 12:20 | 17/01/2025 07:26 | AIR PREHEATERS PROBLEM
Maharashtra | BELA TPS | 1 | 0 | 0 | 270 | 0 | 16/01/2025 13:55 |  | BOILER MISC. PROBLEM
Maharashtra | BUTIBORI TPP | 1 | 0 | 300 | 0 | 0 | 29/12/2018 00:30 |  | COAL SHORTAGE
Maharashtra | BUTIBORI TPP | 2 | 0 | 300 | 0 | 0 | 17/01/2019 00:15 |  | COAL SHORTAGE
Maharashtra | GEPL TPP Ph-I | 1 | 0 | 0 | 0 | 60 | 29/06/2013 00:00 |  | NO Power purchase agreement
Maharashtra | GEPL TPP Ph-I | 2 | 0 | 0 | 0 | 60 | 20/06/2013 20:27 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 1 | 0 | 0 | 0 | 61.51 | 10/01/2013 15:50 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 2 | 0 | 0 | 0 | 61.5 | 05/11/2013 11:53 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 3 | 0 | 0 | 0 | 61.5 | 10/06/2013 18:00 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 4 | 0 | 0 | 0 | 61.5 | 20/08/2013 10:00 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 1 | 0 | 0 | 0 | 270 | 04/03/2014 18:10 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 2 | 0 | 0 | 0 | 270 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 3 | 0 | 0 | 0 | 270 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 4 | 0 | 0 | 0 | 270 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 5 | 0 | 0 | 0 | 270 | 30/05/2017 15:24 |  | NO Power purchase agreement
Maharashtra | SHIRPUR TPP | 2 | 0 | 150 | 0 | 0 | 21/11/2024 01:30 |  | RSD/LOW SCHEDULE
Maharashtra | TROMBAY TPS | 5 | 0 | 500 | 0 | 0 | 22/09/2024 16:14 |  | FIRE IN CABLE GALLERY
Total Western |  |  | 4310 | 4635 | 3620 | 1911.01
Southern
Andhra Pradesh | DAMODARAM SANJEEVAIAH TPS | 1 | 0 | 0 | 800 | 0 | 16/01/2025 14:14 |  | WATER WALL TUBE LEAKAGE
Andhra Pradesh | DAMODARAM SANJEEVAIAH TPS | 2 | 800 | 0 | 0 | 0 | 21/12/2024 16:51 |  | ANNUAL MAINTENANCE
Andhra Pradesh | SIMHAPURI TPS | 1 | 0 | 0 | 0 | 0 | 17/01/2025 00:21 | 17/01/2025 07:46 | BOILER MISC. PROBLEM
Andhra Pradesh | THAMMINAPATNAM TPS | 1 | 0 | 0 | 150 | 0 | 05/01/2025 17:01 |  | DRUM LEVEL LOW
Andhra Pradesh | THAMMINAPATNAM | 2 | 0 | 150 | 0 | 0 | 25/10/2024 13:01 |  | BOILER AUX. MISC.
Andhra Pradesh | TPS | 2 | 0 | 150 | 0 | 0 | 25/10/2024 13:01 |  | PROMLEMS
Andhra Pradesh | VIZAG TPP | 2 | 0 | 0 | 0 | 520 | 07/01/2025 13:01 |  | Cooling Water System Abnormal/ Maintenance
Karnataka | KAIGA | 2 | 220 | 0 | 0 | 0 | 02/01/2025 22:40 |  | ANNUAL MAINTENANCE
Karnataka | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka | RAICHUR TPS | 2 | 0 | 0 | 210 | 0 | 14/01/2025 09:52 |  | WATER WALL TUBE LEAKAGE
Karnataka | RAICHUR TPS | 4 | 0 | 210 | 0 | 0 | 09/11/2024 15:57 |  | REHEATER TUBE LEAKAGE
Karnataka | RAICHUR TPS | 8 | 250 | 0 | 0 | 0 | 14/12/2024 20:30 |  | ANNUAL MAINTENANCE
Karnataka | ADANI POWER LIMITED UDUPI TPP | 2 | 0 | 0 | 600 | 0 | 04/01/2025 13:54 | 17/01/2025 22:16 | AIR PREHEATERS PROBLEM
Karnataka | TORANGALLU TPS(SBU-II) | 4 | 0 | 0 | 300 | 0 | 09/01/2025 20:51 |  | RSD/LOW SCHEDULE
Tamil Nadu | NEYVELI NEW TPP | 1 | 0 | 0 | 500 | 0 | 13/01/2025 01:58 |  | BOILER AUX. MISC. PROMLEMS
Tamil Nadu | NEYVELI TPS-II | 1 | 210 | 0 | 0 | 0 | 23/12/2024 00:00 |  | ANNUAL MAINTENANCE
Tamil Nadu | NEYVELI TPS-II | 2 | 0 | 0 | 210 | 0 | 11/01/2025 14:45 |  | BOILER MISC. PROBLEM
Tamil Nadu | NEYVELI TPS-II EXP | 1 | 250 | 0 | 0 | 0 | 14/09/2024 23:59 |  | CAPITAL MAINTENANCE
Tamil Nadu | NTPL TUTICORIN TPP | 2 | 500 | 0 | 0 | 0 | 25/11/2024 00:01 |  | ANNUAL MAINTENANCE
Tamil Nadu | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu | METTUR TPS | 3 | 0 | 210 | 0 | 0 | 19/12/2024 16:33 |  | COLLAPSE OF R.C. BUNKER
Tamil Nadu | NORTH CHENNAI TPS | 4 | 0 | 600 | 0 | 0 | 07/12/2024 22:23 | 17/01/2025 19:30 | WATER WALL TUBE LEAKAGE
Tamil Nadu | TUTICORIN TPS | 1 | 0 | 0 | 0 | 210 | 14/12/2024 17:21 |  | Cooling Water System Abnormal/ Maintenance
Tamil Nadu | TUTICORIN TPS | 2 | 0 | 0 | 0 | 210 | 14/12/2024 17:00 |  | Cooling Water System Abnormal/ Maintenance
Tamil Nadu | TUTICORIN TPS | 3 | 0 | 210 | 0 | 0 | 14/12/2024 13:24 |  | COAL FEEDING PROBLEM IN PLANT
Tamil Nadu | ITPCL TPP | 1 | 0 | 600 | 0 | 0 | 31/10/2024 01:11 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu | ITPCL TPP | 2 | 0 | 0 | 600 | 0 | 15/01/2025 10:58 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Tamil Nadu | MUTHIARA TPP | 2 | 0 | 0 | 600 | 0 | 17/01/2025 12:51 |  | BOILER MISC. PROBLEM
Tamil Nadu | NEYVELI TPS(Z) | 1 | 0 | 0 | 250 | 0 | 16/01/2025 06:41 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu | OPG Power Generation Private Limited | 1 | 0 | 77 | 0 | 0 | 31/10/2024 23:59 |  | RSD/LOW SCHEDULE
Tamil Nadu | OPG Power Generation Private Limited | 3 | 80 | 0 | 0 | 0 | 13/11/2024 22:26 |  | RENOVATION/MODERNISATION
Tamil Nadu | TUTICORIN (P) TPP | 1 | 0 | 0 | 0 | 150 | 03/04/2016 00:31 |  | NO Power purchase agreement
Tamil Nadu | TUTICORIN (P) TPP | 2 | 0 | 0 | 0 | 150 | 16/04/2016 01:42 |  | NO Power purchase agreement
Telangana | BHADRADRI TPP | 1 | 0 | 270 | 0 | 0 | 30/06/2024 00:00 |  | GENEATOR PROTECTION MISC/BACK UP PROT
Telangana | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Total Southern |  |  | 2310 | 2819.5 | 4220 | 1240
Eastern
Bihar | BARAUNI TPS | 6 | 105 | 0 | 0 | 0 | 22/07/2023 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar | BARAUNI TPS | 7 | 105 | 0 | 0 | 0 | 19/07/2023 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar | BARH STPS | 1 | 0 | 0 | 660 | 0 | 05/01/2025 19:24 |  | BOILER AUX. MISC. PROMLEMS
Bihar | KAHALGAON TPS | 1 | 210 | 0 | 0 | 0 | 05/01/2025 00:25 |  | OVERHAULING WORKS
Bihar | NABINAGAR STPP | 3 | 660 | 0 | 0 | 0 | 06/12/2024 02:58 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Jharkhand | CHANDRAPURA(DVC) TPS | 8 | 250 | 0 | 0 | 0 | 15/12/2024 12:29 |  | OVERHAULING WORKS
Jharkhand | KODARMA TPP | 2 | 0 | 0 | 0 | 0 | 17/01/2025 05:40 | 17/01/2025 08:23 | DRUM LEVEL HIGH/ low
Jharkhand | TENUGHAT TPS | 1 | 0 | 0 | 210 | 0 | 14/01/2025 12:44 | 17/01/2025 22:39 | I.D. FANS PROBLEM
Jharkhand | JOJOBERA TPS | 2 | 0 | 120 | 0 | 0 | 09/12/2024 12:30 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
Jharkhand | MAITHON RB TPP | 2 | 0 | 0 | 525 | 0 | 15/01/2025 13:46 | 17/01/2025 18:04 | REHEATER TUBE LEAKAGE
Odisha | TALCHER STPS | 5 | 500 | 0 | 0 | 0 | 08/01/2025 02:11 |  | OVERHAULING WORKS
Odisha | IB VALLEY TPS | 2 | 210 | 0 | 0 | 0 | 07/01/2025 02:13 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha | VEDANTA TPP | 2 | 0 | 600 | 0 | 0 | 15/12/2024 23:48 |  | AIR PREHEATERS PROBLEM
West Bengal | MEJIA TPS | 2 | 0 | 0 | 210 | 0 | 07/01/2025 15:42 |  | GENEATOR TRANSFORMER OIL PROBLEMS/TOPPING
West Bengal | MEJIA TPS | 3 | 0 | 0 | 210 | 0 | 15/01/2025 14:30 | 17/01/2025 16:45 | BOILER AUX. MISC. PROMLEMS
West Bengal | MEJIA TPS | 5 | 250 | 0 | 0 | 0 | 25/12/2024 00:11 |  | OVERHAULING WORKS
West Bengal | RAGHUNATHPUR TPP | 2 | 0 | 0 | 600 | 0 | 16/01/2025 11:26 |  | WATER WALL TUBE LEAKAGE
West Bengal | BANDEL TPS | 2 | 0 | 0 | 60 | 0 | 16/01/2025 11:34 |  | SUPER HEATER TUBE LEAKAGE
West Bengal | KOLAGHAT TPS | 4 | 210 | 0 | 0 | 0 | 13/01/2025 00:00 | 17/01/2025 12:40 | MISCELLANEOUS PLANNED MAINTENANCE
West Bengal | KOLAGHAT TPS | 6 | 210 | 0 | 0 | 0 | 17/01/2025 17:58 |  | MISCELLANEOUS PLANNED MAINTENANCE
West Bengal | SAGARDIGHI TPS | 4 | 500 | 0 | 0 | 0 | 10/01/2025 00:34 |  | OVERHAULING WORKS
West Bengal | DISHERGARH TPP | 1 | 12 | 0 | 0 | 0 | 11/12/2024 12:13 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal | SOUTHERN REPL. TPS | 1 | 0 | 67.5 | 0 | 0 | 14/12/2024 10:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | SOUTHERN REPL. TPS | 2 | 0 | 67.5 | 0 | 0 | 11/12/2024 21:25 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 1 | 0 | 60 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 2 | 0 | 60 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 3 | 0 | 60 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 4 | 0 | 60 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern |  |  | 3222 | 1095 | 2475 | 0
North Eastern
Assam | BONGAIGAON TPP | 3 | 0 | 0 | 0 | 0 | 17/01/2025 21:50 |  | WET / POOR QUALITY COAL
Total North Eastern |  |  | 0 | 0 | 0 | 0
Total |  |  | 13227 | 10914.5 | 13595 | 3151.01