## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 17-01-2025 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
GOINDWAL SAHIB TPP | 2 | 270.00 | 10/01/2025 16:16 | 17/01/2025 20:22 | BOILER MISC. PROBLEM
RAJPURA TPP | 2 | 700.00 | 14/01/2025 11:45 | 17/01/2025 06:21 | BOILER MISC. PROBLEM
TALWANDI SABO TPP | 2 | 660.00 | 15/01/2025 21:00 | 17/01/2025 11:17 | BOILER MISC. PROBLEM
RAJASTHAN A.P.S. | 5 | 220.00 | 13/01/2025 00:10 | 17/01/2025 02:08 | Miscellaneous
OBRA TPS | 12 | 200.00 | 17/01/2025 11:58 | 17/01/2025 13:58 | FURNACE FIRE OUT /FLAME FAILURE
KHAMBARKHERA TPS | 1 | 45.00 | 17/01/2025 06:54 | 17/01/2025 07:47 | BOILER MISC. PROBLEM
RATIJA TPS | 1 | 50.00 | 14/01/2025 00:00 | 17/01/2025 05:12 | BOILER MISC. PROBLEM
ADANI POWER LIMITED TIRODA TPP | 4 | 660.00 | 12/01/2025 12:20 | 17/01/2025 07:26 | AIR PREHEATERS PROBLEM
SIMHAPURI TPS | 1 | 150.00 | 17/01/2025 00:21 | 17/01/2025 07:46 | BOILER MISC. PROBLEM
NORTH CHENNAI TPS | 4 | 600.00 | 07/12/2024 22:23 | 17/01/2025 19:30 | WATER WALL TUBE LEAKAGE
KODARMA TPP | 2 | 500.00 | 17/01/2025 05:40 | 17/01/2025 08:23 | DRUM LEVEL HIGH/ low
TENUGHAT TPS | 1 | 210.00 | 14/01/2025 12:44 | 17/01/2025 22:39 | I.D. FANS PROBLEM
MAITHON RB TPP | 2 | 525.00 | 15/01/2025 13:46 | 17/01/2025 18:04 | REHEATER TUBE LEAKAGE
MEJIA TPS | 3 | 210.00 | 15/01/2025 14:30 | 17/01/2025 16:45 | BOILER AUX. MISC. PROMLEMS
KOLAGHAT TPS | 4 | 210.00 | 13/01/2025 00:00 | 17/01/2025 12:40 | MISCELLANEOUS PLANNED MAINTENANCE
KATHALGURI CCPP | 1 | 33.50 | 17/01/2025 13:22 | 17/01/2025 13:56 | MISCELLANEOUS
KATHALGURI CCPP | 1 |  | 17/01/2025 12:28 | 17/01/2025 13:19 | MISCELLANEOUS
KATHALGURI CCPP | 4 | 33.50 | 17/01/2025 12:28 | 17/01/2025 13:14 | MISCELLANEOUS
KATHALGURI CCPP | 4 |  | 17/01/2025 13:22 | 17/01/2025 13:54 | MISCELLANEOUS
LAKWA REPLACEMENT POWER PROJECT | 3 | 9.96 | 16/01/2025 20:28 | 17/01/2025 06:54 | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 4 | 9.96 | 17/01/2025 11:05 | 17/01/2025 16:57 | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 6 | 9.96 | 17/01/2025 19:24 | 17/01/2025 20:30 | MISCELLANOUS
AGARTALA GT | 1 | 21.00 | 17/01/2025 00:00 | 17/01/2025 23:59 | Fuel Shortage
AGARTALA GT | 2 | 21.00 | 17/01/2025 00:00 | 17/01/2025 23:59 | Fuel Shortage
AGARTALA GT | 5 | 25.50 | 16/01/2025 23:59 | 17/01/2025 23:59 | Fuel Shortage
Total |  | 5,374.40