## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 19-08-2025
Sub-Report-10
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana |  | PANIPAT TPS | 6 | 0 | 0 | 210 | 0 | 14/08/2025 22:05 |  | RSD/LOW SCHEDULE
Haryana |  | PANIPAT TPS | 8 | 0 | 0 | 250 | 0 | 14/08/2025 23:05 | 19/08/2025 14:49 | RSD/LOW SCHEDULE
Haryana |  | RAJIV GANDHI TPS | 1 | 0 | 0 | 600 | 0 | 19/08/2025 06:51 |  | WATER WALL TUBE LEAKAGE
Punjab |  | GH TPS (LEH.MOH.) | 4 | 0 | 0 | 250 | 0 | 18/08/2025 15:16 | 19/08/2025 19:53 | ABNORMAL SOUND
Punjab |  | ROPAR TPS | 3 | 0 | 0 | 0 | 0 | 17/08/2025 06:00 | 19/08/2025 11:55 | LOW SYSTEM DEMAND
Punjab |  | ROPAR TPS | 4 | 0 | 0 | 210 | 0 | 10/08/2025 09:22 |  | FURNACE DRAFT ABNORMAL
Rajasthan |  | BARSINGSAR LIGNITE | 1 | 0 | 0 | 125 | 0 | 17/08/2025 07:00 |  | BOILER MISC. PROBLEM
Rajasthan |  | DAE (RAJASTHAN) | 1 | 0 | 0 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan |  | CHHABRA-II TPP | 5 | 0 | 0 | 660 | 0 | 16/08/2025 21:11 |  | WATER WALL TUBE LEAKAGE
Rajasthan |  | CHHABRA-I PH-1 TPP | 2 | 250 | 0 | 0 | 0 | 15/08/2025 06:59 |  | SCHEDULED ANNUAL MAINTENANCE
Rajasthan |  | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan |  | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan |  | SURATGARH STPS | 8 | 660 | 0 | 0 | 0 | 30/07/2025 06:26 |  | ANNUAL MAINTENANCE
Rajasthan |  | SURATGARH TPS | 3 | 0 | 250 | 0 | 0 | 28/11/2024 13:48 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
Rajasthan |  | SURATGARH TPS | 6 | 0 | 250 | 0 | 0 | 25/07/2025 12:09 |  | TURBINE VIBRATION HIGH
Rajasthan |  | JALIPA KAPURDI TPP | 6 | 0 | 135 | 0 | 0 | 05/07/2025 10:53 |  | BOILER MISC. PROBLEM
Uttar Pradesh |  | DADRI (NCTPP) | 1 | 0 | 0 | 210 | 0 | 15/08/2025 11:52 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | DADRI (NCTPP) | 3 | 0 | 0 | 210 | 0 | 15/08/2025 12:10 |  | CONSERVATION OF MAIN
Uttar Pradesh |  | DADRI (NCTPP) | 3 | 0 | 0 | 210 | 0 | 15/08/2025 12:10 |  | FUEL/RSD
Uttar Pradesh |  | RIHAND STPS | 2 | 500 | 0 | 0 | 0 | 08/08/2025 12:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh |  | SINGRAULI STPS | 2 | 0 | 0 | 0 | 0 | 17/08/2025 09:05 | 19/08/2025 11:40 | WATER WALL TUBE LEAKAGE
Uttar Pradesh |  | SINGRAULI STPS | 6 | 500 | 0 | 0 | 0 | 18/07/2025 01:50 |  | OVERHAULING WORKS
Uttar Pradesh |  | TANDA TPS | 1 | 0 | 110 | 0 | 0 | 30/06/2025 23:05 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | TANDA TPS | 2 | 0 | 110 | 0 | 0 | 30/06/2025 23:17 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh |  | NARORA A.P.S. | 1 | 0 | 220 | 0 | 0 | 14/04/2025 04:36 |  | Turbine Misc
Uttar Pradesh |  | ANPARA TPS | 6 | 0 | 0 | 500 | 0 | 15/08/2025 12:31 |  | ECONOMISER TUBE LEAKAGE
Uttar Pradesh |  | HARDUAGANJ TPS | 7 | 0 | 105 | 0 | 0 | 26/07/2025 00:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | HARDUAGANJ TPS | 8 | 0 | 0 | 0 | 0 | 19/08/2025 09:32 | 19/08/2025 11:58 | FURNACE DRAFT ABNORMAL
Uttar Pradesh |  | OBRA TPS | 14 | 0 | 660 | 0 | 0 | 01/08/2025 10:51 |  | CONDENSER TUBE LEAKAGE/ CLEANING
Uttar Pradesh |  | PANKI TPS EXT | 1 | 0 | 0 | 660 | 0 | 19/08/2025 16:17 | 19/08/2025 20:47 | ELECTRICAL FAULT
Uttar Pradesh |  | ANPARA C TPS | 1 | 0 | 0 | 600 | 0 | 18/08/2025 01:46 |  | WATER WALL TUBE LEAKAGE
Uttar Pradesh |  | MAQSOODPUR TPS | 2 | 0 | 0 | 0 | 0 | 19/08/2025 06:28 | 19/08/2025 07:10 | BOILER AUX. MISC. PROMLEMS
Total Northern |  | 4: 2160; 5: 1840; 6: 4485; 7: 0
Western
Chhatisgarh |  | KORBA STPS | 4 | 500 | 0 | 0 | 0 | 16/08/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Chhatisgarh |  | SIPAT STPS | 5 | 500 | 0 | 0 | 0 | 26/07/2025 03:40 |  | OVERHAULING WORKS
Chhatisgarh |  | KORBA-WEST TPS | 1 | 210 | 0 | 0 | 0 | 15/07/2025 23:57 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Chhatisgarh |  | KORBA-WEST TPS | 2 | 0 | 0 | 210 | 0 | 19/08/2025 03:30 |  | ECONOMISER TUBE LEAKAGE
Chhatisgarh |  | BALCO TPS | 1 | 0 | 0 | 300 | 0 | 15/08/2025 23:36 |  | HYDROGEN PRESSURE PROBLEM
Chhatisgarh |  | KATGHORA TPP | 1 | 0 | 0 | 0 | 0 | 15/10/2012 00:28 |  | No Fuel Supply Agreement
Chhatisgarh |  | SALORA TPP | 1 | 0 | 0 | 0 | 0 | 19/10/2014 04:30 |  | No Fuel Supply Agreement
Chhatisgarh |  | SVPL TPP | 1 | 0 | 63 | 0 | 0 | 03/08/2025 00:29 |  | I.D. FANS PROBLEM
Chhatisgarh |  | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 0 | 01/04/2015 00:20 |  | No Fuel Supply Agreement
Chhatisgarh |  | TAMNAR TPP | 2 | 600 | 0 | 0 | 0 | 25/07/2025 23:40 |  | ANNUAL MAINTENANCE
Chhatisgarh |  | UCHPINDA TPP | 1 | 0 | 360 | 0 | 0 | 22/06/2025 01:15 |  | TURBINE VIBRATIONS HIGH
Gujarat |  | KAKRAPARA | 4 | 0 | 700 | 0 | 0 | 27/07/2025 19:04 |  | Turbine Misc
Gujarat |  | AKRIMOTA LIG TPS | 1 | 125 | 0 | 0 | 0 | 08/06/2024 19:30 |  | CAPITAL MAINTENANCE
Gujarat |  | AKRIMOTA LIG TPS | 2 | 125 | 0 | 0 | 0 | 19/02/2024 18:45 |  | CAPITAL MAINTENANCE
Gujarat |  | BHAVNAGAR CFBC TPP | 2 | 0 | 0 | 250 | 0 | 17/08/2025 18:15 |  | WATER WALL TUBE LEAKAGE
Gujarat |  | GANDHI NAGAR TPS | 3 | 0 | 0 | 210 | 0 | 15/08/2025 00:00 |  | RSD/LOW SCHEDULE
Gujarat |  | GANDHI NAGAR TPS | 4 | 0 | 0 | 210 | 0 | 15/08/2025 00:10 |  | RSD/LOW SCHEDULE
Gujarat |  | KUTCH LIG. TPS | 3 | 0 | 75 | 0 | 0 | 29/07/2025 10:06 |  | WATER WALL TUBE LEAKAGE
Gujarat |  | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat |  | SIKKA REP. TPS | 3 | 0 | 0 | 250 | 0 | 14/08/2025 23:09 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | SIKKA REP. TPS | 4 | 0 | 250 | 0 | 0 | 24/07/2025 15:53 |  | ECONOMISER TUBE LEAKAGE
Gujarat |  | UKAI TPS | 3 | 0 | 0 | 200 | 0 | 15/08/2025 00:28 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | UKAI TPS | 5 | 0 | 0 | 0 | 210 | 19/08/2025 20:01 |  | RESERVE SHUT DOWN
Gujarat |  | WANAKBORI TPS | 1 | 210 | 0 | 0 | 0 | 22/07/2025 23:52 |  | ANNUAL MAINTENANCE
Gujarat |  | WANAKBORI TPS | 2 | 0 | 0 | 210 | 0 | 15/08/2025 14:31 | 19/08/2025 12:28 | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 4 | 0 | 0 | 210 | 0 | 15/08/2025 17:17 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 5 | 0 | 0 | 210 | 0 | 15/08/2025 15:56 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 6 | 0 | 0 | 210 | 0 | 15/08/2025 14:05 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | WANAKBORI TPS | 7 | 0 | 0 | 210 | 0 | 16/08/2025 09:24 | 19/08/2025 12:08 | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat |  | ADANI POWER LIMITED MUNDRA TPP - I & II | 1 | 330 | 0 | 0 | 0 | 01/08/2025 01:57 |  | ANNUAL MAINTENANCE
Gujarat |  | MUNDRA UMTPP | 1 | 0 | 800 | 0 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 2 | 0 | 800 | 0 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat |  | MUNDRA UMTPP | 3 | 0 | 800 | 0 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat |  | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat |  | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Gujarat |  | SALAYA TPP | 2 | 0 | 600 | 0 | 0 | 14/06/2025 12:08 |  | ELECTRICAL FAULT
Gujarat |  | SURAT LIG. TPS | 2 | 0 | 125 | 0 | 0 | 28/07/2025 04:27 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh |  | KHARGONE STPP | 1 | 660 | 0 | 0 | 0 | 01/07/2025 01:04 |  | OVERHAULING WORKS
Madhya Pradesh |  | VINDHYACHAL STPS | 3 | 0 | 0 | 0 | 210 | 19/08/2025 03:12 | 19/08/2025 17:28 | LINE TRIPPING/PROB/MTC/CHARGING
Madhya Pradesh |  | VINDHYACHAL STPS | 5 | 0 | 0 | 0 | 210 | 19/08/2025 03:12 | 19/08/2025 22:17 | LINE TRIPPING/PROB/MTC/CHARGING
Madhya Pradesh |  | VINDHYACHAL STPS | 9 | 500 | 0 | 0 | 0 | 20/07/2025 00:00 |  | OVERHAULING WORKS
Madhya Pradesh |  | SANJAY GANDHI TPS | 5 | 500 | 0 | 0 | 0 | 10/07/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh |  | SATPURA TPS | 11 | 250 | 0 | 0 | 0 | 23/07/2025 00:00 |  | ANNUAL MAINTENANCE
Madhya Pradesh |  | SHREE SINGAJI TPP | 2 | 600 | 0 | 0 | 0 | 10/07/2025 01:52 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra |  | SOLAPUR STPS | 2 | 0 | 0 | 660 | 0 | 19/08/2025 17:37 | 19/08/2025 20:20 | P.A. FANS PROBLEM
Maharashtra |  | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra |  | TARAPUR | 2 | 160 | 0 | 0 | 0 | 13/07/2020 04:38 |  | RENOVATION/MODERNISATION WORKS
Maharashtra |  | BHUSAWAL TPS | 3 | 0 | 0 | 210 | 0 | 09/08/2025 07:12 |  | WET / POOR QUALITY COAL
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 3 | 0 | 0 | 0 | 0 | 19/08/2025 00:56 | 19/08/2025 05:05 | DRUM LEVEL LOW
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 4 | 210 | 0 | 0 | 0 | 15/08/2025 15:13 |  | ANNUAL MAINTENANCE
Maharashtra |  | KHAPARKHEDA TPS | 4 | 0 | 0 | 210 | 0 | 16/08/2025 11:55 | 19/08/2025 13:24 | ASH HANDLING SYSTEM PROBLEM
Maharashtra |  | KHAPARKHEDA TPS | 5 | 500 | 0 | 0 | 0 | 25/06/2025 00:01 |  | CAPITAL MAINTENANCE
Maharashtra |  | KORADI TPS | 8 | 660 | 0 | 0 | 0 | 01/07/2025 03:15 |  | CAPITAL MAINTENANCE
Maharashtra |  | PARAS TPS | 3 | 0 | 0 | 0 | 0 | 19/08/2025 23:50 |  | DRUM LEVEL LOW
Maharashtra |  | PARLI TPS | 8 | 0 | 0 | 250 | 0 | 15/08/2025 14:00 |  | WATER WALL TUBE LEAKAGE
Maharashtra |  | ADANI POWER LIMITED TIRODA TPP | 1 | 660 | 0 | 0 | 0 | 04/08/2025 03:00 |  | CAPITAL MAINTENANCE
Maharashtra |  | AMRAVATI TPS | 1 | 0 | 270 | 0 | 0 | 31/07/2025 11:31 |  | ASH HANDLING SYSTEM PROBLEM
Maharashtra |  | BUTIBORI TPP | 2 | 0 | 0 | 300 | 0 | 10/08/2025 01:00 |  | MAIN STEAM LINE PROBLEM
Maharashtra |  | DAHANU TPS | 1 | 250 | 0 | 0 | 0 | 13/07/2025 01:02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra |  | GEPL TPP Ph-I | 1 | 0 | 60 | 0 | 0 | 29/06/2013 00:00 |  | No Fuel Supply Agreement
Maharashtra |  | GEPL TPP Ph-I | 2 | 0 | 60 | 0 | 0 | 20/06/2013 20:27 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 1 | 0 | 61.51 | 0 | 0 | 10/01/2013 15:50 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 2 | 0 | 61.5 | 0 | 0 | 05/11/2013 11:53 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 3 | 0 | 61.5 | 0 | 0 | 10/06/2013 18:00 |  | No Fuel Supply Agreement
Maharashtra |  | MIHAN TPS | 4 | 0 | 61.5 | 0 | 0 | 20/08/2013 10:00 |  | No Fuel Supply Agreement
Maharashtra |  | NASIK (P) TPS | 1 | 0 | 0 | 0 | 0 | 04/03/2014 18:10 |  | No Fuel Supply Agreement
Maharashtra |  | NASIK (P) TPS | 2 | 0 | 0 | 0 | 0 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 3 | 0 | 0 | 0 | 0 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 4 | 0 | 0 | 0 | 0 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 5 | 0 | 0 | 0 | 0 | 30/05/2017 15:24 |  | NO Power purchase agreement
Total Western |  | 4: 7710; 5: 6884.01; 6: 4310; 7: 630
Southern
Andhra Pradesh |  | SIMHADRI | 4 | 0 | 0 | 500 | 0 | 19/08/2025 14:35 |  | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh |  | Dr. N.TATA RAO TPS | 2 | 0 | 0 | 210 | 0 | 15/08/2025 15:05 |  | RSD/LOW SCHEDULE
Andhra Pradesh |  | Dr. N.TATA RAO TPS | 4 | 0 | 0 | 210 | 0 | 15/08/2025 15:41 |  | RSD/LOW SCHEDULE
Andhra Pradesh |  | RAYALASEEMA TPS | 2 | 0 | 0 | 210 | 0 | 15/08/2025 13:39 |  | GRID FREQ. HIGH/LOW
Andhra Pradesh |  | RAYALASEEMA TPS | 3 | 0 | 0 | 210 | 0 | 14/08/2025 12:11 |  | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh |  | RAYALASEEMA TPS | 4 | 0 | 0 | 210 | 0 | 13/08/2025 17:30 |  | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh |  | RAYALASEEMA TPS | 5 | 0 | 0 | 210 | 0 | 14/08/2025 11:35 |  | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh |  | THAMMINAPATNAM TPS | 1 | 0 | 0 | 150 | 0 | 14/08/2025 23:59 | 19/08/2025 13:30 | BOILER MISC. PROBLEM
Andhra Pradesh |  | THAMMINAPATNAM TPS | 2 | 0 | 150 | 0 | 0 | 07/07/2025 22:40 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Karnataka |  | KUDGI STPP | 1 | 0 | 0 | 800 | 0 | 15/08/2025 00:38 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | KUDGI STPP | 2 | 800 | 0 | 0 | 0 | 05/08/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | KUDGI STPP | 3 | 0 | 0 | 800 | 0 | 15/08/2025 09:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | KAIGA | 1 | 220 | 0 | 0 | 0 | 31/03/2025 23:11 |  | MISCELLANEOUS PLANNED MAINTENANCE
Karnataka |  | BELLARY TPS | 3 | 700 | 0 | 0 | 0 | 21/07/2025 23:35 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka |  | RAICHUR TPS | 2 | 210 | 0 | 0 | 0 | 10/08/2025 10:49 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | RAICHUR TPS | 3 | 0 | 0 | 0 | 210 | 18/08/2025 12:45 |  | RESERVE SHUT DOWN
Karnataka |  | RAICHUR TPS | 4 | 0 | 0 | 0 | 210 | 15/08/2025 09:12 |  | RESERVE SHUT DOWN/ STANDBY.
Karnataka |  | RAICHUR TPS | 5 | 0 | 0 | 0 | 210 | 14/08/2025 21:34 |  | RESERVE SHUT DOWN/ STANDBY.
Karnataka |  | RAICHUR TPS | 6 | 0 | 0 | 0 | 210 | 16/08/2025 09:29 |  | RESERVE SHUT DOWN/ STANDBY.
Karnataka |  | RAICHUR TPS | 7 | 0 | 0 | 0 | 210 | 16/08/2025 08:33 |  | RESERVE SHUT DOWN
Karnataka |  | YERMARUS TPP | 1 | 0 | 0 | 0 | 800 | 15/08/2025 09:13 |  | RESERVE SHUT DOWN
Karnataka |  | YERMARUS TPP | 2 | 0 | 0 | 0 | 800 | 14/08/2025 10:50 |  | RESERVE SHUT DOWN
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 0 | 600 | 0 | 09/08/2025 00:30 |  | RSD/LOW SCHEDULE
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 2 | 0 | 0 | 600 | 0 | 18/08/2025 21:02 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | NEYVELI NEW TPP | 2 | 0 | 0 | 500 | 0 | 18/08/2025 12:19 |  | BOILER AUX. MISC. PROMLEMS
Tamil Nadu |  | NEYVELI TPS-II | 1 | 0 | 210 | 0 | 0 | 21/07/2025 09:02 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Tamil Nadu |  | NEYVELI TPS-II | 2 | 0 | 0 | 210 | 0 | 18/08/2025 17:20 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Tamil Nadu |  | NEYVELI TPS-II | 4 | 210 | 0 | 0 | 0 | 14/07/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu |  | NEYVELI TPS-II EXP | 2 | 0 | 0 | 250 | 0 | 19/08/2025 01:58 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | KUDANKULAM | 1 | 1000 | 0 | 0 | 0 | 03/08/2025 00:00 |  | ANNUAL MAINTENANCE
Tamil Nadu |  | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu |  | METTUR TPS | 3 | 0 | 0 | 210 | 0 | 15/08/2025 13:58 | 19/08/2025 19:46 | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu |  | NORTH CHENNAI TPS | 1 | 0 | 210 | 0 | 0 | 02/08/2025 22:33 |  | REHEATER TUBE LEAKAGE
Tamil Nadu |  | TUTICORIN TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2025 21:50 |  | FIRE IN CABLE GALLERY.
Tamil Nadu |  | TUTICORIN TPS | 2 | 0 | 210 | 0 | 0 | 15/03/2025 22:01 |  | FIRE IN CABLE GALLERY
Tamil Nadu |  | ITPCL TPP | 2 | 600 | 0 | 0 | 0 | 01/08/2025 01:36 |  | CAPITAL MAINTENANCE
Tamil Nadu |  | MUTHIARA TPP | 1 | 0 | 600 | 0 | 0 | 01/08/2025 22:56 |  | AIR PREHEATERS PROBLEM
Tamil Nadu |  | MUTHIARA TPP | 2 | 0 | 0 | 600 | 0 | 11/08/2025 00:00 |  | BOILER AUX. MISC. PROMLEMS
Tamil Nadu |  | OPG Power Generation Private Limited | 1 | 0 | 77 | 0 | 0 | 30/06/2025 23:59 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | TCP Limited | 1 | 63.5 | 0 | 0 | 0 | 16/07/2021 05:21 |  | MISCELLANEOUS PLANNED MAINTENANCE
Tamil Nadu |  | TUTICORIN (P) TPP | 1 | 0 | 150 | 0 | 0 | 03/04/2016 00:31 |  | No Fuel Supply Agreement
Tamil Nadu |  | TUTICORIN (P) TPP | 2 | 0 | 150 | 0 | 0 | 16/04/2016 01:42 |  | No Fuel Supply Agreement
Telangana |  | RAMAGUNDEM STPS | 4 | 0 | 0 | 500 | 0 | 18/08/2025 12:03 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | RAMAGUNDEM STPS | 6 | 500 | 0 | 0 | 0 | 10/08/2025 21:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Telangana |  | TELANGANA STPP PH-1 | 2 | 0 | 0 | 800 | 0 | 18/08/2025 12:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | BHADRADRI TPP | 1 | 0 | 0 | 0 | 0 | 18/08/2025 23:36 | 19/08/2025 05:21 | P.A. FANS PROBLEM
Telangana |  | KOTHAGUDEM TPS (NEW) | 10 | 0 | 0 | 250 | 0 | 16/08/2025 08:51 |  | RSD/LOW SCHEDULE
Telangana |  | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Telangana |  | YADADRI TPS | 2 | 0 | 0 | 800 | 0 | 11/08/2025 08:08 |  | WATER WALL TUBE LEAKAGE
Total Southern |  | 4: 4303.5; 5: 2459.5; 6: 8830; 7: 2650
Eastern
Bihar |  | BARAUNI TPS | 6 | 0 | 0 | 0 | 0 | 22/07/2023 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar |  | BARAUNI TPS | 7 | 0 | 0 | 0 | 0 | 19/07/2023 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar |  | BARH STPS | 1 | 0 | 0 | 660 | 0 | 19/08/2025 01:31 |  | REHEATER TUBE LEAKAGE
Bihar |  | BARH STPS | 4 | 0 | 0 | 660 | 0 | 17/08/2025 08:55 |  | ECONOMISER TUBE LEAKAGE
Bihar |  | BARH STPS | 5 | 660 | 0 | 0 | 0 | 02/07/2025 01:25 |  | OVERHAULING WORKS
Bihar |  | KAHALGAON TPS | 7 | 500 | 0 | 0 | 0 | 14/07/2025 23:59 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Jharkhand |  | CHANDRAPURA(DVC) TPS | 7 | 0 | 250 | 0 | 0 | 03/06/2025 23:42 |  | STATOR/ STATOR EARTH FAULT
Jharkhand |  | TENUGHAT TPS | 2 | 210 | 0 | 0 | 0 | 20/04/2025 22:46 |  | CAPITAL MAINTENANCE
Odisha |  | DARLIPALI STPS | 2 | 800 | 0 | 0 | 0 | 01/07/2025 01:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha |  | JSW Energy Utkal Limited | 1 | 0 | 0 | 350 | 0 | 17/08/2025 23:50 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Odisha |  | KAMALANGA TPS | 3 | 0 | 0 | 350 | 0 | 19/08/2025 14:37 |  | AIR PREHEATERS PROBLEM
West Bengal |  | DURGAPUR STEEL TPS | 1 | 500 | 0 | 0 | 0 | 15/08/2025 02:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal |  | BANDEL TPS | 2 | 0 | 60 | 0 | 0 | 23/07/2025 17:29 |  | ECONOMISER TUBE LEAKAGE
West Bengal |  | KOLAGHAT TPS | 6 | 0 | 0 | 210 | 0 | 04/08/2025 00:01 |  | TURBINE MISC. PROBLEM
West Bengal |  | SAGARDIGHI TPS | 2 | 0 | 0 | 300 | 0 | 16/08/2025 10:01 |  | GEN. LOSS OF EXCITATION PROTECTION
West Bengal |  | SANTALDIH TPS | 5 | 0 | 0 | 0 | 0 | 19/08/2025 02:06 | 19/08/2025 04:04 | FURNACE FIRE OUT /FLAME FAILURE
West Bengal |  | BUDGE BUDGE TPS | 3 | 0 | 0 | 250 | 0 | 18/08/2025 05:25 | 19/08/2025 21:59 | AIR PREHEATERS PROBLEM
West Bengal |  | SOUTHERN REPL. TPS | 1 | 67.5 | 0 | 0 | 0 | 24/07/2025 00:00 |  | SCHEDULED ANNUAL MAINTENANCE
West Bengal |  | TITAGARH TPS | 1 | 0 | 0 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 2 | 0 | 0 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 3 | 0 | 0 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 4 | 0 | 0 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern |  | 4: 2737.5; 5: 310; 6: 2780; 7: 0
Total |  | 4: 16911; 5: 11493.51; 6: 20405; 7: 3280
Remarks:-
Report Version :-