## dailyOutage_Report
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 19-08-2025
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[8 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Haryana |  | RAJIV GANDHI TPS | 1 | 0 | 0 | 600 | 0 | 19/08/2025 06:51 |  | WATER WALL TUBE LEAKAGE
Rajasthan |  | CHHABRA-II TPP | 5 | 0 | 0 | 660 | 0 | 16/08/2025 21:11 |  | WATER WALL TUBE LEAKAGE
Rajasthan |  | SURATGARH STPS | 8 | 660 | 0 | 0 | 0 | 30/07/2025 06:26 |  | ANNUAL MAINTENANCE
Uttar Pradesh |  | RIHAND STPS | 2 | 500 | 0 | 0 | 0 | 08/08/2025 12:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh |  | SINGRAULI STPS | 6 | 500 | 0 | 0 | 0 | 18/07/2025 01:50 |  | OVERHAULING WORKS
Uttar Pradesh |  | ANPARA TPS | 6 | 0 | 0 | 500 | 0 | 15/08/2025 12:31 |  | ECONOMISER TUBE LEAKAGE
Uttar Pradesh |  | OBRA TPS | 14 | 0 | 660 | 0 | 0 | 01/08/2025 10:51 |  | CONDENSER TUBE LEAKAGE/ CLEANING
Uttar Pradesh |  | PANKI TPS EXT | 1 | 0 | 0 | 660 | 0 | 19/08/2025 16:17 | 19/08/2025 20:47 | ELECTRICAL FAULT
Uttar Pradesh |  | ANPARA C TPS | 1 | 0 | 0 | 600 | 0 | 18/08/2025 01:46 |  | WATER WALL TUBE LEAKAGE
Chhatisgarh |  | KORBA STPS | 4 | 500 | 0 | 0 | 0 | 16/08/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Chhatisgarh |  | SIPAT STPS | 5 | 500 | 0 | 0 | 0 | 26/07/2025 03:40 |  | OVERHAULING WORKS
Chhatisgarh |  | TAMNAR TPP | 2 | 600 | 0 | 0 | 0 | 25/07/2025 23:40 |  | ANNUAL MAINTENANCE
Gujarat |  | KAKRAPARA | 4 | 0 | 700 | 0 | 0 | 27/07/2025 19:04 |  | Turbine Misc
Gujarat |  | MUNDRA UMTPP | 1 | 0 | 800 | 0 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 2 | 0 | 800 | 0 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat |  | MUNDRA UMTPP | 3 | 0 | 800 | 0 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat |  | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat |  | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Gujarat |  | SALAYA TPP | 2 | 0 | 600 | 0 | 0 | 14/06/2025 12:08 |  | ELECTRICAL FAULT
Madhya Pradesh |  | KHARGONE STPP | 1 | 660 | 0 | 0 | 0 | 01/07/2025 01:04 |  | OVERHAULING WORKS
Madhya Pradesh |  | VINDHYACHAL STPS | 9 | 500 | 0 | 0 | 0 | 20/07/2025 00:00 |  | OVERHAULING WORKS
Madhya Pradesh |  | SANJAY GANDHI TPS | 5 | 500 | 0 | 0 | 0 | 10/07/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh |  | SHREE SINGAJI TPP | 2 | 600 | 0 | 0 | 0 | 10/07/2025 01:52 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra |  | SOLAPUR STPS | 2 | 0 | 0 | 660 | 0 | 19/08/2025 17:37 | 19/08/2025 20:20 | P.A. FANS PROBLEM
Maharashtra |  | KHAPARKHEDA TPS | 5 | 500 | 0 | 0 | 0 | 25/06/2025 00:01 |  | CAPITAL MAINTENANCE
Maharashtra |  | KORADI TPS | 8 | 660 | 0 | 0 | 0 | 01/07/2025 03:15 |  | CAPITAL MAINTENANCE
Maharashtra |  | ADANI POWER LIMITED TIRODA TPP | 1 | 660 | 0 | 0 | 0 | 04/08/2025 03:00 |  | CAPITAL MAINTENANCE
Andhra Pradesh |  | SIMHADRI | 4 | 0 | 0 | 500 | 0 | 19/08/2025 14:35 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | KUDGI STPP | 1 | 0 | 0 | 800 | 0 | 15/08/2025 00:38 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | KUDGI STPP | 2 | 800 | 0 | 0 | 0 | 05/08/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | KUDGI STPP | 3 | 0 | 0 | 800 | 0 | 15/08/2025 09:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka |  | BELLARY TPS | 3 | 700 | 0 | 0 | 0 | 21/07/2025 23:35 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | YERMARUS TPP | 1 | 0 | 0 | 0 | 800 | 15/08/2025 09:13 |  | RESERVE SHUT DOWN
Karnataka |  | YERMARUS TPP | 2 | 0 | 0 | 0 | 800 | 14/08/2025 10:50 |  | RESERVE SHUT DOWN
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 0 | 600 | 0 | 09/08/2025 00:30 |  | RSD/LOW SCHEDULE
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 2 | 0 | 0 | 600 | 0 | 18/08/2025 21:02 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | NEYVELI NEW TPP | 2 | 0 | 0 | 500 | 0 | 18/08/2025 12:19 |  | BOILER AUX. MISC. PROMLEMS
Tamil Nadu |  | KUDANKULAM | 1 | 1000 | 0 | 0 | 0 | 03/08/2025 00:00 |  | ANNUAL MAINTENANCE
| Tamil Nadu |  | ITPCL TPP | 2 | 600 | 0 | 0 | 0 | 01/08/2025 01:36 |  | CAPITAL MAINTENANCE
| Tamil Nadu |  | MUTHIARA TPP | 1 | 0 | 600 | 0 | 0 | 01/08/2025 22:56 |  | AIR PREHEATERS PROBLEM
| Tamil Nadu |  | MUTHIARA TPP | 2 | 0 | 0 | 600 | 0 | 11/08/2025 00:00 |  | BOILER AUX. MISC. PROMLEMS
| Telangana |  | RAMAGUNDEM STPS | 4 | 0 | 0 | 500 | 0 | 18/08/2025 12:03 |  | RESERVE SHUT DOWN / STANDBY UNIT
| Telangana |  | RAMAGUNDEM STPS | 6 | 500 | 0 | 0 | 0 | 10/08/2025 21:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
| Telangana |  | TELANGANA STPP PH-1 | 2 | 0 | 0 | 800 | 0 | 18/08/2025 12:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
| Telangana |  | YADADRI TPS | 2 | 0 | 0 | 800 | 0 | 11/08/2025 08:08 |  | WATER WALL TUBE LEAKAGE
| Bihar |  | BARH STPS | 1 | 0 | 0 | 660 | 0 | 19/08/2025 01:31 |  | REHEATER TUBE LEAKAGE
| Bihar |  | BARH STPS | 4 | 0 | 0 | 660 | 0 | 17/08/2025 08:55 |  | ECONOMISER TUBE LEAKAGE
| Bihar |  | BARH STPS | 5 | 660 | 0 | 0 | 0 | 02/07/2025 01:25 |  | OVERHAULING WORKS
| Bihar |  | KAHALGAON TPS | 7 | 500 | 0 | 0 | 0 | 14/07/2025 23:59 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
| Odisha |  | DARLIPALI STPS | 2 | 800 | 0 | 0 | 0 | 01/07/2025 01:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
| West Bengal |  | DURGAPUR STEEL TPS | 1 | 500 | 0 | 0 | 0 | 15/08/2025 02:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
| Total | 5: 13400; 6: 6560; 7: 11500; DD/MM/YYYY HH24:MM 8: 1600
Remarks:-
Report Version :-