## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 19-08-2025 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
FARIDABAD CCPP | 1 | 137.76 | 16/08/2025 23:08 | 19/08/2025 18:28 | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 2 | 137.76 | 16/08/2025 23:08 | 19/08/2025 18:10 | CONSERVATION OF MAIN FUEL/RSD
PANIPAT TPS | 8 | 250.00 | 14/08/2025 23:05 | 19/08/2025 14:49 | RSD/LOW SCHEDULE
GH TPS (LEH.MOH.) | 4 | 250.00 | 18/08/2025 15:16 | 19/08/2025 19:53 | ABNORMAL SOUND
ROPAR TPS | 3 | 210.00 | 17/08/2025 06:00 | 19/08/2025 11:55 | LOW SYSTEM DEMAND
ANTA CCPP | 2 | 88.71 | 16/08/2025 23:07 | 19/08/2025 18:12 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 3 | 88.71 | 16/08/2025 23:06 | 19/08/2025 17:58 | CONSERVATION OF MAIN FUEL/RSD
SINGRAULI STPS | 2 | 200.00 | 17/08/2025 09:05 | 19/08/2025 11:40 | WATER WALL TUBE LEAKAGE
AURAIYA CCPP | 3 | 111.19 | 16/08/2025 23:10 | 19/08/2025 18:48 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 4 | 111.19 | 16/08/2025 23:08 | 19/08/2025 18:52 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 16/08/2025 23:07 | 19/08/2025 18:55 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 2 | 130.19 | 16/08/2025 23:09 | 19/08/2025 19:02 | CONSERVATION OF MAIN FUEL/RSD
HARDUAGANJ TPS | 8 | 250.00 | 19/08/2025 04:52 | 19/08/2025 08:24 | FURNACE FIRE OUT /FLAME FAILURE
HARDUAGANJ TPS | 8 |  | 19/08/2025 09:32 | 19/08/2025 11:58 | FURNACE DRAFT ABNORMAL
PANKI TPS EXT | 1 | 660.00 | 18/08/2025 20:08 | 19/08/2025 14:45 | ELECTRICAL MISCELLANEOUS PROBLEMS
PANKI TPS EXT | 1 |  | 19/08/2025 16:17 | 19/08/2025 20:47 | ELECTRICAL FAULT
MAQSOODPUR TPS | 2 | 45.00 | 19/08/2025 06:28 | 19/08/2025 07:10 | BOILER AUX. MISC. PROMLEMS
GANDHAR CCPP | 1 | 144.30 | 16/08/2025 23:24 | 19/08/2025 17:51 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 2 | 144.30 | 16/08/2025 23:30 | 19/08/2025 18:16 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 3 | 144.30 | 16/08/2025 23:43 | 19/08/2025 18:03 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 2 | 106.00 | 16/08/2025 23:18 | 19/08/2025 18:25 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 3 | 106.00 | 16/08/2025 23:29 | 19/08/2025 18:30 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 4 | 106.00 | 16/08/2025 23:24 | 19/08/2025 18:45 | CONSERVATION OF MAIN FUEL/RSD
WANAKBORI TPS | 2 | 210.00 | 15/08/2025 14:31 | 19/08/2025 12:28 | RESERVE SHUT DOWN / STANDBY UNIT
WANAKBORI TPS | 7 | 210.00 | 16/08/2025 09:24 | 19/08/2025 12:08 | RESERVE SHUT DOWN / STANDBY UNIT
VINDHYACHAL STPS | 3 | 210.00 | 19/08/2025 03:12 | 19/08/2025 17:28 | LINE TRIPPING/PROB/MTC/CHARGING
VINDHYACHAL STPS | 5 | 210.00 | 19/08/2025 03:12 | 19/08/2025 22:17 | LINE TRIPPING/PROB/MTC/CHARGING
SOLAPUR STPS | 2 | 660.00 | 19/08/2025 17:37 | 19/08/2025 20:20 | P.A. FANS PROBLEM
CHANDRAPUR(MAHARASHTRA) STPS | 3 | 210.00 | 19/08/2025 00:56 | 19/08/2025 05:05 | DRUM LEVEL LOW
KHAPARKHEDA TPS | 4 | 210.00 | 16/08/2025 11:55 | 19/08/2025 13:24 | ASH HANDLING SYSTEM PROBLEM
THAMMINAPATNAM TPS | 1 | 150.00 | 14/08/2025 23:59 | 19/08/2025 13:30 | BOILER MISC. PROBLEM
METTUR TPS | 3 | 210.00 | 15/08/2025 13:58 | 19/08/2025 19:46 | RESERVE SHUT DOWN / STANDBY UNIT
BHADRADRI TPP | 1 | 270.00 | 18/08/2025 23:36 | 19/08/2025 05:21 | P.A. FANS PROBLEM
SANTALDIH TPS | 5 | 250.00 | 19/08/2025 02:06 | 19/08/2025 04:04 | FURNACE FIRE OUT /FLAME FAILURE
SANTALDIH TPS | 5 |  | 17/08/2025 10:00 | 19/08/2025 02:00 | ECONOMISER TUBE LEAKAGE
BUDGE BUDGE TPS | 3 | 250.00 | 18/08/2025 05:25 | 19/08/2025 21:59 | AIR PREHEATERS PROBLEM
KATHALGURI CCPP | 1 | 33.50 | 19/08/2025 00:00 | 19/08/2025 23:59 | Fuel Shortage
KATHALGURI CCPP | 7 | 30.00 | 19/08/2025 00:00 | 19/08/2025 23:59 | MISCELLANEOUS PLANNED MAINTENANCE
LAKWA REPLACEMENT POWER PROJECT | 7 | 9.96 | 18/08/2025 00:31 | 19/08/2025 23:59 | GRID DISTURBANCE
AGARTALA GT | 1 | 21.00 | 19/08/2025 00:00 | 19/08/2025 23:59 | Fuel Shortage
AGARTALA GT | 2 | 21.00 | 19/08/2025 00:00 | 19/08/2025 23:59 | Fuel Shortage
AGARTALA GT | 5 | 25.50 | 19/08/2025 00:00 | 19/08/2025 23:59 | Fuel Shortage
Total |  | 6,742.57