## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 19-08-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
FARIDABAD CCPP | 1 | 137.76 | 19/08/2025 20:22 | 19/08/2025 | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 2 | 137.76 | 19/08/2025 20:21 | 19/08/2025 | CONSERVATION OF MAIN FUEL/RSD
RAJIV GANDHI TPS | 1 | 600.00 | 19/08/2025 06:51 |  | WATER WALL TUBE LEAKAGE
ANTA CCPP | 2 | 88.71 | 19/08/2025 20:28 | 19/08/2025 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 3 | 88.71 | 19/08/2025 20:28 | 19/08/2025 | CONSERVATION OF MAIN FUEL/RSD
RAMGARH CCPP | 2 | 35.50 | 19/08/2025 04:23 |  | MISCELLANEOUS
AURAIYA CCPP | 3 | 111.19 | 19/08/2025 20:25 | 19/08/2025 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 4 | 111.19 | 19/08/2025 20:23 | 19/08/2025 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 19/08/2025 20:23 | 19/08/2025 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 2 | 130.19 | 19/08/2025 20:23 | 19/08/2025 | CONSERVATION OF MAIN FUEL/RSD
HARDUAGANJ TPS | 8 | 250.00 | 19/08/2025 09:32 |  | FURNACE DRAFT ABNORMAL
HARDUAGANJ TPS | 8 |  | 19/08/2025 04:52 |  | FURNACE FIRE OUT /FLAME FAILURE
PANKI TPS EXT | 1 | 660.00 | 19/08/2025 16:17 |  | ELECTRICAL FAULT
MAQSOODPUR TPS | 2 | 45.00 | 19/08/2025 06:28 |  | BOILER AUX. MISC. PROMLEMS
KORBA-WEST TPS | 2 | 210.00 | 19/08/2025 03:30 |  | ECONOMISER TUBE LEAKAGE
UKAI TPS | 5 | 210.00 | 19/08/2025 20:01 |  | RESERVE SHUT DOWN
VINDHYACHAL STPS | 3 | 210.00 | 19/08/2025 03:12 | 19/08/2025 | LINE TRIPPING/PROB/MTC/CHARGING
VINDHYACHAL STPS | 5 | 210.00 | 19/08/2025 03:12 | 19/08/2025 | LINE TRIPPING/PROB/MTC/CHARGING
SOLAPUR STPS | 2 | 660.00 | 19/08/2025 17:37 | 19/08/2025 | P.A. FANS PROBLEM
CHANDRAPUR(MAHARASHTRA) STPS | 3 | 210.00 | 19/08/2025 00:56 |  | DRUM LEVEL LOW
PARAS TPS | 3 | 250.00 | 19/08/2025 23:50 |  | DRUM LEVEL LOW
SIMHADRI | 4 | 500.00 | 19/08/2025 14:35 |  | RESERVE SHUT DOWN / STANDBY UNIT
NEYVELI TPS-II EXP | 2 | 250.00 | 19/08/2025 01:58 |  | WATER WALL TUBE LEAKAGE
BARH STPS | 1 | 660.00 | 19/08/2025 01:31 | 19/08/2025 | REHEATER TUBE LEAKAGE
KAMALANGA TPS | 3 | 350.00 | 19/08/2025 14:37 |  | AIR PREHEATERS PROBLEM
SANTALDIH TPS | 5 | 250.00 | 19/08/2025 02:06 |  | FURNACE FIRE OUT /FLAME FAILURE
KATHALGURI CCPP | 1 | 33.50 | 19/08/2025 00:00 |  | Fuel Shortage
KATHALGURI CCPP | 7 | 30.00 | 19/08/2025 00:00 |  | MISCELLANEOUS PLANNED MAINTENANCE
LAKWA REPLACEMENT POWER PROJECT | 1 | 9.96 | 19/08/2025 08:50 |  | Fuel Shortage
LAKWA REPLACEMENT POWER PROJECT | 2 | 9.96 | 19/08/2025 08:56 |  | FUEL OIL SHORTAGE
LAKWA REPLACEMENT POWER PROJECT | 3 | 9.96 | 19/08/2025 08:51 |  | FUEL OIL SHORTAGE
LAKWA REPLACEMENT POWER PROJECT | 4 | 9.96 | 19/08/2025 08:52 |  | FUEL OIL SHORTAGE
https://npp.gov.in 20/08/2025 18:02:14 |  |  |  |  | PAGE 1
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 19-08-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
LAKWA REPLACEMENT POWER PROJECT | 5 | 9.96 | 19/08/2025 08:53 |  | FUEL OIL SHORTAGE
LAKWA REPLACEMENT POWER PROJECT | 6 | 9.96 | 19/08/2025 09:49 |  | FUEL OIL SHORTAGE
AGARTALA GT | 1 | 21.00 | 19/08/2025 00:00 |  | Fuel Shortage
AGARTALA GT | 2 | 21.00 | 19/08/2025 00:00 |  | Fuel Shortage
AGARTALA GT | 5 | 25.50 | 19/08/2025 00:00 |  | Fuel Shortage
Total |  | 6686.99
https://npp.gov.in 20/08/2025 18:02:14 |  |  |  |  | PAGE 2