## generationrptforNTPCStation
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
GENERATION REPORT FOR NTPC STATIONS DATED - 19-Aug-2025
Power Station |  | Monitored Cap. (MW) | Available Cap. (MW) | Generation (MU) |  |  |  | Coal Stock In day's | Cap. Under Outage (MW) | Maintenance Start Date (dd/mm/yyyyhh24:mi) | Expected Returned Date/SyncDate | Remarks
|  |  |  | Today's Program | Today's Actual | April 1 Till Date
[6 empty] | Prog. | Actual
Haryana
FARIDABAD CCPP |  | 431.59 | 0 | 0.65 | 0.38 | 86.35 | 128.62 |  | 431.59
Total THER (GT) |  | 431.59 | 0 | 0.65 | 0.38 | 86.35 | 128.62 |  | 431.59
Total Generation |  | 431.59 | 0 | 0.65 | 0.38 | 86.35 | 128.62 |  | 431.59
Himachal Pradesh
KOLDAM |  | 800 | 800 | 19.19 | 20.92 | 1948.61 | 2085.06 |  | 0
Total HYDRO |  | 800 | 800 | 19.19 | 20.92 | 1948.61 | 2085.06 |  | 0
Total Generation |  | 800 | 800 | 19.19 | 20.92 | 1948.61 | 2085.06 |  | 0
Rajasthan
ANTA CCPP |  | 419.33 | 0 | 1.32 | 0.26 | 183.08 | 154.15 |  | 419.33
Total THER (GT) |  | 419.33 | 0 | 1.32 | 0.26 | 183.08 | 154.15 |  | 419.33
Total Generation |  | 419.33 | 0 | 1.32 | 0.26 | 183.08 | 154.15 |  | 419.33
Uttarakhand
TAPOVAN VISHNUGAD HPS |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Total HYDRO |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Total Generation |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Uttar Pradesh
DADRI (NCTPP) |  | 1820 | 1400 | 28.91 | 22.04 | 4335.98 | 3370.02 | 162 | 420
Unit 1 |  | 210 | 0 | 3.45 | 0 | 530.55 | 340.22 | 27 | 210 | 2025-08-15 11:52 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 2 |  | 210 | 210 | 3.59 | 3.28 | 411.9 | 225.44 | 27 | 0
Unit 3 |  | 210 | 0 | 3.16 | 0 | 494.04 | 357.34 | 27 | 210 | 2025-08-15 12:10 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 4 |  | 210 | 210 | 3.16 | 3.32 | 494.04 | 395.55 | 27 | 0
Unit 5 |  | 490 | 490 | 7.58 | 7.74 | 1179.02 | 972.02 | 27 | 0
Unit 6 |  | 490 | 490 | 7.97 | 7.7 | 1226.43 | 1079.45 | 27 | 0
RIHAND STPS |  | 3000 | 2500 | 67.84 | 52.53 | 9577.96 | 8814.75 | 126 | 500
Unit 1 |  | 500 | 500 | 11.29 | 10.36 | 1595.51 | 1464.49 | 21 | 0
Unit 2 |  | 500 | 0 | 11.29 | 0 | 1595.51 | 1261.44 | 21 | 500 | 2025-08-08 12:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Unit 3 |  | 500 | 500 | 11.29 | 10.63 | 1592.51 | 1524.07 | 21 | 0
Unit 4 |  | 500 | 500 | 11.39 | 10.65 | 1606.41 | 1517.28 | 21 | 0
Unit 5 |  | 500 | 500 | 11.29 | 10.45 | 1592.51 | 1527.21 | 21 | 0
Unit 6 |  | 500 | 500 | 11.29 | 10.44 | 1595.51 | 1520.26 | 21 | 0
SINGRAULI STPS |  | 2000 | 1500 | 40.48 | 29.63 | 6166.12 | 5417.31 | 147 | 500
Unit 1 |  | 200 | 200 | 0 | 4.32 | 453 | 606.37 | 21 | 0
Unit 2 |  | 200 | 200 | 4.45 | 1.99 | 628.55 | 589.55 | 21 | 0 | 2025-08-17 09:05 | 2025-08-19 11:40 | WATER WALL TUBE LEAKAGE
Unit 3 |  | 200 | 200 | 4.48 | 4.32 | 633.12 | 594.4 | 21 | 0
Unit 4 |  | 200 | 200 | 4.45 | 4.37 | 628.55 | 612.81 | 21 | 0
Unit 5 |  | 200 | 200 | 4.52 | 4.29 | 637.88 | 588.39 | 21 | 0
Unit 6 |  | 500 | 0 | 11.29 | 0 | 1594.51 | 1018.58 | 21 | 500 | 2025-07-18 01:50 |  | OVERHAULING WORKS
Unit 7 |  | 500 | 500 | 11.29 | 10.34 | 1590.51 | 1407.21 | 21 | 0
TANDA TPS |  | 1760 | 1540 | 30.01 | 28.56 | 4709.19 | 4332.7 | 210 | 220
Unit 1 |  | 110 | 0 | 1.61 | 0 | 254.59 | 204.15 | 35 | 110 | 2025-06-30 23:05 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 2 |  | 110 | 0 | 1.68 | 0 | 255.92 | 207.33 | 35 | 110 | 2025-06-30 23:17 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 3 |  | 110 | 110 | 1.65 | 1.85 | 255.35 | 209.02 | 35 | 0
Unit 4 |  | 110 | 110 | 1.52 | 1.88 | 236.88 | 220.43 | 35 | 0
Unit 5 |  | 660 | 660 | 12 | 12.38 | 1895 | 1739.85 | 35 | 0
Unit 6 |  | 660 | 660 | 11.55 | 12.45 | 1811.45 | 1751.92 | 35 | 0
UNCHAHAR TPS |  | 1550 | 1550 | 27.23 | 26.94 | 4286.37 | 3959.04 | 126 | 0
Unit 1 |  | 210 | 210 | 3.39 | 3.64 | 525.41 | 524.26 | 21 | 0
Unit 2 |  | 210 | 210 | 3.55 | 3.42 | 566.45 | 508.83 | 21 | 0
Unit 3 |  | 210 | 210 | 3.81 | 3.74 | 598.39 | 534.68 | 21 | 0
Unit 4 |  | 210 | 210 | 3.9 | 3.79 | 614.1 | 539.22 | 21 | 0
Unit 5 |  | 210 | 210 | 3.9 | 3.65 | 614.1 | 540.07 | 21 | 0
Unit 6 |  | 500 | 500 | 8.68 | 8.7 | 1367.92 | 1311.98 | 21 | 0
Total THERMAL |  | 10130 | 8490 | 194.47 | 159.7 | 29075.62 | 25893.82 | 771 | 1640
AURAIYA CCPP |  | 663.36 | 0 | 2.55 | 0.23 | 357.45 | 215.3 |  | 663.36
DADRI CCPP |  | 829.78 | 0 | 3.09 | 0.23 | 444.71 | 251.05 |  | 829.78
Total THER (GT) |  | 1493.14 | 0 | 5.64 | 0.46 | 802.16 | 466.35 |  | 1493.14
Total Generation |  | 11623.14 | 8490 | 200.11 | 160.16 | 29877.78 | 26360.17 | 771 | 3133.14
Chhatisgarh
KORBA STPS |  | 2600 | 2100 | 59.33 | 44.61 | 8157.27 | 7499.08 | 49 | 500
Unit 1 |  | 200 | 200 | 4.52 | 4.36 | 637.88 | 622.61 | 7 | 0
Unit 2 |  | 200 | 200 | 4.52 | 4.31 | 637.88 | 437.65 | 7 | 0
Unit 3 |  | 200 | 200 | 4.55 | 4.37 | 436.45 | 411.44 | 7 | 0
Unit 4 |  | 500 | 0 | 11.35 | 0 | 1598.65 | 1451.34 | 7 | 500 | 2025-08-16 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Unit 5 |  | 500 | 500 | 11.35 | 10.52 | 1602.65 | 1509.31 | 7 | 0
Unit 6 |  | 500 | 500 | 11.52 | 10.46 | 1621.88 | 1518.16 | 7 | 0
Unit 7 |  | 500 | 500 | 11.52 | 10.59 | 1621.88 | 1548.57 | 7 | 0
LARA TPP |  | 1600 | 1600 | 18.35 | 33.99 | 4259.65 | 4998.94 | 40 | 0
Unit 1 |  | 800 | 800 | 18.35 | 16.98 | 2588.65 | 2483.89 | 20 | 0
Unit 2 |  | 800 | 800 | 0 | 17.01 | 1671 | 2515.05 | 20 | 0
SIPAT STPS |  | 2980 | 2480 | 66.67 | 51.01 | 8375.73 | 7989.82 | 90 | 500
Unit 1 |  | 660 | 660 | 14.77 | 13.75 | 1565.63 | 1504.03 | 18 | 0
Unit 2 |  | 660 | 660 | 14.81 | 13.8 | 2090.39 | 2017.66 | 18 | 0
Unit 3 |  | 660 | 660 | 14.74 | 13.05 | 2074.06 | 2008.39 | 18 | 0
Unit 4 |  | 500 | 500 | 11.16 | 10.41 | 1574.04 | 1228.85 | 18 | 0
Unit 5 |  | 500 | 0 | 11.19 | 0 | 1071.61 | 1230.89 | 18 | 500 | 2025-07-26 03:40 |  | OVERHAULING WORKS
Total THERMAL |  | 7180 | 6180 | 144.35 | 129.61 | 20792.65 | 20487.84 | 179 | 1000
Total Generation |  | 7180 | 6180 | 144.35 | 129.61 | 20792.65 | 20487.84 | 179 | 1000
Gujarat
GANDHAR CCPP |  | 657.39 | 0 | 2.59 | 1.58 | 371.21 | 254.93 |  | 657.39
KAWAS CCPP |  | 656.2 | 0 | 2.52 | 1.41 | 343.93 | 250.01 |  | 656.2
Total THER (GT) |  | 1313.59 | 0 | 5.11 | 2.99 | 715.14 | 504.94 |  | 1313.59
Total Generation |  | 1313.59 | 0 | 5.11 | 2.99 | 715.14 | 504.94 |  | 1313.59
Madhya Pradesh
GADARWARA TPP |  | 1600 | 1600 | 28.55 | 30.08 | 3472.45 | 3006.8 | 28 | 0
Unit 1 |  | 800 | 800 | 14.52 | 15.04 | 1261.88 | 1118.75 | 14 | 0
Unit 2 |  | 800 | 800 | 14.03 | 15.04 | 2210.57 | 1888.05 | 14 | 0
KHARGONE STPP |  | 1320 | 660 | 10.39 | 10.48 | 2715.41 | 2605.4 | 82 | 660
Unit 1 |  | 660 | 0 | 0 | 0 | 1096 | 1009.88 | 41 | 660 | 2025-07-01 01:04 |  | OVERHAULING WORKS
Unit 2 |  | 660 | 660 | 10.39 | 10.48 | 1619.41 | 1595.52 | 41 | 0
VINDHYACHAL STPS |  | 4760 | 3840 | 109.19 | 79.17 | 14309.45 | 12775.98 | 169 | 920
Unit 1 |  | 210 | 210 | 4.84 | 4.2 | 684.96 | 618.8 | 13 | 0
Unit 10 |  | 500 | 500 | 11.35 | 9.99 | 1605.65 | 1451.04 | 13 | 0
Unit 11 |  | 500 | 500 | 11.58 | 10.13 | 1111.02 | 1065.07 | 13 | 0
Unit 12 |  | 500 | 500 | 11.52 | 9.93 | 1621.88 | 1447.68 | 13 | 0
Unit 13 |  | 500 | 500 | 11.39 | 9.97 | 1608.41 | 1437.13 | 13 | 0
Unit 2 |  | 210 | 210 | 4.87 | 4.07 | 509.53 | 448.65 | 13 | 0
Unit 3 |  | 210 | 0 | 4.87 | 1.55 | 684.53 | 563.41 | 13 | 210 | 2025-08-19 03:12 | 2025-08-19 17:28 | LINE TRIPPING/PROB/MTC/CHARGING
Unit 4 |  | 210 | 210 | 4.87 | 4.23 | 684.53 | 611.7 | 13 | 0
Unit 5 |  | 210 | 0 | 4.87 | 0.77 | 684.53 | 585.65 | 13 | 210 | 2025-08-19 03:12 | 2025-08-19 22:17 | LINE TRIPPING/PROB/MTC/CHARGING
Unit 6 |  | 210 | 210 | 4.84 | 4.08 | 684.96 | 606.03 | 13 | 0
Unit 7 |  | 500 | 500 | 11.48 | 10.08 | 1618.12 | 1394.74 | 13 | 0
Unit 8 |  | 500 | 500 | 11.35 | 10.17 | 1605.65 | 1456.22 | 13 | 0
Unit 9 |  | 500 | 0 | 11.36 | 0 | 1205.68 | 1089.86 | 13 | 500 | 2025-07-20 |  | OVERHAULING WORKS
Total THERMAL |  | 7680 | 6100 | 148.13 | 119.73 | 20497.31 | 18388.18 | 279 | 1580
Total Generation |  | 7680 | 6100 | 148.13 | 119.73 | 20497.31 | 18388.18 | 279 | 1580
Maharashtra
MAUDA TPS |  | 2320 | 2320 | 39.71 | 40.64 | 6281.49 | 5635.75 | 60 | 0
Unit 1 |  | 500 | 500 | 8.55 | 8.6 | 1346.45 | 971.32 | 15 | 0
Unit 2 |  | 500 | 500 | 8.55 | 8.66 | 1346.45 | 1331.65 | 15 | 0
Unit 3 |  | 660 | 660 | 11.13 | 11.6 | 1774.47 | 1713.99 | 15 | 0
Unit 4 |  | 660 | 660 | 11.48 | 11.78 | 1814.12 | 1618.79 | 15 | 0
SOLAPUR STPS |  | 1320 | 660 | 9.55 | 17.38 | 2686.45 | 2270.2 | 84 | 660
Unit 1 |  | 660 | 660 | 9.55 | 9.73 | 1485.45 | 1300.45 | 42 | 0
Unit 2 |  | 660 | 0 | 0 | 7.65 | 1201 | 969.75 | 42 | 660 | 2025-08-19 17:37 | 2025-08-19 20:20 | P.A. FANS PROBLEM
Total THERMAL |  | 3640 | 2980 | 49.26 | 58.02 | 8967.94 | 7905.95 | 144 | 660
Total Generation |  | 3640 | 2980 | 49.26 | 58.02 | 8967.94 | 7905.95 | 144 | 660
Andhra Pradesh
SIMHADRI |  | 2000 | 1500 | 33.75 | 29.14 | 4914.25 | 4520.62 | 92 | 500
Unit 1 |  | 500 | 500 | 8.16 | 8.29 | 1275.04 | 1197.1 | 23 | 0
Unit 2 |  | 500 | 500 | 8.23 | 8.08 | 1288.37 | 1213.78 | 23 | 0
Unit 3 |  | 500 | 500 | 8.81 | 8.47 | 1001.39 | 891.65 | 23 | 0
Unit 4 |  | 500 | 0 | 8.55 | 4.3 | 1349.45 | 1218.09 | 23 | 500 | 2025-08-19 14:35 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total THERMAL |  | 2000 | 1500 | 33.75 | 29.14 | 4914.25 | 4520.62 | 92 | 500
Total Generation |  | 2000 | 1500 | 33.75 | 29.14 | 4914.25 | 4520.62 | 92 | 500
Karnataka
KUDGI STPP |  | 2400 | 0 | 22.32 | 0 | 4690.08 | 3313.31 | 102 | 2400
Unit 1 |  | 800 | 0 | 11.16 | 0 | 1740.04 | 980.56 | 34 | 800 | 2025-08-15 00:38 |  | RESERVE SHUT DOWN / STANDBY UNIT
Unit 2 |  | 800 | 0 | 0 | 0 | 1211 | 672.98 | 34 | 800 | 2025-08-05 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Unit 3 |  | 800 | 0 | 11.16 | 0 | 1739.04 | 1659.77 | 34 | 800 | 2025-08-15 09:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total THERMAL |  | 2400 | 0 | 22.32 | 0 | 4690.08 | 3313.31 | 102 | 2400
Total Generation |  | 2400 | 0 | 22.32 | 0 | 4690.08 | 3313.31 | 102 | 2400
Kerala
R. GANDHI CCPP (Liq.) |  | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Total THER (GT) |  | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Total Generation |  | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Telangana
RAMAGUNDEM STPS |  | 2600 | 1600 | 48.84 | 25.88 | 7658.96 | 5798.22 | 217 | 1000
Unit 1 |  | 200 | 200 | 3.71 | 3.38 | 585.49 | 506.58 | 31 | 0
Unit 2 |  | 200 | 200 | 3.71 | 3.26 | 585.49 | 359.63 | 31 | 0
Unit 3 |  | 200 | 200 | 3.74 | 3.34 | 588.06 | 460.37 | 31 | 0
Unit 4 |  | 500 | 0 | 9.68 | 0 | 1468.92 | 1222.14 | 31 | 500 | 2025-08-18 12:03 |  | RESERVE SHUT DOWN / STANDBY UNIT
Unit 5 |  | 500 | 500 | 9.42 | 7.87 | 1492.98 | 825.35 | 31 | 0
Unit 6 |  | 500 | 0 | 9.16 | 0 | 1445.04 | 1159.9 | 31 | 500 | 2025-08-10 21:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Unit 7 |  | 500 | 500 | 9.42 | 8.03 | 1492.98 | 1264.25 | 31 | 0
TELANGANA STPP PH-1 |  | 1600 | 800 | 27.29 | 16.85 | 4278.51 | 3712.75 | 64 | 800
Unit 1 |  | 800 | 800 | 13.77 | 16.85 | 2141.63 | 1836.04 | 32 | 0
Unit 2 |  | 800 | 0 | 13.52 | 0 | 2136.88 | 1876.71 | 32 | 800 | 2025-08-18 12:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total THERMAL |  | 4200 | 2400 | 76.13 | 42.73 | 11937.47 | 9510.97 | 281 | 1800
Total Generation |  | 4200 | 2400 | 76.13 | 42.73 | 11937.47 | 9510.97 | 281 | 1800
Bihar
BARAUNI TPS |  | 500 | 500 | 9.58 | 10.8 | 1474.02 | 1389.63 | 84 | 0
Unit 6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 2023-07-22 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Unit 7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 2023-07-19 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Unit 8 |  | 250 | 250 | 4.87 | 5.39 | 736.53 | 660 | 21 | 0
Unit 9 |  | 250 | 250 | 4.71 | 5.41 | 737.49 | 729.63 | 21 | 0
BARH STPS |  | 3300 | 1320 | 53.47 | 26.22 | 7925.33 | 6031.66 | 120 | 1980
Unit 1 |  | 660 | 0 | 10.32 | 0.81 | 1603.08 | 1392.83 | 24 | 660 | 2025-08-19 01:31 |  | REHEATER TUBE LEAKAGE
Unit 2 |  | 660 | 660 | 9.13 | 12.72 | 1424.47 | 1452.68 | 24 | 0
Unit 3 |  | 660 | 660 | 9.87 | 12.69 | 1543.53 | 366.12 | 24 | 0
Unit 4 |  | 660 | 0 | 12.15 | 0 | 1459.25 | 1771.23 | 24 | 660 | 2025-08-17 08:55 |  | ECONOMISER TUBE LEAKAGE
Unit 5 |  | 660 | 0 | 12 | 0 | 1895 | 1048.8 | 24 | 660 | 2025-07-02 01:25 |  | OVERHAULING WORKS
KAHALGAON TPS |  | 2340 | 1840 | 48.24 | 36.34 | 6927.04 | 6110.08 | 147 | 500
Unit 1 |  | 210 | 210 | 4.63 | 4.11 | 490.45 | 578.58 | 21 | 0
Unit 2 |  | 210 | 210 | 4.19 | 3.89 | 633.61 | 533.31 | 21 | 0
Unit 3 |  | 210 | 210 | 4.19 | 4.1 | 633.61 | 586.45 | 21 | 0
Unit 4 |  | 210 | 210 | 4.61 | 3.98 | 651.59 | 562.12 | 21 | 0
Unit 5 |  | 500 | 500 | 9.84 | 10.08 | 1487.96 | 1414.48 | 21 | 0
Unit 6 |  | 500 | 500 | 9.84 | 10.18 | 1487.96 | 1409.78 | 21 | 0
Unit 7 |  | 500 | 0 | 10.94 | 0 | 1541.86 | 1025.36 | 21 | 500 | 2025-07-14 23:59 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Total THERMAL |  | 6140 | 3660 | 111.29 | 73.36 | 16326.39 | 13531.37 | 351 | 2480
Total Generation |  | 6140 | 3660 | 111.29 | 73.36 | 16326.39 | 13531.37 | 351 | 2480
Jharkhand
NORTH KARANPURA TPP |  | 1980 | 1980 | 31.61 | 35.77 | 4969.59 | 4119.61 | 9 | 0
Unit 1 |  | 660 | 660 | 11.74 | 12.03 | 1850.06 | 1741.26 | 3 | 0
Unit 2 |  | 660 | 660 | 11.74 | 11.87 | 1852.06 | 1753.82 | 3 | 0
Unit 3 |  | 660 | 660 | 8.13 | 11.87 | 1267.47 | 624.53 | 3 | 0
Total THERMAL |  | 1980 | 1980 | 31.61 | 35.77 | 4969.59 | 4119.61 | 9 | 0
Total Generation |  | 1980 | 1980 | 31.61 | 35.77 | 4969.59 | 4119.61 | 9 | 0
Odisha
DARLIPALI STPS |  | 1600 | 800 | 36.45 | 17.58 | 5138.55 | 3989.34 | 72 | 800
Unit 1 |  | 800 | 800 | 18.1 | 17.58 | 2549.9 | 2490.01 | 36 | 0
Unit 2 |  | 800 | 0 | 18.35 | 0 | 2588.65 | 1499.33 | 36 | 800 | 2025-07-01 01:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
TALCHER STPS |  | 3000 | 3000 | 67.75 | 60.56 | 8638.95 | 8398.15 | 72 | 0
Unit 1 |  | 500 | 500 | 11.43 | 10.08 | 1142.87 | 1393.56 | 12 | 0
Unit 2 |  | 500 | 500 | 11.1 | 9.98 | 1564.9 | 1439.44 | 12 | 0
Unit 3 |  | 500 | 500 | 11.52 | 9.9 | 1221.88 | 1029.61 | 12 | 0
Unit 4 |  | 500 | 500 | 11.37 | 10.16 | 1606.03 | 1486.79 | 12 | 0
Unit 5 |  | 500 | 500 | 11.1 | 10.32 | 1564.9 | 1529.44 | 12 | 0
Unit 6 |  | 500 | 500 | 11.23 | 10.12 | 1538.37 | 1519.31 | 12 | 0
Total THERMAL |  | 4600 | 3800 | 104.2 | 78.14 | 13777.5 | 12387.49 | 144 | 800
Total Generation |  | 4600 | 3800 | 104.2 | 78.14 | 13777.5 | 12387.49 | 144 | 800
West Bengal
FARAKKA STPS |  | 2100 | 2100 | 40.96 | 35.27 | 6031.34 | 5197.08 | 66 | 0
Unit 1 |  | 200 | 200 | 3.84 | 3.53 | 585.96 | 483.08 | 11 | 0
Unit 2 |  | 200 | 200 | 3.84 | 3.51 | 585.96 | 464.15 | 11 | 0
Unit 3 |  | 200 | 200 | 4.35 | 3.55 | 419.75 | 488.15 | 11 | 0
Unit 4 |  | 500 | 500 | 9.61 | 7.89 | 1456.59 | 1233.14 | 11 | 0
Unit 5 |  | 500 | 500 | 9.32 | 7.98 | 1472.08 | 1193.55 | 11 | 0
Unit 6 |  | 500 | 500 | 10 | 8.81 | 1511 | 1335.01 | 11 | 0
Total THERMAL |  | 2100 | 2100 | 40.96 | 35.27 | 6031.34 | 5197.08 | 66 | 0
Total Generation |  | 2100 | 2100 | 40.96 | 35.27 | 6031.34 | 5197.08 | 66 | 0
Assam
BONGAIGAON TPP |  | 750 | 750 | 14.1 | 12.13 | 2076.9 | 1720.86 | 87 | 0
Unit 1 |  | 250 | 250 | 4.61 | 4.03 | 723.59 | 604.84 | 29 | 0
Unit 2 |  | 250 | 250 | 4.84 | 4.06 | 731.96 | 598.97 | 29 | 0
Unit 3 |  | 250 | 250 | 4.65 | 4.04 | 621.35 | 517.05 | 29 | 0
Total THERMAL |  | 750 | 750 | 14.1 | 12.13 | 2076.9 | 1720.86 | 87 | 0
Total Generation |  | 750 | 750 | 14.1 | 12.13 | 2076.9 | 1720.86 | 87 | 0
Remarks:-
Report Version :-