## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 19-10-2024
Sub-Report-10
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana | PANIPAT TPS | 6 | 0 | 0 | 210 | 0 | 14/10/2024 19:30 |  | RSD/LOW SCHEDULE
Punjab | GH TPS (LEH.MOH.) | 2 | 0 | 210 | 0 | 0 | 30/04/2022 15:01 |  | ASH HANDLING SYSTEM PROBLEM
Punjab | TALWANDI SABO TPP | 2 | 0 | 0 | 660 | 0 | 18/10/2024 06:01 |  | TURBINE MISC. PROBLEM
Rajasthan | DAE (RAJASTHAN) | 1 | 0 | 100 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | KALISINDH TPS | 1 | 600 | 0 | 0 | 0 | 10/10/2024 00:11 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan | KOTA TPS | 1 | 110 | 0 | 0 | 0 | 15/10/2024 11:27 |  | ANNUAL MAINTENANCE
Rajasthan | KOTA TPS | 2 | 110 | 0 | 0 | 0 | 15/10/2024 23:45 |  | ANNUAL MAINTENANCE
Rajasthan | SURATGARH STPS | 7 | 0 | 0 | 660 | 0 | 18/10/2024 14:05 | 19/10/2024 14:15 | FURNACE FIRE OUT /FLAME FAILURE
Rajasthan | SURATGARH TPS | 1 | 250 | 0 | 0 | 0 | 12/10/2024 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan | SURATGARH TPS | 3 | 0 | 0 | 250 | 0 | 11/10/2024 15:41 |  | RSD/LOW SCHEDULE
Rajasthan | SURATGARH TPS | 5 | 0 | 0 | 250 | 0 | 12/10/2024 20:11 |  | RSD/LOW SCHEDULE
Rajasthan | SURATGARH TPS | 6 | 0 | 0 | 250 | 0 | 11/10/2024 01:00 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Rajasthan | ADANI POWER LIMITED KAWAI TPP | 2 | 660 | 0 | 0 | 0 | 02/10/2024 04:57 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan | JALIPA KAPURDI TPP | 1 | 0 | 0 | 135 | 0 | 17/10/2024 02:02 |  | BOILER MISC. PROBLEM
Rajasthan | JALIPA KAPURDI TPP | 5 | 0 | 135 | 0 | 0 | 30/09/2024 12:14 |  | BOILER MISC. PROBLEM
Uttar Pradesh | DADRI (NCTPP) | 1 | 0 | 0 | 0 | 0 | 19/10/2024 06:57 | 19/10/2024 14:54 | BOILER AUX. MISC. PROMLEMS
Uttar Pradesh | DADRI (NCTPP) | 6 | 490 | 0 | 0 | 0 | 30/09/2024 00:41 |  | OVERHAULING WORKS
Uttar Pradesh | RIHAND STPS | 3 | 0 | 0 | 500 | 0 | 18/10/2024 07:40 | 19/10/2024 21:43 | ECONOMISER TUBE LEAKAGE
Uttar Pradesh | RIHAND STPS | 6 | 0 | 0 | 500 | 0 | 17/10/2024 23:29 |  | GEN. TRANSFORMER TRIPPING/ DAMAGED
Uttar Pradesh | TANDA TPS | 4 | 110 | 0 | 0 | 0 | 14/09/2024 16:15 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh | UNCHAHAR TPS | 5 | 210 | 0 | 0 | 0 | 12/09/2024 01:02 |  | OVERHAULING WORKS
Uttar Pradesh | ANPARA C TPS | 2 | 0 | 0 | 600 | 0 | 19/10/2024 01:31 |  | WATER WALL TUBE LEAKAGE
Total Northern |  |  | 2790 | 445 | 4015 | 0
Western
Chhatisgarh | KORBA STPS | 1 | 200 | 0 | 0 | 0 | 16/10/2024 01:04 |  | OVERHAULING WORKS
Chhatisgarh | KORBA STPS | 4 | 0 | 0 | 500 | 0 | 18/10/2024 12:31 | 19/10/2024 21:49 | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Chhatisgarh | LARA TPP | 1 | 800 | 0 | 0 | 0 | 18/09/2024 00:56 |  | OVERHAULING WORKS
Chhatisgarh | DSPM TPS | 1 | 250 | 0 | 0 | 0 | 17/10/2024 00:00 |  | ANNUAL MAINTENANCE
Chhatisgarh | KORBA-WEST TPS | 3 | 210 | 0 | 0 | 0 | 12/09/2024 00:06 |  | CAPITAL MAINTENANCE
Chhatisgarh | ADANI POWER LIMITED RAIGARH TPP | 1 | 0 | 0 | 0 | 0 | 19/10/2024 15:32 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Chhatisgarh | BANDAKHAR TPP | 1 | 0 | 0 | 300 | 0 | 16/10/2024 10:51 |  | I.D. FANS PROBLEM
Chhatisgarh | KASAIPALLI TPP | 1 | 0 | 0 | 135 | 0 | 18/10/2024 20:45 |  | WATER WALL TUBE LEAKAGE
Chhatisgarh | KATGHORA TPP | 1 | 0 | 0 | 0 | 35 | 15/10/2012 00:28 |  | NO Power purchase agreement
Chhatisgarh | SALORA TPP | 1 | 0 | 0 | 0 | 135 | 19/10/2014 04:30 |  | NO Power purchase agreement
Chhatisgarh | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 25 | 01/04/2015 00:20 |  | NO Power purchase agreement
Chhatisgarh | UCHPINDA TPP | 1 | 0 | 360 | 0 | 0 | 27/09/2024 12:21 |  | COAL SHORTAGE
Chhatisgarh | UCHPINDA TPP | 4 | 0 | 360 | 0 | 0 | 12/09/2024 21:13 |  | RSD/LOW SCHEDULE
Gujarat | KAKRAPARA | 3 | 700 | 0 | 0 | 0 | 18/09/2024 00:57 |  | ANNUAL MAINTENANCE
Gujarat | AKRIMOTA LIG TPS | 1 | 0 | 125 | 0 | 0 | 08/06/2024 19:30 |  | BARRING GEAR PROBLEM
Gujarat | AKRIMOTA LIG TPS | 2 | 0 | 125 | 0 | 0 | 19/02/2024 18:45 |  | CABLE FAULTS
Gujarat | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat | SIKKA REP. TPS | 3 | 0 | 0 | 250 | 0 | 11/10/2024 10:40 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | SIKKA REP. TPS | 4 | 0 | 0 | 250 | 0 | 11/10/2024 12:35 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | UKAI TPS | 5 | 0 | 0 | 210 | 0 | 19/10/2024 19:35 |  | RSD/LOW SCHEDULE
Gujarat | WANAKBORI TPS | 3 | 210 | 0 | 0 | 0 | 16/09/2024 12:42 |  | ANNUAL MAINTENANCE
Gujarat | WANAKBORI TPS | 5 | 0 | 0 | 210 | 0 | 19/10/2024 20:32 |  | RESERVE SHUT DOWN / STANDBY UNIT
Madhya Pradesh | GADARWARA TPP | 2 | 0 | 0 | 800 | 0 | 15/10/2024 17:43 |  | TURBINE CONTROL VALVE PROBLEM
Madhya Pradesh | VINDHYACHAL STPS | 4 | 210 | 0 | 0 | 0 | 18/09/2024 00:07 |  | OVERHAULING WORKS
Madhya Pradesh | SANJAY GANDHI TPS | 1 | 210 | 0 | 0 | 0 | 04/08/2024 19:03 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SANJAY GANDHI TPS | 3 | 210 | 0 | 0 | 0 | 16/09/2024 00:00 |  | CAPITAL MAINTENANCE
Madhya Pradesh | SATPURA TPS | 6 | 200 | 0 | 0 | 0 | 05/03/2021 11:55 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 7 | 210 | 0 | 0 | 0 | 05/03/2021 10:09 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 8 | 210 | 0 | 0 | 0 | 29/02/2020 23:54 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 9 | 210 | 0 | 0 | 0 | 22/02/2020 02:52 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SHREE SINGAJI TPP | 3 | 660 | 0 | 0 | 0 | 30/07/2024 16:39 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SASAN UMTPP | 3 | 0 | 0 | 660 | 0 | 18/10/2024 23:47 |  | SUPER HEATER TUBE LEAKAGE
Madhya Pradesh | SASAN UMTPP | 5 | 0 | 0 | 660 | 0 | 18/10/2024 23:02 |  | SUPER HEATER TUBE LEAKAGE
Maharashtra | MAUDA TPS | 4 | 660 | 0 | 0 | 0 | 31/08/2024 23:10 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | TARAPUR | 2 | 160 | 0 | 0 | 0 | 20/12/2023 11:06 |  | ANNUAL MAINTENANCE
Maharashtra | KHAPARKHEDA TPS | 1 | 0 | 0 | 210 | 0 | 18/10/2024 17:41 |  | WATER WALL TUBE LEAKAGE
Maharashtra | AMRAVATI TPS | 3 | 0 | 270 | 0 | 0 | 23/07/2024 00:47 |  | TURBINE VIBRATION HIGH
Maharashtra | AMRAVATI TPS | 5 | 0 | 270 | 0 | 0 | 15/09/2024 15:21 |  | ASH HANDLING SYSTEM PROBLEM
Maharashtra | BUTIBORI TPP | 1 | 0 | 300 | 0 | 0 | 29/12/2018 00:30 |  | COAL SHORTAGE
Maharashtra | BUTIBORI TPP | 2 | 0 | 300 | 0 | 0 | 17/01/2019 00:15 |  | COAL SHORTAGE
Maharashtra | GEPL TPP Ph-I | 1 | 0 | 0 | 0 | 60 | 29/06/2013 00:00 |  | NO Power purchase agreement
Maharashtra | GEPL TPP Ph-I | 2 | 0 | 0 | 0 | 60 | 20/06/2013 20:27 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 1 | 0 | 0 | 0 | 61.51 | 10/01/2013 15:50 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 2 | 0 | 0 | 0 | 61.5 | 05/11/2013 11:53 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 3 | 0 | 0 | 0 | 61.5 | 10/06/2013 18:00 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 4 | 0 | 0 | 0 | 61.5 | 20/08/2013 10:00 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 1 | 0 | 0 | 0 | 270 | 04/03/2014 18:10 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 2 | 0 | 0 | 0 | 270 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 3 | 0 | 0 | 0 | 270 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 4 | 0 | 0 | 0 | 270 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 5 | 0 | 0 | 0 | 270 | 30/05/2017 15:24 |  | NO Power purchase agreement
Maharashtra | TROMBAY TPS | 5 | 0 | 500 | 0 | 0 | 22/09/2024 16:14 |  | FIRE IN CABLE GALLERY
Maharashtra | WARDHA WARORA TPP | 3 | 135 | 0 | 0 | 0 | 09/10/2024 01:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Total Western |  |  | 5605 | 2685 | 4185 | 1911.01
Southern
Andhra Pradesh | Dr. N.TATA RAO TPS | 1 | 0 | 0 | 210 | 0 | 18/10/2024 18:55 |  | TUBE LKG. AT LOW TEMP.
Andhra Pradesh | Dr. N.TATA RAO TPS | 1 | 0 | 0 | 210 | 0 | 18/10/2024 18:55 |  | SUPERHEATER ZONE
Andhra Pradesh | Dr. N.TATA RAO TPS | 3 | 0 | 0 | 0 | 0 | 18/10/2024 22:59 | 19/10/2024 00:41 | FURNACE FIRE OUT /FLAME FAILURE
Andhra Pradesh | RAYALASEEMA TPS | 4 | 0 | 0 | 210 | 0 | 14/10/2024 10:21 |  | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh | RAYALASEEMA TPS | 5 | 210 | 0 | 0 | 0 | 14/10/2024 09:43 |  | ANNUAL MAINTENANCE
Andhra Pradesh | SGPL TPP | 1 | 0 | 0 | 660 | 0 | 18/10/2024 19:39 | 19/10/2024 19:28 | EXCITATION PROBLEM
Andhra Pradesh | SIMHAPURI TPS | 1 | 0 | 0 | 150 | 0 | 14/10/2024 11:26 |  | COOLING WATER DELIVERY VALVES PROBLEM
Andhra Pradesh | THAMMINAPATNAM TPS | 1 | 0 | 150 | 0 | 0 | 21/09/2024 01:18 |  | TURBINE VIBRATIONS HIGH
Andhra Pradesh | VIZAG TPP | 2 | 0 | 0 | 0 | 0 | 14/10/2024 00:00 | 19/10/2024 08:05 | COAL SHORTAGE
Karnataka | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka | RAICHUR TPS | 4 | 210 | 0 | 0 | 0 | 22/09/2024 02:05 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka | YERMARUS TPP | 1 | 800 | 0 | 0 | 0 | 03/09/2024 23:59 |  | ANNUAL MAINTENANCE
Karnataka | YERMARUS TPP | 2 | 0 | 0 | 800 | 0 | 10/10/2024 21:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 600 | 0 | 0 | 26/09/2024 00:25 |  | RSD/LOW SCHEDULE
Karnataka | ADANI POWER LIMITED UDUPI TPP | 2 | 0 | 0 | 600 | 0 | 04/10/2024 23:03 |  | RSD/LOW SCHEDULE
Tamil Nadu | NEYVELI TPS-II | 4 | 0 | 210 | 0 | 0 | 03/10/2024 23:14 |  | BOILER FEED PUMP/MOTOR PROBLEM
Tamil Nadu | NEYVELI TPS-II EXP | 1 | 250 | 0 | 0 | 0 | 14/09/2024 23:59 |  | CAPITAL MAINTENANCE
Tamil Nadu | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu | MADRAS A.P.S. | 2 | 0 | 0 | 220 | 0 | 06/10/2024 00:00 | 19/10/2024 16:44 | Miscellaneous
Tamil Nadu | METTUR TPS | 1 | 0 | 0 | 210 | 0 | 18/10/2024 22:42 |  | SUPER HEATER TUBE LEAKAGE
Tamil Nadu | NORTH CHENNAI TPS | 5 | 600 | 0 | 0 | 0 | 16/10/2024 00:23 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | MUTHIARA TPP | 2 | 0 | 0 | 600 | 0 | 04/10/2024 23:59 |  | FURNACE DRAFT ABNORMAL
Tamil Nadu | NEYVELI TPS(Z) | 1 | 0 | 250 | 0 | 0 | 30/09/2024 23:42 |  | TURBINE MISC.
Tamil Nadu | OPG Power Generation Private Limited | 2 | 0 | 0 | 77 | 0 | 16/10/2024 00:00 |  | RSD/LOW SCHEDULE
Tamil Nadu | TUTICORIN (P) TPP | 1 | 0 | 0 | 0 | 150 | 03/04/2016 00:31 |  | NO Power purchase agreement
Tamil Nadu | TUTICORIN (P) TPP | 2 | 0 | 0 | 0 | 150 | 16/04/2016 01:42 |  | NO Power purchase agreement
Telangana | RAMAGUNDEM STPS | 4 | 0 | 0 | 500 | 0 | 19/10/2024 17:49 |  | FURNACE FIRE OUT /FLAME FAILURE
Telangana | BHADRADRI TPP | 1 | 0 | 270 | 0 | 0 | 30/06/2024 00:00 |  | GENEATOR PROTECTION MISC/BACK UP PROT
Telangana | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Total Southern |  |  | 2070 | 1972.5 | 4237 | 300
Eastern
Bihar | BARAUNI TPS | 6 | 0 | 0 | 0 | 105 | 22/07/2023 12:05 |  | MAJOR BREAK DOWN
Bihar | BARAUNI TPS | 7 | 0 | 0 | 0 | 105 | 19/07/2023 15:30 |  | MAJOR BREAK DOWN
Bihar | NABINAGAR TPP | 1 | 250 | 0 | 0 | 0 | 16/09/2024 00:00 |  | GENERATOR INSPECTION/TESTING/MTCE
Jharkhand | BOKARO TPS `A` EXP | 1 | 0 | 0 | 500 | 0 | 16/10/2024 08:14 |  | UNIT AUX. TRANSFORMER PROBLEM
Jharkhand | NORTH KARANPURA TPP | 2 | 0 | 0 | 660 | 0 | 18/10/2024 17:04 |  | MAIN STEAM LINE PROBLEM
Odisha | KAMALANGA TPS | 3 | 350 | 0 | 0 | 0 | 13/10/2024 16:31 |  | ANNUAL MAINTENANCE
Odisha | VEDANTA TPP | 2 | 0 | 0 | 600 | 0 | 13/10/2024 21:29 |  | ASH HANDLING SYSTEM PROBLEM
West Bengal | MEJIA TPS | 1 | 210 | 0 | 0 | 0 | 14/09/2024 03:34 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal | MEJIA TPS | 7 | 0 | 0 | 500 | 0 | 18/10/2024 00:01 |  | WATER WALL TUBE LEAKAGE
West Bengal | DISHERGARH TPP | 1 | 0 | 0 | 12 | 0 | 17/10/2024 00:01 |  | BOILER AUX. MISC. PROMLEMS
West Bengal | SOUTHERN REPL. TPS | 1 | 0 | 0 | 0 | 0 | 19/10/2024 21:56 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 1 | 0 | 60 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 2 | 0 | 60 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 3 | 0 | 60 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 4 | 0 | 60 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern |  |  | 810 | 240 | 2272 | 210
Total |  |  | 11275 | 5342.5 | 14709 | 2421.01