## dailyOutage_Report
| CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 19-10-2024
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[7 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Punjab | TALWANDI SABO TPP | 2 | 0 | 0 | 660 | 0 | 18/10/2024 06:01 |  | TURBINE MISC. PROBLEM
Rajasthan | KALISINDH TPS | 1 | 600 | 0 | 0 | 0 | 10/10/2024 00:11 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan | SURATGARH STPS | 7 | 0 | 0 | 660 | 0 | 18/10/2024 14:05 | 19/10/2024 14:15 | FURNACE FIRE OUT /FLAME FAILURE
Rajasthan | ADANI POWER LIMITED KAWAI TPP | 2 | 660 | 0 | 0 | 0 | 02/10/2024 04:57 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh | RIHAND STPS | 3 | 0 | 0 | 500 | 0 | 18/10/2024 07:40 | 19/10/2024 21:43 | ECONOMISER TUBE LEAKAGE
Uttar Pradesh | RIHAND STPS | 6 | 0 | 0 | 500 | 0 | 17/10/2024 23:29 |  | GEN. TRANSFORMER TRIPPING/ DAMAGED
Uttar Pradesh | ANPARA C TPS | 2 | 0 | 0 | 600 | 0 | 19/10/2024 01:31 |  | WATER WALL TUBE LEAKAGE
Chhatisgarh | KORBA STPS | 4 | 0 | 0 | 500 | 0 | 18/10/2024 12:31 | 19/10/2024 21:49 | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Chhatisgarh | LARA TPP | 1 | 800 | 0 | 0 | 0 | 18/09/2024 00:56 |  | OVERHAULING WORKS
Chhatisgarh | ADANI POWER LIMITED RAIGARH TPP | 1 | 0 | 0 | 0 | 0 | 19/10/2024 15:32 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Gujarat | KAKRAPARA | 3 | 700 | 0 | 0 | 0 | 18/09/2024 00:57 |  | ANNUAL MAINTENANCE
Madhya Pradesh | GADARWARA TPP | 2 | 0 | 0 | 800 | 0 | 15/10/2024 17:43 |  | TURBINE CONTROL VALVE PROBLEM
Madhya Pradesh | SHREE SINGAJI TPP | 3 | 660 | 0 | 0 | 0 | 30/07/2024 16:39 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SASAN UMTPP | 3 | 0 | 0 | 660 | 0 | 18/10/2024 23:47 |  | SUPER HEATER TUBE LEAKAGE
Madhya Pradesh | SASAN UMTPP | 5 | 0 | 0 | 660 | 0 | 18/10/2024 23:02 |  | SUPER HEATER TUBE LEAKAGE
Maharashtra | MAUDA TPS | 4 | 660 | 0 | 0 | 0 | 31/08/2024 23:10 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra | TROMBAY TPS | 5 | 0 | 500 | 0 | 0 | 22/09/2024 16:14 |  | FIRE IN CABLE GALLERY
Andhra Pradesh | SGPL TPP | 1 | 0 | 0 | 660 | 0 | 18/10/2024 19:39 | 19/10/2024 19:28 | EXCITATION PROBLEM
Andhra Pradesh | VIZAG TPP | 2 | 0 | 0 | 0 | 0 | 14/10/2024 00:00 | 19/10/2024 08:05 | COAL SHORTAGE
Karnataka | YERMARUS TPP | 1 | 800 | 0 | 0 | 0 | 03/09/2024 23:59 |  | ANNUAL MAINTENANCE
Karnataka | YERMARUS TPP | 2 | 0 | 0 | 800 | 0 | 10/10/2024 21:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 600 | 0 | 0 | 26/09/2024 00:25 |  | RSD/LOW SCHEDULE
Karnataka | ADANI POWER LIMITED UDUPI TPP | 2 | 0 | 0 | 600 | 0 | 04/10/2024 23:03 |  | RSD/LOW SCHEDULE
Tamil Nadu | NORTH CHENNAI TPS | 5 | 600 | 0 | 0 | 0 | 16/10/2024 00:23 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | MUTHIARA TPP | 2 | 0 | 0 | 600 | 0 | 04/10/2024 23:59 |  | FURNACE DRAFT ABNORMAL
Telangana | RAMAGUNDEM STPS | 4 | 0 | 0 | 500 | 0 | 19/10/2024 17:49 |  | FURNACE FIRE OUT /FLAME FAILURE
Jharkhand | BOKARO TPS `A` EXP | 1 | 0 | 0 | 500 | 0 | 16/10/2024 08:14 |  | UNIT AUX. TRANSFORMER PROBLEM
Jharkhand | NORTH KARANPURA TPP | 2 | 0 | 0 | 660 | 0 | 18/10/2024 17:04 |  | MAIN STEAM LINE PROBLEM
Odisha | VEDANTA TPP | 2 | 0 | 0 | 600 | 0 | 13/10/2024 21:29 |  | ASH HANDLING SYSTEM PROBLEM
West Bengal | MEJIA TPS | 7 | 0 | 0 | 500 | 0 | 18/10/2024 00:01 |  | WATER WALL TUBE LEAKAGE
Total |  |  | 5480 | 1100 | 10960 | 0