## dailyOutageReport_12
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS OUT OF GRID FOR MORE THAN 15 DAYS DURING 2024-25 as on: 19-10-2024
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY
1 | 2 | 3 | 4 | 5 | 6
FARIDABAD CCPP | 1 | 137.76 | 2024-06-28 01:24 |  | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 1 | 137.76 | 2018-11-12 14:59 |  | GT- LOW SYSTEM DAMAND
FARIDABAD CCPP | 1 | 137.76 | 2019-02-02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
FARIDABAD CCPP | 2 | 137.76 | 2024-06-24 21:29 |  | NO/REDUCED IRRIGATION DEMAND
FARIDABAD CCPP | 2 | 137.76 | 2024-08-30 |  | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 3 | 156.07 | 2024-08-02 12:00 | 2024-10-19 | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 3 | 156.07 | 2024-07-29 12:00 |  | NO/REDUCED IRRIGATION DEMAND
FARIDABAD CCPP | 3 | 156.07 | 2024-08-01 12:00 |  | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 3 | 156.07 | 2024-06-28 01:16 |  | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 3 | 156.07 | 2019-01-31 23:55 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
PRAGATI CCPP | 2 | 104.6 | 2024-09-04 14:05 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 2 | 104.6 | 2021-03-25 08:00 |  | GT-MANDATORY INSPECTION/OTHERS
PRAGATI CCPP | 2 | 104.6 | 2024-07-21 16:45 |  | GT-MISCELLANEOUS PROBLEMS
PRAGATI CCPP | 2 | 104.6 | 2024-07-20 16:26 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 2 | 104.6 | 2023-09-14 14:09 |  | GT - GOVERNING SYSTEM PROBLEM
PRAGATI CCPP | 2 | 104.6 | 2023-09-12 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 2 | 104.6 | 2021-02-25 18:24 |  | GT- LOW SYSTEM DAMAND
PRAGATI CCPP | 2 | 104.6 | 2022-09-05 03:17 |  | C&I PROBLEM
JALIPA KAPURDI TPP | 5 | 135 | 2024-09-30 12:14 |  | BOILER MISC. PROBLEM
ADANI POWER LIMITED KAWAI TPP | 2 | 660 | 2024-10-02 04:57 | 2024-10-25 | BOILER OVERHAUL/ ANNUAL MAINTENANCE
RAMGARH CCPP | 5 | 110 | 2024-02-27 |  | GT INLET GAS PRESSURE LOW
ANTA CCPP | 4 | 153.2 | 2024-10-01 23:17 | 2024-10-19 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 4 | 153.2 | 2019-11-25 09:24 |  | RSD/LOW SCHEDULE
DADRI (NCTPP) | 6 | 490 | 2024-09-30 00:41 | 2024-10-19 | OVERHAULING WORKS
TANDA TPS | 4 | 110 | 2024-09-14 16:15 | 2024-10-19 | BOILER OVERHAUL/ ANNUAL MAINTENANCE
TANDA TPS | 4 | 110 | 2024-09-12 11:16 |  | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 5 | 109.3 | 2023-12-16 12:00 |  | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 5 | 109.3 | 2024-06-28 00:30 |  | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 5 | 109.3 | 2022-04-10 12:45 |  | RSD/LOW SCHEDULE
AURAIYA CCPP | 5 | 109.3 | 2024-10-01 23:06 | 2024-10-19 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 6 | 109.3 | 2023-10-16 23:32 |  | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 6 | 109.3 | 2024-06-28 00:39 |  | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 6 | 109.3 | 2024-10-01 23:11 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-08 10:06 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-08-11 14:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-19 14:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-10-01 23:21 | 2024-10-19 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-12 10:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-08-16 10:06 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-13 14:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-15 10:05 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2019-11-11 19:37 |  | RSD/LOW SCHEDULE
DADRI CCPP | 5 | 154.51 | 2019-10-10 21:45 |  | RSD/LOW SCHEDULE
DADRI CCPP | 5 | 154.51 | 2024-07-02 14:30 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-03 14:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-06 10:05 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-07 10:06 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-10 14:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-11 10:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-12 10:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-13 10:00 |  | VIBRATIONS
DADRI CCPP | 5 | 154.51 | 2024-07-15 10:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-16 10:06 |  | VIBRATIONS
DADRI CCPP | 5 | 154.51 | 2024-07-17 10:06 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-19 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-20 10:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-21 14:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-22 10:06 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-23 10:06 |  | GT-1ST STAGE PR PROBLEM
DADRI CCPP | 5 | 154.51 | 2024-07-26 14:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-27 14:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-28 10:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-29 10:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-30 10:06 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-31 10:06 |  | GT HIGH VIBRATIONS
DADRI CCPP | 5 | 154.51 | 2024-08-03 14:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-04 14:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-08-05 14:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-06 10:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-08-07 10:06 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 6 | 154.51 | 2019-10-30 00:34 |  | RSD/LOW SCHEDULE
DADRI CCPP | 6 | 154.51 | 2024-10-02 01:31 | 2024-10-19 | CONSERVATION OF MAIN FUEL/RSD
KORBA-WEST TPS | 3 | 210 | 2024-09-12 00:06 |  | CAPITAL MAINTENANCE
LARA TPP | 1 | 800 | 2024-09-18 00:56 | 2024-10-19 | OVERHAULING WORKS
UCHPINDA TPP | 1 | 360 | 2024-09-27 12:21 |  | COAL SHORTAGE
UCHPINDA TPP | 4 | 360 | 2024-09-12 21:13 |  | RSD/LOW SCHEDULE
SHREE SINGAJI TPP | 3 | 660 | 2024-07-30 16:39 |  | ANNUAL MAINTENANCE
SHREE SINGAJI TPP | 3 | 660 | 2019-09-26 13:02 |  | I.D. FANS PROBLEM
SANJAY GANDHI TPS | 1 | 210 | 2024-08-04 19:03 |  | ANNUAL MAINTENANCE
SANJAY GANDHI TPS | 3 | 210 | 2024-09-16 | 2024-10-28 | CAPITAL MAINTENANCE
VINDHYACHAL STPS | 4 | 210 | 2024-09-18 00:07 | 2024-10-19 | OVERHAULING WORKS
HAZIRA CCPP EXT | 1 | 351 | 2022-12-23 19:37 |  | GENEATOR PROTECTION MISC/BACK UP PROT
HAZIRA CCPP EXT | 1 | 351 | 2022-04-07 06:10 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-05-02 |  | BOILER INSPECTION/ RE-CERTIFICATION
HAZIRA CCPP EXT | 1 | 351 | 2023-02-17 21:00 |  | TURBINE VIBRATIONS HIGH
HAZIRA CCPP EXT | 1 | 351 | 2021-05-02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
HAZIRA CCPP EXT | 1 | 351 | 2021-10-26 19:15 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-02-14 |  | MISCELLANEOUS PLANNED MAINTENANCE
HAZIRA CCPP EXT | 1 | 351 | 2022-02-23 21:00 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-03-23 20:15 |  | Fuel Shortage
HAZIRA CCPP EXT | 1 | 351 | 2024-06-21 |  | LOW SYSTEM DEMAND
DHUVARAN CCPP | 1 | 67.85 | 2018-09-25 |  | BEARING
DHUVARAN CCPP | 1 | 67.85 | 2022-05-05 |  | Other Commercial Reason
DHUVARAN CCPP | 1 | 67.85 | 2024-09-05 17:18 |  | NO Power purchase agreement
WANAKBORI TPS | 3 | 210 | 2019-08-31 10:13 |  | WATER WALL TUBE LEAKAGE
WANAKBORI TPS | 3 | 210 | 2019-10-24 08:30 |  | RSD/LOW SCHEDULE
WANAKBORI TPS | 3 | 210 | 2019-06-30 17:51 |  | P.A. FANS PROBLEM
WANAKBORI TPS | 3 | 210 | 2024-09-16 12:42 |  | ANNUAL MAINTENANCE
WANAKBORI TPS | 3 | 210 | 2024-07-04 16:23 |  | ASH HANDLING SYSTEM PROBLEM
WANAKBORI TPS | 3 | 210 | 2019-09-01 10:13 |  | SUPER HEATER TUBE LEAKAGE
PIPAVAV CCPP | 2 | 351 | 2024-04-19 01:10 |  | RSD/LOW SCHEDULE
AKRIMOTA LIG TPS | 1 | 125 | 2024-06-08 19:30 |  | BARRING GEAR PROBLEM
AKRIMOTA LIG TPS | 2 | 125 | 2024-02-19 18:45 |  | CABLE FAULTS
DGEN MEGA CCPP | 1 | 400 | 2023-10-20 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 1 | 400 | 2023-07-17 11:00 |  | GT-MISCELLANEOUS PROBLEMS
DGEN MEGA CCPP | 1 | 400 | 2023-06-20 |  | GT-NO SCHEDULE FROM BENIFICIARIES
KAWAS CCPP | 5 | 116.1 | 2024-06-08 23:53 |  | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 5 | 116.1 | 2024-06-27 08:26 |  | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 5 | 116.1 | 2024-08-24 15:43 |  | INSPECTION /MTCE
KAWAS CCPP | 5 | 116.1 | 2024-08-26 12:00 |  | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 5 | 116.1 | 2024-04-17 00:44 |  | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 5 | 116.1 | 2024-02-08 10:45 |  | BOILER INSPECTION/ RE-CERTIFICATION
KAWAS CCPP | 5 | 116.1 | 2024-10-01 23:53 | 2024-10-19 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 6 | 116.1 | 2024-02-16 08:00 |  | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 6 | 116.1 | 2024-09-23 17:46 |  | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 6 | 116.1 | 2024-10-01 22:59 | 2024-10-19 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 6 | 116.1 | 2024-07-31 11:00 |  | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 6 | 116.1 | 2024-07-29 20:30 |  | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 6 | 116.1 | 2024-07-17 17:00 |  | BOILER AUX. MISC. PROMLEMS
KAWAS CCPP | 6 | 116.1 | 2024-06-27 08:33 |  | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 6 | 116.1 | 2024-02-21 16:00 |  | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 6 | 116.1 | 2024-02-21 10:09 |  | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 6 | 116.1 | 2024-02-21 06:48 |  | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 6 | 116.1 | 2024-02-16 06:00 |  | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 6 | 116.1 | 2023-11-05 |  | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 6 | 116.1 | 2023-03-15 |  | MISCELLANOUS
KAWAS CCPP | 6 | 116.1 | 2024-08-09 12:00 |  | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 6 | 116.1 | 2024-08-02 12:00 |  | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 6 | 116.1 | 2024-08-01 12:00 |  | NO/REDUCED IRRIGATION DEMAND
GANDHAR CCPP | 4 | 224.49 | 2024-10-01 23:22 | 2024-10-19 | CONSERVATION OF MAIN FUEL/RSD
KAKRAPARA | 3 | 700 | 2024-09-18 00:57 |  | ANNUAL MAINTENANCE
MAUDA TPS | 4 | 660 | 2024-08-30 23:30 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
MAUDA TPS | 4 | 660 | 2024-08-31 23:10 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
URAN CCPP | 5 | 108 | 2024-09-30 21:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
URAN CCPP | 5 | 108 | 2024-05-09 20:15 |  | Fuel Shortage
URAN CCPP | 6 | 108 | 2024-09-09 |  | C&I PROBLEM
URAN CCPP | 7 | 108 | 2020-02-25 12:51 |  | TURBINE MISC. PROBLEM
URAN CCPP | 7 | 108 | 2024-07-29 23:22 |  | RESERVE SHUT DOWN
URAN CCPP | 7 | 108 | 2023-04-25 22:44 |  | INSTRUMENTATION PROBLEM
TROMBAY TPS | 5 | 500 | 2024-09-22 16:14 |  | FIRE IN CABLE GALLERY
AMRAVATI TPS | 3 | 270 | 2022-12-25 17:45 |  | ASH HANDLING SYSTEM PROBLEM
AMRAVATI TPS | 3 | 270 | 2022-05-24 02:22 |  | FURNACE FIRE OUT /FLAME FAILURE
AMRAVATI TPS | 3 | 270 | 2024-07-23 00:47 |  | TURBINE VIBRATION HIGH
AMRAVATI TPS | 5 | 270 | 2021-09-23 00:44 |  | ASH HANDLING SYSTEM PROBLEM
AMRAVATI TPS | 5 | 270 | 2022-03-03 12:00 |  | ASH HANDLING SYSTEM PROBLEM
AMRAVATI TPS | 5 | 270 | 2022-10-06 21:33 |  | BOILER MISC. PROBLEM
TARAPUR | 1 | 160 | 2024-03-06 |  | RENOVATION/MODERNISATION WORKS
TARAPUR | 2 | 160 | 2023-12-20 11:06 |  | ANNUAL MAINTENANCE
RAICHUR TPS | 1 | 210 | 2022-08-15 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-08-31 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-02 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-03 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-04 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-09-05 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-06-20 20:20 |  | ASH HANDLING SYSTEM PROBLEM
RAICHUR TPS | 1 | 210 | 2022-06-24 18:30 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 1 | 210 | 2022-06-29 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-06-30 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-01 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 1 | 210 | 2022-07-01 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-04 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-07 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-08 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-09 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-10 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-11 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-15 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-16 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-17 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-23 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-24 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-26 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-26 23:59 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-28 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-30 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-30 07:11 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-01 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-08-02 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-08-04 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-05 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-08-07 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 1 | 210 | 2022-08-08 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-09 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-08-10 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-10 09:00 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-11 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-12 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-13 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-14 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-09-06 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-17 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-18 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-19 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-20 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-21 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-22 |  | OLD UNIT NOT IN OPERATION DUE TO MISC. FORCED OUTAGE
RAICHUR TPS | 1 | 210 | 2022-08-23 |  | VARIOUS MAINTENANCE WORKS
RAICHUR TPS | 1 | 210 | 2022-08-24 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-25 |  | OLD UNIT NOT IN OPERATION DUE TO MISC. FORCED OUTAGE
RAICHUR TPS | 1 | 210 | 2022-08-26 |  | VARIOUS MAINTENANCE WORKS
RAICHUR TPS | 1 | 210 | 2022-08-27 |  | OLD UNIT NOT IN OPERATION DUE TO MISC. FORCED OUTAGE
RAICHUR TPS | 1 | 210 | 2022-08-29 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-08-31 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-09 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-10 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-11 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-12 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-17 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-18 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-19 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-25 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-26 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-26 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-27 23:59 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-29 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-30 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-01 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-10-03 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-06 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-10-09 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-10 |  | COLLAPSE OF R.C. BUNKER
RAICHUR TPS | 1 | 210 | 2022-10-11 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-12 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-12 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-14 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-15 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-22 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-25 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-26 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-10-27 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-28 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-29 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-30 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-11-03 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-11-18 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-11-20 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-11-21 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-11-23 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-11-24 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-11-25 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2024-01-20 |  | COLLAPSE OF R.C. BUNKER
RAICHUR TPS | 1 | 210 | 2024-03-15 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-08-10 08:45 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-07 11:49 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-24 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-07-26 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-09 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-08-10 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-11 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-08-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-08-13 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-14 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-08-15 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-17 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-08-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-19 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-20 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-21 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-22 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 4 | 210 | 2022-08-23 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-23 23:59 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-08-26 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-27 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-08-29 23:59 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 4 | 210 | 2022-08-31 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-09-01 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-09-02 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-09-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-09-04 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-09-05 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-09-06 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-09-09 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-09-10 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-09-11 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-09-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-09-17 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-09-18 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2023-01-06 21:06 |  | BOILER MISC. PROBLEM
RAICHUR TPS | 4 | 210 | 2023-08-12 23:42 |  | WATER WALL TUBE LEAKAGE
RAICHUR TPS | 4 | 210 | 2024-09-22 02:05 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
RAICHUR TPS | 4 | 210 | 2022-07-02 09:07 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-07-04 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-07 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-08 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-07-09 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-10 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-07-11 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-07-15 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-16 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-07-17 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-23 |  | LOW SYSTEM DEMAND
YERMARUS TPP | 1 | 800 | 2023-03-04 20:00 |  | WATER WALL TUBE LEAKAGE
YERMARUS TPP | 1 | 800 | 2024-08-25 08:17 |  | RESERVE SHUT DOWN / STANDBY UNIT
YERMARUS TPP | 1 | 800 | 2024-09-04 |  | ANNUAL MAINTENANCE
ADANI POWER LIMITED UDUPI TPP | 1 | 600 | 2022-12-06 22:30 |  | RSD/LOW SCHEDULE
ADANI POWER LIMITED UDUPI TPP | 1 | 600 | 2022-12-21 |  | OVERHAULING WORKS
ADANI POWER LIMITED UDUPI TPP | 1 | 600 | 2023-02-04 10:42 |  | MAIN STEAM LINE PROBLEM
ADANI POWER LIMITED UDUPI TPP | 1 | 600 | 2023-06-02 08:30 |  | MISCELLANOUS
ADANI POWER LIMITED UDUPI TPP | 1 | 600 | 2023-07-05 00:33 |  | RSD/LOW SCHEDULE
ADANI POWER LIMITED UDUPI TPP | 1 | 600 | 2023-07-06 00:53 |  | COAL FEEDING PROBLEM IN PLANT
ADANI POWER LIMITED UDUPI TPP | 1 | 600 | 2021-08-27 22:31 |  | COAL SHORTAGE
ADANI POWER LIMITED UDUPI TPP | 1 | 600 | 2022-04-06 00:08 |  | RSD/LOW SCHEDULE
ADANI POWER LIMITED UDUPI TPP | 1 | 600 | 2022-04-10 11:55 |  | COAL SHORTAGE
ADANI POWER LIMITED UDUPI TPP | 2 | 600 | 2021-08-27 21:49 |  | COAL SHORTAGE
ADANI POWER LIMITED UDUPI TPP | 2 | 600 | 2022-04-10 11:55 |  | COAL SHORTAGE
ADANI POWER LIMITED UDUPI TPP | 2 | 600 | 2023-03-16 01:00 |  | AIR PREHEATERS PROBLEM
ADANI POWER LIMITED UDUPI TPP | 2 | 600 | 2023-07-06 00:53 |  | COAL FEEDING PROBLEM IN PLANT
ADANI POWER LIMITED UDUPI TPP | 2 | 600 | 2024-10-04 23:03 |  | RSD/LOW SCHEDULE
MUTHIARA TPP | 2 | 600 | 2024-10-04 23:59 |  | FURNACE DRAFT ABNORMAL
NEYVELI TPS-II | 4 | 210 | 2024-10-03 23:14 |  | BOILER FEED PUMP/MOTOR PROBLEM
NEYVELI TPS-II | 4 | 210 | 2020-11-15 12:28 |  | TURBINE MISC. PROBLEMS
NEYVELI TPS-II EXP | 1 | 250 | 2024-09-04 19:04 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NEYVELI TPS-II EXP | 1 | 250 | 2024-09-15 |  | CAPITAL MAINTENANCE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2024-06-04 20:24 |  | COAL FEEDING PROBLEM IN PLANT
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-06-09 00:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-04-21 21:15 |  | RSD/LOW SCHEDULE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-04-17 17:10 |  | RSD/LOW SCHEDULE
BHADRADRI TPP | 1 | 270 | 2024-06-30 |  | GENEATOR PROTECTION MISC/BACK UP PROT
THAMMINAPATNAM TPS | 1 | 150 | 2024-09-21 01:18 | 2024-11-15 | TURBINE VIBRATIONS HIGH
THAMMINAPATNAM TPS | 1 | 150 | 2024-09-13 |  | TURBINE VIBRATION
THAMMINAPATNAM TPS | 1 | 150 | 2024-09-11 13:01 |  | TURBINE VIBRATION HIGH
JEGURUPADU CCPP PH I | 1 | 52.8 | 2024-05-10 19:12 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-07 13:45 |  | GT-GEN./FIELD BREAKER PROBLEM
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-26 16:25 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2021-03-06 00:29 |  | BOILER INSPECTION/ RE-CERTIFICATION
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-06 15:31 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2024-05-20 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2021-12-01 14:40 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 4 | 77 | 2024-05-20 |  | Fuel Shortage
NABINAGAR TPP | 1 | 250 | 2024-09-15 04:56 |  | GENERATOR STATOR DAMAGED
NABINAGAR TPP | 1 | 250 | 2024-09-16 |  | GENERATOR INSPECTION/TESTING/MTCE
MEJIA TPS | 1 | 210 | 2020-09-05 17:00 |  | WATER WALL TUBE LEAKAGE
MEJIA TPS | 1 | 210 | 2019-10-31 17:54 |  | WATER WALL TUBE LEAKAGE
MEJIA TPS | 1 | 210 | 2024-09-14 03:34 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
MEJIA TPS | 1 | 210 | 2020-09-26 |  | Low system demand/ costly fuel
MEJIA TPS | 1 | 210 | 2020-08-20 09:40 |  | WATER WALL TUBE LEAKAGE
NAMRUP CCPP | 2 | 17 | 2022-03-22 |  | Instrument air system Failure
NAMRUP CCPP | 2 | 17 | 2020-05-06 20:15 |  | Electrical Scheduled Maitenance
NAMRUP CCPP | 2 | 17 | 2021-12-03 11:08 |  | GRID SYSTEM PROBLEMS
NAMRUP CCPP | 2 | 17 | 2021-12-18 |  | OIL LEAKAGE PROBLEM OPU/SUM/SYSTEM
NAMRUP CCPP | 2 | 17 | 2022-01-28 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 2 | 17 | 2022-01-28 20:25 |  | INSTRUMENTATION PROBLEM
NAMRUP CCPP | 2 | 17 | 2022-02-04 09:28 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 2 | 17 | 2022-02-04 13:38 |  | Fuel Shortage
NAMRUP CCPP | 2 | 17 | 2022-05-25 20:20 |  | LUBRICATING OIL PUMP/SYSTEM MISC
NAMRUP CCPP | 2 | 17 | 2022-05-27 12:30 |  | LOW SYSTEM DEMAND
NAMRUP CCPP | 2 | 17 | 2022-07-07 07:15 |  | Fuel Shortage
NAMRUP CCPP | 2 | 17 | 2022-08-23 04:42 |  | GRID DISTURBANCE
NAMRUP CCPP | 2 | 17 | 2022-08-23 04:46 |  | VIBRATIONS
NAMRUP CCPP | 2 | 17 | 2022-10-07 21:52 |  | SEAL OIL SYSTEM PROBLEM
NAMRUP CCPP | 2 | 17 | 2022-11-30 15:35 |  | REVERSE POWER RELAY OPERATION
NAMRUP CCPP | 2 | 17 | 2023-09-02 15:05 |  | EXCT. FAIL/LOSS OF EXCITATION /MISC. PROB.
NAMRUP CCPP | 2 | 17 | 2024-07-17 11:15 |  | GENEATOR PROTECTION MISC/BACK UP PROT
NAMRUP CCPP | 2 | 17 | 2024-07-17 14:01 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 3 | 15 | 2022-02-14 09:30 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 3 | 15 | 2022-05-08 09:17 |  | C&I PROBLEM
NAMRUP CCPP | 3 | 15 | 2022-06-02 13:05 |  | GRID DISTURBENCE
NAMRUP CCPP | 3 | 15 | 2022-08-03 08:37 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 3 | 15 | 2022-10-03 16:13 |  | GRID DISTURBANCE
NAMRUP CCPP | 3 | 15 | 2021-07-13 13:55 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
NAMRUP CCPP | 3 | 15 | 2021-11-24 10:43 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 3 | 15 | 2022-01-08 23:15 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 3 | 15 | 2022-01-28 20:25 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
NAMRUP CCPP | 3 | 15 | 2024-08-16 09:46 |  | MISCELLANEOUS PLANNED MAINTENANCE
NAMRUP CCPP | 3 | 15 | 2024-08-16 17:00 |  | WATER SHORTAGE DUE TO INTERNAL PLANT PROBLEM
NAMRUP CCPP | 3 | 15 | 2024-02-05 09:16 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 3 | 15 | 2023-06-04 22:48 |  | TURBINE BEARING COOLING SYS/OIL COOLER
NAMRUP CCPP | 3 | 15 | 2022-01-22 22:40 |  | Fuel Shortage
NAMRUP CCPP | 3 | 15 | 2022-02-13 23:40 |  | Fuel Shortage
NAMRUP CCPP | 6 | 9 | 2021-12-09 05:05 |  | CONDENSER LOW VACCUM
NAMRUP CCPP | 6 | 9 | 2022-08-23 04:42 |  | GRID DISTURBANCE
NAMRUP CCPP | 6 | 9 | 2022-10-23 10:43 |  | Fuel Shortage
NAMRUP CCPP | 6 | 9 | 2024-08-16 09:30 |  | MISCELLANEOUS PLANNED MAINTENANCE
NAMRUP CCPP | 6 | 9 | 2024-08-16 17:00 |  | WATER SHORTAGE DUE TO INTERNAL PLANT PROBLEM
NAMRUP CCPP | 6 | 9 | 2022-04-17 19:45 |  | AIR COMRESSORS FAILURE AND OTHER PROBLEM
LAKWA GT | 7 | 20 | 2024-04-08 17:08 |  | VIBRATIONS
LAKWA GT | 7 | 20 | 2023-10-18 |  | BUS PROTECTION TRIP
LAKWA GT | 7 | 20 | 2023-02-04 21:47 |  | Fuel Shortage
LAKWA GT | 7 | 20 | 2021-04-19 |  | GEN. TRANSORMER PROTECTION RELAY OPERATION PROBLEM
LAKWA GT | 7 | 20 | 2020-01-06 |  | MINOR MAINTENANCE WORKS
Total |  | 77577.28