## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 19-10-2024 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
ANTA CCPP | 1 | 88.71 | 18/10/2024 21:28 | 19/10/2024 17:59 | NO/REDUCED IRRIGATION DEMAND
ANTA CCPP | 2 | 88.71 | 18/10/2024 21:28 | 19/10/2024 16:21 | NO/REDUCED IRRIGATION DEMAND
ANTA CCPP | 3 | 88.71 | 18/10/2024 21:29 | 19/10/2024 18:24 | NO/REDUCED IRRIGATION DEMAND
SURATGARH STPS | 7 | 660.00 | 18/10/2024 14:05 | 19/10/2024 14:15 | FURNACE FIRE OUT /FLAME FAILURE
DADRI (NCTPP) | 1 | 210.00 | 19/10/2024 06:57 | 19/10/2024 14:54 | BOILER AUX. MISC. PROMLEMS
RIHAND STPS | 3 | 500.00 | 18/10/2024 07:40 | 19/10/2024 21:43 | ECONOMISER TUBE LEAKAGE
AURAIYA CCPP | 1 | 111.19 | 18/10/2024 21:10 | 19/10/2024 16:53 | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 2 | 111.19 | 18/10/2024 21:09 | 19/10/2024 16:35 | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 3 | 111.19 | 18/10/2024 21:12 | 19/10/2024 16:15 | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 4 | 111.19 | 18/10/2024 21:11 | 19/10/2024 16:41 | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 1 | 130.19 | 18/10/2024 21:23 | 19/10/2024 16:17 | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 4 | 130.19 | 18/10/2024 21:24 | 19/10/2024 16:24 | NO/REDUCED IRRIGATION DEMAND
KORBA STPS | 4 | 500.00 | 18/10/2024 12:31 | 19/10/2024 21:49 | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
GANDHAR CCPP | 1 | 144.30 | 18/10/2024 21:36 | 19/10/2024 16:05 | NO/REDUCED IRRIGATION DEMAND
GANDHAR CCPP | 2 | 144.30 | 18/10/2024 21:27 | 19/10/2024 16:34 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 1 | 106.00 | 18/10/2024 21:23 | 19/10/2024 15:43 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 2 | 106.00 | 18/10/2024 21:19 | 19/10/2024 16:13 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 3 | 106.00 | 18/10/2024 21:24 | 19/10/2024 16:03 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 4 | 106.00 | 18/10/2024 21:03 | 19/10/2024 17:09 | NO/REDUCED IRRIGATION DEMAND
DHUVARAN CCPP | 5 | 376.10 | 18/10/2024 23:59 | 19/10/2024 14:15 | RESERVE SHUT DOWN/ STANDBY.
Dr. N.TATA RAO TPS | 3 | 210.00 | 18/10/2024 22:59 | 19/10/2024 00:41 | FURNACE FIRE OUT /FLAME FAILURE
SGPL TPP | 1 | 660.00 | 18/10/2024 19:39 | 19/10/2024 19:28 | EXCITATION PROBLEM
VIZAG TPP | 2 | 520.00 | 14/10/2024 00:00 | 19/10/2024 08:05 | COAL SHORTAGE
MADRAS A.P.S. | 2 | 220.00 | 06/10/2024 00:00 | 19/10/2024 16:44 | Miscellaneous
KATHALGURI CCPP | 5 | 33.50 | 19/10/2024 00:00 | 19/10/2024 23:59 | Fuel Shortage
KATHALGURI CCPP | 7 | 30.00 | 19/10/2024 18:03 | 19/10/2024 19:02 | MISCELLANEOUS
LAKWA REPLACEMENT POWER PROJECT | 2 | 9.96 | 19/10/2024 07:09 | 19/10/2024 09:21 | Fuel Shortage
LAKWA REPLACEMENT POWER PROJECT | 3 | 9.96 | 19/10/2024 17:28 | 19/10/2024 20:30 | Fuel Shortage
LAKWA REPLACEMENT POWER PROJECT | 4 | 9.96 | 18/10/2024 09:14 | 19/10/2024 11:05 | Fuel Shortage
LAKWA REPLACEMENT POWER PROJECT | 7 | 9.96 | 19/10/2024 04:41 | 19/10/2024 11:51 | Fuel Shortage
LAKWA REPLACEMENT POWER PROJECT | 7 |  | 19/10/2024 13:16 | 19/10/2024 17:26 | MISCELLANOUS
MONARCHAK CCPP | 1 | 65.40 | 19/10/2024 00:00 | 19/10/2024 23:59 | MISCELLANEOUS PLANNED MAINTENANCE
MONARCHAK CCPP | 2 | 35.60 | 19/10/2024 00:00 | 19/10/2024 23:59 | MISCELLANEOUS PLANNED MAINTENANCE
Total |  | 5,744.33