## generationrptforNTPCStation
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
GENERATION REPORT FOR NTPC STATIONS DATED - 19-Oct-2024
Power Station | Monitored Cap. (MW) | Available Cap. (MW) | Generation (MU) |  |  |  | Coal Stock In day's | Cap. Under Outage (MW) | Maintenance Start Date (dd/mm/yyyyhh24:mi) | Expected Returned Date/SyncDate | Remarks
|  |  | Today's Program | Today's Actual | April 1 Till Date
[5 empty] | Prog. | Actual
Haryana
FARIDABAD CCPP | 431.59 | 0 | 0.39 | 0 | 88.41 | 215.37 |  | 431.59
Total THER (GT) | 431.59 | 0 | 0.39 | 0 | 88.41 | 215.37 |  | 431.59
Total Generation | 431.59 | 0 | 0.39 | 0 | 88.41 | 215.37 |  | 431.59
Himachal Pradesh
KOLDAM | 800 | 200 | 5.1 | 5.49 | 2635.9 | 2834.69 |  | 600
Total HYDRO | 800 | 200 | 5.1 | 5.49 | 2635.9 | 2834.69 |  | 600
Total Generation | 800 | 200 | 5.1 | 5.49 | 2635.9 | 2834.69 |  | 600
Rajasthan
ANTA CCPP | 419.33 | 0 | 1.26 | 0.67 | 267.94 | 377.45 |  | 419.33
Total THER (GT) | 419.33 | 0 | 1.26 | 0.67 | 267.94 | 377.45 |  | 419.33
Total Generation | 419.33 | 0 | 1.26 | 0.67 | 267.94 | 377.45 |  | 419.33
Uttarakhand
TAPOVAN VISHNUGAD HPS | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Total HYDRO | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Total Generation | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Uttar Pradesh
DADRI (NCTPP) | 1820 | 1330 | 23.22 | 19.3 | 6940.2 | 5653.26 | 102 | 490
Unit 1 | 210 | 210 | 3.61 | 2.05 | 818.59 | 659.26 | 17 | 0 | 2024-10-19 06:57 | 2024-10-19 14:54 | BOILER AUX. MISC. PROMLEMS
Unit 2 | 210 | 210 | 3.61 | 3.17 | 818.59 | 676.49 | 17 | 0
Unit 3 | 210 | 210 | 3.74 | 3.19 | 744.06 | 584.86 | 17 | 0
Unit 4 | 210 | 210 | 3.74 | 3.2 | 847.06 | 675.11 | 17 | 0
Unit 5 | 490 | 490 | 8.52 | 7.69 | 1913.88 | 1623.49 | 17 | 0
Unit 6 | 490 | 0 | 0 | 0 | 1798.02 | 1434.05 | 17 | 490 | 2024-09-30 00:41 |  | OVERHAULING WORKS
RIHAND STPS | 3000 | 2000 | 58.28 | 47.97 | 13914.32 | 12829.05 | 72 | 1000
Unit 1 | 500 | 500 | 11.65 | 11.68 | 2357.35 | 1728.09 | 12 | 0
Unit 2 | 500 | 500 | 0 | 12.04 | 2145 | 2078.76 | 12 | 0
Unit 3 | 500 | 0 | 11.65 | 0.8 | 2351.35 | 2307.51 | 12 | 500 | 2024-10-18 07:40 | 2024-10-19 21:43 | ECONOMISER TUBE LEAKAGE
Unit 4 | 500 | 500 | 11.65 | 11.75 | 2351.35 | 2162.09 | 12 | 0
Unit 5 | 500 | 500 | 11.65 | 11.7 | 2352.35 | 2321.11 | 12 | 0
Unit 6 | 500 | 0 | 11.68 | 0 | 2356.92 | 2231.49 | 12 | 500 | 2024-10-17 23:29 |  | GEN. TRANSFORMER TRIPPING/ DAMAGED
SINGRAULI STPS | 2000 | 2000 | 46.76 | 44.92 | 9446.44 | 8622.54 | 70 | 0
Unit 1 | 200 | 200 | 4.65 | 4.67 | 940.35 | 910.74 | 10 | 0
Unit 2 | 200 | 200 | 4.71 | 4.67 | 950.49 | 747.85 | 10 | 0
Unit 3 | 200 | 200 | 4.65 | 4.65 | 942.35 | 921.31 | 10 | 0
Unit 4 | 200 | 200 | 4.71 | 4.64 | 950.49 | 909.86 | 10 | 0
Unit 5 | 200 | 200 | 4.65 | 4.61 | 940.35 | 887.19 | 10 | 0
Unit 6 | 500 | 500 | 11.81 | 10.92 | 2384.39 | 2102.83 | 10 | 0
Unit 7 | 500 | 500 | 11.58 | 10.76 | 2338.02 | 2142.76 | 10 | 0
TANDA TPS | 1760 | 1650 | 31.5 | 32.66 | 7194.5 | 6448.36 | 102 | 110
Unit 1 | 110 | 110 | 1.77 | 1.77 | 394.63 | 305.2 | 17 | 0
Unit 2 | 110 | 110 | 1.77 | 1.79 | 394.63 | 302.26 | 17 | 0
Unit 3 | 110 | 110 | 0 | 1.71 | 361 | 304.03 | 17 | 0
Unit 4 | 110 | 0 | 1.77 | 0 | 398.63 | 239.96 | 17 | 110 | 2024-09-14 16:15 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Unit 5 | 660 | 660 | 12.9 | 13.69 | 2776.1 | 2676.16 | 17 | 0
Unit 6 | 660 | 660 | 13.29 | 13.7 | 2869.51 | 2620.75 | 17 | 0
UNCHAHAR TPS | 1550 | 1340 | 22.7 | 24.03 | 5904.3 | 5453.29 | 66 | 210
Unit 1 | 210 | 210 | 3.39 | 3.62 | 778.41 | 735.38 | 11 | 0
Unit 2 | 210 | 210 | 3.35 | 3.59 | 760.65 | 713.32 | 11 | 0
Unit 3 | 210 | 210 | 4.87 | 3.89 | 977.53 | 750.95 | 11 | 0
Unit 4 | 210 | 210 | 0 | 3.94 | 885 | 783.08 | 11 | 0
Unit 5 | 210 | 0 | 3.61 | 0 | 818.59 | 638.41 | 11 | 210 | 2024-09-12 01:02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Unit 6 | 500 | 500 | 7.48 | 8.99 | 1684.12 | 1832.15 | 11 | 0
Total THERMAL | 10130 | 8320 | 182.46 | 168.88 | 43399.76 | 39006.5 | 412 | 1810
AURAIYA CCPP | 663.36 | 0 | 2.52 | 1.38 | 495.88 | 492.17 |  | 663.36
DADRI CCPP | 829.78 | 130.19 | 3.26 | 1.3 | 640.94 | 621.99 |  | 699.59
Total THER (GT) | 1493.14 | 130.19 | 5.78 | 2.68 | 1136.82 | 1114.16 |  | 1362.95
Total Generation | 11623.14 | 8450.19 | 188.24 | 171.56 | 44536.58 | 40120.66 | 412 | 3172.95
Chhatisgarh
KORBA STPS | 2600 | 1900 | 60.79 | 44.91 | 11520.01 | 11001.85 | 49 | 700
Unit 1 | 200 | 0 | 4.71 | 0 | 945.49 | 903.26 | 7 | 200 | 2024-10-16 01:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Unit 2 | 200 | 200 | 4.71 | 4.69 | 947.49 | 938.67 | 7 | 0
Unit 3 | 200 | 200 | 4.65 | 4.73 | 942.35 | 932.54 | 7 | 0
Unit 4 | 500 | 0 | 11.65 | 0.37 | 2352.35 | 2281.65 | 7 | 500 | 2024-10-18 12:31 | 2024-10-19 21:49 | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Unit 5 | 500 | 500 | 11.65 | 11.66 | 2352.35 | 2304.74 | 7 | 0
Unit 6 | 500 | 500 | 11.61 | 11.74 | 1952.59 | 1765.59 | 7 | 0
Unit 7 | 500 | 500 | 11.81 | 11.72 | 2027.39 | 1875.4 | 7 | 0
LARA TPP | 1600 | 800 | 37.03 | 19.06 | 6362.57 | 6798.77 | 62 | 800
Unit 1 | 800 | 0 | 18.68 | 0 | 2654.92 | 3039.59 | 31 | 800 | 2024-09-18 00:56 |  | OVERHAULING WORKS
Unit 2 | 800 | 800 | 18.35 | 19.06 | 3707.65 | 3759.18 | 31 | 0
SIPAT STPS | 2980 | 2980 | 64.1 | 69.29 | 12797.9 | 12576.25 | 15 | 0
Unit 1 | 660 | 660 | 14.26 | 15.37 | 2866.94 | 2767.7 | 3 | 0
Unit 2 | 660 | 660 | 14.19 | 15.58 | 2863.61 | 2670.97 | 3 | 0
Unit 3 | 660 | 660 | 13.19 | 15.23 | 2524.61 | 2564.94 | 3 | 0
Unit 4 | 500 | 500 | 11.23 | 11.67 | 2274.37 | 2299.1 | 3 | 0
Unit 5 | 500 | 500 | 11.23 | 11.44 | 2268.37 | 2273.54 | 3 | 0
Total THERMAL | 7180 | 5680 | 161.92 | 133.26 | 30680.48 | 30376.87 | 126 | 1500
Total Generation | 7180 | 5680 | 161.92 | 133.26 | 30680.48 | 30376.87 | 126 | 1500
Gujarat
GANDHAR CCPP | 657.39 | 0 | 2.43 | 1.62 | 492.17 | 566.85 |  | 657.39
KAWAS CCPP | 656.2 | 0 | 1.37 | 1.63 | 421.03 | 502.33 |  | 656.2
Total THER (GT) | 1313.59 | 0 | 3.8 | 3.25 | 913.2 | 1069.18 |  | 1313.59
Total Generation | 1313.59 | 0 | 3.8 | 3.25 | 913.2 | 1069.18 |  | 1313.59
Madhya Pradesh
GADARWARA TPP | 1600 | 800 | 17.71 | 14.09 | 5753.49 | 4397.99 | 46 | 800
Unit 1 | 800 | 800 | 0 | 14.09 | 3240 | 2856.99 | 23 | 0
Unit 2 | 800 | 0 | 17.71 | 0 | 2513.49 | 1541 | 23 | 800 | 2024-10-15 17:43 |  | MAIN STEAM LINE PROBLEM
KHARGONE STPP | 1320 | 1320 | 20.91 | 21.07 | 4339.29 | 3894.1 | 32 | 0
Unit 1 | 660 | 660 | 11.26 | 10.61 | 2536.94 | 2138.97 | 16 | 0
Unit 2 | 660 | 660 | 9.65 | 10.46 | 1802.35 | 1755.13 | 16 | 0
VINDHYACHAL STPS | 4760 | 4550 | 99.63 | 101.06 | 21204.97 | 20186.77 | 143 | 210
Unit 1 | 210 | 210 | 4.9 | 4.62 | 755.1 | 662.7 | 11 | 0
Unit 10 | 500 | 500 | 11.77 | 11.24 | 1960.63 | 1810.04 | 11 | 0
Unit 11 | 500 | 500 | 11.68 | 11.14 | 2351.92 | 2293.49 | 11 | 0
Unit 12 | 500 | 500 | 11.65 | 11.06 | 2351.35 | 2299.9 | 11 | 0
Unit 13 | 500 | 500 | 11.65 | 10.98 | 2351.35 | 2225.12 | 11 | 0
Unit 2 | 210 | 210 | 4.94 | 4.51 | 996.86 | 906.68 | 11 | 0
Unit 3 | 210 | 210 | 4.94 | 4.41 | 996.86 | 885.85 | 11 | 0
Unit 4 | 210 | 0 | 4.9 | 0 | 822.1 | 702.04 | 11 | 210 | 2024-09-18 00:07 |  | OVERHAULING WORKS
Unit 5 | 210 | 210 | 4.9 | 4.52 | 993.1 | 888.88 | 11 | 0
Unit 6 | 210 | 210 | 4.94 | 4.68 | 995.86 | 939.32 | 11 | 0
Unit 7 | 500 | 500 | 11.65 | 11.33 | 2352.35 | 2191.95 | 11 | 0
Unit 8 | 500 | 500 | 0 | 11.32 | 1911 | 2154.73 | 11 | 0
Unit 9 | 500 | 500 | 11.71 | 11.25 | 2366.49 | 2226.07 | 11 | 0
Total THERMAL | 7680 | 6670 | 138.25 | 136.22 | 31297.75 | 28478.86 | 221 | 1010
Total Generation | 7680 | 6670 | 138.25 | 136.22 | 31297.75 | 28478.86 | 221 | 1010
Maharashtra
MAUDA TPS | 2320 | 1660 | 32.87 | 30.71 | 9123.53 | 7410.97 | 92 | 660
Unit 1 | 500 | 500 | 10 | 9.06 | 2147 | 1864.99 | 23 | 0
Unit 2 | 500 | 500 | 10.9 | 9.13 | 1821.1 | 1404.24 | 23 | 0
Unit 3 | 660 | 660 | 11.97 | 12.52 | 2704.43 | 2254.19 | 23 | 0
Unit 4 | 660 | 0 | 0 | 0 | 2451 | 1887.55 | 23 | 660 | 2024-08-31 23:10 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
SOLAPUR STPS | 1320 | 1320 | 20.32 | 18.81 | 4291.08 | 3493.84 | 22 | 0
Unit 1 | 660 | 660 | 10.48 | 9.14 | 2059.12 | 1526.47 | 11 | 0
Unit 2 | 660 | 660 | 9.84 | 9.67 | 2231.96 | 1967.37 | 11 | 0
Total THERMAL | 3640 | 2980 | 53.19 | 49.52 | 13414.61 | 10904.81 | 114 | 660
Total Generation | 3640 | 2980 | 53.19 | 49.52 | 13414.61 | 10904.81 | 114 | 660
Andhra Pradesh
SIMHADRI | 2000 | 2000 | 35.78 | 38.93 | 7637.82 | 6693.19 | 44 | 0
Unit 1 | 500 | 500 | 8.71 | 9.55 | 1973.49 | 1795.91 | 11 | 0
Unit 2 | 500 | 500 | 9.26 | 9.61 | 2083.94 | 1735.12 | 11 | 0
Unit 3 | 500 | 500 | 8.71 | 9.81 | 1973.49 | 1832.68 | 11 | 0
Unit 4 | 500 | 500 | 9.1 | 9.96 | 1606.9 | 1329.48 | 11 | 0
Total THERMAL | 2000 | 2000 | 35.78 | 38.93 | 7637.82 | 6693.19 | 44 | 0
Total Generation | 2000 | 2000 | 35.78 | 38.93 | 7637.82 | 6693.19 | 44 | 0
Karnataka
KUDGI STPP | 2400 | 2400 | 37.28 | 35.3 | 7880.32 | 6598.62 | 33 | 0
Unit 1 | 800 | 800 | 12.19 | 11.75 | 2208.61 | 2014.03 | 11 | 0
Unit 2 | 800 | 800 | 13.61 | 11.8 | 3087.59 | 2378.04 | 11 | 0
Unit 3 | 800 | 800 | 11.48 | 11.75 | 2584.12 | 2206.55 | 11 | 0
Total THERMAL | 2400 | 2400 | 37.28 | 35.3 | 7880.32 | 6598.62 | 33 | 0
Total Generation | 2400 | 2400 | 37.28 | 35.3 | 7880.32 | 6598.62 | 33 | 0
Kerala
R. GANDHI CCPP (Liq.) | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Total THER (GT) | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Total Generation | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Telangana
RAMAGUNDEM STPS | 2600 | 2100 | 46.2 | 40.59 | 11136.8 | 8500.81 | 91 | 500
Unit 1 | 200 | 200 | 4.42 | 3.41 | 780.98 | 702.62 | 13 | 0
Unit 2 | 200 | 200 | 4.42 | 3.56 | 890.98 | 677.88 | 13 | 0
Unit 3 | 200 | 200 | 4.39 | 3.32 | 884.41 | 697.21 | 13 | 0
Unit 4 | 500 | 0 | 10.94 | 5.33 | 2212.86 | 1753.86 | 13 | 500 | 2024-10-19 17:49 |  | FURNACE FIRE OUT /FLAME FAILURE
Unit 5 | 500 | 500 | 11.06 | 8.33 | 2232.14 | 1327.58 | 13 | 0
Unit 6 | 500 | 500 | 10.97 | 7.96 | 2212.43 | 1594.02 | 13 | 0
Unit 7 | 500 | 500 | 0 | 8.68 | 1923 | 1747.64 | 13 | 0
TELANGANA STPP PH-1 | 1600 | 1600 | 26.71 | 32.22 | 5861.49 | 5511.12 | 40 | 0
Unit 1 | 800 | 800 | 15.48 | 16.21 | 3332.12 | 2665.97 | 20 | 0
Unit 2 | 800 | 800 | 11.23 | 16.01 | 2529.37 | 2845.15 | 20 | 0
Total THERMAL | 4200 | 3700 | 72.91 | 72.81 | 16998.29 | 14011.93 | 131 | 500
Total Generation | 4200 | 3700 | 72.91 | 72.81 | 16998.29 | 14011.93 | 131 | 500
Bihar
BARAUNI TPS | 710 | 500 | 8.23 | 11.36 | 1857.37 | 2061.33 | 44 | 210
Unit 6 | 105 | 0 | 0 | 0 | 0 | 0 | 11 | 105 | 2023-07-22 12:05 |  | MAJOR BREAK DOWN
Unit 7 | 105 | 0 | 0 | 0 | 0 | 0 | 11 | 105 | 2023-07-19 15:30 |  | MAJOR BREAK DOWN
Unit 8 | 250 | 250 | 4 | 5.68 | 898 | 1079.59 | 11 | 0
Unit 9 | 250 | 250 | 4.23 | 5.68 | 959.37 | 981.74 | 11 | 0
BARH STPS | 2640 | 2640 | 52.26 | 57.17 | 10622.94 | 9088.8 | 50 | 0
Unit 1 | 660 | 660 | 11.29 | 14.05 | 2535.51 | 1687.67 | 10 | 0
Unit 2 | 660 | 660 | 11.55 | 14.22 | 2615.45 | 2196.48 | 10 | 0
Unit 3 | 0 | 0 | 6.61 | 0 | 323.59 | 0 | 10 | 0 |  |  | unit not yet commissioned
Unit 4 | 660 | 660 | 11.23 | 14.45 | 2530.37 | 2651.03 | 10 | 0
Unit 5 | 660 | 660 | 11.58 | 14.45 | 2618.02 | 2553.62 | 10 | 0
KAHALGAON TPS | 2340 | 2340 | 51.87 | 50 | 10332.53 | 9030.11 | 63 | 0
Unit 1 | 210 | 210 | 4.81 | 4.15 | 970.39 | 862.21 | 9 | 0
Unit 2 | 210 | 210 | 4.77 | 4.2 | 820.63 | 800.68 | 9 | 0
Unit 3 | 210 | 210 | 4.77 | 4.54 | 963.63 | 717.67 | 9 | 0
Unit 4 | 210 | 210 | 4.65 | 4.25 | 942.35 | 865.71 | 9 | 0
Unit 5 | 500 | 500 | 11.19 | 10.79 | 2261.61 | 2116.84 | 9 | 0
Unit 6 | 500 | 500 | 10.84 | 11.19 | 2186.96 | 1601.5 | 9 | 0
Unit 7 | 500 | 500 | 10.84 | 10.88 | 2186.96 | 2065.5 | 9 | 0
Total THERMAL | 5690 | 5480 | 112.36 | 118.53 | 22812.84 | 20180.24 | 157 | 210
Total Generation | 5690 | 5480 | 112.36 | 118.53 | 22812.84 | 20180.24 | 157 | 210
Jharkhand
NORTH KARANPURA TPP | 1320 | 660 | 34.25 | 15.45 | 5457.75 | 5451.2 | 33 | 660
Unit 1 | 660 | 660 | 14.19 | 15.45 | 2862.61 | 2650.5 | 11 | 0
Unit 2 | 660 | 0 | 10.71 | 0 | 2417.49 | 2800.7 | 11 | 660 | 2024-10-18 17:04 |  | MAIN STEAM LINE PROBLEM
Unit 3 | 0 | 0 | 9.35 | 0 | 177.65 | 0 | 11 | 0 |  |  | unit not yet commissioned
Total THERMAL | 1320 | 660 | 34.25 | 15.45 | 5457.75 | 5451.2 | 33 | 660
Total Generation | 1320 | 660 | 34.25 | 15.45 | 5457.75 | 5451.2 | 33 | 660
Odisha
DARLIPALI STPS | 1600 | 1600 | 37.17 | 38.32 | 6340.83 | 6061.99 | 34 | 0
Unit 1 | 800 | 800 | 18.56 | 19.23 | 2577.24 | 2302.47 | 17 | 0
Unit 2 | 800 | 800 | 18.61 | 19.09 | 3763.59 | 3759.52 | 17 | 0
TALCHER STPS | 3000 | 3000 | 70.18 | 67.95 | 13186.42 | 11327.85 | 42 | 0
Unit 1 | 500 | 500 | 11.65 | 10.92 | 2351.35 | 2059.36 | 7 | 0
Unit 2 | 500 | 500 | 11.68 | 11.43 | 1895.92 | 1523.49 | 7 | 0
Unit 3 | 500 | 500 | 11.65 | 11.08 | 2351.35 | 1897.36 | 7 | 0
Unit 4 | 500 | 500 | 11.65 | 11.37 | 2352.35 | 2080.23 | 7 | 0
Unit 5 | 500 | 500 | 11.74 | 11.58 | 2383.06 | 2113.85 | 7 | 0
Unit 6 | 500 | 500 | 11.81 | 11.57 | 1852.39 | 1653.56 | 7 | 0
Total THERMAL | 4600 | 4600 | 107.35 | 106.27 | 19527.25 | 17389.84 | 76 | 0
Total Generation | 4600 | 4600 | 107.35 | 106.27 | 19527.25 | 17389.84 | 76 | 0
West Bengal
FARAKKA STPS | 2100 | 2100 | 38.17 | 43.32 | 8275.23 | 7695.14 | 42 | 0
Unit 1 | 200 | 200 | 3.68 | 4.07 | 833.92 | 766.94 | 7 | 0
Unit 2 | 200 | 200 | 3.68 | 4.18 | 825.92 | 772 | 7 | 0
Unit 3 | 200 | 200 | 3.87 | 4.06 | 834.53 | 799.45 | 7 | 0
Unit 4 | 500 | 500 | 8.94 | 10.36 | 2023.86 | 1953.36 | 7 | 0
Unit 5 | 500 | 500 | 8.97 | 10.11 | 1730.43 | 1381.8 | 7 | 0
Unit 6 | 500 | 500 | 9.03 | 10.54 | 2026.57 | 2021.59 | 7 | 0
Total THERMAL | 2100 | 2100 | 38.17 | 43.32 | 8275.23 | 7695.14 | 42 | 0
Total Generation | 2100 | 2100 | 38.17 | 43.32 | 8275.23 | 7695.14 | 42 | 0
Assam
BONGAIGAON TPP | 750 | 750 | 15.2 | 14.97 | 3236.8 | 2849.07 | 27 | 0
Unit 1 | 250 | 250 | 5.52 | 4.95 | 1115.88 | 945.92 | 9 | 0
Unit 2 | 250 | 250 | 4.97 | 5.03 | 1082.43 | 951.96 | 9 | 0
Unit 3 | 250 | 250 | 4.71 | 4.99 | 1038.49 | 951.19 | 9 | 0
Total THERMAL | 750 | 750 | 15.2 | 14.97 | 3236.8 | 2849.07 | 27 | 0
Total Generation | 750 | 750 | 15.2 | 14.97 | 3236.8 | 2849.07 | 27 | 0