## dailyOutage_Report
| CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 19-11-2024
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[7 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Haryana | RAJIV GANDHI TPS | 1 | 0 | 600 | 0 | 0 | 01/11/2024 10:22 |  | RESERVE SHUT DOWN / STANDBY UNIT
Punjab | TALWANDI SABO TPP | 1 | 0 | 0 | 660 | 0 | 12/11/2024 18:35 |  | BOILER MISC. PROBLEM
Punjab | TALWANDI SABO TPP | 2 | 0 | 0 | 660 | 0 | 16/11/2024 19:00 |  | ABNORMAL SOUND
Rajasthan | CHHABRA-II TPP | 5 | 0 | 0 | 0 | 0 | 19/11/2024 10:58 | 19/11/2024 16:46 | ELECTRICAL FAULT
Uttar Pradesh | MEJA STPP | 2 | 660 | 0 | 0 | 0 | 17/11/2024 00:04 |  | BOILER INSPECTION/ RE-CERTIFICATION
Uttar Pradesh | SINGRAULI STPS | 6 | 0 | 0 | 500 | 0 | 18/11/2024 07:46 | 19/11/2024 19:52 | WATER WALL TUBE LEAKAGE
Uttar Pradesh | TANDA TPS | 5 | 660 | 0 | 0 | 0 | 11/11/2024 13:37 |  | OVERHAULING WORKS
Uttar Pradesh | ANPARA TPS | 5 | 500 | 0 | 0 | 0 | 06/11/2024 00:00 |  | OVERHAULING WORKS
Uttar Pradesh | ANPARA TPS | 6 | 0 | 0 | 500 | 0 | 10/11/2024 13:56 |  | GENERATOR MISCLLANEOUS MAINTENANCE
Uttar Pradesh | HARDUAGANJ TPS | 10 | 0 | 0 | 660 | 0 | 17/11/2024 22:04 |  | RSD/LOW SCHEDULE
Uttar Pradesh | PRAYAGRAJ TPP | 2 | 660 | 0 | 0 | 0 | 19/11/2024 03:48 |  | ANNUAL MAINTENANCE
Chhatisgarh | ADANI POWER LIMITED RAIGARH TPP | 1 | 0 | 0 | 600 | 0 | 17/11/2024 06:54 |  | BOILER MISC. PROBLEM
Chhatisgarh | ADANI POWER LIMITED RAIPUR TPP | 2 | 685 | 0 | 0 | 0 | 10/11/2024 02:05 |  | CAPITAL MAINTENANCE
Chhatisgarh | AKALTARA TPS | 2 | 0 | 0 | 600 | 0 | 11/11/2024 23:45 |  | COAL SHORTAGE
Gujarat | KAKRAPARA | 3 | 700 | 0 | 0 | 0 | 18/09/2024 00:57 |  | ANNUAL MAINTENANCE
Gujarat | MUNDRA UMTPP | 3 | 0 | 0 | 800 | 0 | 16/11/2024 21:34 | 19/11/2024 23:26 | BOILER MISC. PROBLEM
Madhya Pradesh | VINDHYACHAL STPS | 8 | 500 | 0 | 0 | 0 | 10/11/2024 00:14 |  | OVERHAULING WORKS
Maharashtra | TROMBAY TPS | 5 | 0 | 500 | 0 | 0 | 22/09/2024 16:14 |  | FIRE IN CABLE GALLERY
Andhra Pradesh | SIMHADRI | 2 | 500 | 0 | 0 | 0 | 09/11/2024 22:36 |  | OVERHAULING WORKS
Andhra Pradesh | SGPL TPP | 2 | 0 | 0 | 0 | 660 | 16/11/2024 19:17 | 19/11/2024 02:06 | Cooling Water System Abnormal/ Maintenance
Andhra Pradesh | VIZAG TPP | 1 | 0 | 0 | 0 | 0 | 19/11/2024 22:22 |  | COOLING TOWER PROBLEM
Karnataka | KUDGI STPP | 3 | 800 | 0 | 0 | 0 | 16/11/2024 02:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka | BELLARY TPS | 1 | 0 | 0 | 500 | 0 | 08/11/2024 03:00 |  | GENERATOR TRANSFORMER ON FIRE
Karnataka | BELLARY TPS | 3 | 0 | 0 | 0 | 0 | 19/11/2024 23:22 |  | WATER WALL TUBE LEAKAGE
Karnataka | YERMARUS TPP | 1 | 800 | 0 | 0 | 0 | 03/09/2024 23:59 |  | ANNUAL MAINTENANCE
Tamil Nadu | NORTH CHENNAI TPS | 5 | 600 | 0 | 0 | 0 | 16/10/2024 00:23 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | ITPCL TPP | 1 | 0 | 600 | 0 | 0 | 31/10/2024 01:11 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu | MUTHIARA TPP | 2 | 0 | 0 | 600 | 0 | 11/11/2024 20:35 |  | BOILER FEED PUMP/MOTOR PROBLEM
Telangana | RAMAGUNDEM STPS | 7 | 500 | 0 | 0 | 0 | 06/11/2024 00:15 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Telangana | KAKATIYA TPS | 2 | 600 | 0 | 0 | 0 | 16/11/2024 05:16 |  | ANNUAL MAINTENANCE
Bihar | BARH STPS | 4 | 0 | 0 | 660 | 0 | 14/11/2024 12:00 |  | TURBINE VIBRATIONS HIGH
Bihar | KAHALGAON TPS | 5 | 500 | 0 | 0 | 0 | 14/11/2024 23:43 |  | OVERHAULING WORKS
Total |  |  | 8665 | 1700 | 6740 | 660