## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 19-11-2024 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
FARIDABAD CCPP | 1 | 137.76 | 28/06/2024 01:24 | 19/11/2024 00:00 | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 2 | 137.76 | 30/08/2024 00:00 | 19/11/2024 00:00 | NO/REDUCED IRRIGATION DEMAND
FARIDABAD CCPP | 3 | 156.07 | 02/08/2024 12:00 | 19/11/2024 00:00 | NO/REDUCED IRRIGATION DEMAND
ANTA CCPP | 1 | 88.71 | 18/11/2024 19:56 | 19/11/2024 15:47 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 2 | 88.71 | 18/11/2024 19:59 | 19/11/2024 16:19 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 3 | 88.71 | 18/11/2024 19:56 | 19/11/2024 16:46 | CONSERVATION OF MAIN FUEL/RSD
RAJASTHAN A.P.S. | 2 | 200.00 | 12/11/2024 11:19 | 19/11/2024 07:47 | REACTOR MAINTENANCE WORKS.
CHHABRA-II TPP | 5 | 660.00 | 19/11/2024 10:58 | 19/11/2024 16:46 | ELECTRICAL FAULT
SURATGARH TPS | 3 | 250.00 | 19/11/2024 06:12 | 19/11/2024 15:35 | FURNACE FIRE OUT /FLAME FAILURE
SINGRAULI STPS | 6 | 500.00 | 18/11/2024 07:46 | 19/11/2024 19:52 | WATER WALL TUBE LEAKAGE
AURAIYA CCPP | 1 | 111.19 | 18/11/2024 19:58 | 19/11/2024 15:31 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 2 | 111.19 | 18/11/2024 19:44 | 19/11/2024 15:54 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 3 | 111.19 | 18/11/2024 19:54 | 19/11/2024 15:37 | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 4 | 111.19 | 18/11/2024 19:44 | 19/11/2024 16:01 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 18/11/2024 19:57 | 19/11/2024 15:51 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 3 | 130.19 | 18/11/2024 19:57 | 19/11/2024 15:52 | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 4 | 130.19 | 18/11/2024 19:57 | 19/11/2024 16:21 | CONSERVATION OF MAIN FUEL/RSD
OBRA TPS | 12 | 200.00 | 19/11/2024 13:53 | 19/11/2024 17:01 | I.D. FANS PROBLEM
GANDHAR CCPP | 1 | 144.30 | 18/11/2024 20:00 | 19/11/2024 16:00 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 2 | 144.30 | 18/11/2024 19:53 | 19/11/2024 16:15 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 3 | 144.30 | 18/11/2024 19:42 | 19/11/2024 15:43 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 1 | 106.00 | 18/11/2024 20:00 | 19/11/2024 15:32 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 2 | 106.00 | 18/11/2024 20:01 | 19/11/2024 16:02 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 3 | 106.00 | 18/11/2024 19:42 | 19/11/2024 15:46 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 4 | 106.00 | 18/11/2024 20:01 | 19/11/2024 16:15 | CONSERVATION OF MAIN FUEL/RSD
MUNDRA UMTPP | 3 | 800.00 | 16/11/2024 21:34 | 19/11/2024 23:26 | BOILER MISC. PROBLEM
SGPL TPP | 2 | 660.00 | 16/11/2024 19:17 | 19/11/2024 02:06 | Cooling Water System Abnormal/ Maintenance
TUTICORIN TPS | 2 | 210.00 | 11/11/2024 05:37 | 19/11/2024 08:11 | CONDENSER TUBE LEAKAGE/ CLEANING
KAHALGAON TPS | 1 | 210.00 | 19/11/2024 00:49 | 19/11/2024 15:15 | GENERATOR PROTECTION RELAY OPERATION PROBLEM
KATHALGURI CCPP | 1 | 33.50 | 19/11/2024 18:48 | 19/11/2024 23:59 | Fuel Shortage
KATHALGURI CCPP | 1 |  | 19/11/2024 00:00 | 19/11/2024 10:35 | Fuel Shortage
KATHALGURI CCPP | 1 |  | 19/11/2024 10:35 | 19/11/2024 18:48 | MISCELLANEOUS
KATHALGURI CCPP | 7 | 30.00 | 19/11/2024 00:00 | 19/11/2024 16:35 | MISCELLANEOUS PLANNED MAINTENANCE
KATHALGURI CCPP | 7 |  | 19/11/2024 16:35 | 19/11/2024 23:59 | LOW SYSTEM DEMAND
NAMRUP CCPP | 2 | 17.00 | 18/11/2024 23:46 | 19/11/2024 13:33 | INSTRUMENTATION PROBLEM
NAMRUP CCPP | 6 | 9.00 | 18/11/2024 23:46 | 19/11/2024 18:29 | ELECTRICAL MISCELLANEOUS PROBLEMS
AGARTALA GT | 1 | 21.00 | 19/11/2024 00:00 | 19/11/2024 23:59 | Fuel Shortage
MONARCHAK CCPP | 1 | 65.40 | 19/11/2024 00:00 | 19/11/2024 23:59 | MISCELLANEOUS PLANNED MAINTENANCE
MONARCHAK CCPP | 2 | 35.60 | 19/11/2024 00:00 | 19/11/2024 23:59 | MISCELLANEOUS PLANNED MAINTENANCE
Total |  | 6,291.45