## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 19-11-2024 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
FARIDABAD CCPP | 1 | 137.76 | 19/11/2024 00:00 |  | NO/REDUCED IRRIGATION DEMAND
FARIDABAD CCPP | 2 | 137.76 | 19/11/2024 00:00 |  | NO/REDUCED IRRIGATION DEMAND
FARIDABAD CCPP | 3 | 156.07 | 19/11/2024 00:00 |  | NO/REDUCED IRRIGATION DEMAND
ANTA CCPP | 1 | 88.71 | 19/11/2024 18:30 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 2 | 88.71 | 19/11/2024 18:30 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 3 | 88.71 | 19/11/2024 18:30 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
CHHABRA-II TPP | 5 | 660.00 | 19/11/2024 10:58 |  | ELECTRICAL FAULT
KOTA TPS | 5 | 210.00 | 19/11/2024 12:00 |  | FURNACE FIRE OUT /FLAME FAILURE
SURATGARH TPS | 3 | 250.00 | 19/11/2024 06:12 |  | FURNACE FIRE OUT /FLAME FAILURE
SURATGARH TPS | 4 | 250.00 | 19/11/2024 06:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
AURAIYA CCPP | 1 | 111.19 | 19/11/2024 18:26 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 2 | 111.19 | 19/11/2024 18:23 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 3 | 111.19 | 19/11/2024 18:27 | 19/11/2024 | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 4 | 111.19 | 19/11/2024 18:25 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 19/11/2024 18:26 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 3 | 130.19 | 19/11/2024 18:26 | 19/11/2024 | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 4 | 130.19 | 19/11/2024 18:33 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
OBRA TPS | 12 | 200.00 | 19/11/2024 13:53 |  | I.D. FANS PROBLEM
PRAYAGRAJ TPP | 2 | 660.00 | 19/11/2024 03:48 |  | ANNUAL MAINTENANCE
GANDHAR CCPP | 1 | 144.30 | 19/11/2024 18:44 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 2 | 144.30 | 19/11/2024 18:36 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 3 | 144.30 | 19/11/2024 18:28 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 1 | 106.00 | 19/11/2024 18:41 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 2 | 106.00 | 19/11/2024 18:29 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 3 | 106.00 | 19/11/2024 18:39 | 19/11/2024 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 4 | 106.00 | 19/11/2024 18:43 | 19/11/2024 | CONSERVATION OF MAIN FUEL/RSD
VIZAG TPP | 1 | 520.00 | 19/11/2024 22:22 |  | COOLING TOWER PROBLEM
BELLARY TPS | 3 | 700.00 | 19/11/2024 23:22 |  | WATER WALL TUBE LEAKAGE
KAHALGAON TPS | 1 | 210.00 | 19/11/2024 00:49 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
KATHALGURI CCPP | 1 | 33.50 | 19/11/2024 10:35 |  | MISCELLANEOUS
KATHALGURI CCPP | 1 |  | 19/11/2024 00:00 |  | Fuel Shortage
KATHALGURI CCPP | 1 |  | 19/11/2024 18:48 |  | Fuel Shortage
https://npp.gov.in 20/11/2024 17:27:11 |  |  |  |  | PAGE 1
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 19-11-2024 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
KATHALGURI CCPP | 7 | 30.00 | 19/11/2024 00:00 |  | MISCELLANEOUS PLANNED MAINTENANCE
KATHALGURI CCPP | 7 |  | 19/11/2024 16:35 |  | LOW SYSTEM DEMAND
AGARTALA GT | 1 | 21.00 | 19/11/2024 00:00 |  | Fuel Shortage
MONARCHAK CCPP | 1 | 65.40 | 19/11/2024 00:00 |  | MISCELLANEOUS PLANNED MAINTENANCE
MONARCHAK CCPP | 2 | 35.60 | 19/11/2024 00:00 |  | MISCELLANEOUS PLANNED MAINTENANCE
Total |  | 6235.45
https://npp.gov.in 20/11/2024 17:27:11 |  |  |  |  | PAGE 2