## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 19-12-2024
Sub-Report-10
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana | YAMUNA NAGAR TPS | 1 | 300 | 0 | 0 | 0 | 26/10/2024 00:58 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Haryana | YAMUNA NAGAR TPS | 2 | 0 | 300 | 0 | 0 | 03/12/2024 15:00 |  | WATER WALL TUBE LEAKAGE
Punjab | GH TPS (LEH.MOH.) | 2 | 0 | 210 | 0 | 0 | 30/04/2022 15:01 |  | ASH HANDLING SYSTEM PROBLEM
Punjab | ROPAR TPS | 6 | 210 | 0 | 0 | 0 | 17/12/2024 11:44 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Punjab | TALWANDI SABO TPP | 3 | 660 | 0 | 0 | 0 | 27/11/2024 19:26 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan | DAE (RAJASTHAN) | 1 | 0 | 100 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan | RAJASTHAN A.P.S. | 4 | 220 | 0 | 0 | 0 | 20/11/2024 23:36 |  | ANNUAL MAINTENANCE
Rajasthan | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | KOTA TPS | 6 | 0 | 0 | 0 | 0 | 19/12/2024 09:48 | 19/12/2024 13:09 | I.D. FANS PROBLEM
Rajasthan | SURATGARH TPS | 1 | 0 | 0 | 250 | 0 | 19/12/2024 06:44 |  | WATER WALL TUBE LEAKAGE
Rajasthan | SURATGARH TPS | 3 | 0 | 250 | 0 | 0 | 28/11/2024 16:00 |  | STATOR EARTH FAULT
Rajasthan | SHREE CEMENT LTD TPS | 2 | 150 | 0 | 0 | 0 | 01/11/2024 00:00 |  | ANNUAL MAINTENANCE
Uttar Pradesh | SINGRAULI STPS | 4 | 200 | 0 | 0 | 0 | 15/12/2024 23:25 |  | OVERHAULING WORKS
Uttar Pradesh | TANDA TPS | 1 | 0 | 110 | 0 | 0 | 15/11/2024 23:58 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh | TANDA TPS | 2 | 0 | 110 | 0 | 0 | 15/11/2024 23:56 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh | TANDA TPS | 3 | 0 | 110 | 0 | 0 | 15/11/2024 23:30 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh | TANDA TPS | 4 | 0 | 110 | 0 | 0 | 15/11/2024 23:44 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh | TANDA TPS | 5 | 660 | 0 | 0 | 0 | 11/11/2024 13:37 |  | OVERHAULING WORKS
Uttar Pradesh | ANPARA TPS | 5 | 500 | 0 | 0 | 0 | 06/11/2024 00:00 |  | OVERHAULING WORKS
Uttar Pradesh | ANPARA TPS | 6 | 0 | 500 | 0 | 0 | 10/11/2024 13:56 |  | GENERATOR MISCLLANEOUS MAINTENANCE
Uttar Pradesh | HARDUAGANJ TPS | 7 | 0 | 105 | 0 | 0 | 04/11/2024 11:28 |  | RSD/LOW SCHEDULE
Uttar Pradesh | HARDUAGANJ TPS | 8 | 0 | 250 | 0 | 0 | 16/11/2024 00:00 | 19/12/2024 21:09 | RSD/LOW SCHEDULE
Uttar Pradesh | HARDUAGANJ TPS | 9 | 0 | 250 | 0 | 0 | 15/11/2024 23:59 | 19/12/2024 18:19 | RSD/LOW SCHEDULE
Uttar Pradesh | HARDUAGANJ TPS | 10 | 0 | 0 | 660 | 0 | 19/12/2024 21:40 |  | C&I PROBLEM
Uttar Pradesh | OBRA TPS | 10 | 0 | 0 | 200 | 0 | 17/12/2024 23:32 |  | WATER WALL TUBE LEAKAGE
Uttar Pradesh | ANPARA C TPS | 2 | 0 | 0 | 600 | 0 | 18/12/2024 18:05 |  | WATER WALL TUBE LEAKAGE
Uttar Pradesh | BARKHERA TPS | 1 | 0 | 0 | 45 | 0 | 08/12/2024 00:15 |  | RSD/LOW SCHEDULE
Uttar Pradesh | BARKHERA TPS | 2 | 0 | 0 | 45 | 0 | 08/12/2024 00:15 |  | RSD/LOW SCHEDULE
Uttar Pradesh | KUNDARKI TPS | 1 | 0 | 0 | 45 | 0 | 16/12/2024 01:10 | 19/12/2024 21:41 | BOILER MISC. PROBLEM
Uttar Pradesh | MAQSOODPUR TPS | 1 | 0 | 45 | 0 | 0 | 17/11/2024 21:45 | 19/12/2024 13:22 | RSD/LOW SCHEDULE
Uttar Pradesh | MAQSOODPUR TPS | 2 | 0 | 0 | 45 | 0 | 19/12/2024 13:30 | 19/12/2024 21:12 | GOVERN.SYSTEM TROUB/EQPT. FAIL/EHG FAULT
Uttar Pradesh | PRAYAGRAJ TPP | 2 | 660 | 0 | 0 | 0 | 19/11/2024 03:48 |  | ANNUAL MAINTENANCE
Total Northern |  |  | 3810 | 2450 | 1890 | 0
Western
Chhatisgarh | AKALTARA TPS | 4 | 600 | 0 | 0 | 0 | 20/11/2024 03:57 | 19/12/2024 14:33 | SCHEDULED ANNUAL MAINTENANCE
Chhatisgarh | KATGHORA TPP | 1 | 0 | 0 | 0 | 35 | 15/10/2012 00:28 |  | NO Power purchase agreement
Chhatisgarh | RATIJA TPS | 1 | 0 | 0 | 50 | 0 | 19/12/2024 13:36 |  | WATER WALL TUBE LEAKAGE
Chhatisgarh | SALORA TPP | 1 | 0 | 0 | 0 | 135 | 19/10/2014 04:30 |  | NO Power purchase agreement
Chhatisgarh | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 25 | 01/04/2015 00:20 |  | NO Power purchase agreement
Chhatisgarh | UCHPINDA TPP | 4 | 0 | 360 | 0 | 0 | 13/11/2024 18:35 |  | TURBINE VIBRATION HIGH
Gujarat | KAKRAPARA | 4 | 0 | 0 | 0 | 0 | 19/12/2024 00:44 | 19/12/2024 02:46 | Turbine Misc
Gujarat | AKRIMOTA LIG TPS | 1 | 0 | 125 | 0 | 0 | 08/06/2024 19:30 |  | BARRING GEAR PROBLEM
Gujarat | AKRIMOTA LIG TPS | 2 | 0 | 125 | 0 | 0 | 19/02/2024 18:45 |  | CABLE FAULTS
Gujarat | BHAVNAGAR CFBC TPP | 1 | 0 | 0 | 250 | 0 | 09/12/2024 14:30 |  | WATER WALL TUBE LEAKAGE
Gujarat | GANDHI NAGAR TPS | 3 | 0 | 210 | 0 | 0 | 25/10/2024 00:51 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | GANDHI NAGAR TPS | 4 | 0 | 210 | 0 | 0 | 25/10/2024 10:16 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | GANDHI NAGAR TPS | 5 | 0 | 0 | 0 | 0 | 10/12/2024 06:23 | 19/12/2024 05:30 | RSD/LOW SCHEDULE
Gujarat | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat | SIKKA REP. TPS | 3 | 0 | 250 | 0 | 0 | 11/10/2024 10:40 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | SIKKA REP. TPS | 4 | 0 | 250 | 0 | 0 | 11/10/2024 12:35 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | UKAI TPS | 3 | 0 | 0 | 200 | 0 | 09/12/2024 13:21 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | UKAI TPS | 5 | 0 | 0 | 210 | 0 | 09/12/2024 12:49 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | WANAKBORI TPS | 1 | 0 | 0 | 210 | 0 | 09/12/2024 19:13 |  | RSD/LOW SCHEDULE
Gujarat | WANAKBORI TPS | 2 | 0 | 0 | 210 | 0 | 09/12/2024 19:34 |  | RSD/LOW SCHEDULE
Gujarat | WANAKBORI TPS | 3 | 0 | 0 | 210 | 0 | 19/12/2024 08:00 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
Gujarat | WANAKBORI TPS | 4 | 0 | 0 | 210 | 0 | 09/12/2024 19:19 |  | RSD/LOW SCHEDULE
Gujarat | WANAKBORI TPS | 5 | 0 | 0 | 210 | 0 | 09/12/2024 13:29 |  | RSD/LOW SCHEDULE
Gujarat | WANAKBORI TPS | 6 | 0 | 0 | 210 | 0 | 09/12/2024 19:30 |  | RSD/LOW SCHEDULE
Gujarat | WANAKBORI TPS | 7 | 0 | 210 | 0 | 0 | 13/11/2024 08:03 |  | RSD/LOW SCHEDULE
Gujarat | WANAKBORI TPS | 8 | 0 | 0 | 0 | 0 | 19/12/2024 22:16 | 19/12/2024 23:50 | ELECTRICAL MISCELLANEOUS PROBLEMS
Gujarat | ADANI POWER LIMITED MUNDRA TPP - I & II | 2 | 330 | 0 | 0 | 0 | 15/12/2024 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Gujarat | SABARMATI (D-F STATIONS) | 1 | 120 | 0 | 0 | 0 | 17/11/2024 23:58 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Gujarat | SALAYA TPP | 2 | 0 | 0 | 600 | 0 | 14/12/2024 20:26 | 19/12/2024 05:06 | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | SURAT LIG. TPS | 1 | 125 | 0 | 0 | 0 | 15/11/2024 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh | VINDHYACHAL STPS | 2 | 0 | 0 | 210 | 0 | 18/12/2024 16:45 |  | TURBINE MISC.
Madhya Pradesh | VINDHYACHAL STPS | 8 | 500 | 0 | 0 | 0 | 10/11/2024 00:14 |  | OVERHAULING WORKS
Madhya Pradesh | SANJAY GANDHI TPS | 1 | 210 | 0 | 0 | 0 | 04/08/2024 19:03 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SATPURA TPS | 6 | 200 | 0 | 0 | 0 | 05/03/2021 11:55 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 7 | 210 | 0 | 0 | 0 | 05/03/2021 10:09 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 8 | 210 | 0 | 0 | 0 | 29/02/2020 23:54 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 9 | 210 | 0 | 0 | 0 | 22/02/2020 02:52 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | ANUPPUR TPP | 1 | 0 | 0 | 625 | 0 | 07/12/2024 23:44 |  | TURBINE VIBRATIONS HIGH
Madhya Pradesh | MAHAN TPP | 2 | 600 | 0 | 0 | 0 | 11/12/2024 02:18 |  | ANNUAL MAINTENANCE
Madhya Pradesh | NIWARI TPP | 1 | 0 | 45 | 0 | 0 | 03/11/2024 00:34 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Maharashtra | MAUDA TPS | 1 | 0 | 0 | 0 | 0 | 12/12/2024 23:21 | 19/12/2024 03:03 | BOILER INSPECTION/ RE-CERTIFICATION
Maharashtra | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | TARAPUR | 2 | 160 | 0 | 0 | 0 | 20/12/2023 11:06 |  | ANNUAL MAINTENANCE
Maharashtra | BHUSAWAL TPS | 5 | 0 | 0 | 0 | 500 | 17/12/2024 16:56 | 19/12/2024 18:50 | Instrumentation & Control System Abnormal
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 6 | 0 | 0 | 500 | 0 | 14/12/2024 19:45 |  | WATER WALL TUBE LEAKAGE
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 7 | 0 | 0 | 0 | 0 | 19/12/2024 22:15 |  | WATER WALL TUBE LEAKAGE
Maharashtra | KHAPARKHEDA TPS | 3 | 210 | 0 | 0 | 0 | 21/11/2024 00:32 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra | NASIK TPS | 3 | 0 | 0 | 0 | 0 | 19/12/2024 06:50 | 19/12/2024 09:10 | CONDENSER LOW VACCUM
Maharashtra | ADANI POWER LIMITED TIRODA TPP | 2 | 660 | 0 | 0 | 0 | 17/12/2024 01:00 |  | BOILER INSPECTION/ RE-CERTIFICATION
Maharashtra | ADANI POWER LIMITED TIRODA TPP | 5 | 660 | 0 | 0 | 0 | 01/12/2024 00:00 |  | ANNUAL MAINTENANCE
Maharashtra | AMRAVATI TPS | 3 | 0 | 270 | 0 | 0 | 23/07/2024 00:47 |  | TURBINE VIBRATION HIGH
Maharashtra | BUTIBORI TPP | 1 | 0 | 300 | 0 | 0 | 29/12/2018 00:30 |  | COAL SHORTAGE
Maharashtra | BUTIBORI TPP | 2 | 0 | 300 | 0 | 0 | 17/01/2019 00:15 |  | COAL SHORTAGE
Maharashtra | GEPL TPP Ph-I | 1 | 0 | 0 | 0 | 60 | 29/06/2013 00:00 |  | NO Power purchase agreement
Maharashtra | GEPL TPP Ph-I | 2 | 0 | 0 | 0 | 60 | 20/06/2013 20:27 |  | NO Power purchase agreement
Maharashtra | JSW RATNAGIRI TPP | 1 | 300 | 0 | 0 | 0 | 06/12/2024 23:53 |  | ANNUAL MAINTENANCE
Maharashtra | MIHAN TPS | 1 | 0 | 0 | 0 | 61.51 | 10/01/2013 15:50 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 2 | 0 | 0 | 0 | 61.5 | 05/11/2013 11:53 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 3 | 0 | 0 | 0 | 61.5 | 10/06/2013 18:00 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 4 | 0 | 0 | 0 | 61.5 | 20/08/2013 10:00 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 1 | 0 | 0 | 0 | 270 | 04/03/2014 18:10 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 2 | 0 | 0 | 0 | 270 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 3 | 0 | 0 | 0 | 270 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 4 | 0 | 0 | 0 | 270 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 5 | 0 | 0 | 0 | 270 | 30/05/2017 15:24 |  | NO Power purchase agreement
Maharashtra | SHIRPUR TPP | 2 | 0 | 150 | 0 | 0 | 21/11/2024 01:30 |  | RSD/LOW SCHEDULE
Maharashtra | TROMBAY TPS | 5 | 0 | 500 | 0 | 0 | 22/09/2024 16:14 |  | FIRE IN CABLE GALLERY
Maharashtra | WARDHA WARORA | 1 | 0 | 0 | 0 | 0 | 28/10/2024 16:03 | 19/12/2024 08:46 | ELECTRICAL MISCELLANEOUS
Maharashtra | TPP | 1 | 0 | 0 | 0 | 0 | 28/10/2024 16:03 | 19/12/2024 08:46 | PROBLEMS
Total Western |  |  | 5465 | 3380 | 3905 | 2411.01
Southern
Andhra Pradesh | SIMHADRI | 2 | 500 | 0 | 0 | 0 | 09/11/2024 22:36 |  | OVERHAULING WORKS
Andhra Pradesh | DAMODARAM SANJEEVAIAH TPS | 1 | 0 | 0 | 800 | 0 | 19/12/2024 12:21 |  | WATER WALL TUBE LEAKAGE
Andhra Pradesh | RAYALASEEMA TPS | 6 | 600 | 0 | 0 | 0 | 21/11/2024 02:12 |  | ANNUAL MAINTENANCE
Andhra Pradesh | PAINAMPURAM TPP | 1 | 0 | 0 | 660 | 0 | 17/12/2024 10:37 |  | GENEARTOR MISC.
Andhra Pradesh | SIMHAPURI TPS | 1 | 0 | 150 | 0 | 0 | 29/11/2024 22:00 |  | PRESSURE RELIEF VALVE PROBLEM
Andhra Pradesh | SIMHAPURI TPS | 2 | 0 | 150 | 0 | 0 | 30/11/2024 21:10 | 19/12/2024 18:16 | P.A. FANS PROBLEM
Andhra Pradesh | SIMHAPURI TPS | 4 | 0 | 0 | 150 | 0 | 19/12/2024 07:00 |  | I.D. FANS PROBLEM
Andhra Pradesh | THAMMINAPATNAM TPS | 1 | 0 | 150 | 0 | 0 | 21/09/2024 01:18 |  | TURBINE VIBRATIONS HIGH
Andhra Pradesh | THAMMINAPATNAM TPS | 2 | 0 | 150 | 0 | 0 | 25/10/2024 13:01 |  | BOILER AUX. MISC. PROMLEMS
Andhra Pradesh | VIZAG TPP | 1 | 0 | 0 | 520 | 0 | 08/12/2024 00:00 |  | BOILER AUX. MISC. PROMLEMS
Karnataka | KUDGI STPP | 3 | 800 | 0 | 0 | 0 | 16/11/2024 02:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka | KAIGA | 4 | 0 | 0 | 220 | 0 | 09/12/2024 00:19 |  | Miscellaneous
Karnataka | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka | RAICHUR TPS | 2 | 0 | 210 | 0 | 0 | 29/11/2024 11:25 |  | WATER WALL TUBE LEAKAGE
Karnataka | RAICHUR TPS | 4 | 0 | 210 | 0 | 0 | 09/11/2024 15:57 |  | REHEATER TUBE LEAKAGE
Karnataka | RAICHUR TPS | 5 | 0 | 0 | 0 | 0 | 17/12/2024 11:25 | 19/12/2024 05:14 | WATER WALL TUBE LEAKAGE
Karnataka | RAICHUR TPS | 8 | 250 | 0 | 0 | 0 | 14/12/2024 20:30 |  | ANNUAL MAINTENANCE
Karnataka | TORANGALLU TPS(SBU-II) | 4 | 0 | 0 | 300 | 0 | 10/12/2024 08:21 |  | RSD/LOW SCHEDULE
Tamil Nadu | NEYVELI ( EXT) TPS | 1 | 210 | 0 | 0 | 0 | 30/11/2024 00:07 |  | EXTENDED ANNUAL
Tamil Nadu | NEYVELI ( EXT) TPS | 1 | 210 | 0 | 0 | 0 | 30/11/2024 00:07 |  | MAINTENANCE
Tamil Nadu | NEYVELI ( EXT) TPS | 2 | 0 | 0 | 0 | 0 | 19/12/2024 09:10 | 19/12/2024 14:04 | ELECTRICAL FAULT
Tamil Nadu | NEYVELI NEW TPP | 2 | 0 | 0 | 500 | 0 | 18/12/2024 18:45 |  | ASH HANDLING SYSTEM PROBLEM
Tamil Nadu | NEYVELI TPS-II | 3 | 0 | 0 | 210 | 0 | 12/12/2024 13:13 |  | BOILER MISC. PROBLEM
Tamil Nadu | NEYVELI TPS-II | 5 | 0 | 0 | 210 | 0 | 12/12/2024 20:57 | 19/12/2024 02:21 | BOILER MISC. PROBLEM
Tamil Nadu | NEYVELI TPS-II | 6 | 210 | 0 | 0 | 0 | 11/11/2024 03:03 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | NEYVELI TPS-II EXP | 1 | 250 | 0 | 0 | 0 | 14/09/2024 23:59 |  | CAPITAL MAINTENANCE
Tamil Nadu | NEYVELI TPS-II EXP | 2 | 0 | 0 | 250 | 0 | 15/12/2024 19:08 |  | FBHE (FLUIDISED BED HEAT EXCHANGER) PROBLEM
Tamil Nadu | NTPL TUTICORIN TPP | 2 | 500 | 0 | 0 | 0 | 25/11/2024 00:01 |  | ANNUAL MAINTENANCE
Tamil Nadu | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu | METTUR TPS | 2 | 210 | 0 | 0 | 0 | 13/11/2024 01:30 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | METTUR TPS | 3 | 0 | 0 | 210 | 0 | 19/12/2024 16:33 |  | COLLAPSE OF R.C. BUNKER
Tamil Nadu | METTUR TPS | 4 | 0 | 0 | 210 | 0 | 19/12/2024 18:33 |  | COAL FEEDING SYSTEM FAILURE.
Tamil Nadu | METTUR TPS - II | 1 | 0 | 0 | 600 | 0 | 16/12/2024 08:41 | 19/12/2024 20:21 | WATER WALL TUBE LEAKAGE
Tamil Nadu | NORTH CHENNAI TPS | 2 | 0 | 0 | 0 | 0 | 19/12/2024 11:06 | 19/12/2024 14:36 | FUEL SUPPLY & OTHER MISC. PROBLEMS
Tamil Nadu | NORTH CHENNAI TPS | 4 | 0 | 0 | 600 | 0 | 07/12/2024 22:23 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu | TUTICORIN TPS | 1 | 0 | 0 | 0 | 210 | 14/12/2024 17:21 |  | Cooling Water System Abnormal/ Maintenance
Tamil Nadu | TUTICORIN TPS | 2 | 0 | 0 | 0 | 210 | 14/12/2024 17:00 |  | Cooling Water System Abnormal/ Maintenance
Tamil Nadu | TUTICORIN TPS | 3 | 0 | 0 | 210 | 0 | 14/12/2024 13:24 |  | COAL FEEDING PROBLEM IN PLANT
Tamil Nadu | ITPCL TPP | 1 | 0 | 600 | 0 | 0 | 31/10/2024 01:11 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu | MUTHIARA TPP | 2 | 0 | 0 | 600 | 0 | 18/12/2024 01:53 |  | STATOR EARTH FAULT
Tamil Nadu | OPG Power Generation Private Limited | 1 | 0 | 77 | 0 | 0 | 31/10/2024 23:59 |  | RSD/LOW SCHEDULE
Tamil Nadu | OPG Power Generation Private Limited | 3 | 80 | 0 | 0 | 0 | 13/11/2024 22:26 |  | RENOVATION/MODERNISATION
Tamil Nadu | TUTICORIN (P) TPP | 1 | 0 | 0 | 0 | 150 | 03/04/2016 00:31 |  | NO Power purchase agreement
Tamil Nadu | TUTICORIN (P) TPP | 2 | 0 | 0 | 0 | 150 | 16/04/2016 01:42 |  | NO Power purchase agreement
Telangana | RAMAGUNDEM STPS | 4 | 0 | 0 | 500 | 0 | 19/12/2024 16:03 |  | WATER WALL TUBE LEAKAGE
Telangana | RAMAGUNDEM STPS | 6 | 500 | 0 | 0 | 0 | 18/12/2024 01:20 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Telangana | BHADRADRI TPP | 1 | 0 | 270 | 0 | 0 | 30/06/2024 00:00 |  | GENEATOR PROTECTION MISC/BACK UP PROT
Telangana | KAKATIYA TPS | 2 | 600 | 0 | 0 | 0 | 16/11/2024 05:16 |  | ANNUAL MAINTENANCE
Telangana | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Total Southern |  |  | 4710 | 2459.5 | 6750 | 720
Eastern
Bihar | BARAUNI TPS | 6 | 105 | 0 | 0 | 0 | 22/07/2023 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar | BARAUNI TPS | 7 | 105 | 0 | 0 | 0 | 19/07/2023 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar | BARH STPS | 5 | 0 | 0 | 660 | 0 | 18/12/2024 00:57 |  | WATER WALL TUBE LEAKAGE
Bihar | KAHALGAON TPS | 5 | 500 | 0 | 0 | 0 | 14/11/2024 23:43 |  | OVERHAULING WORKS
Bihar | MUZAFFARPUR TPS | 4 | 195 | 0 | 0 | 0 | 15/11/2024 00:00 |  | CAPITAL MAINTENANCE
Bihar | NABINAGAR STPP | 3 | 660 | 0 | 0 | 0 | 06/12/2024 02:58 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Jharkhand | CHANDRAPURA(DVC) TPS | 8 | 250 | 0 | 0 | 0 | 15/12/2024 12:29 |  | OVERHAULING WORKS
Jharkhand | JOJOBERA TPS | 2 | 0 | 0 | 120 | 0 | 09/12/2024 12:30 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
Jharkhand | MAITHON RB TPP | 1 | 0 | 0 | 525 | 0 | 18/12/2024 22:30 |  | SUPER HEATER TUBE LEAKAGE
Jharkhand | MAITHON RB TPP | 2 | 525 | 0 | 0 | 0 | 22/11/2024 00:06 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha | TALCHER STPS | 1 | 0 | 0 | 500 | 0 | 17/12/2024 23:22 | 19/12/2024 22:00 | REHEATER TUBE LEAKAGE
Odisha | VEDANTA TPP | 2 | 0 | 0 | 600 | 0 | 15/12/2024 23:48 |  | AIR PREHEATERS PROBLEM
West Bengal | FARAKKA STPS | 1 | 200 | 0 | 0 | 0 | 01/12/2024 00:02 |  | OVERHAULING WORKS
West Bengal | MEJIA TPS | 2 | 0 | 0 | 210 | 0 | 16/12/2024 22:27 |  | BOILER MISC. PROBLEM
West Bengal | SANTALDIH TPS | 6 | 250 | 0 | 0 | 0 | 23/11/2024 03:47 |  | OVERHAULING WORKS
West Bengal | DISHERGARH TPP | 1 | 12 | 0 | 0 | 0 | 11/12/2024 12:13 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal | HALDIA TPP | 1 | 0 | 0 | 0 | 0 | 15/12/2024 00:00 | 19/12/2024 10:25 | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal | SOUTHERN REPL. TPS | 1 | 0 | 0 | 67.5 | 0 | 14/12/2024 10:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | SOUTHERN REPL. TPS | 2 | 0 | 0 | 67.5 | 0 | 11/12/2024 21:25 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 1 | 0 | 60 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 2 | 0 | 60 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 3 | 0 | 60 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 4 | 0 | 60 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern |  |  | 2802 | 240 | 2750 | 0
North Eastern
Assam | BONGAIGAON TPP | 1 | 0 | 0 | 250 | 0 | 19/12/2024 17:05 | 19/12/2024 19:34 | CONDENSER TUBE LEAKAGE/ CLEANING
Total North Eastern |  |  | 0 | 0 | 250 | 0
Total |  |  | 16787 | 8529.5 | 15545 | 3131.01