## dailyOutage_Report
| CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 19-12-2024
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[7 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Punjab | TALWANDI SABO TPP | 3 | 660 | 0 | 0 | 0 | 27/11/2024 19:26 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh | TANDA TPS | 5 | 660 | 0 | 0 | 0 | 11/11/2024 13:37 |  | OVERHAULING WORKS
Uttar Pradesh | ANPARA TPS | 5 | 500 | 0 | 0 | 0 | 06/11/2024 00:00 |  | OVERHAULING WORKS
Uttar Pradesh | ANPARA TPS | 6 | 0 | 500 | 0 | 0 | 10/11/2024 13:56 |  | GENERATOR MISCLLANEOUS MAINTENANCE
Uttar Pradesh | HARDUAGANJ TPS | 10 | 0 | 0 | 660 | 0 | 19/12/2024 21:40 |  | C&I PROBLEM
Uttar Pradesh | ANPARA C TPS | 2 | 0 | 0 | 600 | 0 | 18/12/2024 18:05 |  | WATER WALL TUBE LEAKAGE
Uttar Pradesh | PRAYAGRAJ TPP | 2 | 660 | 0 | 0 | 0 | 19/11/2024 03:48 |  | ANNUAL MAINTENANCE
Chhatisgarh | AKALTARA TPS | 4 | 600 | 0 | 0 | 0 | 20/11/2024 03:57 | 19/12/2024 14:33 | SCHEDULED ANNUAL MAINTENANCE
Gujarat | KAKRAPARA | 4 | 0 | 0 | 0 | 0 | 19/12/2024 00:44 | 19/12/2024 02:46 | Turbine Misc
Gujarat | WANAKBORI TPS | 8 | 0 | 0 | 0 | 0 | 19/12/2024 22:16 | 19/12/2024 23:50 | ELECTRICAL MISCELLANEOUS PROBLEMS
Gujarat | SALAYA TPP | 2 | 0 | 0 | 600 | 0 | 14/12/2024 20:26 | 19/12/2024 05:06 | RESERVE SHUT DOWN / STANDBY UNIT
Madhya Pradesh | VINDHYACHAL STPS | 8 | 500 | 0 | 0 | 0 | 10/11/2024 00:14 |  | OVERHAULING WORKS
Madhya Pradesh | ANUPPUR TPP | 1 | 0 | 0 | 625 | 0 | 07/12/2024 23:44 |  | TURBINE VIBRATIONS HIGH
Madhya Pradesh | MAHAN TPP | 2 | 600 | 0 | 0 | 0 | 11/12/2024 02:18 |  | ANNUAL MAINTENANCE
Maharashtra | MAUDA TPS | 1 | 0 | 0 | 0 | 0 | 12/12/2024 23:21 | 19/12/2024 03:03 | BOILER INSPECTION/ RE-CERTIFICATION
Maharashtra | BHUSAWAL TPS | 5 | 0 | 0 | 0 | 500 | 17/12/2024 16:56 | 19/12/2024 18:50 | Instrumentation & Control System Abnormal
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 6 | 0 | 0 | 500 | 0 | 14/12/2024 19:45 |  | WATER WALL TUBE LEAKAGE
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 7 | 0 | 0 | 0 | 0 | 19/12/2024 22:15 |  | WATER WALL TUBE LEAKAGE
Maharashtra | ADANI POWER LIMITED TIRODA TPP | 2 | 660 | 0 | 0 | 0 | 17/12/2024 01:00 |  | BOILER INSPECTION/ RE-CERTIFICATION
Maharashtra | ADANI POWER LIMITED TIRODA TPP | 5 | 660 | 0 | 0 | 0 | 01/12/2024 00:00 |  | ANNUAL MAINTENANCE
Maharashtra | TROMBAY TPS | 5 | 0 | 500 | 0 | 0 | 22/09/2024 16:14 |  | FIRE IN CABLE GALLERY
Andhra Pradesh | SIMHADRI | 2 | 500 | 0 | 0 | 0 | 09/11/2024 22:36 |  | OVERHAULING WORKS
Andhra Pradesh | DAMODARAM SANJEEVAIAH TPS | 1 | 0 | 0 | 800 | 0 | 19/12/2024 12:21 |  | WATER WALL TUBE LEAKAGE
Andhra Pradesh | RAYALASEEMA TPS | 6 | 600 | 0 | 0 | 0 | 21/11/2024 02:12 |  | ANNUAL MAINTENANCE
Andhra Pradesh | PAINAMPURAM TPP | 1 | 0 | 0 | 660 | 0 | 17/12/2024 10:37 |  | GENEARTOR MISC.
Andhra Pradesh | VIZAG TPP | 1 | 0 | 0 | 520 | 0 | 08/12/2024 00:00 |  | BOILER AUX. MISC. PROMLEMS
Karnataka | KUDGI STPP | 3 | 800 | 0 | 0 | 0 | 16/11/2024 02:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | NEYVELI NEW TPP | 2 | 0 | 0 | 500 | 0 | 18/12/2024 18:45 |  | ASH HANDLING SYSTEM PROBLEM
Tamil Nadu | NTPL TUTICORIN TPP | 2 | 500 | 0 | 0 | 0 | 25/11/2024 00:01 |  | ANNUAL MAINTENANCE
Tamil Nadu | METTUR TPS - II | 1 | 0 | 0 | 600 | 0 | 16/12/2024 08:41 | 19/12/2024 20:21 | WATER WALL TUBE LEAKAGE
Tamil Nadu | NORTH CHENNAI TPS | 4 | 0 | 0 | 600 | 0 | 07/12/2024 22:23 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu | ITPCL TPP | 1 | 0 | 600 | 0 | 0 | 31/10/2024 01:11 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu | MUTHIARA TPP | 2 | 0 | 0 | 600 | 0 | 18/12/2024 01:53 |  | STATOR EARTH FAULT
Telangana | RAMAGUNDEM STPS | 4 | 0 | 0 | 500 | 0 | 19/12/2024 16:03 |  | WATER WALL TUBE LEAKAGE
Telangana | RAMAGUNDEM STPS | 6 | 500 | 0 | 0 | 0 | 18/12/2024 01:20 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Telangana | KAKATIYA TPS | 2 | 600 | 0 | 0 | 0 | 16/11/2024 05:16 |  | ANNUAL MAINTENANCE
Bihar | BARH STPS | 5 | 0 | 0 | 660 | 0 | 18/12/2024 00:57 |  | WATER WALL TUBE LEAKAGE
Bihar | KAHALGAON TPS | 5 | 500 | 0 | 0 | 0 | 14/11/2024 23:43 |  | OVERHAULING WORKS
Bihar | NABINAGAR STPP | 3 | 660 | 0 | 0 | 0 | 06/12/2024 02:58 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Jharkhand | MAITHON RB TPP | 1 | 0 | 0 | 525 | 0 | 18/12/2024 22:30 |  | SUPER HEATER TUBE LEAKAGE
Jharkhand | MAITHON RB TPP | 2 | 525 | 0 | 0 | 0 | 22/11/2024 00:06 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha | TALCHER STPS | 1 | 0 | 0 | 500 | 0 | 17/12/2024 23:22 | 19/12/2024 22:00 | REHEATER TUBE LEAKAGE
Odisha | VEDANTA TPP | 2 | 0 | 0 | 600 | 0 | 15/12/2024 23:48 |  | AIR PREHEATERS PROBLEM
Total |  |  | 10685 | 1600 | 10050 | 500