## dailyOutageReport_12
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS OUT OF GRID FOR MORE THAN 15 DAYS DURING 2024-25 as on: 19-12-2024
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY
1 | 2 | 3 | 4 | 5 | 6
TALWANDI SABO TPP | 3 | 660 | 2021-02-27 19:43 |  | BOILER MISC. PROBLEM
TALWANDI SABO TPP | 3 | 660 | 2021-03-02 14:59 |  | TURBINE VIBRATIONS HIGH
TALWANDI SABO TPP | 3 | 660 | 2024-11-27 19:26 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
TALWANDI SABO TPP | 3 | 660 | 2019-11-26 20:45 |  | RSD/LOW SCHEDULE
YAMUNA NAGAR TPS | 1 | 300 | 2024-10-26 00:58 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
YAMUNA NAGAR TPS | 2 | 300 | 2024-12-03 15:00 |  | WATER WALL TUBE LEAKAGE
FARIDABAD CCPP | 1 | 137.76 | 2018-11-12 14:59 |  | GT- LOW SYSTEM DAMAND
FARIDABAD CCPP | 1 | 137.76 | 2024-11-26 |  | NO/REDUCED IRRIGATION DEMAND
FARIDABAD CCPP | 1 | 137.76 | 2019-02-02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
FARIDABAD CCPP | 2 | 137.76 | 2024-11-26 |  | NO/REDUCED IRRIGATION DEMAND
FARIDABAD CCPP | 2 | 137.76 | 2024-06-24 21:29 |  | NO/REDUCED IRRIGATION DEMAND
I.P.CCPP | 9 | 30 | 2024-11-10 22:10 |  | TURB. AXIAL SHIFT/ THRUST PAD
PRAGATI CCPP | 1 | 104.6 | 2023-09-22 15:45 |  | GT-STATOR/ROTOR EARTH FAULT
PRAGATI CCPP | 1 | 104.6 | 2023-09-22 15:05 |  | GRID DISTURBANCE
PRAGATI CCPP | 1 | 104.6 | 2020-09-04 21:02 |  | GT-MISCELLANEOUS PROBLEMS
PRAGATI CCPP | 1 | 104.6 | 2024-10-11 17:59 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 1 | 104.6 | 2024-08-07 12:30 |  | GT-MANDATORY INSPECTION/OTHERS
PRAGATI CCPP | 1 | 104.6 | 2024-08-01 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 1 | 104.6 | 2023-09-25 12:00 |  | GT-STATOR/ROTOR EARTH FAULT
PRAGATI CCPP | 1 | 104.6 | 2023-09-23 16:00 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 2 | 104.6 | 2024-07-21 16:45 |  | GT-MISCELLANEOUS PROBLEMS
PRAGATI CCPP | 2 | 104.6 | 2024-09-04 14:05 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 2 | 104.6 | 2022-09-05 03:17 |  | C&I PROBLEM
PRAGATI CCPP | 2 | 104.6 | 2021-03-25 08:00 |  | GT-MANDATORY INSPECTION/OTHERS
PRAGATI CCPP | 2 | 104.6 | 2021-02-25 18:24 |  | GT- LOW SYSTEM DAMAND
PRAGATI CCPP | 2 | 104.6 | 2023-09-12 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 2 | 104.6 | 2023-09-14 14:09 |  | GT - GOVERNING SYSTEM PROBLEM
PRAGATI CCPP | 2 | 104.6 | 2024-07-20 16:26 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 3 | 121.2 | 2022-09-23 17:00 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 3 | 121.2 | 2024-01-23 13:15 |  | MISCELLANOUS
PRAGATI CCPP | 3 | 121.2 | 2024-10-11 18:01 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 3 | 121.2 | 2023-10-24 02:00 |  | LOW SYSTEM DEMAND
RAJASTHAN A.P.S. | 4 | 220 | 2024-11-20 23:36 | 2024-12-28 | ANNUAL MAINTENANCE
SURATGARH TPS | 3 | 250 | 2023-04-22 06:19 |  | ECONOMISER TUBE LEAKAGE
SURATGARH TPS | 3 | 250 | 2024-11-28 16:00 |  | STATOR EARTH FAULT
RAMGARH CCPP | 5 | 110 | 2024-02-27 |  | GT INLET GAS PRESSURE LOW
ANTA CCPP | 2 | 88.71 | 2022-06-25 23:15 |  | RSD/LOW SCHEDULE
ANTA CCPP | 2 | 88.71 | 2024-05-10 19:02 |  | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 2 | 88.71 | 2024-05-13 20:15 |  | VARIOUS STEAM LEAKAGES
ANTA CCPP | 2 | 88.71 | 2024-11-23 18:44 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
ANTA CCPP | 2 | 88.71 | 2024-11-25 23:00 | 2024-12-19 | OVERHAULING WORKS
SHREE CEMENT LTD TPS | 2 | 150 | 2024-11-01 |  | ANNUAL MAINTENANCE
HARDUAGANJ TPS | 7 | 105 | 2024-11-04 11:28 |  | RSD/LOW SCHEDULE
ANPARA TPS | 5 | 500 | 2024-11-06 |  | OVERHAULING WORKS
ANPARA TPS | 6 | 500 | 2024-11-10 13:56 |  | GENERATOR MISCLLANEOUS MAINTENANCE
PRAYAGRAJ TPP | 2 | 660 | 2024-11-19 03:48 |  | ANNUAL MAINTENANCE
TANDA TPS | 1 | 110 | 2024-09-27 11:00 |  | NO/REDUCED IRRIGATION DEMAND
TANDA TPS | 1 | 110 | 2024-11-15 23:58 | 2024-12-19 | CONSERVATION OF MAIN FUEL/RSD
TANDA TPS | 2 | 110 | 2024-11-15 23:56 | 2024-12-19 | CONSERVATION OF MAIN FUEL/RSD
TANDA TPS | 2 | 110 | 2024-09-27 11:17 |  | RSD/LOW SCHEDULE
TANDA TPS | 3 | 110 | 2024-11-15 23:30 | 2024-12-19 | CONSERVATION OF MAIN FUEL/RSD
TANDA TPS | 3 | 110 | 2024-09-27 11:28 |  | RSD/LOW SCHEDULE
TANDA TPS | 4 | 110 | 2024-09-12 11:16 |  | CONSERVATION OF MAIN FUEL/RSD
TANDA TPS | 4 | 110 | 2024-11-15 23:44 | 2024-12-19 | CONSERVATION OF MAIN FUEL/RSD
TANDA TPS | 5 | 660 | 2024-11-11 13:37 | 2024-12-19 | OVERHAULING WORKS
DADRI CCPP | 2 | 130.19 | 2024-11-13 02:30 |  | NO/REDUCED IRRIGATION DEMAND
MAQSOODPUR TPS | 1 | 45 | 2023-03-29 13:00 |  | REACTOR MAINTENANCE WORKS.
MAQSOODPUR TPS | 1 | 45 | 2023-11-13 01:00 |  | RSD/LOW SCHEDULE
MAQSOODPUR TPS | 1 | 45 | 2022-06-23 23:58 |  | COAL SHORTAGE
MAQSOODPUR TPS | 1 | 45 | 2022-10-05 12:16 |  | RSD/LOW SCHEDULE
MAQSOODPUR TPS | 1 | 45 | 2021-02-05 16:18 |  | TURBINE CONTROL VALVE PROBLEM
MAQSOODPUR TPS | 1 | 45 | 2020-01-02 21:20 |  | COAL SHORTAGE
MAQSOODPUR TPS | 1 | 45 | 2019-10-08 23:01 |  | MAIN STEAM LINE PROBLEM
MAQSOODPUR TPS | 1 | 45 | 2019-02-22 |  | RESCHEDULED ANNUAL MAINTENANCE
MAQSOODPUR TPS | 1 | 45 | 2021-10-03 |  | COAL SHORTAGE
MAQSOODPUR TPS | 1 | 45 | 2023-03-20 12:30 |  | RSD/LOW SCHEDULE
UCHPINDA TPP | 4 | 360 | 2024-11-13 18:35 |  | TURBINE VIBRATION HIGH
SANJAY GANDHI TPS | 1 | 210 | 2024-08-04 19:03 |  | ANNUAL MAINTENANCE
NIWARI TPP | 1 | 45 | 2022-06-30 13:57 |  | RESERVE SHUT DOWN
NIWARI TPP | 1 | 45 | 2024-11-03 00:34 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
NIWARI TPP | 1 | 45 | 2023-02-16 00:24 |  | AIR PREHEATERS PROBLEM
VINDHYACHAL STPS | 8 | 500 | 2024-11-10 00:14 | 2024-12-19 | OVERHAULING WORKS
GANDHI NAGAR TPS | 3 | 210 | 2024-10-25 00:51 |  | RESERVE SHUT DOWN / STANDBY UNIT
GANDHI NAGAR TPS | 3 | 210 | 2024-06-29 08:25 |  | COAL FEEDING PROBLEM IN PLANT
GANDHI NAGAR TPS | 3 | 210 | 2024-10-01 03:45 |  | ELECTRICAL FAULT
GANDHI NAGAR TPS | 4 | 210 | 2024-10-25 10:16 |  | RESERVE SHUT DOWN / STANDBY UNIT
UTRAN CCPP | 5 | 240 | 2018-11-03 00:17 |  | RESERVE SHUT DOWN / STANDBY UNIT
UTRAN CCPP | 5 | 240 | 2024-10-16 08:00 |  | INSPECTION /MTCE
UTRAN CCPP | 5 | 240 | 2024-11-06 |  | RESERVE SHUT DOWN
UTRAN CCPP | 5 | 240 | 2024-09-05 |  | RESERVE SHUT DOWN/ STANDBY.
UTRAN CCPP | 5 | 240 | 2024-10-10 19:13 |  | RESERVE SHUT DOWN / STANDBY UNIT
UTRAN CCPP | 6 | 134 | 2024-10-16 08:00 |  | SCHEDULED ANNUAL MAINTENANCE
UTRAN CCPP | 6 | 134 | 2024-10-10 19:10 |  | RESERVE SHUT DOWN / STANDBY UNIT
UTRAN CCPP | 6 | 134 | 2024-11-06 |  | RESERVE SHUT DOWN
HAZIRA CCPP EXT | 1 | 351 | 2022-02-14 |  | MISCELLANEOUS PLANNED MAINTENANCE
HAZIRA CCPP EXT | 1 | 351 | 2021-05-02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
HAZIRA CCPP EXT | 1 | 351 | 2021-10-26 19:15 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-02-23 21:00 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-03-23 20:15 |  | Fuel Shortage
HAZIRA CCPP EXT | 1 | 351 | 2022-04-07 06:10 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-05-02 |  | BOILER INSPECTION/ RE-CERTIFICATION
HAZIRA CCPP EXT | 1 | 351 | 2022-12-23 19:37 |  | GENEATOR PROTECTION MISC/BACK UP PROT
HAZIRA CCPP EXT | 1 | 351 | 2023-02-17 21:00 |  | TURBINE VIBRATIONS HIGH
HAZIRA CCPP EXT | 1 | 351 | 2024-06-21 |  | LOW SYSTEM DEMAND
DHUVARAN CCPP | 1 | 67.85 | 2018-09-25 |  | BEARING
DHUVARAN CCPP | 1 | 67.85 | 2022-05-05 |  | Other Commercial Reason
DHUVARAN CCPP | 1 | 67.85 | 2024-09-05 17:18 |  | NO Power purchase agreement
WANAKBORI TPS | 7 | 210 | 2020-12-30 12:45 |  | BOILER MISC. PROBLEM
WANAKBORI TPS | 7 | 210 | 2024-11-13 08:03 |  | RSD/LOW SCHEDULE
WANAKBORI TPS | 7 | 210 | 2021-07-20 13:41 |  | RESERVE SHUT DOWN
SIKKA REP. TPS | 3 | 250 | 2020-07-06 08:00 |  | RSD/LOW SCHEDULE
SIKKA REP. TPS | 3 | 250 | 2024-10-11 10:40 |  | RESERVE SHUT DOWN / STANDBY UNIT
SIKKA REP. TPS | 3 | 250 | 2020-06-26 15:50 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
SIKKA REP. TPS | 4 | 250 | 2023-01-23 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
SIKKA REP. TPS | 4 | 250 | 2020-02-09 16:53 |  | SWITCH YARD/TRIPPING OF TRANSMISSION LINES/BUS BAR PROBLEM
SIKKA REP. TPS | 4 | 250 | 2021-02-03 08:18 |  | SUPER HEATER TUBE LEAKAGE
SIKKA REP. TPS | 4 | 250 | 2024-10-11 12:35 |  | RESERVE SHUT DOWN / STANDBY UNIT
SIKKA REP. TPS | 4 | 250 | 2019-08-31 10:45 |  | WATER WALL TUBE LEAKAGE
PIPAVAV CCPP | 2 | 351 | 2024-04-19 01:10 |  | RSD/LOW SCHEDULE
AKRIMOTA LIG TPS | 1 | 125 | 2024-06-08 19:30 |  | BARRING GEAR PROBLEM
AKRIMOTA LIG TPS | 2 | 125 | 2024-02-19 18:45 |  | CABLE FAULTS
SUGEN CCPP | 2 | 382.5 | 2020-01-17 19:30 |  | RESERVE SHUT DOWN / STANDBY UNIT
SUGEN CCPP | 2 | 382.5 | 2021-01-22 23:38 |  | RSD/LOW SCHEDULE
SUGEN CCPP | 2 | 382.5 | 2020-01-26 |  | GT-MANDATORY INSPECTION/OTHERS
SUGEN CCPP | 2 | 382.5 | 2024-11-17 |  | RSD/LOW SCHEDULE
SUGEN CCPP | 2 | 382.5 | 2021-11-02 |  | RSD/LOW SCHEDULE
SUGEN CCPP | 2 | 382.5 | 2019-01-31 15:03 |  | RESERVE SHUT DOWN / STANDBY UNIT
SABARMATI (D-F STATIONS) | 1 | 120 | 2019-11-30 |  | RESERVE SHUT DOWN / STANDBY UNIT
SABARMATI (D-F STATIONS) | 1 | 120 | 2020-11-20 23:58 |  | RSD/LOW SCHEDULE
SABARMATI (D-F STATIONS) | 1 | 120 | 2021-01-18 22:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
SABARMATI (D-F STATIONS) | 1 | 120 | 2021-03-29 14:45 |  | TURBINE CONTROL VALVE PROBLEM
SABARMATI (D-F STATIONS) | 1 | 120 | 2024-11-17 23:58 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
SURAT LIG. TPS | 1 | 125 | 2024-11-15 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
KHAPARKHEDA TPS | 3 | 210 | 2024-11-21 00:32 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
TROMBAY TPS | 5 | 500 | 2024-09-22 16:14 |  | FIRE IN CABLE GALLERY
ADANI POWER LIMITED TIRODA TPP | 5 | 660 | 2024-12-01 |  | ANNUAL MAINTENANCE
AMRAVATI TPS | 3 | 270 | 2024-07-23 00:47 |  | TURBINE VIBRATION HIGH
AMRAVATI TPS | 3 | 270 | 2022-12-25 17:45 |  | ASH HANDLING SYSTEM PROBLEM
AMRAVATI TPS | 3 | 270 | 2022-05-24 02:22 |  | FURNACE FIRE OUT /FLAME FAILURE
SHIRPUR TPP | 2 | 150 | 2024-11-21 01:30 |  | RSD/LOW SCHEDULE
TARAPUR | 1 | 160 | 2024-03-06 |  | RENOVATION/MODERNISATION WORKS
TARAPUR | 2 | 160 | 2023-12-20 11:06 |  | ANNUAL MAINTENANCE
RAICHUR TPS | 1 | 210 | 2022-11-24 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-08-31 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-02 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-03 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-04 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-09-05 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-06-20 20:20 |  | ASH HANDLING SYSTEM PROBLEM
RAICHUR TPS | 1 | 210 | 2022-06-24 18:30 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 1 | 210 | 2022-06-29 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-06-30 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-01 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 1 | 210 | 2022-07-01 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-04 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-07 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-08 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-09 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-10 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-11 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-15 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-16 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-17 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-23 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-24 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-26 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-26 23:59 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-28 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-30 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-30 07:11 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-01 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-08-02 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-08-04 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-05 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-08-07 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 1 | 210 | 2022-08-08 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-09 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-08-10 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-10 09:00 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-11 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-12 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-13 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-14 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-08-15 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-08-17 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-18 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-19 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-20 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-21 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-22 |  | OLD UNIT NOT IN OPERATION DUE TO MISC. FORCED OUTAGE
RAICHUR TPS | 1 | 210 | 2022-08-23 |  | VARIOUS MAINTENANCE WORKS
RAICHUR TPS | 1 | 210 | 2022-08-24 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-25 |  | OLD UNIT NOT IN OPERATION DUE TO MISC. FORCED OUTAGE
RAICHUR TPS | 1 | 210 | 2022-08-26 |  | VARIOUS MAINTENANCE WORKS
RAICHUR TPS | 1 | 210 | 2022-08-27 |  | OLD UNIT NOT IN OPERATION DUE TO MISC. FORCED OUTAGE
RAICHUR TPS | 1 | 210 | 2022-08-29 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-08-31 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-06 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-10 08:45 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2024-03-15 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2024-01-20 |  | COLLAPSE OF R.C. BUNKER
RAICHUR TPS | 1 | 210 | 2022-11-25 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-09-09 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-10 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-11 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-12 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-17 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-18 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-19 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-25 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-26 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-26 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-27 23:59 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-29 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-30 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-01 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-10-03 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-06 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-10-09 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-10 |  | COLLAPSE OF R.C. BUNKER
RAICHUR TPS | 1 | 210 | 2022-10-11 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-12 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-12 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-14 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-15 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-22 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-25 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-26 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-10-27 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-28 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-29 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-30 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-11-03 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-11-18 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-11-20 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-11-21 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-11-23 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-08-21 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2022-07-11 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2022-07-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 2 | 210 | 2022-07-15 |  | RESERVE SHUT DOWN
RAICHUR TPS | 2 | 210 | 2022-07-16 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 2 | 210 | 2022-07-17 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2022-07-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 2 | 210 | 2022-07-23 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 2 | 210 | 2022-07-24 |  | RESERVE SHUT DOWN
RAICHUR TPS | 2 | 210 | 2022-07-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 2 | 210 | 2022-07-26 |  | RESERVE SHUT DOWN
RAICHUR TPS | 2 | 210 | 2022-07-26 23:59 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2022-08-07 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 2 | 210 | 2022-08-08 |  | RESERVE SHUT DOWN
RAICHUR TPS | 2 | 210 | 2022-08-09 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 2 | 210 | 2022-08-10 |  | RESERVE SHUT DOWN
RAICHUR TPS | 2 | 210 | 2022-08-11 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 2 | 210 | 2022-08-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 2 | 210 | 2022-08-13 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2022-08-14 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 2 | 210 | 2022-08-15 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2022-08-17 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 2 | 210 | 2022-08-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 2 | 210 | 2022-08-19 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2022-08-20 |  | RESERVE SHUT DOWN
RAICHUR TPS | 2 | 210 | 2022-08-22 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 2 | 210 | 2022-08-23 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2022-08-24 |  | RESERVE SHUT DOWN
RAICHUR TPS | 2 | 210 | 2022-08-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 2 | 210 | 2022-08-26 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2022-08-27 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 2 | 210 | 2022-08-29 23:59 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 2 | 210 | 2022-08-31 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 2 | 210 | 2022-09-01 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-09-02 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-09-03 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-09-04 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-09-05 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 2 | 210 | 2022-09-06 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
RAICHUR TPS | 2 | 210 | 2022-09-09 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-09-10 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-09-11 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-09-12 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-09-17 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-09-18 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-09-19 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-09-25 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-09-26 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-09-27 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-09-28 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-09-29 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-09-30 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-10-01 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-10-03 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-10-06 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-10-09 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-10-10 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-10-10 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-10-12 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-10-13 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-10-14 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-10-15 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-10-16 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-10-18 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-10-19 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-10-22 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-10-25 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-10-26 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-10-27 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-10-28 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-10-29 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-10-30 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-11-03 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-11-05 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-11-06 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-11-07 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 2 | 210 | 2022-11-08 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-11-09 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-11-10 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
RAICHUR TPS | 2 | 210 | 2022-11-11 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-11-18 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-11-20 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 2 | 210 | 2022-11-21 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-11-23 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2022-11-24 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 2 | 210 | 2022-11-25 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 2 | 210 | 2023-05-30 00:01 |  | GENERATOR MISCLLANEOUS MAINTENANCE
RAICHUR TPS | 2 | 210 | 2024-03-14 07:06 |  | WATER WALL TUBE LEAKAGE
RAICHUR TPS | 2 | 210 | 2024-03-15 |  | BOILER AUX. MISC. PROMLEMS
RAICHUR TPS | 2 | 210 | 2024-08-25 15:02 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 2 | 210 | 2024-08-31 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2024-11-29 11:25 |  | WATER WALL TUBE LEAKAGE
RAICHUR TPS | 2 | 210 | 2020-04-05 10:44 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
RAICHUR TPS | 2 | 210 | 2022-06-24 09:37 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 2 | 210 | 2022-06-29 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 2 | 210 | 2022-06-30 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 2 | 210 | 2022-07-01 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 2 | 210 | 2022-07-01 23:59 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2022-07-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 2 | 210 | 2022-07-04 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2022-07-07 |  | RESERVE SHUT DOWN
RAICHUR TPS | 2 | 210 | 2022-07-08 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 2 | 210 | 2022-07-09 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 2 | 210 | 2022-07-10 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-07-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-07-24 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-26 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-07 11:49 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-09 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-08-10 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-11 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-08-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-08-13 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-14 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-08-15 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-17 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-08-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-19 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-20 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-21 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-22 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 4 | 210 | 2022-08-23 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-23 23:59 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-08-26 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-27 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-08-29 23:59 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 4 | 210 | 2022-08-31 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-09-01 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-09-02 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-09-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-09-04 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-09-05 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-09-06 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-09-09 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-09-10 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-09-11 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-09-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-09-17 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-09-18 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2023-01-06 21:06 |  | BOILER MISC. PROBLEM
RAICHUR TPS | 4 | 210 | 2023-08-12 23:42 |  | WATER WALL TUBE LEAKAGE
RAICHUR TPS | 4 | 210 | 2024-11-09 15:57 |  | REHEATER TUBE LEAKAGE
RAICHUR TPS | 4 | 210 | 2022-07-02 09:07 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-07-04 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-07 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-08 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-07-09 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-10 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-07-11 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-07-15 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-16 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-07-17 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-23 |  | LOW SYSTEM DEMAND
KUDGI STPP | 3 | 800 | 2024-11-16 02:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
METTUR TPS | 2 | 210 | 2024-11-13 01:30 | 2024-12-28 | BOILER OVERHAUL/ ANNUAL MAINTENANCE
NEYVELI TPS-II | 6 | 210 | 2024-11-11 03:03 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
NEYVELI TPS-II | 6 | 210 | 2023-06-10 20:59 |  | I.D. FANS PROBLEM
NEYVELI ( EXT) TPS | 1 | 210 | 2024-11-30 00:07 |  | EXTENDED ANNUAL MAINTENANCE
NEYVELI TPS-II EXP | 1 | 250 | 2024-09-04 19:04 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NEYVELI TPS-II EXP | 1 | 250 | 2024-09-15 |  | CAPITAL MAINTENANCE
NTPL TUTICORIN TPP | 2 | 500 | 2024-11-25 00:01 | 2025-01-08 | ANNUAL MAINTENANCE
ITPCL TPP | 1 | 600 | 2024-10-31 01:11 |  | RESERVE SHUT DOWN / STANDBY UNIT
ITPCL TPP | 1 | 600 | 2021-05-10 02:34 |  | RSD/LOW SCHEDULE
ITPCL TPP | 1 | 600 | 2022-05-17 14:29 |  | WATER WALL TUBE LEAKAGE
ITPCL TPP | 1 | 600 | 2020-06-01 01:23 |  | RESERVE SHUT DOWN / STANDBY UNIT
OPG Power Generation Private Limited | 1 | 77 | 2024-10-31 23:59 |  | RSD/LOW SCHEDULE
OPG Power Generation Private Limited | 3 | 80 | 2024-11-13 22:26 |  | RENOVATION/MODERNISATION
RAMAGUNDEM-B TPS | 1 | 62.5 | 2024-06-04 20:24 |  | COAL FEEDING PROBLEM IN PLANT
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-06-09 00:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-04-21 21:15 |  | RSD/LOW SCHEDULE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-04-17 17:10 |  | RSD/LOW SCHEDULE
KAKATIYA TPS | 2 | 600 | 2020-06-02 18:40 |  | FURNACE FIRE OUT /FLAME FAILURE
KAKATIYA TPS | 2 | 600 | 2019-10-05 22:09 |  | SUPER HEATER TUBE LEAKAGE
KAKATIYA TPS | 2 | 600 | 2020-04-12 07:35 |  | WATER WALL TUBE LEAKAGE
KAKATIYA TPS | 2 | 600 | 2024-11-16 05:16 |  | ANNUAL MAINTENANCE
BHADRADRI TPP | 1 | 270 | 2024-06-30 |  | GENEATOR PROTECTION MISC/BACK UP PROT
RAYALASEEMA TPS | 6 | 600 | 2024-11-21 02:12 |  | ANNUAL MAINTENANCE
SIMHAPURI TPS | 1 | 150 | 2024-11-29 22:00 |  | PRESSURE RELIEF VALVE PROBLEM
THAMMINAPATNAM TPS | 1 | 150 | 2024-09-13 |  | TURBINE VIBRATION
THAMMINAPATNAM TPS | 1 | 150 | 2024-09-11 13:01 |  | TURBINE VIBRATION HIGH
THAMMINAPATNAM TPS | 1 | 150 | 2024-09-21 01:18 | 2024-12-20 | TURBINE VIBRATIONS HIGH
THAMMINAPATNAM TPS | 2 | 150 | 2024-10-25 13:01 | 2024-12-31 | BOILER AUX. MISC. PROMLEMS
SIMHADRI | 2 | 500 | 2024-11-09 22:36 | 2024-12-19 | OVERHAULING WORKS
JEGURUPADU CCPP PH I | 1 | 52.8 | 2024-05-10 19:12 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2024-05-20 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2021-03-06 00:29 |  | BOILER INSPECTION/ RE-CERTIFICATION
JEGURUPADU CCPP PH I | 3 | 52.8 | 2021-12-01 14:40 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-26 16:25 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-06 15:31 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-07 13:45 |  | GT-GEN./FIELD BREAKER PROBLEM
JEGURUPADU CCPP PH I | 4 | 77 | 2024-05-20 |  | Fuel Shortage
MUZAFFARPUR TPS | 4 | 195 | 2022-06-25 02:00 |  | MAIN INLET VALVE PROBLEM
MUZAFFARPUR TPS | 4 | 195 | 2024-11-15 |  | CAPITAL MAINTENANCE
MUZAFFARPUR TPS | 4 | 195 | 2022-06-23 09:35 |  | SUPER HEATER TUBE LEAKAGE
KAHALGAON TPS | 5 | 500 | 2024-11-14 23:43 | 2024-12-19 | OVERHAULING WORKS
SANTALDIH TPS | 6 | 250 | 2024-11-23 03:47 |  | OVERHAULING WORKS
FARAKKA STPS | 1 | 200 | 2024-12-01 00:02 | 2024-12-19 | OVERHAULING WORKS
MAITHON RB TPP | 2 | 525 | 2024-11-22 00:06 | 2025-01-05 | BOILER OVERHAUL/ ANNUAL MAINTENANCE
NAMRUP CCPP | 3 | 15 | 2024-10-21 11:30 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 3 | 15 | 2022-10-03 16:13 |  | GRID DISTURBANCE
NAMRUP CCPP | 3 | 15 | 2023-06-04 22:48 |  | TURBINE BEARING COOLING SYS/OIL COOLER
NAMRUP CCPP | 3 | 15 | 2024-02-05 09:16 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 3 | 15 | 2024-08-16 17:00 |  | WATER SHORTAGE DUE TO INTERNAL PLANT PROBLEM
NAMRUP CCPP | 3 | 15 | 2024-08-16 09:46 |  | MISCELLANEOUS PLANNED MAINTENANCE
NAMRUP CCPP | 3 | 15 | 2021-07-13 13:55 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
NAMRUP CCPP | 3 | 15 | 2021-11-24 10:43 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 3 | 15 | 2022-01-08 23:15 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 3 | 15 | 2022-01-28 20:25 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
NAMRUP CCPP | 3 | 15 | 2022-01-22 22:40 |  | Fuel Shortage
NAMRUP CCPP | 3 | 15 | 2022-02-13 23:40 |  | Fuel Shortage
NAMRUP CCPP | 3 | 15 | 2022-02-14 09:30 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 3 | 15 | 2022-05-08 09:17 |  | C&I PROBLEM
NAMRUP CCPP | 3 | 15 | 2022-06-02 13:05 |  | GRID DISTURBENCE
NAMRUP CCPP | 3 | 15 | 2022-08-03 08:37 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
LAKWA GT | 7 | 20 | 2021-04-19 |  | GEN. TRANSORMER PROTECTION RELAY OPERATION PROBLEM
LAKWA GT | 7 | 20 | 2023-02-04 21:47 |  | Fuel Shortage
LAKWA GT | 7 | 20 | 2023-10-18 |  | BUS PROTECTION TRIP
LAKWA GT | 7 | 20 | 2024-04-08 17:08 |  | VIBRATIONS
LAKWA GT | 7 | 20 | 2020-01-06 |  | MINOR MAINTENANCE WORKS
Total |  | 94471.09