## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 19-12-2024 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
ANTA CCPP | 1 | 88.71 | 19/12/2024 09:45 | 19/12/2024 15:20 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 1 |  | 18/12/2024 18:57 | 19/12/2024 06:06 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 3 | 88.71 | 18/12/2024 18:58 | 19/12/2024 05:50 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 3 |  | 19/12/2024 09:45 | 19/12/2024 15:34 | CONSERVATION OF MAIN FUEL/RSD
KOTA TPS | 6 | 195.00 | 19/12/2024 09:48 | 19/12/2024 13:09 | I.D. FANS PROBLEM
AURAIYA CCPP | 1 | 111.19 | 18/12/2024 18:55 | 19/12/2024 05:45 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 1 |  | 19/12/2024 09:28 | 19/12/2024 15:09 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 2 | 111.19 | 19/12/2024 09:23 | 19/12/2024 15:30 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 2 |  | 18/12/2024 18:55 | 19/12/2024 06:02 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 4 | 111.19 | 19/12/2024 09:25 | 19/12/2024 15:32 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 4 |  | 18/12/2024 18:54 | 19/12/2024 06:03 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 19/12/2024 09:42 | 19/12/2024 15:21 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 |  | 18/12/2024 18:58 | 19/12/2024 05:35 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 4 | 130.19 | 18/12/2024 18:58 | 19/12/2024 05:45 | NO/REDUCED IRRIGATION DEMAND
HARDUAGANJ TPS | 8 | 250.00 | 16/11/2024 00:00 | 19/12/2024 21:09 | RSD/LOW SCHEDULE
HARDUAGANJ TPS | 9 | 250.00 | 15/11/2024 23:59 | 19/12/2024 18:19 | RSD/LOW SCHEDULE
HARDUAGANJ TPS | 10 | 660.00 | 17/11/2024 22:04 | 19/12/2024 19:48 | RSD/LOW SCHEDULE
KUNDARKI TPS | 1 | 45.00 | 16/12/2024 01:10 | 19/12/2024 21:41 | BOILER MISC. PROBLEM
MAQSOODPUR TPS | 1 | 45.00 | 17/11/2024 21:45 | 19/12/2024 13:22 | RSD/LOW SCHEDULE
MAQSOODPUR TPS | 2 | 45.00 | 19/12/2024 13:30 | 19/12/2024 21:12 | GOVERN.SYSTEM TROUB/EQPT. FAIL/EHG FAULT
AKALTARA TPS | 4 | 600.00 | 20/11/2024 03:57 | 19/12/2024 14:33 | SCHEDULED ANNUAL MAINTENANCE
KAWAS CCPP | 1 | 106.00 | 19/12/2024 09:57 | 19/12/2024 14:46 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 1 |  | 18/12/2024 18:59 | 19/12/2024 05:15 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 2 | 106.00 | 19/12/2024 09:54 | 19/12/2024 15:01 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 2 |  | 18/12/2024 18:59 | 19/12/2024 05:45 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 3 | 106.00 | 18/12/2024 18:58 | 19/12/2024 05:01 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 4 | 106.00 | 18/12/2024 18:57 | 19/12/2024 05:30 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 4 |  | 19/12/2024 09:58 | 19/12/2024 15:20 | CONSERVATION OF MAIN FUEL/RSD
KAKRAPARA | 4 | 700.00 | 19/12/2024 00:44 | 19/12/2024 02:46 | Turbine Misc
GANDHI NAGAR TPS | 5 | 210.00 | 10/12/2024 06:23 | 19/12/2024 05:30 | RSD/LOW SCHEDULE
WANAKBORI TPS | 3 | 210.00 | 18/12/2024 18:00 | 19/12/2024 08:00 | TURBINE CONTROL VALVE PROBLEM
WANAKBORI TPS | 8 | 800.00 | 19/12/2024 22:16 | 19/12/2024 23:50 | ELECTRICAL MISCELLANEOUS PROBLEMS
WANAKBORI TPS | 8 |  | 19/12/2024 14:00 | 19/12/2024 15:50 | ELECTRICAL MISCELLANEOUS PROBLEMS
SALAYA TPP | 2 | 600.00 | 14/12/2024 20:26 | 19/12/2024 05:06 | RESERVE SHUT DOWN / STANDBY UNIT
MAUDA TPS | 1 | 500.00 | 12/12/2024 23:21 | 19/12/2024 03:03 | BOILER INSPECTION/ RE-CERTIFICATION
RATNAGIRI CCPP | 4 | 213.00 | 19/12/2024 10:00 | 19/12/2024 14:21 | GT-MISCELLANEOUS PROBLEMS
RATNAGIRI CCPP | 5 | 213.00 | 18/12/2024 11:12 | 19/12/2024 04:41 | GT-MISCELLANEOUS PROBLEMS
RATNAGIRI CCPP | 8 | 213.00 | 18/12/2024 19:54 | 19/12/2024 03:41 | GT-MISCELLANEOUS PROBLEMS
RATNAGIRI CCPP | 8 |  | 19/12/2024 10:26 | 19/12/2024 15:13 | GT-MISCELLANEOUS PROBLEMS
BHUSAWAL TPS | 5 | 500.00 | 17/12/2024 16:56 | 19/12/2024 18:50 | Instrumentation & Control System Abnormal
NASIK TPS | 3 | 210.00 | 15/12/2024 17:48 | 19/12/2024 04:28 | REHEATER TUBE LEAKAGE
NASIK TPS | 3 |  | 19/12/2024 06:50 | 19/12/2024 09:10 | CONDENSER LOW VACCUM
URAN CCPP | 5 | 108.00 | 19/12/2024 08:15 | 19/12/2024 18:05 | RESERVE SHUT DOWN
URAN CCPP | 5 |  | 19/12/2024 00:00 | 19/12/2024 07:53 | RESERVE SHUT DOWN
WARDHA WARORA TPP | 1 | 135.00 | 28/10/2024 16:03 | 19/12/2024 08:46 | ELECTRICAL MISCELLANEOUS PROBLEMS
SIMHAPURI TPS | 2 | 150.00 | 30/11/2024 21:10 | 19/12/2024 18:16 | P.A. FANS PROBLEM
RAICHUR TPS | 5 | 210.00 | 17/12/2024 11:25 | 19/12/2024 05:14 | WATER WALL TUBE LEAKAGE
NEYVELI ( EXT) TPS | 2 | 210.00 | 19/12/2024 09:10 | 19/12/2024 14:04 | ELECTRICAL FAULT
NEYVELI TPS-II | 5 | 210.00 | 12/12/2024 20:57 | 19/12/2024 02:21 | BOILER MISC. PROBLEM
METTUR TPS - II | 1 | 600.00 | 16/12/2024 08:41 | 19/12/2024 20:21 | WATER WALL TUBE LEAKAGE
NORTH CHENNAI TPS | 2 | 210.00 | 19/12/2024 11:06 | 19/12/2024 14:36 | FUEL SUPPLY & OTHER MISC. PROBLEMS
TALCHER STPS | 1 | 500.00 | 17/12/2024 23:22 | 19/12/2024 22:00 | REHEATER TUBE LEAKAGE
HALDIA TPP | 1 | 300.00 | 15/12/2024 00:00 | 19/12/2024 10:25 | BOILER OVERHAUL/ ANNUAL MAINTENANCE
BONGAIGAON TPP | 1 | 250.00 | 14/11/2024 01:00 | 19/12/2024 16:50 | BOILER OVERHAUL/ ANNUAL MAINTENANCE
BONGAIGAON TPP | 1 |  | 19/12/2024 17:05 | 19/12/2024 19:34 | CONDENSER TUBE LEAKAGE/ CLEANING
LAKWA REPLACEMENT POWER PROJECT | 3 | 9.96 | 19/12/2024 14:54 | 19/12/2024 16:30 | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 6 | 9.96 | 18/12/2024 20:30 | 19/12/2024 07:00 | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 6 |  | 19/12/2024 10:06 | 19/12/2024 14:39 | GRID DISTURBANCE
AGARTALA GT | 3 | 21.00 | 19/12/2024 00:00 | 19/12/2024 23:59 | Fuel Shortage
AGARTALA GT | 4 | 21.00 | 19/12/2024 00:00 | 19/12/2024 23:59 | Fuel Shortage
AGARTALA GT | 6 | 25.50 | 19/12/2024 00:00 | 19/12/2024 23:59 | Fuel Shortage
Total |  | 10,624.80