## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 19-12-2024 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
ANTA CCPP | 1 | 88.71 | 19/12/2024 09:45 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 1 |  | 19/12/2024 18:43 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 3 | 88.71 | 19/12/2024 18:44 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 3 |  | 19/12/2024 09:45 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
KOTA TPS | 6 | 195.00 | 19/12/2024 09:48 |  | I.D. FANS PROBLEM
SURATGARH TPS | 1 | 250.00 | 19/12/2024 06:44 |  | WATER WALL TUBE LEAKAGE
AURAIYA CCPP | 1 | 111.19 | 19/12/2024 18:44 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 1 |  | 19/12/2024 09:28 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 2 | 111.19 | 19/12/2024 09:23 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 2 |  | 19/12/2024 18:42 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 3 | 111.19 | 19/12/2024 18:44 | 19/12/2024 | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 4 | 111.19 | 19/12/2024 18:42 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 4 |  | 19/12/2024 09:25 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 19/12/2024 18:42 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 |  | 19/12/2024 09:42 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 4 | 130.19 | 19/12/2024 18:42 |  | NO/REDUCED IRRIGATION DEMAND
HARDUAGANJ TPS | 10 | 660.00 | 19/12/2024 21:40 |  | C&I PROBLEM
MAQSOODPUR TPS | 2 | 45.00 | 19/12/2024 13:30 |  | GOVERN.SYSTEM TROUB/EQPT. FAIL/EHG FAULT
RATIJA TPS | 1 | 50.00 | 19/12/2024 13:36 |  | WATER WALL TUBE LEAKAGE
GANDHAR CCPP | 2 | 144.30 | 19/12/2024 18:45 | 19/12/2024 | NO/REDUCED IRRIGATION DEMAND
GANDHAR CCPP | 3 | 144.30 | 19/12/2024 18:34 |  | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 1 | 106.00 | 19/12/2024 18:41 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 1 |  | 19/12/2024 09:57 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 2 | 106.00 | 19/12/2024 18:41 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 2 |  | 19/12/2024 09:54 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 3 | 106.00 | 19/12/2024 09:58 | 19/12/2024 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 4 | 106.00 | 19/12/2024 18:41 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 4 |  | 19/12/2024 09:58 | 19/12/2024 | CONSERVATION OF MAIN FUEL/RSD
KAKRAPARA | 4 | 700.00 | 19/12/2024 00:44 |  | Turbine Misc
WANAKBORI TPS | 3 | 210.00 | 19/12/2024 08:00 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
WANAKBORI TPS | 8 | 800.00 | 19/12/2024 22:16 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
WANAKBORI TPS | 8 |  | 19/12/2024 14:00 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
https://npp.gov.in 20/12/2024 17:27:03 |  |  |  |  | PAGE 1
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 19-12-2024 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
RATNAGIRI CCPP | 4 | 213.00 | 19/12/2024 20:09 |  | GT-MISCELLANEOUS PROBLEMS
RATNAGIRI CCPP | 4 |  | 19/12/2024 10:00 |  | GT-MISCELLANEOUS PROBLEMS
RATNAGIRI CCPP | 8 | 213.00 | 19/12/2024 10:26 |  | GT-MISCELLANEOUS PROBLEMS
RATNAGIRI CCPP | 8 |  | 19/12/2024 19:55 |  | GT-MISCELLANEOUS PROBLEMS
CHANDRAPUR(MAHARASHTRA) STPS | 7 | 500.00 | 19/12/2024 22:15 |  | WATER WALL TUBE LEAKAGE
NASIK TPS | 3 | 210.00 | 19/12/2024 06:50 |  | CONDENSER LOW VACCUM
URAN CCPP | 5 | 108.00 | 19/12/2024 18:58 | 20/12/2024 | RESERVE SHUT DOWN
URAN CCPP | 5 |  | 19/12/2024 00:00 | 19/12/2024 | RESERVE SHUT DOWN
URAN CCPP | 5 |  | 19/12/2024 08:15 | 19/12/2024 | RESERVE SHUT DOWN
DAMODARAM SANJEEVAIAH TPS | 1 | 800.00 | 19/12/2024 12:21 |  | WATER WALL TUBE LEAKAGE
SIMHAPURI TPS | 4 | 150.00 | 19/12/2024 07:00 |  | I.D. FANS PROBLEM
NEYVELI ( EXT) TPS | 2 | 210.00 | 19/12/2024 09:10 |  | ELECTRICAL FAULT
METTUR TPS | 3 | 210.00 | 19/12/2024 16:33 | 31/12/2024 | COLLAPSE OF R.C. BUNKER
METTUR TPS | 4 | 210.00 | 19/12/2024 18:33 | 21/12/2024 | COAL FEEDING SYSTEM FAILURE.
NORTH CHENNAI TPS | 2 | 210.00 | 19/12/2024 11:06 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
RAMAGUNDEM STPS | 4 | 500.00 | 19/12/2024 16:03 | 19/12/2024 | WATER WALL TUBE LEAKAGE
BONGAIGAON TPP | 1 | 250.00 | 19/12/2024 17:05 | 19/12/2024 | CONDENSER TUBE LEAKAGE/ CLEANING
LAKWA REPLACEMENT POWER PROJECT | 2 | 9.96 | 19/12/2024 20:34 |  | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 3 | 9.96 | 19/12/2024 14:54 |  | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 6 | 9.96 | 19/12/2024 10:06 |  | GRID DISTURBANCE
AGARTALA GT | 3 | 21.00 | 19/12/2024 00:00 |  | Fuel Shortage
AGARTALA GT | 4 | 21.00 | 19/12/2024 00:00 |  | Fuel Shortage
AGARTALA GT | 6 | 25.50 | 19/12/2024 00:00 |  | Fuel Shortage
Total |  | 8386.56
https://npp.gov.in 20/12/2024 17:27:03 |  |  |  |  | PAGE 2