## generationrptforNTPCStation
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
GENERATION REPORT FOR NTPC STATIONS DATED - 19-Dec-2024
Power Station | Monitored Cap. (MW) | Available Cap. (MW) | Generation (MU) |  |  |  | Coal Stock In day's | Cap. Under Outage (MW) | Maintenance Start Date (dd/mm/yyyyhh24:mi) | Expected Returned Date/SyncDate | Remarks
|  |  | Today's Program | Today's Actual | April 1 Till Date
[5 empty] | Prog. | Actual
Haryana
FARIDABAD CCPP | 431.59 | 0 | 0.42 | 0 | 112.98 | 215.37 |  | 431.59
Total THER (GT) | 431.59 | 0 | 0.42 | 0 | 112.98 | 215.37 |  | 431.59
Total Generation | 431.59 | 0 | 0.42 | 0 | 112.98 | 215.37 |  | 431.59
Himachal Pradesh
KOLDAM | 800 | 200 | 2.45 | 2.53 | 2827.55 | 3080.18 |  | 600
Total HYDRO | 800 | 200 | 2.45 | 2.53 | 2827.55 | 3080.18 |  | 600
Total Generation | 800 | 200 | 2.45 | 2.53 | 2827.55 | 3080.18 |  | 600
Rajasthan
ANTA CCPP | 419.33 | 0 | 1.26 | 1.09 | 344.94 | 394.95 |  | 419.33
Total THER (GT) | 419.33 | 0 | 1.26 | 1.09 | 344.94 | 394.95 |  | 419.33
Total Generation | 419.33 | 0 | 1.26 | 1.09 | 344.94 | 394.95 |  | 419.33
Uttarakhand
TAPOVAN VISHNUGAD HPS | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Total HYDRO | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Total Generation | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Uttar Pradesh
DADRI (NCTPP) | 1820 | 1820 | 34.34 | 30.68 | 8700.46 | 6981.83 | 60 | 0
Unit 1 | 210 | 210 | 3.9 | 3.38 | 1051.1 | 789.08 | 10 | 0
Unit 2 | 210 | 210 | 3.9 | 3.33 | 1051.1 | 774.53 | 10 | 0
Unit 3 | 210 | 210 | 4.06 | 3.52 | 986.14 | 789.18 | 10 | 0
Unit 4 | 210 | 210 | 4.06 | 3.43 | 1089.14 | 820.29 | 10 | 0
Unit 5 | 490 | 490 | 9.23 | 8.46 | 2461.37 | 2087.63 | 10 | 0
Unit 6 | 490 | 490 | 9.19 | 8.56 | 2061.61 | 1721.12 | 10 | 0
RIHAND STPS | 3000 | 3000 | 58.34 | 70.23 | 17467.46 | 16885.96 | 84 | 0
Unit 1 | 500 | 500 | 0 | 11.64 | 2659 | 2324.44 | 14 | 0
Unit 2 | 500 | 500 | 11.71 | 11.42 | 2555.49 | 2774.22 | 14 | 0
Unit 3 | 500 | 500 | 11.65 | 11.9 | 3061.35 | 3023.98 | 14 | 0
Unit 4 | 500 | 500 | 11.65 | 11.76 | 3061.35 | 2866.85 | 14 | 0
Unit 5 | 500 | 500 | 11.65 | 11.76 | 3062.35 | 3017.13 | 14 | 0
Unit 6 | 500 | 500 | 11.68 | 11.75 | 3067.92 | 2879.34 | 14 | 0
SINGRAULI STPS | 2000 | 1800 | 42.01 | 42.79 | 12132.01 | 11211.65 | 112 | 200
Unit 1 | 200 | 200 | 4.65 | 4.92 | 1224.35 | 1195.61 | 16 | 0
Unit 2 | 200 | 200 | 4.68 | 4.9 | 1095.8 | 1005.91 | 16 | 0
Unit 3 | 200 | 200 | 4.65 | 4.88 | 1226.35 | 1182.93 | 16 | 0
Unit 4 | 200 | 0 | 0 | 0 | 1212.94 | 1161.91 | 16 | 200 | 2024-12-15 23:25 |  | OVERHAULING WORKS
Unit 5 | 200 | 200 | 4.68 | 4.9 | 1224.92 | 1167.7 | 16 | 0
Unit 6 | 500 | 500 | 11.77 | 11.56 | 3103.63 | 2759 | 16 | 0
Unit 7 | 500 | 500 | 11.58 | 11.63 | 3044.02 | 2738.59 | 16 | 0
TANDA TPS | 1760 | 660 | 34.83 | 13.58 | 9191.77 | 7694.48 | 222 | 1100
Unit 1 | 110 | 0 | 1.87 | 0 | 508.53 | 348.31 | 37 | 110 | 2024-11-15 23:58 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 2 | 110 | 0 | 1.87 | 0 | 508.53 | 346.24 | 37 | 110 | 2024-11-15 23:56 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 3 | 110 | 0 | 1.9 | 0 | 456.1 | 342.49 | 37 | 110 | 2024-11-15 23:30 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 4 | 110 | 0 | 1.9 | 0 | 456.1 | 252.86 | 37 | 110 | 2024-11-15 23:44 |  | CONSERVATION OF MAIN FUEL/RSD
Unit 5 | 660 | 0 | 13.45 | 0 | 3572.55 | 2975.36 | 37 | 660 | 2024-11-11 13:37 |  | OVERHAULING WORKS
Unit 6 | 660 | 660 | 13.84 | 13.58 | 3689.96 | 3429.22 | 37 | 0
UNCHAHAR TPS | 1550 | 1550 | 29.13 | 29.23 | 7409.28 | 6961.15 | 132 | 0
Unit 1 | 210 | 210 | 3.71 | 3.8 | 998.49 | 947.9 | 22 | 0
Unit 2 | 210 | 210 | 3.61 | 3.76 | 978.59 | 926.75 | 22 | 0
Unit 3 | 210 | 210 | 4.91 | 3.63 | 1104.1 | 974.88 | 22 | 0
Unit 4 | 210 | 210 | 4.87 | 4.29 | 1103.53 | 894.16 | 22 | 0
Unit 5 | 210 | 210 | 3.9 | 3.97 | 1051.1 | 840.82 | 22 | 0
Unit 6 | 500 | 500 | 8.13 | 9.78 | 2173.47 | 2376.64 | 22 | 0
Total THERMAL | 10130 | 8830 | 198.65 | 186.51 | 54900.98 | 49735.07 | 610 | 1300
AURAIYA CCPP | 663.36 | 0 | 2.52 | 2.33 | 648.88 | 518.21 |  | 663.36
DADRI CCPP | 829.78 | 0 | 3.33 | 1.68 | 840.27 | 648.27 |  | 829.78
Total THER (GT) | 1493.14 | 0 | 5.85 | 4.01 | 1489.15 | 1166.48 |  | 1493.14
Total Generation | 11623.14 | 8830 | 204.5 | 190.52 | 56390.13 | 50901.55 | 610 | 2793.14
Chhatisgarh
KORBA STPS | 2600 | 2600 | 56.05 | 61.45 | 15027.95 | 14430.92 | 70 | 0
Unit 1 | 200 | 200 | 4.68 | 4.75 | 1230.92 | 971.08 | 10 | 0
Unit 2 | 200 | 200 | 0 | 4.74 | 1037 | 1205.19 | 10 | 0
Unit 3 | 200 | 200 | 4.65 | 4.76 | 1226.35 | 1220.56 | 10 | 0
Unit 4 | 500 | 500 | 11.65 | 11.73 | 3062.35 | 2955.61 | 10 | 0
Unit 5 | 500 | 500 | 11.65 | 11.79 | 3062.35 | 3014.91 | 10 | 0
Unit 6 | 500 | 500 | 11.65 | 11.87 | 2662.35 | 2480.29 | 10 | 0
Unit 7 | 500 | 500 | 11.77 | 11.81 | 2746.63 | 2583.28 | 10 | 0
LARA TPP | 1600 | 1600 | 37.03 | 37.96 | 8622.57 | 8768.82 | 34 | 0
Unit 1 | 800 | 800 | 18.68 | 19.08 | 3794.92 | 3860.58 | 17 | 0
Unit 2 | 800 | 800 | 18.35 | 18.88 | 4827.65 | 4908.24 | 17 | 0
SIPAT STPS | 2980 | 2980 | 64.65 | 67.88 | 16664.35 | 16237.11 | 35 | 0
Unit 1 | 660 | 660 | 14.19 | 15.08 | 3707.61 | 3572.94 | 7 | 0
Unit 2 | 660 | 660 | 14.23 | 15.25 | 3704.37 | 3496.81 | 7 | 0
Unit 3 | 660 | 660 | 13.74 | 15.21 | 3339.06 | 3405.48 | 7 | 0
Unit 4 | 500 | 500 | 11.23 | 10.97 | 2959.37 | 2912.22 | 7 | 0
Unit 5 | 500 | 500 | 11.26 | 11.37 | 2953.94 | 2849.66 | 7 | 0
Total THERMAL | 7180 | 7180 | 157.73 | 167.29 | 40314.87 | 39436.85 | 139 | 0
Total Generation | 7180 | 7180 | 157.73 | 167.29 | 40314.87 | 39436.85 | 139 | 0
Gujarat
GANDHAR CCPP | 657.39 | 0 | 1.96 | 1.9 | 640.78 | 594.98 |  | 657.39
KAWAS CCPP | 656.2 | 0 | 1.77 | 2.83 | 550.87 | 534.83 |  | 656.2
Total THER (GT) | 1313.59 | 0 | 3.73 | 4.73 | 1191.65 | 1129.81 |  | 1313.59
Total Generation | 1313.59 | 0 | 3.73 | 4.73 | 1191.65 | 1129.81 |  | 1313.59
Madhya Pradesh
GADARWARA TPP | 1600 | 1600 | 35.42 | 30.56 | 7187.98 | 6087.48 | 30 | 0
Unit 1 | 800 | 800 | 17.71 | 15.05 | 3594.49 | 3707.55 | 15 | 0
Unit 2 | 800 | 800 | 17.71 | 15.51 | 3593.49 | 2379.93 | 15 | 0
KHARGONE STPP | 1320 | 1320 | 22.64 | 23.21 | 5692.16 | 5200.14 | 26 | 0
Unit 1 | 660 | 660 | 12.16 | 11.45 | 3260.04 | 2784.65 | 13 | 0
Unit 2 | 660 | 660 | 10.48 | 11.76 | 2432.12 | 2415.49 | 13 | 0
VINDHYACHAL STPS | 4760 | 4050 | 106.43 | 93.41 | 27874.17 | 26113.15 | 247 | 710
Unit 1 | 210 | 210 | 4.87 | 4.91 | 1053.53 | 948.26 | 19 | 0
Unit 10 | 500 | 500 | 11.74 | 11.67 | 2677.06 | 2496.62 | 19 | 0
Unit 11 | 500 | 500 | 11.65 | 11.5 | 3062.35 | 2969.8 | 19 | 0
Unit 12 | 500 | 500 | 11.68 | 11.34 | 3061.92 | 2970.39 | 19 | 0
Unit 13 | 500 | 500 | 11.68 | 11.17 | 3061.92 | 2887.21 | 19 | 0
Unit 2 | 210 | 0 | 4.9 | 0 | 1297.1 | 1178.2 | 19 | 210 | 2024-12-18 16:45 |  | TURBINE MISC.
Unit 3 | 210 | 210 | 4.9 | 4.67 | 1297.1 | 1159.47 | 19 | 0
Unit 4 | 210 | 210 | 4.9 | 4.93 | 1122.1 | 951.3 | 19 | 0
Unit 5 | 210 | 210 | 0 | 4.83 | 1230 | 1170.34 | 19 | 0
Unit 6 | 210 | 210 | 4.94 | 4.98 | 1296.86 | 1225.19 | 19 | 0
Unit 7 | 500 | 500 | 11.65 | 11.7 | 3062.35 | 2855.4 | 19 | 0
Unit 8 | 500 | 0 | 11.81 | 0 | 2571.39 | 2389.41 | 19 | 500 | 2024-11-10 00:14 |  | OVERHAULING WORKS
Unit 9 | 500 | 500 | 11.71 | 11.71 | 3080.49 | 2911.56 | 19 | 0
Total THERMAL | 7680 | 6970 | 164.49 | 147.18 | 40754.31 | 37400.77 | 303 | 710
Total Generation | 7680 | 6970 | 164.49 | 147.18 | 40754.31 | 37400.77 | 303 | 710
Maharashtra
MAUDA TPS | 2320 | 2320 | 37.2 | 43 | 11213.48 | 9759.9 | 80 | 0
Unit 1 | 500 | 500 | 0 | 8.11 | 2677.98 | 2343.3 | 20 | 0 | 2024-12-12 23:21 | 2024-12-19 03:03 | BOILER INSPECTION/ RE-CERTIFICATION
Unit 2 | 500 | 500 | 10.9 | 10.01 | 2488.1 | 1942.26 | 20 | 0
Unit 3 | 660 | 660 | 12.97 | 12.45 | 3476.43 | 2952.78 | 20 | 0
Unit 4 | 660 | 660 | 13.33 | 12.43 | 2570.97 | 2521.56 | 20 | 0
SOLAPUR STPS | 1320 | 1320 | 22.09 | 22.65 | 5616.71 | 4720.98 | 16 | 0
Unit 1 | 660 | 660 | 11.35 | 11.37 | 2742.65 | 2141.89 | 8 | 0
Unit 2 | 660 | 660 | 10.74 | 11.28 | 2874.06 | 2579.09 | 8 | 0
Total THERMAL | 3640 | 3640 | 59.29 | 65.65 | 16830.19 | 14480.88 | 96 | 0
Total Generation | 3640 | 3640 | 59.29 | 65.65 | 16830.19 | 14480.88 | 96 | 0
Andhra Pradesh
SIMHADRI | 2000 | 1500 | 38.83 | 29.98 | 9646.93 | 8487.71 | 92 | 500
Unit 1 | 500 | 500 | 9.45 | 9.97 | 2535.55 | 2352.76 | 23 | 0
Unit 2 | 500 | 0 | 10.06 | 0 | 2382.3 | 1862.24 | 23 | 500 | 2024-11-09 22:36 |  | OVERHAULING WORKS
Unit 3 | 500 | 500 | 9.45 | 10.01 | 2535.55 | 2397.7 | 23 | 0
Unit 4 | 500 | 500 | 9.87 | 10 | 2193.53 | 1875.01 | 23 | 0
Total THERMAL | 2000 | 1500 | 38.83 | 29.98 | 9646.93 | 8487.71 | 92 | 500
Total Generation | 2000 | 1500 | 38.83 | 29.98 | 9646.93 | 8487.71 | 92 | 500
Karnataka
KUDGI STPP | 2400 | 1600 | 25.64 | 27.99 | 9879.16 | 8347.18 | 87 | 800
Unit 1 | 800 | 800 | 13.19 | 13.91 | 3003.61 | 2721.85 | 29 | 0
Unit 2 | 800 | 800 | 0 | 14.08 | 3543 | 3094.13 | 29 | 0
Unit 3 | 800 | 0 | 12.45 | 0 | 3332.55 | 2531.2 | 29 | 800 | 2024-11-16 02:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Total THERMAL | 2400 | 1600 | 25.64 | 27.99 | 9879.16 | 8347.18 | 87 | 800
Total Generation | 2400 | 1600 | 25.64 | 27.99 | 9879.16 | 8347.18 | 87 | 800
Kerala
R. GANDHI CCPP (Liq.) | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Total THER (GT) | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Total Generation | 359.58 | 0 | 0 | 0 | 0 | 0 |  | 359.58
Telangana
RAMAGUNDEM STPS | 2600 | 1600 | 46.17 | 34.06 | 14417.23 | 10661.47 | 154 | 1000
Unit 1 | 200 | 200 | 4.39 | 3.39 | 1049.41 | 910.25 | 22 | 0
Unit 2 | 200 | 200 | 4.42 | 3.46 | 1159.98 | 886.26 | 22 | 0
Unit 3 | 200 | 200 | 4.39 | 3.35 | 1152.41 | 904.36 | 22 | 0
Unit 4 | 500 | 0 | 10.97 | 5.55 | 2881.43 | 2161.12 | 22 | 500 | 2024-12-19 16:03 |  | WATER WALL TUBE LEAKAGE
Unit 5 | 500 | 500 | 0 | 9.2 | 2718 | 1828.34 | 22 | 0
Unit 6 | 500 | 0 | 10.97 | 0 | 2881.43 | 2057.68 | 22 | 500 | 2024-12-18 01:20 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Unit 7 | 500 | 500 | 11.03 | 9.11 | 2574.57 | 1913.46 | 22 | 0
TELANGANA STPP PH-1 | 1600 | 1600 | 28.29 | 30.9 | 7548.51 | 7356.56 | 42 | 0
Unit 1 | 800 | 800 | 16.13 | 15.51 | 4287.47 | 3591.62 | 21 | 0
Unit 2 | 800 | 800 | 12.16 | 15.39 | 3261.04 | 3764.94 | 21 | 0
Total THERMAL | 4200 | 3200 | 74.46 | 64.96 | 21965.74 | 18018.03 | 196 | 1000
Total Generation | 4200 | 3200 | 74.46 | 64.96 | 21965.74 | 18018.03 | 196 | 1000
Bihar
BARAUNI TPS | 710 | 500 | 8.9 | 11.43 | 2391.1 | 2708.03 | 56 | 210
Unit 6 | 105 | 0 | 0 | 0 | 0 | 0 | 14 | 105 | 2023-07-22 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Unit 7 | 105 | 0 | 0 | 0 | 0 | 0 | 14 | 105 | 2023-07-19 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Unit 8 | 250 | 250 | 4.32 | 5.73 | 1159.08 | 1396.88 | 14 | 0
Unit 9 | 250 | 250 | 4.58 | 5.7 | 1232.02 | 1311.15 | 14 | 0
BARH STPS | 2640 | 1980 | 43.54 | 42.92 | 13532.26 | 11976.02 | 50 | 660
Unit 1 | 660 | 660 | 12.16 | 14.37 | 3260.04 | 2490.46 | 10 | 0
Unit 2 | 660 | 660 | 0 | 14.29 | 2927 | 2925.21 | 10 | 0
Unit 3 | 0 | 0 | 6.61 | 0 | 725.59 | 0 | 10 | 0 |  |  | unit not yet commissioned
Unit 4 | 660 | 660 | 12.19 | 14.26 | 3254.61 | 3266.74 | 10 | 0
Unit 5 | 660 | 0 | 12.58 | 0 | 3365.02 | 3293.61 | 10 | 660 | 2024-12-18 00:57 |  | WATER WALL TUBE LEAKAGE
KAHALGAON TPS | 2340 | 1840 | 51.8 | 38.76 | 13159.58 | 11586.59 | 126 | 500
Unit 1 | 210 | 210 | 4.81 | 4.22 | 1263.39 | 1087.27 | 18 | 0
Unit 2 | 210 | 210 | 4.77 | 4.32 | 1111.63 | 1054.9 | 18 | 0
Unit 3 | 210 | 210 | 4.77 | 4.38 | 1254.63 | 987.04 | 18 | 0
Unit 4 | 210 | 210 | 4.65 | 4.3 | 1226.35 | 1116.55 | 18 | 0
Unit 5 | 500 | 0 | 11.18 | 0 | 2608.8 | 2395.65 | 18 | 500 | 2024-11-14 23:43 |  | OVERHAULING WORKS
Unit 6 | 500 | 500 | 10.81 | 10.99 | 2847.39 | 2252.23 | 18 | 0
Unit 7 | 500 | 500 | 10.81 | 10.55 | 2847.39 | 2692.95 | 18 | 0
Total THERMAL | 5690 | 4320 | 104.24 | 93.11 | 29082.94 | 26270.64 | 232 | 1370
Total Generation | 5690 | 4320 | 104.24 | 93.11 | 29082.94 | 26270.64 | 232 | 1370
Jharkhand
NORTH KARANPURA TPP | 1320 | 1320 | 35.22 | 31.3 | 7565.18 | 7163.16 | 36 | 0
Unit 1 | 660 | 660 | 14.26 | 15.68 | 3703.94 | 3566.52 | 12 | 0
Unit 2 | 660 | 660 | 11.61 | 15.62 | 3115.59 | 3596.64 | 12 | 0
Unit 3 | 0 | 0 | 9.35 | 0 | 745.65 | 0 | 12 | 0 |  |  | unit not yet commissioned
Total THERMAL | 1320 | 1320 | 35.22 | 31.3 | 7565.18 | 7163.16 | 36 | 0
Total Generation | 1320 | 1320 | 35.22 | 31.3 | 7565.18 | 7163.16 | 36 | 0
Odisha
DARLIPALI STPS | 1600 | 1600 | 37.2 | 38.45 | 8606.8 | 8274.34 | 22 | 0
Unit 1 | 800 | 800 | 18.55 | 19.24 | 3708.45 | 3426.41 | 11 | 0
Unit 2 | 800 | 800 | 18.65 | 19.21 | 4898.35 | 4847.93 | 11 | 0
TALCHER STPS | 3000 | 2500 | 58.47 | 57.5 | 17445.87 | 15340.73 | 30 | 500
Unit 1 | 500 | 0 | 11.68 | 0.24 | 3061.92 | 2704.29 | 5 | 500 | 2024-12-17 23:22 | 2024-12-19 22:00 | REHEATER TUBE LEAKAGE
Unit 2 | 500 | 500 | 11.68 | 11.58 | 2608.92 | 2207.26 | 5 | 0
Unit 3 | 500 | 500 | 11.65 | 11.12 | 3061.35 | 2565.61 | 5 | 0
Unit 4 | 500 | 500 | 11.65 | 11.2 | 3062.35 | 2738.54 | 5 | 0
Unit 5 | 500 | 500 | 0 | 11.66 | 3078.94 | 2792.18 | 5 | 0
Unit 6 | 500 | 500 | 11.81 | 11.7 | 2572.39 | 2332.85 | 5 | 0
Total THERMAL | 4600 | 4100 | 95.67 | 95.95 | 26052.67 | 23615.07 | 52 | 500
Total Generation | 4600 | 4100 | 95.67 | 95.95 | 26052.67 | 23615.07 | 52 | 500
West Bengal
FARAKKA STPS | 2100 | 1900 | 37.16 | 39.14 | 10648.04 | 10063.58 | 102 | 200
Unit 1 | 200 | 0 | 0 | 0 | 996 | 919.75 | 17 | 200 | 2024-12-01 00:02 |  | OVERHAULING WORKS
Unit 2 | 200 | 200 | 3.94 | 4.23 | 1060.86 | 1012.88 | 17 | 0
Unit 3 | 200 | 200 | 4 | 4.15 | 1073 | 1042.41 | 17 | 0
Unit 4 | 500 | 500 | 9.77 | 10.12 | 2603.63 | 2484.29 | 17 | 0
Unit 5 | 500 | 500 | 9.71 | 10.11 | 2308.49 | 1973.06 | 17 | 0
Unit 6 | 500 | 500 | 9.74 | 10.53 | 2606.06 | 2631.19 | 17 | 0
Total THERMAL | 2100 | 1900 | 37.16 | 39.14 | 10648.04 | 10063.58 | 102 | 200
Total Generation | 2100 | 1900 | 37.16 | 39.14 | 10648.04 | 10063.58 | 102 | 200
Assam
BONGAIGAON TPP | 750 | 500 | 15.76 | 10.13 | 4013.94 | 3544.73 | 90 | 250
Unit 1 | 250 | 0 | 5.5 | 0.12 | 1287 | 1065 | 30 | 250 | 2024-12-19 17:05 | 2024-12-19 19:34 | CONDENSER TUBE LEAKAGE/ CLEANING
Unit 2 | 250 | 250 | 5.23 | 5.01 | 1392.37 | 1239.85 | 30 | 0
Unit 3 | 250 | 250 | 5.03 | 5 | 1334.57 | 1239.88 | 30 | 0
Total THERMAL | 750 | 500 | 15.76 | 10.13 | 4013.94 | 3544.73 | 90 | 250
Total Generation | 750 | 500 | 15.76 | 10.13 | 4013.94 | 3544.73 | 90 | 250