## dailyOutageReport_12
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS OUT OF GRID FOR MORE THAN 15 DAYS DURING 2024-25 as on: 22-03-2025
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY
1 | 2 | 3 | 4 | 5 | 6
GOINDWAL SAHIB TPP | 1 | 270 | 2025-01-29 00:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
RAJIV GANDHI TPS | 1 | 600 | 2025-02-23 21:06 |  | WATER WALL TUBE LEAKAGE
INDIRA GANDHI STPP | 1 | 500 | 2025-01-31 23:02 |  | OVERHAULING WORKS
INDIRA GANDHI STPP | 1 | 500 | 2022-10-22 23:10 |  | RESERVE SHUT DOWN
INDIRA GANDHI STPP | 1 | 500 | 2021-08-28 |  | Fuel Shortage
FARIDABAD CCPP | 1 | 137.76 | 2019-02-02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
FARIDABAD CCPP | 1 | 137.76 | 2018-11-12 14:59 |  | GT- LOW SYSTEM DAMAND
FARIDABAD CCPP | 1 | 137.76 | 2024-11-26 |  | NO/REDUCED IRRIGATION DEMAND
I.P.CCPP | 9 | 30 | 2024-11-10 22:10 |  | TURB. AXIAL SHIFT/ THRUST PAD
PRAGATI CCPP | 1 | 104.6 | 2023-09-22 15:05 |  | GRID DISTURBANCE
PRAGATI CCPP | 1 | 104.6 | 2020-09-04 21:02 |  | GT-MISCELLANEOUS PROBLEMS
PRAGATI CCPP | 1 | 104.6 | 2024-10-11 17:59 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 1 | 104.6 | 2024-08-07 12:30 |  | GT-MANDATORY INSPECTION/OTHERS
PRAGATI CCPP | 1 | 104.6 | 2024-08-01 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 1 | 104.6 | 2023-09-25 12:00 |  | GT-STATOR/ROTOR EARTH FAULT
PRAGATI CCPP | 1 | 104.6 | 2023-09-23 16:00 |  | LOW SYSTEM DEMAND
PRAGATI CCPP | 1 | 104.6 | 2023-09-22 15:45 |  | GT-STATOR/ROTOR EARTH FAULT
RAJASTHAN A.P.S. | 2 | 200 | 2024-12-31 21:44 | 2025-04-30 | ANNUAL MAINTENANCE
RAJASTHAN A.P.S. | 2 | 200 | 2022-04-12 04:10 |  | MISCELLANOUS
RAJASTHAN A.P.S. | 5 | 220 | 2025-02-16 23:55 | 2025-03-23 | ANNUAL MAINTENANCE
RAJASTHAN A.P.S. | 5 | 220 | 2024-04-12 16:25 |  | REACTOR MAINTENANCE WORKS.
SURATGARH TPS | 3 | 250 | 2024-11-28 13:48 |  | GENERATOR STATOR DAMAGED
SURATGARH TPS | 3 | 250 | 2023-04-22 06:19 |  | ECONOMISER TUBE LEAKAGE
DHOLPUR CCPP | 1 | 110 | 2024-10-05 20:15 |  | RSD/LOW SCHEDULE
DHOLPUR CCPP | 2 | 110 | 2024-10-05 20:15 |  | RSD/LOW SCHEDULE
DHOLPUR CCPP | 3 | 110 | 2024-07-31 22:29 |  | RSD/LOW SCHEDULE
ANTA CCPP | 4 | 153.2 | 2024-12-18 09:27 | 2025-03-23 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 4 | 153.2 | 2019-11-25 09:24 |  | RSD/LOW SCHEDULE
MEJA STPP | 2 | 660 | 2025-02-26 22:27 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
MEJA STPP | 2 | 660 | 2023-01-25 08:21 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
AURAIYA CCPP | 5 | 109.3 | 2024-12-18 09:05 | 2025-03-23 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 5 | 109.3 | 2024-06-28 00:30 |  | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 5 | 109.3 | 2022-04-10 12:45 |  | RSD/LOW SCHEDULE
AURAIYA CCPP | 5 | 109.3 | 2023-12-16 12:00 |  | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 6 | 109.3 | 2025-02-03 12:00 |  | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 6 | 109.3 | 2024-12-18 09:02 |  | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 6 | 109.3 | 2024-06-28 00:39 |  | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 6 | 109.3 | 2023-10-16 23:32 |  | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 6 | 109.3 | 2025-02-04 12:00 |  | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 6 | 109.3 | 2025-02-07 12:00 | 2025-03-23 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 6 | 109.3 | 2025-01-31 12:00 |  | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 6 | 109.3 | 2025-01-25 12:00 |  | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 6 | 109.3 | 2025-01-24 12:00 |  | NO/REDUCED IRRIGATION DEMAND
AURAIYA CCPP | 6 | 109.3 | 2025-02-02 12:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 2 | 130.19 | 2025-02-25 12:16 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 2 | 130.19 | 2025-02-26 06:00 | 2025-03-23 | GT/WHRB/ST PLANNED OVERHAUL
DADRI CCPP | 5 | 154.51 | 2024-07-06 10:05 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-26 14:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-27 14:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-28 10:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-29 10:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-30 10:06 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-31 10:06 |  | GT HIGH VIBRATIONS
DADRI CCPP | 5 | 154.51 | 2024-08-03 14:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-04 14:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-08-05 14:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-06 10:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-08-07 10:06 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-08 10:06 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-08-11 14:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-12 10:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-08-13 14:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-15 10:05 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-08-16 10:06 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-08-19 14:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-12-18 08:23 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2025-02-26 06:00 | 2025-03-23 | GT/WHRB/ST PLANNED OVERHAUL
DADRI CCPP | 5 | 154.51 | 2024-07-22 10:06 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-21 14:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-20 10:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-19 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-17 10:06 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-16 10:06 |  | VIBRATIONS
DADRI CCPP | 5 | 154.51 | 2024-07-15 10:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-13 10:00 |  | VIBRATIONS
DADRI CCPP | 5 | 154.51 | 2024-07-12 10:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-11 10:00 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-10 14:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-07 10:06 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2024-07-03 14:00 |  | NO/REDUCED IRRIGATION DEMAND
DADRI CCPP | 5 | 154.51 | 2024-07-02 14:30 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 5 | 154.51 | 2019-10-10 21:45 |  | RSD/LOW SCHEDULE
DADRI CCPP | 5 | 154.51 | 2019-11-11 19:37 |  | RSD/LOW SCHEDULE
DADRI CCPP | 5 | 154.51 | 2024-07-23 10:06 |  | GT-1ST STAGE PR PROBLEM
DADRI CCPP | 6 | 154.51 | 2019-10-30 00:34 |  | RSD/LOW SCHEDULE
DADRI CCPP | 6 | 154.51 | 2024-12-18 09:05 | 2025-03-23 | CONSERVATION OF MAIN FUEL/RSD
MAQSOODPUR TPS | 1 | 45 | 2021-02-05 16:18 |  | TURBINE CONTROL VALVE PROBLEM
MAQSOODPUR TPS | 1 | 45 | 2021-10-03 |  | COAL SHORTAGE
MAQSOODPUR TPS | 1 | 45 | 2023-11-13 01:00 |  | RSD/LOW SCHEDULE
MAQSOODPUR TPS | 1 | 45 | 2023-03-29 13:00 |  | REACTOR MAINTENANCE WORKS.
MAQSOODPUR TPS | 1 | 45 | 2023-03-20 12:30 |  | RSD/LOW SCHEDULE
MAQSOODPUR TPS | 1 | 45 | 2022-10-05 12:16 |  | RSD/LOW SCHEDULE
MAQSOODPUR TPS | 1 | 45 | 2022-06-23 23:58 |  | COAL SHORTAGE
MAQSOODPUR TPS | 1 | 45 | 2025-02-02 20:00 |  | ANNUAL MAINTENANCE
MAQSOODPUR TPS | 1 | 45 | 2019-10-08 23:01 |  | MAIN STEAM LINE PROBLEM
MAQSOODPUR TPS | 1 | 45 | 2019-02-22 |  | RESCHEDULED ANNUAL MAINTENANCE
MAQSOODPUR TPS | 1 | 45 | 2020-01-02 21:20 |  | COAL SHORTAGE
KHAMBARKHERA TPS | 1 | 45 | 2022-01-27 21:01 |  | RSD/LOW SCHEDULE
KHAMBARKHERA TPS | 1 | 45 | 2025-02-15 11:58 |  | TURBINE INSPECTION MISC
KHAMBARKHERA TPS | 1 | 45 | 2024-03-02 13:10 |  | RSD/LOW SCHEDULE
KHAMBARKHERA TPS | 1 | 45 | 2023-03-30 |  | REACTOR MAINTENANCE WORKS.
KHAMBARKHERA TPS | 1 | 45 | 2023-03-12 14:00 |  | RSD/LOW SCHEDULE
KHAMBARKHERA TPS | 1 | 45 | 2021-10-10 07:30 |  | COAL SHORTAGE
KHAMBARKHERA TPS | 2 | 45 | 2024-01-10 11:03 |  | ANNUAL MAINTENANCE
KHAMBARKHERA TPS | 2 | 45 | 2025-02-18 |  | ANNUAL MAINTENANCE
KHAMBARKHERA TPS | 2 | 45 | 2021-10-10 07:04 |  | COAL SHORTAGE
KHAMBARKHERA TPS | 2 | 45 | 2022-06-26 16:58 |  | COAL SHORTAGE
KHAMBARKHERA TPS | 2 | 45 | 2023-03-12 13:30 |  | RSD/LOW SCHEDULE
KHAMBARKHERA TPS | 2 | 45 | 2023-03-30 |  | REACTOR MAINTENANCE WORKS.
BARKHERA TPS | 2 | 45 | 2023-03-20 12:28 |  | RSD/LOW SCHEDULE
BARKHERA TPS | 2 | 45 | 2023-01-26 20:40 |  | RSD/LOW SCHEDULE
BARKHERA TPS | 2 | 45 | 2022-01-27 21:15 |  | RSD/LOW SCHEDULE
BARKHERA TPS | 2 | 45 | 2025-02-05 11:59 |  | RSD/LOW SCHEDULE
BARKHERA TPS | 2 | 45 | 2023-03-31 12:00 |  | RSD/LOW SCHEDULE
BARKHERA TPS | 2 | 45 | 2021-10-12 09:58 |  | COAL SHORTAGE
BARKHERA TPS | 2 | 45 | 2023-03-24 |  | ANNUAL MAINTENANCE
KUNDARKI TPS | 1 | 45 | 2022-01-27 21:12 |  | RSD/LOW SCHEDULE
KUNDARKI TPS | 1 | 45 | 2023-03-20 12:31 |  | RSD/LOW SCHEDULE
KUNDARKI TPS | 1 | 45 | 2025-02-22 21:13 |  | GOVERNOR SLUGGISH/HUNTING /FAIL/TROUBLE
KUNDARKI TPS | 1 | 45 | 2024-11-12 10:30 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
KUNDARKI TPS | 1 | 45 | 2024-11-04 23:44 |  | RSD/LOW SCHEDULE
KUNDARKI TPS | 1 | 45 | 2023-10-14 |  | COAL SHORTAGE
KUNDARKI TPS | 1 | 45 | 2022-09-02 09:55 |  | COAL SHORTAGE
KUNDARKI TPS | 1 | 45 | 2023-03-28 12:45 |  | REACTOR MAINTENANCE WORKS.
KUNDARKI TPS | 2 | 45 | 2025-02-20 |  | ANNUAL MAINTENANCE
KUNDARKI TPS | 2 | 45 | 2023-03-28 01:30 |  | REACTOR MAINTENANCE WORKS.
KUNDARKI TPS | 2 | 45 | 2023-03-20 12:31 |  | RSD/LOW SCHEDULE
KUNDARKI TPS | 2 | 45 | 2021-09-23 19:00 |  | COAL SHORTAGE
KUNDARKI TPS | 2 | 45 | 2022-01-27 21:12 |  | RSD/LOW SCHEDULE
UTRAULA TPS | 1 | 45 | 2023-11-15 22:27 |  | RSD/LOW SCHEDULE
UTRAULA TPS | 1 | 45 | 2022-08-29 21:16 |  | COAL SHORTAGE
UTRAULA TPS | 1 | 45 | 2022-01-27 21:10 |  | RSD/LOW SCHEDULE
UTRAULA TPS | 1 | 45 | 2021-02-08 13:00 |  | RSD/LOW SCHEDULE
UTRAULA TPS | 1 | 45 | 2020-01-02 18:15 |  | COAL SHORTAGE
UTRAULA TPS | 1 | 45 | 2023-03-20 12:30 |  | RSD/LOW SCHEDULE
UTRAULA TPS | 1 | 45 | 2023-03-20 13:15 |  | ANNUAL MAINTENANCE
UTRAULA TPS | 1 | 45 | 2023-07-08 11:00 |  | RSD/LOW SCHEDULE
UTRAULA TPS | 1 | 45 | 2025-02-28 11:29 |  | GENEARTOR MISC.
UTRAULA TPS | 2 | 45 | 2022-01-27 20:46 |  | RSD/LOW SCHEDULE
UTRAULA TPS | 2 | 45 | 2021-02-08 13:15 |  | RSD/LOW SCHEDULE
UTRAULA TPS | 2 | 45 | 2020-01-02 18:01 |  | COAL SHORTAGE
UTRAULA TPS | 2 | 45 | 2023-12-10 18:20 |  | RSD/LOW SCHEDULE
UTRAULA TPS | 2 | 45 | 2025-02-20 00:30 |  | INSPECTION OF GENERATING UNIT
UTRAULA TPS | 2 | 45 | 2023-12-10 08:00 |  | INSPECTION /MTCE
UTRAULA TPS | 2 | 45 | 2023-11-15 22:42 |  | RESERVE SHUT DOWN
UTRAULA TPS | 2 | 45 | 2023-03-20 13:15 |  | ANNUAL MAINTENANCE
UTRAULA TPS | 2 | 45 | 2023-03-20 12:20 |  | RSD/LOW SCHEDULE
OP JINDAL TPS | 4 | 250 | 2025-02-09 08:36 |  | ELECTRICAL FAULT
OP JINDAL TPS | 4 | 250 | 2020-10-01 09:32 |  | CONDENSER TUBE LEAKAGE/ CLEANING
OP JINDAL TPS | 4 | 250 | 2021-10-27 |  | Fuel Shortage
OP JINDAL TPS | 4 | 250 | 2021-12-01 19:07 |  | AIR PREHEATERS PROBLEM
OP JINDAL TPS | 4 | 250 | 2022-01-03 12:41 |  | BOILER INSPECTION/ RE-CERTIFICATION
OP JINDAL TPS | 4 | 250 | 2022-04-28 06:10 |  | CONDENSER TUBE LEAKAGE/ CLEANING
OP JINDAL TPS | 4 | 250 | 2022-11-11 01:08 |  | ABNORMAL BOILER OPERATIONAL PARAMETER
OP JINDAL TPS | 4 | 250 | 2020-07-19 |  | TURBINE MISC. PROBLEM
RATIJA TPS | 1 | 50 | 2025-02-13 01:05 |  | CAPITAL MAINTENANCE
BINJKOTE TPP | 2 | 300 | 2019-10-18 20:32 |  | Low system demand/ costly fuel
BINJKOTE TPP | 2 | 300 | 2019-10-23 |  | COAL SHORTAGE
BINJKOTE TPP | 2 | 300 | 2020-01-25 00:01 |  | Cooling Water System Abnormal/ Maintenance
SANJAY GANDHI TPS | 1 | 210 | 2024-08-04 19:03 |  | ANNUAL MAINTENANCE
BINA TPS | 1 | 250 | 2020-03-19 23:59 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
BINA TPS | 1 | 250 | 2025-01-27 12:17 |  | STATOR EARTH FAULT
VINDHYACHAL STPS | 3 | 210 | 2025-02-25 23:43 | 2025-03-23 | OVERHAULING WORKS
UTRAN CCPP | 5 | 240 | 2024-09-05 |  | RESERVE SHUT DOWN/ STANDBY.
UTRAN CCPP | 5 | 240 | 2024-10-16 08:00 |  | INSPECTION /MTCE
UTRAN CCPP | 5 | 240 | 2024-10-10 19:13 |  | RESERVE SHUT DOWN / STANDBY UNIT
UTRAN CCPP | 5 | 240 | 2025-02-10 20:28 |  | RESERVE SHUT DOWN
UTRAN CCPP | 5 | 240 | 2018-11-03 00:17 |  | RESERVE SHUT DOWN / STANDBY UNIT
UTRAN CCPP | 5 | 240 | 2025-02-12 |  | MISCELLANEOUS PLANNED MAINTENANCE
UTRAN CCPP | 6 | 134 | 2024-10-16 08:00 |  | SCHEDULED ANNUAL MAINTENANCE
UTRAN CCPP | 6 | 134 | 2025-02-10 20:25 |  | RESERVE SHUT DOWN / STANDBY UNIT
UTRAN CCPP | 6 | 134 | 2025-02-12 |  | MISCELLANEOUS PLANNED MAINTENANCE
UTRAN CCPP | 6 | 134 | 2024-10-10 19:10 |  | RESERVE SHUT DOWN / STANDBY UNIT
HAZIRA CCPP EXT | 1 | 351 | 2024-06-21 |  | LOW SYSTEM DEMAND
HAZIRA CCPP EXT | 1 | 351 | 2021-05-02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
HAZIRA CCPP EXT | 1 | 351 | 2022-02-23 21:00 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-02-14 |  | MISCELLANEOUS PLANNED MAINTENANCE
HAZIRA CCPP EXT | 1 | 351 | 2021-10-26 19:15 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2023-02-17 21:00 |  | TURBINE VIBRATIONS HIGH
HAZIRA CCPP EXT | 1 | 351 | 2022-12-23 19:37 |  | GENEATOR PROTECTION MISC/BACK UP PROT
HAZIRA CCPP EXT | 1 | 351 | 2022-05-02 |  | BOILER INSPECTION/ RE-CERTIFICATION
HAZIRA CCPP EXT | 1 | 351 | 2022-04-07 06:10 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-03-23 20:15 |  | Fuel Shortage
DHUVARAN CCPP | 1 | 67.85 | 2018-09-25 |  | BEARING
DHUVARAN CCPP | 1 | 67.85 | 2024-09-05 17:18 |  | NO Power purchase agreement
DHUVARAN CCPP | 1 | 67.85 | 2022-05-05 |  | Other Commercial Reason
BHAVNAGAR CFBC TPP | 2 | 250 | 2025-01-23 16:21 |  | WATER WALL TUBE LEAKAGE
BHAVNAGAR CFBC TPP | 2 | 250 | 2025-01-27 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
PIPAVAV CCPP | 2 | 351 | 2024-04-19 01:10 |  | RSD/LOW SCHEDULE
AKRIMOTA LIG TPS | 1 | 125 | 2024-06-08 19:30 |  | CAPITAL MAINTENANCE
DGEN MEGA CCPP | 1 | 400 | 2023-07-17 11:00 |  | GT-MISCELLANEOUS PROBLEMS
DGEN MEGA CCPP | 1 | 400 | 2023-10-20 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 1 | 400 | 2025-01-03 00:07 | 2025-04-01 | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 1 | 400 | 2023-06-20 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 2 | 400 | 2021-11-05 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 2 | 400 | 2020-08-12 00:26 |  | RESERVE SHUT DOWN
DGEN MEGA CCPP | 2 | 400 | 2025-01-03 00:09 | 2025-04-01 | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 2 | 400 | 2023-07-13 09:55 |  | SWITH YARD RELATED PROBLEMS
DGEN MEGA CCPP | 2 | 400 | 2023-10-15 01:19 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 2 | 400 | 2023-06-11 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 3 | 400 | 2025-01-03 00:11 | 2025-04-01 | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 3 | 400 | 2023-04-21 01:11 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 3 | 400 | 2025-01-02 |  | GT-NO SCHEDULE FROM BENIFICIARIES
SALAYA TPP | 1 | 600 | 2024-10-28 20:23 |  | MILLING SYSTEM /RC FEEDER PROBLEM
SALAYA TPP | 1 | 600 | 2025-02-14 23:24 |  | ANNUAL MAINTENANCE
GANDHAR CCPP | 3 | 144.3 | 2025-02-27 11:46 | 2025-03-23 | GT/WHRB/ST PLANNED OVERHAUL
CHANDRAPUR(MAHARASHTRA) STPS | 9 | 500 | 2025-01-11 18:55 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
URAN CCPP | 7 | 108 | 2020-02-25 12:51 |  | TURBINE MISC. PROBLEM
URAN CCPP | 7 | 108 | 2023-04-25 22:44 |  | INSTRUMENTATION PROBLEM
URAN CCPP | 7 | 108 | 2025-03-04 14:15 |  | VIBRATIONS
RATNAGIRI CCPP | 4 | 213 | 2024-12-21 21:15 |  | RSD/LOW SCHEDULE
RATNAGIRI CCPP | 5 | 213 | 2024-12-21 22:02 |  | RSD/LOW SCHEDULE
RATNAGIRI CCPP | 6 | 237.54 | 2024-12-21 22:00 |  | RSD/LOW SCHEDULE
RATNAGIRI CCPP | 7 | 213 | 2024-12-21 21:44 |  | RSD/LOW SCHEDULE
RATNAGIRI CCPP | 8 | 213 | 2024-12-21 21:16 |  | RSD/LOW SCHEDULE
RATNAGIRI CCPP | 9 | 237.54 | 2024-12-21 21:42 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 4 | 210 | 2022-07-09 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-09-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-09-04 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-09-05 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-09-06 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-09-10 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-09-11 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-09-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-09-17 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-09-18 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2023-01-06 21:06 |  | BOILER MISC. PROBLEM
RAICHUR TPS | 4 | 210 | 2023-08-12 23:42 |  | WATER WALL TUBE LEAKAGE
RAICHUR TPS | 4 | 210 | 2024-11-09 15:57 |  | REHEATER TUBE LEAKAGE
RAICHUR TPS | 4 | 210 | 2022-07-02 09:07 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-07-04 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-07 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-08 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-09-09 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-07-10 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-07-11 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-07-15 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-16 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-07-17 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-07-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-23 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-07-24 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-07-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-07-26 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-07 11:49 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-09 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-08-10 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-11 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-08-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-08-13 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-14 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-08-15 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-17 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-08-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-19 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-20 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-21 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-22 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 4 | 210 | 2022-08-23 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-23 23:59 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-08-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 4 | 210 | 2022-08-26 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-08-27 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 4 | 210 | 2022-08-29 23:59 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 4 | 210 | 2022-08-31 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 4 | 210 | 2022-09-01 |  | RESERVE SHUT DOWN
RAICHUR TPS | 4 | 210 | 2022-09-02 |  | LOW SYSTEM DEMAND
METTUR TPS | 3 | 210 | 2024-12-19 16:33 | 2025-03-31 | COLLAPSE OF R.C. BUNKER
NORTH CHENNAI TPS | 4 | 600 | 2025-03-01 11:14 |  | TURBINE MISC. PROBLEM
NEYVELI TPS-II EXP | 1 | 250 | 2024-09-15 |  | CAPITAL MAINTENANCE
NEYVELI TPS-II EXP | 1 | 250 | 2024-09-04 19:04 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
RAMAGUNDEM-B TPS | 1 | 62.5 | 2024-06-04 20:24 |  | COAL FEEDING PROBLEM IN PLANT
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-04-17 17:10 |  | RSD/LOW SCHEDULE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-04-21 21:15 |  | RSD/LOW SCHEDULE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-06-09 00:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
BHADRADRI TPP | 1 | 270 | 2024-06-30 |  | GENEATOR PROTECTION MISC/BACK UP PROT
YADADRI TPS | 2 | 800 | 2025-02-11 |  | WATER WALL TUBE LEAKAGE
THAMMINAPATNAM TPS | 1 | 150 | 2024-09-11 13:01 |  | TURBINE VIBRATION HIGH
THAMMINAPATNAM TPS | 1 | 150 | 2025-02-27 11:07 | 2025-03-25 | I.D. FANS PROBLEM
THAMMINAPATNAM TPS | 1 | 150 | 2024-09-21 01:18 |  | TURBINE INSPECTION MISC
THAMMINAPATNAM TPS | 1 | 150 | 2024-09-13 |  | TURBINE VIBRATION
THAMMINAPATNAM TPS | 2 | 150 | 2025-02-27 14:32 | 2025-03-25 | TURBINE MISC. PROBLEM
JEGURUPADU CCPP PH I | 1 | 52.8 | 2024-05-10 19:12 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-26 16:25 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-06 15:31 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2024-05-20 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2021-03-06 00:29 |  | BOILER INSPECTION/ RE-CERTIFICATION
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-07 13:45 |  | GT-GEN./FIELD BREAKER PROBLEM
JEGURUPADU CCPP PH I | 3 | 52.8 | 2021-12-01 14:40 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 4 | 77 | 2024-05-20 |  | Fuel Shortage
BARAUNI TPS | 9 | 250 | 2025-02-23 |  | OVERHAULING WORKS
DISHERGARH TPP | 1 | 12 | 2024-12-11 12:13 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
DISHERGARH TPP | 1 | 12 | 2022-07-07 23:16 |  | ECONOMISER TUBE LEAKAGE
MEJIA TPS | 3 | 210 | 2025-02-10 01:53 |  | CAPITAL MAINTENANCE
MEJIA TPS | 3 | 210 | 2022-08-11 19:02 |  | FURNACE FIRE OUT /FLAME FAILURE
MEJIA TPS | 3 | 210 | 2022-08-15 19:27 |  | EHT/CT/PT/FAULT /BROBLEM
MEJIA TPS | 3 | 210 | 2022-10-22 01:12 |  | WATER WALL TUBE LEAKAGE
FARAKKA STPS | 2 | 200 | 2025-03-06 03:10 | 2025-03-23 | OVERHAULING WORKS
NORTH KARANPURA TPP | 1 | 660 | 2025-02-23 00:03 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
BONGAIGAON TPP | 3 | 250 | 2025-02-25 00:34 | 2025-03-23 | OVERHAULING WORKS
NAMRUP CCPP | 3 | 15 | 2024-10-21 11:30 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 3 | 15 | 2022-10-03 16:13 |  | GRID DISTURBANCE
NAMRUP CCPP | 3 | 15 | 2023-06-04 22:48 |  | TURBINE BEARING COOLING SYS/OIL COOLER
NAMRUP CCPP | 3 | 15 | 2024-02-05 09:16 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 3 | 15 | 2024-08-16 17:00 |  | WATER SHORTAGE DUE TO INTERNAL PLANT PROBLEM
NAMRUP CCPP | 3 | 15 | 2024-08-16 09:46 |  | MISCELLANEOUS PLANNED MAINTENANCE
NAMRUP CCPP | 3 | 15 | 2021-07-13 13:55 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
NAMRUP CCPP | 3 | 15 | 2021-11-24 10:43 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 3 | 15 | 2022-01-08 23:15 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 3 | 15 | 2022-01-28 20:25 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
NAMRUP CCPP | 3 | 15 | 2022-01-22 22:40 |  | Fuel Shortage
NAMRUP CCPP | 3 | 15 | 2022-02-13 23:40 |  | Fuel Shortage
NAMRUP CCPP | 3 | 15 | 2022-02-14 09:30 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 3 | 15 | 2022-05-08 09:17 |  | C&I PROBLEM
NAMRUP CCPP | 3 | 15 | 2022-06-02 13:05 |  | GRID DISTURBENCE
NAMRUP CCPP | 3 | 15 | 2022-08-03 08:37 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
LAKWA GT | 7 | 20 | 2021-04-19 |  | GEN. TRANSORMER PROTECTION RELAY OPERATION PROBLEM
LAKWA GT | 7 | 20 | 2023-02-04 21:47 |  | Fuel Shortage
LAKWA GT | 7 | 20 | 2023-10-18 |  | BUS PROTECTION TRIP
LAKWA GT | 7 | 20 | 2024-04-08 17:08 |  | VIBRATIONS
LAKWA GT | 7 | 20 | 2020-01-06 |  | MINOR MAINTENANCE WORKS
Total |  | 54413.99